## BoQ1
Government eProcurement System Created By: raj pratap verma Created Date/Time: 12-Nov-2020 03:45 PM Tender Title: Construction of Domestic Passenger Terminal Building at Dehradun Airport SH Provision of Security related Equipments at Dehradun Airport Tender ID: 2020_AAI_58190_1
Tender Inviting Authority: <Asstt. General Manager Engg (Elect), Airports Authority of India, Dehradun Airport>
Name of Work: <Construction of Domestic Passenger Terminal Building at Dehradun Airport -SH: Provision of Security related Equipment’s at Dehradun Airport>
Contract No: <AAI/DDN/Proj/Security_equipment/eNIT-10>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Godrej Boyce Mfg Co Ltd(GSTN-22AAACG1395D2Z3) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | Swaraj Secutech Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of “ Integrated Area Scan Based UVSS” of Professional Series with Main camera of minimum resolution of colour 1600 x 1200 Pixels or higher, having ability to scan even at a maximum vehicular speed of 20-30kmph, along with “ANPR (Automatic Number Plate Recognition) system along with Driver Imaging” using colour area CCD/CMOS based License plate/ Driver image capturing cameras of Minimum 3 Mega Pixel and poles for mounting cameras along with respective Modules with all accessories including Windows based PC with 7TB Hard disc (min), i7-Processor, Suitable Graphic card & 16GB RAM,22 inch monitor, Online UPS including battery for entire system for 30 minutes backup power, Genuine OEM Software and seamless data integration/sharing with existing servers for remote monitoring, in complete for Hassle-free operation as per technical specification ,for 10.5m and 07.5 wide road. | 2.00 | Set |  | 1560000.00 | 3120000.00 | 4200000.00 | 8400000.00 | 1950000.00 | 3900000.00 | 3120000.00 | Godrej Boyce Mfg Co Ltd
2.00 | Supply, Installation, Testing and Commissioning of “Electro- Hydraulic tyre killer / Spike Barrier” along with all related connections for 10.5mtr. Wide road. The system shall consist of spikes at an angle of 60 to 90 deg., made up of tampered steel along with all other accessories like provision of Manual operation during power off, Hydraulic Power Pack/Unit with accumulator, safety interlock detector, Self priming sump pump for draining water, “230V-50Hz control and logic circuit” in a weather proof enclosure with provision for integrating with external Access control system like loop detectors, crash pads etc. if any, with an Axle load bearing capacity of Road/Base plate of 20 tons etc. complete as per site requirement and meeting the technical specifications and work specifications complete as directed by Engineer-in-Charge. | 2.00 | Each |  | 750750.00 | 1501500.00 | 1200000.00 | 2400000.00 | 550000.00 | 1100000.00 | 1100000.00 | Swaraj Secutech Pvt Ltd
3.00 | Supply, Installation, Testing and Commissioning of “Electro- Hydraulic tyre killer / Spike Barrier” along with all related connections for 7.5mtr. Wide road. The system shall consist of spikes at an angle of 60 to 90 deg., made up of tampered steel along with all other accessories like provision of Manual operation during power off, Hydraulic Power Pack/Unit with accumulator, safety interlock detector, Self priming sump pump for draining water, “230V-50Hz control and logic circuit” in a weather proof enclosure with provision for integrating with external Access control system like loop detectors, crash pads etc. if any, with an Axle load bearing capacity of Road/Base plate of 20 tons(Min) etc. complete as per site requirement and meeting the technical specifications and work specifications complete as directed by Engineer-in-Charge. | 1.00 | Each |  | 536250.00 | 536250.00 | 1000000.00 | 1000000.00 | 480000.00 | 480000.00 | 480000.00 | Swaraj Secutech Pvt Ltd
4.00 | Supply, Installation, Testing and Commissioning of K8/M40 or higher - Tested and crash rated (In either directions) “Electro – Hydraulic Retractable bollards in complete as a system” along with all related connections for 10.5 mtr width road comprising a minimum of 06 bollards of 800mm height (Min) and 220 mm dia(min), made up of heavy steel cylindrical weldment along with all other accessories like provision of Manual operation during power off, Hydraulic Power Pack/Unit with accumulator, safety interlock detector, Self priming sump pump for draining water, Hydraulic Power Pack/Unit with accumulator, control and logic circuit ” in a weather proof enclosure with provision for integrating with external Access control system like loop detectors, crash pads etc. if any, with an Axle load bearing capacity of Road/Base plate of 20 tons (Min), Operational Alerts/ System alerts with Blinking LED, Audio signal during Operation etc. complete as per site requirement and meeting the technical specifications and work specifications complete as directed by Engineer-in-Charge. (crash rating test certificate from accredited authority shall be submitted by bidder) | 2.00 | Each |  | 1755000.00 | 3510000.00 | 1200000.00 | 2400000.00 | 1440000.00 | 2880000.00 | 2400000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
5.00 | Supply, Installation, Testing and Commissioning of K8/M40 or higher - Tested and crash rated (In either directions) “Electro – Hydraulic Retractable bollards in complete as a system” along with all related connections for 07.5 mtr width road comprising a minimum of 5 bollards of 800mm height (Min) and 220 mm dia(min), made up of heavy steel cylindrical weldment along with all other accessories like provision of Manual operation during power off, Hydraulic Power Pack/Unit with accumulator, safety interlock detector, Self priming sump pump for draining water, Hydraulic Power Pack/Unit with accumulator, control and logic circuit ” in a weather proof enclosure with provision for integrating with external Access control system like loop detectors, crash pads etc. if any, with an Axle load bearing capacity of Road/Base plate of 20 tons (Min), Operational alerts /System alerts with Blinking LED, Audio signal during Operation etc., complete as per site requirement and meeting the technical specifications and work specifications complete as directed by Engineer-in-Charge.(crash rating test certificate from accredited authority shall be submitted by bidder) | 1.00 | Each |  | 1462500.00 | 1462500.00 | 1000000.00 | 1000000.00 | 1200000.00 | 1200000.00 | 1000000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
6.00 | Supply, Installation, Testing and Commissioning of “Electrically operated electro-mechanical boom barrier” for main approach road with OEM supplied Aluminium boom. of lenth less than 6 mtr along with red refracting strips, control panel/Unit housed in weather proof enclosure of min. IP 54 protection, push button control facility for standalone operation and Provision of Integration with external Access control systems if any. safety beam sensor/DIR photocell pair, LED flash light, release key & leaver arrangement for manual operation, safety & protection accessories, wired remote control / Push button command switches etc. suitable for operation on 220-240V ,50Hz power supply, opening/closing time 2 to 6sec. Circuit board / card for emergency operation and battery charging with provision for battery installation, including cement concrete foundation for panel etc. complete as per technical specifications of contract and work specifications complete as directed by Engineer-in-Charge. | 4.00 | Job |  | 65000.00 | 260000.00 | 250000.00 | 1000000.00 | 55000.00 | 220000.00 | 220000.00 | Swaraj Secutech Pvt Ltd
7.00 | Supply, Installation, Testing and Commissioning of “Electrically operated electro mechanical boom barrier” for 07.5m wide road with OEM supplied Aluminium boom . along with red refracting strips , control panel / Unit housed in weather proof enclosure of min. IP 54 protection, push button control facility for standalone operation and Provision of Integration with external Access control systems if any. Safety beam sensor/DIR photocell pair, LED flash light, release key & leaver arrangement for manual operation, safety & protection accessories, wired remote control / Push button command switches etc. suitable for operation on 220-240V , 50Hz power supply, opening/closing time 2 to 6 sec. Circuit board/card for emergency operation and battery charging with provision for battery installation, including cement concrete foundation for panel etc. complete as per technical specifications of contract and work specifications complete as directed by Engineer-in-Charge. | 1.00 | Job |  | 117000.00 | 117000.00 | 200000.00 | 200000.00 | 60000.00 | 60000.00 | 60000.00 | Swaraj Secutech Pvt Ltd
8.00 | Supply, Installation, Testing and Commissioning of “Single Leaf Electrically Operated Sliding Gate” suitable for a clear opening of 7.5mtrs clear width and 3 mtr clear height, over all width of 9.5 mtr (min) as per following specifications suitable for movement on track of MS Solid bright bar fixed on C channel i/c complete civil works for installation of gates and all associated works etc. complete as required. a) Outer main frame: will be M.S rectangular/square section of size 100X100X3.0 mm thickness. b) Vertical and horizontal support pipe: will be M.S rectangular section of size 100X50X3.0 mmthickness. c) Cross supports for wheel: will be of M.S rectangular section with suitable size and thickness. d) Top supports: will be M.S rectangular section of suitable size. e) M.S wheels: of 125 mm dia / suitable size and design with double ball bearing, self lubricated bearings (Make SKF/NBC). f) Shaft of wheels and bracket: as per site requirement g) Coupling arrangement: as required at site. h) Double railing of suitable size with hole fast and 25mm dia solid bright bar. i) Drive unit with suitable capacity 3 Phase motor of minimum 1 HP with suitable gear assembly as per site requirement. Limit switches/sensors etc..control panel for operation, controlwiresofsuitablesizebetweendriveunitandcontrolpanelincludingAdditionalthree station push button for operation of opening and closing. j) Gate shall be fabricated as per the specifications and Painting with one coat of epoxy primer and two coats of polyurethane spray paint of approved colour and make etc. complete as k) M.S angle of size 50X50X5 SWG in M.S U channel of size 100mmX50mmX5 SEG i/c cutting of bituminous / concrete road, fixing of track with concrete and making good the same as per site condition. (a) to (k) - 1 job. | 1.00 | Job |  | 809900.00 | 809900.00 | 500000.00 | 500000.00 | 600000.00 | 600000.00 | 500000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
9.00 | Supply, Installation, Testing and Commissioning of “Power and control panel” for 10.5 mtrs Entry and Exit road, with suitable Incoming and separate Out-going switchgears for the following: 1. UVSS & ANPR – 1 set 2. Boom barriers – 4 sets 3. Spike barrier / tyre killer – 2 sets 4. Hydraulically retractable bollards – 2 sets 5. Sump pumps for Spike barrier / tyre killer and Hydraulically retractable bollards The quoted rates should include necessary power and control cables, cable glands, end terminations required to complete the electrical installation as per OEM specifications or as directed by Engineer-in-Charge. | 1.00 | unit |  | 55000.00 | 55000.00 | 260000.00 | 260000.00 | 200000.00 | 200000.00 | 55000.00 | Godrej Boyce Mfg Co Ltd
10.00 | Supply, Installation, Testing and Commissioning of Power and control panel for 07.5 mtrs Operational gate approach road, with suitable Incoming and separate Out-going switchgears for the following: 1. UVSS & ANPR – 1 set 2. Boom barriers – 1 sets 3. Spike barrier / tyre killer – 1 sets 4. Hydraulically retractable bollards – 1 sets 5. Sliding gate – 1 set 6. Sump pumps for Spike barrier / tyre killer and Hydraulically retractable bollards The quoted rates should include necessary power and control cables, cable glands, end terminations required to complete the electrical installation as per OEM specifications or as directed by Engineer-in-Charge. | 1.00 | unit |  | 55000.00 | 55000.00 | 240000.00 | 240000.00 | 150000.00 | 150000.00 | 55000.00 | Godrej Boyce Mfg Co Ltd
11.00 | Execution of civil works for installation “Electro- Hydraulic tyre killer /Spike Barrier ” for up-to 10.5m and 07.5m wide road including demolishing cement concrete road of nominal concrete 1:3:6 or richer mix (I / c equivalent design mix) manually/ by mechanical means, cutting of road by machine for suitable width and depth, disposal of material within 50 meters lead, repair and making good the same after installation of tyre killer by providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) etc complete as per technical specification and as per direction of Engineer-in-charge. | 3.00 | Job |  | 220000.00 | 660000.00 | 70000.00 | 210000.00 | 100000.00 | 300000.00 | 210000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.00 | Execution of civil works for installation of “Electro – Hydraulic Retractable bollards in complete as a system” for up-to 10.5m and 07.5m wide road including demolishing cement concrete road of nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) manually/ by mechanical means, cutting of road by machine for suitable width and depth, disposal of material within 50 meters lead, repair and making good the same after installation of tyre killer by providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) etc complete as per technical specification and as per direction of Engineer-in-charge. | 3.00 | Job |  | 220000.00 | 660000.00 | 70000.00 | 210000.00 | 300000.00 | 900000.00 | 210000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
13.00 | Supply, Installation, Testing and Commissioning of “Maintenance Free Earthing system” comprising of 17.2 mm dia. 3 mtr long Earth electrode of low carbon steel electrode with 250 micron copper bonding & Carbon based Eco safe environment friendly backfill compound 50 pounds and suitable clamp of 17.2mm. tin coated brass clamp on both sides. The Earth pit should be covered with polyethylene weather proof chamber etc. as required & approved by the Engineer In charge. | 6.00 | Each |  | 20000.00 | 120000.00 | 15000.00 | 90000.00 | 15000.00 | 90000.00 | 90000.00 | Swaraj Secutech Pvt Ltd, JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
14.00 | Supply, Installation, Testing and Commissioning of following GI - Strips/wire for interconnecting the earthing stations, panels, DBs etc. of the following sizes in built up trenches /surface/wall/ground complete with holes & fixing, jointing / terminating accessories as per specifications & drawing as required. (Quantity shall be paid as per the actual measurement as executed, however direct measurement shall not exceed the quantity indicated in drawing approved)
14.01 | 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 50.00 | mtrs |  | 45.00 | 2250.00 | 260.00 | 13000.00 | 80.00 | 4000.00 | 2250.00 | Godrej Boyce Mfg Co Ltd
14.02 | 8 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 200.00 | mtrs |  | 65.00 | 13000.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 10000.00 | Swaraj Secutech Pvt Ltd, JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
15.00 | Routine checks and preventive maintenance during DLP period including cost of tools & test equipments, consummables like cleaning materials etc but excluding cost of spares and accessories required to service faulty system, for keeping the system and its accessories in healthy and serviceable condition etc. as required as per the direction of Engineer-in-Charge in respect of the following system. (There will at least one visit of Engineer per months besides visit for attending complaints due to system malfuctioning) i) UVSS on 10.5 mtrs/7.5 mtrs roads Quantity- 02sets ii) Electro-hydraulic Bollards Quantity- 03 sets. iii) Electro-hydraulic Spike barriers/ Tyre killers Quantity- 03 sets. iv) Electrically Operated Boom Barriers Quantity - 05 sets v) Electrically Operated Sliding Gate Quantity - 01 sets | 1.00 | per year |  | 0.00 | 0.00 | 400000.00 | 400000.00 | 60000.00 | 60000.00 | 0.00 | Godrej Boyce Mfg Co Ltd
16.00 | All inclusive Comprehensive Maintenance of complete UVSS (2 sets) after DLP as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. along with all its Electrical and Mechanical accessories by providing requisite man-power, all required spares, tools, equipments, consumables, as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer‐in‐Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours).
16.01 | First year after DLP | 1.00 | Per year |  | 101756.00 | 101756.00 | 250000.00 | 250000.00 | 315000.00 | 315000.00 | 101756.00 | Godrej Boyce Mfg Co Ltd
16.02 | Second year after DLP | 1.00 | Per year |  | 101756.00 | 101756.00 | 250000.00 | 250000.00 | 315000.00 | 315000.00 | 101756.00 | Godrej Boyce Mfg Co Ltd
16.03 | Third year after DLP | 1.00 | Per year |  | 119396.00 | 119396.00 | 250000.00 | 250000.00 | 315000.00 | 315000.00 | 119396.00 | Godrej Boyce Mfg Co Ltd
16.04 | Fourth year after DLP | 1.00 | Per year |  | 119396.00 | 119396.00 | 250000.00 | 250000.00 | 315000.00 | 315000.00 | 119396.00 | Godrej Boyce Mfg Co Ltd
17.00 | All inclusive Comprehensive Maintenance of complete Boom barrier system (5 sets) after DLP as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. along with all its Electrical and Mechanical accessories by providing requisite man-power, all required spares, tools, equipments, consumables, as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer‐in‐Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours).
17.01 | First year after DLP | 1.00 | Per year |  | 9049.00 | 9049.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 9049.00 | Godrej Boyce Mfg Co Ltd
17.02 | Second year after DLP | 1.00 | Per year |  | 9049.00 | 9049.00 | 60000.00 | 60000.00 | 30000.00 | 30000.00 | 9049.00 | Godrej Boyce Mfg Co Ltd
17.03 | Third year after DLP | 1.00 | Per year |  | 11060.00 | 11060.00 | 60000.00 | 60000.00 | 30000.00 | 30000.00 | 11060.00 | Godrej Boyce Mfg Co Ltd
17.04 | Fourth year after DLP | 1.00 | Per year |  | 11060.00 | 11060.00 | 60000.00 | 60000.00 | 30000.00 | 30000.00 | 11060.00 | Godrej Boyce Mfg Co Ltd
18.00 | All inclusive Comprehensive Maintenance of complete Spike barriers/ Tyre Killer system (3 sets) after DLP as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. along with all its Electrical and Mechanical accessories by providing requisite man-power, all required spares, tools, equipments, consumables, as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer‐in‐Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours).
18.01 | First year after DLP | 1.00 | Per year |  | 74787.00 | 74787.00 | 50000.00 | 50000.00 | 120000.00 | 120000.00 | 50000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
18.02 | Second year after DLP | 1.00 | Per year |  | 74787.00 | 74787.00 | 60000.00 | 60000.00 | 120000.00 | 120000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
18.03 | Third year after DLP | 1.00 | Per year |  | 91407.00 | 91407.00 | 60000.00 | 60000.00 | 120000.00 | 120000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
18.04 | Fourth year after DLP | 1.00 | Per year |  | 91407.00 | 91407.00 | 60000.00 | 60000.00 | 120000.00 | 120000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
19.00 | All inclusive Comprehensive Maintenance of complete Electrohydraulic Bollards system (3 sets) after DLP as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. along with all its Electrical and Mechanical accessories by providing requisite man-power, all required spares, tools, equipments, consumables, as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer‐in‐Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours).
19.01 | First year after DLP | 1.00 | Per year |  | 156095.00 | 156095.00 | 50000.00 | 50000.00 | 150000.00 | 150000.00 | 50000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
19.02 | Second year after DLP | 1.00 | Per year |  | 156095.00 | 156095.00 | 60000.00 | 60000.00 | 150000.00 | 150000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
19.03 | Third year after DLP | 1.00 | Per year |  | 190783.00 | 190783.00 | 60000.00 | 60000.00 | 240000.00 | 240000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
19.04 | Fourth year after DLP | 1.00 | Per year |  | 190783.00 | 190783.00 | 60000.00 | 60000.00 | 240000.00 | 240000.00 | 60000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
20.00 | All inclusive Comprehensive Maintenance of complete Sliding gate after DLP as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. along with all its Electrical and Mechanical accessories by providing requisite man-power, all required spares, tools, equipments, consumables, as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer‐in‐Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours).
20.01 | First year after DLP | 1.00 | Per year |  | 24000.00 | 24000.00 | 49000.00 | 49000.00 | 30000.00 | 30000.00 | 24000.00 | Godrej Boyce Mfg Co Ltd
20.02 | Second year after DLP | 1.00 | Per year |  | 24000.00 | 24000.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 24000.00 | Godrej Boyce Mfg Co Ltd
20.03 | Third year after DLP | 1.00 | Per year |  | 26000.00 | 26000.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 26000.00 | Godrej Boyce Mfg Co Ltd
20.04 | Fourth year after DLP | 1.00 | Per year |  | 26000.00 | 26000.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 26000.00 | Godrej Boyce Mfg Co Ltd
| Total in Figures |  |  |  |  | 14491066.00 |  | 20222000.00 |  | 14914000.00
Lowest Amount Quoted BY: Godrej Boyce Mfg Co Ltd(14491066.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Domestic Passenger Terminal Building at Dehradun Airport SH Provision of Security related Equipments at Dehradun Airport Tender ID: 2020_AAI_58190_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Godrej Boyce Mfg Co Ltd | 14491066.00 | L1
| 2 | Swaraj Secutech Pvt Ltd | 14914000.00 | L2
| 3 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 20222000.00 | L3