## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 20-Oct-2020 03:31 PM Tender Title: A.C.M.C.of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR, 2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.I.Airport, Mumbai during 2020-21 to 2021-22. Tender ID: 2020_AAI_58218_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "A.C.M.C.of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR, 2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.I.Airport, Mumbai during 2020-21 to 2021-22."
Contract No: MUM/ATS/ENGG-E/eNIT-04/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | New National Airconditioning Co(GSTN-27AAOPK6283F1ZC) |  | S N COOL(GSTN-27ABFMS5493A1ZX) |  | PROTECT SERVICES(GSTN-27AAMFP0483A3ZC) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CHAITANYA SERVICES(GSTN-27AHFPK3638N1ZX) |  | Aqua Cool Co.Pvt Ltd(GSTN-NA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Annual comprehensive maintenance of 15 TR air cooled package precession AC units at (ELDIS-II RADAR Model No.PDX0062, Make: Emerson) including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. a) First Year | 3.00 | Job |  | 32000.00 | 96000.00 | 16500.00 | 49500.00 | 30000.00 | 90000.00 | 26000.00 | 78000.00 | 29000.00 | 87000.00 | 45000.00 | 135000.00 | 50000.00 | 150000.00 | 49500.00 | S N COOL
1.02 | Annual comprehensive maintenance of 15 TR air cooled package precession AC units at (ELDIS-II RADAR Model No.PDX0062, Make: Emerson) including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. b) Second Year | 3.00 | Job |  | 32000.00 | 96000.00 | 16500.00 | 49500.00 | 35000.00 | 105000.00 | 27000.00 | 81000.00 | 29000.00 | 87000.00 | 45000.00 | 135000.00 | 50000.00 | 150000.00 | 49500.00 | S N COOL
2.01 | Annual Comprehensive Maintenance of 11 TR Ductable package Air-conditioners of M/s Blue Star make, located at new ASR/MSSR, Kalina including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. a) First Year | 3.00 | Job |  | 25000.00 | 75000.00 | 14500.00 | 43500.00 | 25000.00 | 75000.00 | 21000.00 | 63000.00 | 23000.00 | 69000.00 | 25000.00 | 75000.00 | 45000.00 | 135000.00 | 43500.00 | S N COOL
2.02 | Annual Comprehensive Maintenance of 11 TR Ductable package Air-conditioners of M/s Blue Star make, located at new ASR/MSSR, Kalina including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. b) Second Year | 3.00 | Job |  | 25000.00 | 75000.00 | 14500.00 | 43500.00 | 28000.00 | 84000.00 | 24000.00 | 72000.00 | 23000.00 | 69000.00 | 25000.00 | 75000.00 | 45000.00 | 135000.00 | 43500.00 | S N COOL
3.01 | Annual Comprehensive Maintenance of 8.0 TR Ductable package inverter type Air-conditioners of M/s Blue Star make, located at ELDIS - II RADAR including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. a) First Year | 2.00 | Job |  | 21000.00 | 42000.00 | 12500.00 | 25000.00 | 20000.00 | 40000.00 | 16000.00 | 32000.00 | 19000.00 | 38000.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 25000.00 | S N COOL
3.02 | Annual Comprehensive Maintenance of 8.0 TR Ductable package inverter type Air-conditioners of M/s Blue Star make, located at ELDIS - II RADAR including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. b) Second Year | 2.00 | Job |  | 21000.00 | 42000.00 | 12500.00 | 25000.00 | 22000.00 | 44000.00 | 17000.00 | 34000.00 | 19000.00 | 38000.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 25000.00 | S N COOL
4.01 | Annual comprehensive maintenance of 3.0 TR Mega split/High wall airconditioners of M/s Blue Star make located at Operational area including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. a) First Year | 16.00 | Job |  | 6600.00 | 105600.00 | 6400.00 | 102400.00 | 4500.00 | 72000.00 | 8500.00 | 136000.00 | 6550.00 | 104800.00 | 4800.00 | 76800.00 | 6000.00 | 96000.00 | 72000.00 | PROTECT SERVICES
4.02 | Annual comprehensive maintenance of 3.0 TR Mega split/High wall airconditioners of M/s Blue Star make located at Operational area including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - I and II ) complete, etc. as required. b) Second Year | 16.00 | Job |  | 6600.00 | 105600.00 | 6400.00 | 102400.00 | 5000.00 | 80000.00 | 9500.00 | 152000.00 | 6550.00 | 104800.00 | 4800.00 | 76800.00 | 6000.00 | 96000.00 | 76800.00 | Aqua Cool Co.Pvt Ltd
5.01 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split airconditioners ( Inverter and Non Inverter Type) of Voltas/Carrier/Blue star make at different locations ( Annexure - I ) including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - II ) complete, etc. as required. a) First Year | 48.00 | Job |  | 4400.00 | 211200.00 | 4000.00 | 192000.00 | 3000.00 | 144000.00 | 4800.00 | 230400.00 | 3900.00 | 187200.00 | 2400.00 | 115200.00 | 5100.00 | 244800.00 | 115200.00 | Aqua Cool Co.Pvt Ltd
5.02 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split airconditioners ( Inverter and Non Inverter Type) of Voltas/Carrier/Blue star make at different locations ( Annexure - I ) including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - II ) complete, etc. as required. b) Second Year | 48.00 | Job |  | 4400.00 | 211200.00 | 3000.00 | 144000.00 | 3200.00 | 153600.00 | 4800.00 | 230400.00 | 3900.00 | 187200.00 | 1800.00 | 86400.00 | 5100.00 | 244800.00 | 86400.00 | Aqua Cool Co.Pvt Ltd
6.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 1.5 TR / 2.0 TR including Gas changing, Pressure Testing and Commissioning, etc. complete as required. | 5.00 | Job |  | 3000.00 | 15000.00 | 3200.00 | 16000.00 | 4000.00 | 20000.00 | 2500.00 | 12500.00 | 3200.00 | 16000.00 | 2200.00 | 11000.00 | 1500.00 | 7500.00 | 7500.00 | Zamzam Refrigeration and airconditioning
7.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 3.0 TR including Gas changing, Pressure Testing and Commissioning, etc. complete as required. | 2.00 | Job |  | 3600.00 | 7200.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 3700.00 | 7400.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 3000.00 | Zamzam Refrigeration and airconditioning
8.00 | Supply and fixing 20mm dia rigid PVC pipes along with necessary accessories & insulation on surface / recess for drain water outlets of AC units, etc. complete as required | 25.00 | Job |  | 100.00 | 2500.00 | 180.00 | 4500.00 | 200.00 | 5000.00 | 160.00 | 4000.00 | 100.00 | 2500.00 | 180.00 | 4500.00 | 300.00 | 7500.00 | 2500.00 | New National Airconditioning Co, CHAITANYA SERVICES
9.00 | Supply and fixing of copper refrigerant piping of size 1/2" and 1/4" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps, etc. complete as required. | 30.00 | Metre |  | 400.00 | 12000.00 | 650.00 | 19500.00 | 1200.00 | 36000.00 | 650.00 | 19500.00 | 400.00 | 12000.00 | 640.00 | 19200.00 | 1500.00 | 45000.00 | 12000.00 | New National Airconditioning Co, CHAITANYA SERVICES
10.00 | Supply and fixing of copper refrigerant piping of size 5/8" and 3/8" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps, etc. complete as required. | 30.00 | Metre |  | 500.00 | 15000.00 | 690.00 | 20700.00 | 1500.00 | 45000.00 | 780.00 | 23400.00 | 500.00 | 15000.00 | 680.00 | 20400.00 | 1500.00 | 45000.00 | 15000.00 | New National Airconditioning Co, CHAITANYA SERVICES
11.00 | Dismantling of existing 3.0/2.0/1.5 TR Split AC Units with acceerious including loading and un loading complete, etc. as required upto AAI store. | 10.00 | Each |  | 1200.00 | 12000.00 | 4043.00 | 40430.00 | 2000.00 | 20000.00 | 780.00 | 7800.00 | 1200.00 | 12000.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 7800.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1123300.00 |  | 890930.00 |  | 1023600.00 |  | 1181000.00 |  | 1036900.00 |  | 903300.00 |  | 1494600.00
Lowest Amount Quoted BY: S N COOL(890930.00)

## BOQ Summary
BOQ Summary Details Tender Title: A.C.M.C.of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR, 2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.I.Airport, Mumbai during 2020-21 to 2021-22. Tender ID: 2020_AAI_58218_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S N COOL | 890930.00 | L1
| 2 | Aqua Cool Co.Pvt Ltd | 903300.00 | L2
| 3 | PROTECT SERVICES | 1023600.00 | L3
| 4 | CHAITANYA SERVICES | 1036900.00 | L4
| 5 | New National Airconditioning Co | 1123300.00 | L5
| 6 | Manish Electricals | 1181000.00 | L6
| 7 | Zamzam Refrigeration and airconditioning | 1494600.00 | L7