## BoQ1
Government eProcurement System Created By: PADMANABAN V Created Date/Time: 13-Oct-2020 03:46 PM Tender Title: AMC of Internal Electrical Network Installations at New Domestic and New International Terminals at Chennai Airport Tender ID: 2020_AAI_58277_1
Tender Inviting Authority: Joint General Manager (IT), Information Technology Division, Project Office, Third Floor, Airport Metro Stattion, Airports Authority of India, Chennai Airport, Chennai
Name of Work: AMC of Internal Electrical Network Installations at New Domestic & New International Terminals at Chennai Airport
Contract No: AAI/CHN/IT/2020-21/04/AMC_Electrical_Installations
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB - HEAD - I - First Year (Man Power for Repair & Maintenance Works)
1.01 | Facility management for all Internal and External Electrical installations at New Domestic Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of repair/replacement of circuit wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days | 12.00 | Months |  | 197970.00 | 2375640.00 | 203999.00 | 2447988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
1.02 | Facility management for all Internal and External Electrical installations at New International Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days. | 12.00 | Months |  | 197970.00 | 2375640.00 | 203999.00 | 2447988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.00 | SUB - HEAD - II - First Year (Supply Portion)
2.01 | Supply of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 39.00 | 117000.00 | 39.00 | 117000.00 | 49.00 | 147000.00 | 117000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
2.02 | Supply of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 63.00 | 189000.00 | 59.00 | 177000.00 | 79.00 | 237000.00 | 177000.00 | CHENNAI ENGINEERING SERVICES
2.03 | Supply of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 94.00 | 18800.00 | 99.00 | 19800.00 | 102.00 | 20400.00 | 18800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.04 | Supply of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 176.00 | 17600.00 | 189.00 | 18900.00 | 149.00 | 14900.00 | 14900.00 | DElite System Engineering (India) Pvt. Ltd.
2.05 | Supply of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 226.00 | 45200.00 | 269.00 | 53800.00 | 249.00 | 49800.00 | 45200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.06 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 98.00 | 19600.00 | 99.00 | 19800.00 | 99.00 | 19800.00 | 19600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.07 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 120.00 | 24000.00 | 129.00 | 25800.00 | 109.00 | 21800.00 | 21800.00 | DElite System Engineering (India) Pvt. Ltd.
2.08 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 137.00 | 27400.00 | 159.00 | 31800.00 | 129.00 | 25800.00 | 25800.00 | DElite System Engineering (India) Pvt. Ltd.
2.09 | Providing 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 17.00 | 10200.00 | 19.00 | 11400.00 | 19.00 | 11400.00 | 10200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.10 | Supply of Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a).3.5CX16SQMM | 10.00 | Nos. |  | 105.00 | 1050.00 | 99.00 | 990.00 | 349.00 | 3490.00 | 990.00 | CHENNAI ENGINEERING SERVICES
2.11 | b).3.5CX25SQMM | 10.00 | Nos. |  | 132.00 | 1320.00 | 149.00 | 1490.00 | 349.00 | 3490.00 | 1320.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.12 | c).3.5CX35SQMM | 10.00 | Nos. |  | 160.00 | 1600.00 | 169.00 | 1690.00 | 399.00 | 3990.00 | 1600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.13 | Supply of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 81.00 | 12150.00 | 79.00 | 11850.00 | 99.00 | 14850.00 | 11850.00 | CHENNAI ENGINEERING SERVICES
2.14 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 131.00 | 19650.00 | 129.00 | 19350.00 | 149.00 | 22350.00 | 19350.00 | CHENNAI ENGINEERING SERVICES
2.15 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 220.00 | 11000.00 | 249.00 | 12450.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
2.16 | Supply of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 30.00 | 6000.00 | 29.00 | 5800.00 | 55.00 | 11000.00 | 5800.00 | CHENNAI ENGINEERING SERVICES
2.17 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 81.00 | 16200.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 16200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.18 | c) 20 Amps Switch | 200.00 | Nos. |  | 79.00 | 15800.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 15800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.19 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 143.00 | 28600.00 | 159.00 | 31800.00 | 199.00 | 39800.00 | 28600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.20 | Supply of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 138.00 | 6900.00 | 99.00 | 4950.00 | 200.00 | 10000.00 | 4950.00 | CHENNAI ENGINEERING SERVICES
2.21 | Supply of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 641.00 | 3205.00 | 699.00 | 3495.00 | 799.00 | 3995.00 | 3205.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.22 | Supply of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 2021.00 | 10105.00 | 2399.00 | 11995.00 | 2599.00 | 12995.00 | 10105.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.23 | Supply of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 1030.00 | 5150.00 | 1199.00 | 5995.00 | 1499.00 | 7495.00 | 5150.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.24 | Supply of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 1775.00 | 17750.00 | 1999.00 | 19990.00 | 2999.00 | 29990.00 | 17750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.25 | Supply of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 4725.00 | 23625.00 | 3499.00 | 17495.00 | 7299.00 | 36495.00 | 17495.00 | CHENNAI ENGINEERING SERVICES
2.26 | Supply of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 847.00 | 4235.00 | 799.00 | 3995.00 | 3500.00 | 17500.00 | 3995.00 | CHENNAI ENGINEERING SERVICES
2.27 | b). 6WAY | 5.00 | Nos. |  | 935.00 | 4675.00 | 899.00 | 4495.00 | 3500.00 | 17500.00 | 4495.00 | CHENNAI ENGINEERING SERVICES
2.28 | c). 8WAY | 5.00 | Nos. |  | 1001.00 | 5005.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
2.29 | d). 10WAY | 5.00 | Nos. |  | 1117.00 | 5585.00 | 1199.00 | 5995.00 | 4500.00 | 22500.00 | 5585.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.30 | e). 12WAY | 5.00 | Nos. |  | 1232.00 | 6160.00 | 1299.00 | 6495.00 | 4500.00 | 22500.00 | 6160.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.31 | Supply of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 5940.00 | 29700.00 | 4299.00 | 21495.00 | 12500.00 | 62500.00 | 21495.00 | CHENNAI ENGINEERING SERVICES
2.32 | b). 8WAY | 5.00 | Nos. |  | 7075.00 | 35375.00 | 6999.00 | 34995.00 | 12500.00 | 62500.00 | 34995.00 | CHENNAI ENGINEERING SERVICES
2.33 | c). 12WAY | 5.00 | Nos. |  | 8349.00 | 41745.00 | 8999.00 | 44995.00 | 12500.00 | 62500.00 | 41745.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.34 | Supply of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 19.00 | 5700.00 | 29.00 | 8700.00 | 32.00 | 9600.00 | 5700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.35 | Supply of 25 mm PVC Flexible Hose Pipe (1") | 300.00 | Mtrs. |  | 11.00 | 3300.00 | 19.00 | 5700.00 | 29.00 | 8700.00 | 3300.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.36 | Supply of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 26.00 | 13000.00 | 29.00 | 14500.00 | 39.00 | 19500.00 | 13000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.37 | Supply of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 40.00 | 1200.00 | 49.00 | 1470.00 | 65.00 | 1950.00 | 1200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.38 | Supply of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 53.00 | 1590.00 | 69.00 | 2070.00 | 79.00 | 2370.00 | 1590.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.00 | SUB - HEAD - III - First Year (Service Portion)
3.01 | Laying of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 15.00 | 45000.00 | 19.00 | 57000.00 | 19.00 | 57000.00 | 45000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.02 | Laying of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 15.00 | 45000.00 | 19.00 | 57000.00 | 19.00 | 57000.00 | 45000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.03 | Laying of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 15.00 | 3000.00 | 19.00 | 3800.00 | 19.00 | 3800.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.04 | Laying of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 15.00 | 1500.00 | 29.00 | 2900.00 | 29.00 | 2900.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.05 | Laying of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 15.00 | 3000.00 | 29.00 | 5800.00 | 29.00 | 5800.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.06 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 25.00 | 5000.00 | 29.00 | 5800.00 | 39.00 | 7800.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.07 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 35.00 | 7000.00 | 49.00 | 9800.00 | 39.00 | 7800.00 | 7000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.08 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 40.00 | 8000.00 | 69.00 | 13800.00 | 39.00 | 7800.00 | 7800.00 | DElite System Engineering (India) Pvt. Ltd.
3.09 | Laying 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 8.00 | 4800.00 | 9.00 | 5400.00 | 19.00 | 11400.00 | 4800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.10 | Making end termination with Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a) 3.5C x 16 Sq.mm. upto 35 Sq.mm. | 10.00 | Set |  | 150.00 | 1500.00 | 199.00 | 1990.00 | 250.00 | 2500.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.11 | Fixing of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 30.00 | 4500.00 | 39.00 | 5850.00 | 40.00 | 6000.00 | 4500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.12 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 30.00 | 4500.00 | 49.00 | 7350.00 | 40.00 | 6000.00 | 4500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.13 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 30.00 | 1500.00 | 59.00 | 2950.00 | 59.00 | 2950.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.14 | Fixing of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 20.00 | 4000.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.15 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 25.00 | 5000.00 | 39.00 | 7800.00 | 30.00 | 6000.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.16 | c) 20 Amps Switch | 200.00 | Nos. |  | 20.00 | 4000.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.17 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 25.00 | 5000.00 | 39.00 | 7800.00 | 30.00 | 6000.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.18 | Fixing of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 25.00 | 1250.00 | 99.00 | 4950.00 | 300.00 | 15000.00 | 1250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.19 | Fixing of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 75.00 | 375.00 | 199.00 | 995.00 | 300.00 | 1500.00 | 375.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.20 | Fixing of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 150.00 | 750.00 | 249.00 | 1245.00 | 300.00 | 1500.00 | 750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.21 | Fixing of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 150.00 | 750.00 | 299.00 | 1495.00 | 300.00 | 1500.00 | 750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.22 | Fixing of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 150.00 | 1500.00 | 299.00 | 2990.00 | 300.00 | 3000.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.23 | Fixing of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 200.00 | 1000.00 | 299.00 | 1495.00 | 400.00 | 2000.00 | 1000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.24 | Fixing of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) | 5.00 | Nos. |  | 1000.00 | 5000.00 | 999.00 | 4995.00 | 1500.00 | 7500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
3.25 | Fixing of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) | 5.00 | Nos. |  | 1250.00 | 6250.00 | 1499.00 | 7495.00 | 1500.00 | 7500.00 | 6250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.26 | Laying of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.27 | Laying of 25 mm PVC Flexible (1'') Hose Pipe | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.28 | Laying of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 15.00 | 7500.00 | 19.00 | 9500.00 | 25.00 | 12500.00 | 7500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.29 | Fixing of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 10.00 | 300.00 | 9.00 | 270.00 | 19.00 | 570.00 | 270.00 | CHENNAI ENGINEERING SERVICES
3.30 | Fixing of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 10.00 | 300.00 | 9.00 | 270.00 | 29.00 | 870.00 | 270.00 | CHENNAI ENGINEERING SERVICES
4.00 | SUB - HEAD - IV - First Year (Man Power for Repair & Maintenance Works)
4.01 | Facility management for all Internal and External Electrical installations at New Domestic Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of repair/replacement of circuit wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days | 12.00 | Months |  | 197970.00 | 2375640.00 | 205999.00 | 2471988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
4.02 | Facility management for all Internal and External Electrical installations at New International Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days. | 12.00 | Months |  | 197970.00 | 2375640.00 | 205999.00 | 2471988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.00 | SUB - HEAD - V - First Year (Supply Portion)
5.01 | Supply of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 41.00 | 123000.00 | 39.00 | 117000.00 | 49.00 | 147000.00 | 117000.00 | CHENNAI ENGINEERING SERVICES
5.02 | Supply of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 66.00 | 198000.00 | 69.00 | 207000.00 | 79.00 | 237000.00 | 198000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.03 | Supply of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 99.00 | 19800.00 | 109.00 | 21800.00 | 102.00 | 20400.00 | 19800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.04 | Supply of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 185.00 | 18500.00 | 209.00 | 20900.00 | 149.00 | 14900.00 | 14900.00 | DElite System Engineering (India) Pvt. Ltd.
5.05 | Supply of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 237.00 | 47400.00 | 269.00 | 53800.00 | 249.00 | 49800.00 | 47400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.06 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 103.00 | 20600.00 | 109.00 | 21800.00 | 99.00 | 19800.00 | 19800.00 | DElite System Engineering (India) Pvt. Ltd.
5.07 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 126.00 | 25200.00 | 129.00 | 25800.00 | 109.00 | 21800.00 | 21800.00 | DElite System Engineering (India) Pvt. Ltd.
5.08 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 144.00 | 28800.00 | 159.00 | 31800.00 | 129.00 | 25800.00 | 25800.00 | DElite System Engineering (India) Pvt. Ltd.
5.09 | Providing 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 18.00 | 10800.00 | 19.00 | 11400.00 | 19.00 | 11400.00 | 10800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.10 | Supply of Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a).3.5CX16SQMM | 10.00 | Nos. |  | 110.00 | 1100.00 | 109.00 | 1090.00 | 349.00 | 3490.00 | 1090.00 | CHENNAI ENGINEERING SERVICES
5.11 | b).3.5CX25SQMM | 10.00 | Nos. |  | 139.00 | 1390.00 | 149.00 | 1490.00 | 349.00 | 3490.00 | 1390.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.12 | c).3.5CX35SQMM | 10.00 | Nos. |  | 168.00 | 1680.00 | 179.00 | 1790.00 | 399.00 | 3990.00 | 1680.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.13 | Supply of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 85.00 | 12750.00 | 89.00 | 13350.00 | 99.00 | 14850.00 | 12750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.14 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 138.00 | 20700.00 | 149.00 | 22350.00 | 149.00 | 22350.00 | 20700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.15 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 231.00 | 11550.00 | 249.00 | 12450.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
5.16 | Supply of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 32.00 | 6400.00 | 29.00 | 5800.00 | 55.00 | 11000.00 | 5800.00 | CHENNAI ENGINEERING SERVICES
5.17 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 85.00 | 17000.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 17000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.18 | c) 20 Amps Switch | 200.00 | Nos. |  | 83.00 | 16600.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 16600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.19 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 150.00 | 30000.00 | 159.00 | 31800.00 | 199.00 | 39800.00 | 30000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.20 | Supply of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 145.00 | 7250.00 | 109.00 | 5450.00 | 200.00 | 10000.00 | 5450.00 | CHENNAI ENGINEERING SERVICES
5.21 | Supply of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 673.00 | 3365.00 | 699.00 | 3495.00 | 799.00 | 3995.00 | 3365.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.22 | Supply of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 2122.00 | 10610.00 | 2399.00 | 11995.00 | 2599.00 | 12995.00 | 10610.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.23 | Supply of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 1082.00 | 5410.00 | 1199.00 | 5995.00 | 1499.00 | 7495.00 | 5410.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.24 | Supply of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 1864.00 | 18640.00 | 1999.00 | 19990.00 | 2999.00 | 29990.00 | 18640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.25 | Supply of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 4961.00 | 24805.00 | 3999.00 | 19995.00 | 7299.00 | 36495.00 | 19995.00 | CHENNAI ENGINEERING SERVICES
5.26 | Supply of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 889.00 | 4445.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4445.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.27 | b). 6WAY | 5.00 | Nos. |  | 982.00 | 4910.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4910.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.28 | c). 8WAY | 5.00 | Nos. |  | 1051.00 | 5255.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
5.29 | d). 10WAY | 5.00 | Nos. |  | 1173.00 | 5865.00 | 1299.00 | 6495.00 | 4500.00 | 22500.00 | 5865.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.30 | e). 12WAY | 5.00 | Nos. |  | 1294.00 | 6470.00 | 1399.00 | 6995.00 | 4500.00 | 22500.00 | 6470.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.31 | Supply of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 6237.00 | 31185.00 | 6499.00 | 32495.00 | 12500.00 | 62500.00 | 31185.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.32 | b). 8WAY | 5.00 | Nos. |  | 7429.00 | 37145.00 | 7999.00 | 39995.00 | 12500.00 | 62500.00 | 37145.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.33 | c). 12WAY | 5.00 | Nos. |  | 8766.00 | 43830.00 | 9399.00 | 46995.00 | 12500.00 | 62500.00 | 43830.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.34 | Supply of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 20.00 | 6000.00 | 19.00 | 5700.00 | 32.00 | 9600.00 | 5700.00 | CHENNAI ENGINEERING SERVICES
5.35 | Supply of 25 mm PVC Flexible Hose Pipe (1") | 300.00 | Mtrs. |  | 12.00 | 3600.00 | 19.00 | 5700.00 | 29.00 | 8700.00 | 3600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.36 | Supply of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 27.00 | 13500.00 | 39.00 | 19500.00 | 39.00 | 19500.00 | 13500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.37 | Supply of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 42.00 | 1260.00 | 49.00 | 1470.00 | 65.00 | 1950.00 | 1260.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.38 | Supply of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 56.00 | 1680.00 | 69.00 | 2070.00 | 79.00 | 2370.00 | 1680.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.00 | SUB - HEAD - VI - First Year (Service Portion)
6.01 | Laying of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 16.00 | 48000.00 | 19.00 | 57000.00 | 19.00 | 57000.00 | 48000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.02 | Laying of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 16.00 | 48000.00 | 29.00 | 87000.00 | 19.00 | 57000.00 | 48000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.03 | Laying of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 16.00 | 3200.00 | 29.00 | 5800.00 | 19.00 | 3800.00 | 3200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.04 | Laying of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 16.00 | 1600.00 | 29.00 | 2900.00 | 29.00 | 2900.00 | 1600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.05 | Laying of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 16.00 | 3200.00 | 29.00 | 5800.00 | 29.00 | 5800.00 | 3200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.06 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 26.00 | 5200.00 | 39.00 | 7800.00 | 39.00 | 7800.00 | 5200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.07 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 37.00 | 7400.00 | 49.00 | 9800.00 | 39.00 | 7800.00 | 7400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.08 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 42.00 | 8400.00 | 69.00 | 13800.00 | 39.00 | 7800.00 | 7800.00 | DElite System Engineering (India) Pvt. Ltd.
6.09 | Laying 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 8.00 | 4800.00 | 9.00 | 5400.00 | 19.00 | 11400.00 | 4800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.10 | Making end termination with Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a) 3.5C x 16 Sq.mm. upto 35 Sq.mm. | 10.00 | Set |  | 158.00 | 1580.00 | 199.00 | 1990.00 | 250.00 | 2500.00 | 1580.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.11 | Fixing of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 32.00 | 4800.00 | 39.00 | 5850.00 | 40.00 | 6000.00 | 4800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.12 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 32.00 | 4800.00 | 49.00 | 7350.00 | 40.00 | 6000.00 | 4800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.13 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 32.00 | 1600.00 | 59.00 | 2950.00 | 59.00 | 2950.00 | 1600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.14 | Fixing of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 21.00 | 4200.00 | 19.00 | 3800.00 | 30.00 | 6000.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
6.15 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 26.00 | 5200.00 | 19.00 | 3800.00 | 30.00 | 6000.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
6.16 | c) 20 Amps Switch | 200.00 | Nos. |  | 21.00 | 4200.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 4200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.17 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 26.00 | 5200.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 5200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.18 | Fixing of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 26.00 | 1300.00 | 199.00 | 9950.00 | 300.00 | 15000.00 | 1300.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.19 | Fixing of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 79.00 | 395.00 | 199.00 | 995.00 | 300.00 | 1500.00 | 395.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.20 | Fixing of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 158.00 | 790.00 | 199.00 | 995.00 | 300.00 | 1500.00 | 790.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.21 | Fixing of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 158.00 | 790.00 | 299.00 | 1495.00 | 300.00 | 1500.00 | 790.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.22 | Fixing of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 158.00 | 1580.00 | 199.00 | 1990.00 | 300.00 | 3000.00 | 1580.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.23 | Fixing of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 210.00 | 1050.00 | 299.00 | 1495.00 | 400.00 | 2000.00 | 1050.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.24 | Fixing of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) | 5.00 | Nos. |  | 1050.00 | 5250.00 | 999.00 | 4995.00 | 1500.00 | 7500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
6.25 | Fixing of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) | 5.00 | Nos. |  | 1313.00 | 6565.00 | 1499.00 | 7495.00 | 1500.00 | 7500.00 | 6565.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.26 | Laying of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.27 | Laying of 25 mm PVC Flexible (1'') Hose Pipe | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.28 | Laying of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 16.00 | 8000.00 | 19.00 | 9500.00 | 25.00 | 12500.00 | 8000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.29 | Fixing of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 11.00 | 330.00 | 19.00 | 570.00 | 19.00 | 570.00 | 330.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.30 | Fixing of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 11.00 | 330.00 | 19.00 | 570.00 | 29.00 | 870.00 | 330.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | SUB - HEAD - VII - Third Year (Man Power for Repair & Maintenance Works)
7.01 | Facility management for all Internal and External Electrical installations at New Domestic Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of repair/replacement of circuit wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days | 12.00 | Months |  | 197970.00 | 2375640.00 | 207999.00 | 2495988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.02 | Facility management for all Internal and External Electrical installations at New International Terminal Complex and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of wiring, switches, breakers i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of EI installations in passenger movement area, preventive maintenance , maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses on round the clock 3 shifts basis on all days for including Sundays and holidays. One Supervisor in General Shifts for 6 days in a week. One Technician & One Helper in each of the A, B & C Shifts for All Days. | 12.00 | Months |  | 197970.00 | 2375640.00 | 207999.00 | 2495988.00 | 206399.00 | 2476788.00 | 2375640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.00 | SUB - HEAD - VIII - Third Year (Supply Portion)
8.01 | Supply of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 43.00 | 129000.00 | 39.00 | 117000.00 | 49.00 | 147000.00 | 117000.00 | CHENNAI ENGINEERING SERVICES
8.02 | Supply of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 69.00 | 207000.00 | 69.00 | 207000.00 | 79.00 | 237000.00 | 207000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
8.03 | Supply of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 104.00 | 20800.00 | 109.00 | 21800.00 | 102.00 | 20400.00 | 20400.00 | DElite System Engineering (India) Pvt. Ltd.
8.04 | Supply of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 194.00 | 19400.00 | 209.00 | 20900.00 | 149.00 | 14900.00 | 14900.00 | DElite System Engineering (India) Pvt. Ltd.
8.05 | Supply of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 249.00 | 49800.00 | 269.00 | 53800.00 | 249.00 | 49800.00 | 49800.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD.
8.06 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 108.00 | 21600.00 | 109.00 | 21800.00 | 99.00 | 19800.00 | 19800.00 | DElite System Engineering (India) Pvt. Ltd.
8.07 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 132.00 | 26400.00 | 129.00 | 25800.00 | 109.00 | 21800.00 | 21800.00 | DElite System Engineering (India) Pvt. Ltd.
8.08 | Supply of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 151.00 | 30200.00 | 159.00 | 31800.00 | 129.00 | 25800.00 | 25800.00 | DElite System Engineering (India) Pvt. Ltd.
8.09 | Providing 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 19.00 | 11400.00 | 19.00 | 11400.00 | 19.00 | 11400.00 | 11400.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
8.10 | Supply of Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a).3.5CX16SQMM | 10.00 | Nos. |  | 116.00 | 1160.00 | 109.00 | 1090.00 | 349.00 | 3490.00 | 1090.00 | CHENNAI ENGINEERING SERVICES
8.11 | b).3.5CX25SQMM | 10.00 | Nos. |  | 146.00 | 1460.00 | 149.00 | 1490.00 | 349.00 | 3490.00 | 1460.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.12 | c).3.5CX35SQMM | 10.00 | Nos. |  | 176.00 | 1760.00 | 179.00 | 1790.00 | 399.00 | 3990.00 | 1760.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.13 | Supply of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 89.00 | 13350.00 | 89.00 | 13350.00 | 99.00 | 14850.00 | 13350.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
8.14 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 145.00 | 21750.00 | 149.00 | 22350.00 | 149.00 | 22350.00 | 21750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.15 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 243.00 | 12150.00 | 249.00 | 12450.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
8.16 | Supply of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 34.00 | 6800.00 | 29.00 | 5800.00 | 55.00 | 11000.00 | 5800.00 | CHENNAI ENGINEERING SERVICES
8.17 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 89.00 | 17800.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 17800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
8.18 | c) 20 Amps Switch | 200.00 | Nos. |  | 87.00 | 17400.00 | 89.00 | 17800.00 | 120.00 | 24000.00 | 17400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.19 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 158.00 | 31600.00 | 159.00 | 31800.00 | 199.00 | 39800.00 | 31600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.20 | Supply of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 152.00 | 7600.00 | 109.00 | 5450.00 | 200.00 | 10000.00 | 5450.00 | CHENNAI ENGINEERING SERVICES
8.21 | Supply of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 707.00 | 3535.00 | 699.00 | 3495.00 | 799.00 | 3995.00 | 3495.00 | CHENNAI ENGINEERING SERVICES
8.22 | Supply of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 2228.00 | 11140.00 | 2399.00 | 11995.00 | 2599.00 | 12995.00 | 11140.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.23 | Supply of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 1136.00 | 5680.00 | 1199.00 | 5995.00 | 1499.00 | 7495.00 | 5680.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.24 | Supply of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 1957.00 | 19570.00 | 1999.00 | 19990.00 | 2999.00 | 29990.00 | 19570.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.25 | Supply of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 5209.00 | 26045.00 | 3999.00 | 19995.00 | 7299.00 | 36495.00 | 19995.00 | CHENNAI ENGINEERING SERVICES
8.26 | Supply of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 933.00 | 4665.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4665.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.27 | b). 6WAY | 5.00 | Nos. |  | 1031.00 | 5155.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
8.28 | c). 8WAY | 5.00 | Nos. |  | 1104.00 | 5520.00 | 999.00 | 4995.00 | 3500.00 | 17500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
8.29 | d). 10WAY | 5.00 | Nos. |  | 1232.00 | 6160.00 | 1299.00 | 6495.00 | 4500.00 | 22500.00 | 6160.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.30 | e). 12WAY | 5.00 | Nos. |  | 1359.00 | 6795.00 | 1399.00 | 6995.00 | 4500.00 | 22500.00 | 6795.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.31 | Supply of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) a). 4WAY | 5.00 | Nos. |  | 6549.00 | 32745.00 | 6499.00 | 32495.00 | 12500.00 | 62500.00 | 32495.00 | CHENNAI ENGINEERING SERVICES
8.32 | b). 8WAY | 5.00 | Nos. |  | 7800.00 | 39000.00 | 7999.00 | 39995.00 | 12500.00 | 62500.00 | 39000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.33 | c). 12WAY | 5.00 | Nos. |  | 9204.00 | 46020.00 | 9399.00 | 46995.00 | 12500.00 | 62500.00 | 46020.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.34 | Supply of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 21.00 | 6300.00 | 19.00 | 5700.00 | 32.00 | 9600.00 | 5700.00 | CHENNAI ENGINEERING SERVICES
8.35 | Supply of 25 mm PVC Flexible Hose Pipe (1") | 300.00 | Mtrs. |  | 13.00 | 3900.00 | 19.00 | 5700.00 | 29.00 | 8700.00 | 3900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.36 | Supply of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 28.00 | 14000.00 | 39.00 | 19500.00 | 39.00 | 19500.00 | 14000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.37 | Supply of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 44.00 | 1320.00 | 49.00 | 1470.00 | 65.00 | 1950.00 | 1320.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.38 | Supply of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 59.00 | 1770.00 | 69.00 | 2070.00 | 79.00 | 2370.00 | 1770.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.00 | SUB - HEAD - IX - Third Year (Service Portion)
9.01 | Laying of 1.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 17.00 | 51000.00 | 19.00 | 57000.00 | 19.00 | 57000.00 | 51000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.02 | Laying of 2.5 Sq.mm. X 3C Flexible Cable | 3000.00 | Mtrs. |  | 17.00 | 51000.00 | 29.00 | 87000.00 | 19.00 | 57000.00 | 51000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.03 | Laying of 4 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 17.00 | 3400.00 | 29.00 | 5800.00 | 19.00 | 3800.00 | 3400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.04 | Laying of 6 Sq.mm. X 4C Flexible Cable | 100.00 | Mtrs. |  | 17.00 | 1700.00 | 29.00 | 2900.00 | 29.00 | 2900.00 | 1700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.05 | Laying of 10 Sq.mm. X 3C Flexible Cable | 200.00 | Mtrs. |  | 17.00 | 3400.00 | 29.00 | 5800.00 | 29.00 | 5800.00 | 3400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.06 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 16 Sq.mm. | 200.00 | Mtrs. |  | 27.00 | 5400.00 | 39.00 | 7800.00 | 39.00 | 7800.00 | 5400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.07 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 25 Sq.mm. | 200.00 | Mtrs. |  | 39.00 | 7800.00 | 49.00 | 9800.00 | 39.00 | 7800.00 | 7800.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD.
9.08 | Laying of XLPE insulated PVC sheathed armored Aluminum conductor power cable of 1.1 KV grade of 3.5C X 35 Sq.mm. | 200.00 | Mtrs. |  | 44.00 | 8800.00 | 69.00 | 13800.00 | 39.00 | 7800.00 | 7800.00 | DElite System Engineering (India) Pvt. Ltd.
9.09 | Laying 6 SWG dia G.I. wire for loop earthing along with existing surface / recessed conduit/ submain wiring / cable | 600.00 | Mtrs. |  | 8.00 | 4800.00 | 9.00 | 5400.00 | 19.00 | 11400.00 | 4800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.10 | Making end termination with Gland and Aluminium Lugs for following size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade a) 3.5C x 16 Sq.mm. upto 35 Sq.mm. | 10.00 | Set |  | 166.00 | 1660.00 | 199.00 | 1990.00 | 250.00 | 2500.00 | 1660.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.11 | Fixing of following size/ modules, PVC box alongwith modular base & cover plate for modular switches a) 3 Module (100 mm X 75 mm) | 150.00 | Nos. |  | 34.00 | 5100.00 | 39.00 | 5850.00 | 40.00 | 6000.00 | 5100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.12 | b) 6 Module (85 mm X 219 mm) | 150.00 | Nos. |  | 34.00 | 5100.00 | 49.00 | 7350.00 | 40.00 | 6000.00 | 5100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.13 | c) 9 Module (85 mm X 248 mm) | 50.00 | Nos. |  | 34.00 | 1700.00 | 59.00 | 2950.00 | 59.00 | 2950.00 | 1700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.14 | Fixing of following modular switch/socket for fixing on the existing modular plate & switch box a) 10 Amps Switch | 200.00 | Nos. |  | 22.00 | 4400.00 | 19.00 | 3800.00 | 30.00 | 6000.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
9.15 | b) 10 Amps Socket Outlet | 200.00 | Nos. |  | 27.00 | 5400.00 | 19.00 | 3800.00 | 30.00 | 6000.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
9.16 | c) 20 Amps Switch | 200.00 | Nos. |  | 22.00 | 4400.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 4400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.17 | d) 10 & 20 Amps Socket Outlet | 200.00 | Nos. |  | 27.00 | 5400.00 | 29.00 | 5800.00 | 30.00 | 6000.00 | 5400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.18 | Fixing of 6A to 32A SPN MCB C curve for the existing DB | 50.00 | Nos. |  | 27.00 | 1350.00 | 199.00 | 9950.00 | 300.00 | 15000.00 | 1350.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.19 | Fixing of 63 Amps MCB (2 Pole) | 5.00 | Nos. |  | 83.00 | 415.00 | 199.00 | 995.00 | 300.00 | 1500.00 | 415.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.20 | Fixing of 63 Amps change over (MCB Type) | 5.00 | Nos. |  | 166.00 | 830.00 | 199.00 | 995.00 | 300.00 | 1500.00 | 830.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.21 | Fixing of 63 Amps MCB 4 Pole | 5.00 | Nos. |  | 166.00 | 830.00 | 299.00 | 1495.00 | 300.00 | 1500.00 | 830.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.22 | Fixing of 63 Amps (Double pole ELCB) | 10.00 | Nos. |  | 166.00 | 1660.00 | 199.00 | 1990.00 | 300.00 | 3000.00 | 1660.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.23 | Fixing of 63A 25KA 4 pole MCCB for the existing DB | 5.00 | Nos. |  | 221.00 | 1105.00 | 299.00 | 1495.00 | 400.00 | 2000.00 | 1105.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.24 | Fixing of Single Phase 4 way upto 12 way DB Double Door SPN (Vertical Type) | 5.00 | Nos. |  | 1103.00 | 5515.00 | 999.00 | 4995.00 | 1500.00 | 7500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
9.25 | Fixing of 3 Phase 4 way upto 12 way DB Double Door TPN (Vertical Type) | 5.00 | Nos. |  | 1379.00 | 6895.00 | 1499.00 | 7495.00 | 1500.00 | 7500.00 | 6895.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.26 | Laying of 25 mm PVC casing & caping (1") | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.27 | Laying of 25 mm PVC Flexible (1'') Hose Pipe | 300.00 | Mtrs. |  | 5.00 | 1500.00 | 9.00 | 2700.00 | 19.00 | 5700.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.28 | Laying of 25 mm PVC Pipe (1'') | 500.00 | Mtrs. |  | 17.00 | 8500.00 | 19.00 | 9500.00 | 25.00 | 12500.00 | 8500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.29 | Fixing of 5 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 12.00 | 360.00 | 19.00 | 570.00 | 19.00 | 570.00 | 360.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.30 | Fixing of 15 Amps 3 Pin Plug Top | 30.00 | Nos. |  | 12.00 | 360.00 | 19.00 | 570.00 | 29.00 | 870.00 | 360.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  |  | 17366575.00 |  | 18228668.00 |  | 19062228.00
Lowest Amount Quoted BY: PREMIER ENGINEERING TECHNICS PVT. LTD.(17366575.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of Internal Electrical Network Installations at New Domestic and New International Terminals at Chennai Airport Tender ID: 2020_AAI_58277_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 17366575.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 18228668.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 19062228.00 | L3