## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 29-Oct-2020 04:31 PM Tender Title: Convertion of Conventional fixtures to LED fixture at Coimbatore International Airport Tender ID: 2020_AAI_58374_1
Tender Inviting Authority: Asst.Gen.Manager(E-E), AAI, Coimbatore International Airport.
Name of Work: Convertion of Conventional fixtures to LED fixture at Coimbatore International Airport.
Contract No: 2020_AAI_58374_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9) |  | Capart Industries Pvt. Ltd.,(GSTN-36AABCC3174B1Z5) |  | INTELECT TECHNOLOGIES(GSTN-33AADFI6411Q1Z8) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | POWER ELECTRICAL WORKS(GSTN-33AADPT3125C1Z8) |  | R.K.M. ELECTRICALS(GSTN-33ACAPM4207B2ZE) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | SRI RAJARAJESHWARI ELECTRICALS(GSTN-29AINPB0160H2ZG) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | HPL Electric and Power Limited(GSTN-06AAACH0165J2ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W LED Flood light with High pressure die-cast alluminium/standard alloy housing and LEDs of approved make pasted on die cast housing and high efficiency PMMA diffuser, Driver installed on cast alluminium housing and prewired upto the terminal block. It has a system lumen output not less than 22000 lumens with luminarie efficiency of not less than 110 lm/W, CCT from 5700K ± 300K, suitable for outdoor applications complete as per technical specification.(Similar to Crompton, CAT No.LFLN-200-CDL/60-M or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 27.00 | each |  | 10800.00 | 291600.00 | 8839.12 | 238656.24 | 8000.00 | 216000.00 | 8611.00 | 232497.00 | 6207.00 | 167589.00 | 8678.88 | 234329.76 | 10800.00 | 291600.00 | 9675.00 | 261225.00 | 10520.00 | 284040.00 | 12000.00 | 324000.00 | 8949.00 | 241623.00 | 8088.00 | 218376.00 | 8565.00 | 231255.00 | 6798.00 | 183546.00 | 167589.00 | Capart Industries Pvt. Ltd.,
2.00 | Supply of 150W LED Flood light with High pressure die-cast alluminium/standard alloy housing and LEDs of approved make pasted on die cast housing and high efficiency PMMA diffuser, Driver installed on cast alluminium housing and prewired upto the terminal block.It has a system lumen output not less than 16500 lumens with luminarie efficiency of not less than 110 lm/W, CCT from 5700K ± 300K, suitable for outdoor applications complete as per technical specification.(Similar to Crompton, CAT No.LFLN-150-CDL/60-M or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 65.00 | each |  | 8400.00 | 546000.00 | 6629.34 | 430907.10 | 5900.00 | 383500.00 | 5840.00 | 379600.00 | 4371.00 | 284115.00 | 6662.91 | 433089.15 | 7200.00 | 468000.00 | 7015.00 | 455975.00 | 8700.00 | 565500.00 | 10500.00 | 682500.00 | 8849.00 | 575185.00 | 6566.00 | 426790.00 | 6370.00 | 414050.00 | 5099.00 | 331435.00 | 284115.00 | Capart Industries Pvt. Ltd.,
3.00 | Supply of 80W LED Flood light with High pressure die-cast alluminium/standard alloy housing and LEDs of approved make pasted on diecast housing and high efficiency PMMA diffuser, Driver installed on cast alluminium housing and prewired upto the terminal block. It has a system lumen output not less than 8800 lumens with luminarie efficiency of not less than 110 lm/W, CCT from 5700K ± 300K, suitable for outdoor applications complete as per technical specification. (Similar to Crompton, CAT No. LFL-80-CDL/60-M or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 30.00 | each |  | 4920.00 | 147600.00 | 4289.57 | 128687.10 | 4150.00 | 124500.00 | 4387.00 | 131610.00 | 3725.00 | 111750.00 | 3842.52 | 115275.60 | 4770.00 | 143100.00 | 4644.00 | 139320.00 | 4885.00 | 146550.00 | 5500.00 | 165000.00 | 5449.00 | 163470.00 | 4155.00 | 124650.00 | 3920.00 | 117600.00 | 2719.00 | 81570.00 | 81570.00 | HPL Electric and Power Limited
4.00 | Supplying of 80W LED street light fitting having lumen output not less than 8800 lumens and system efficiency of not less than 110 lumens per watt, CCT from 4000K ± 300K, complete with electronic driver and accessories etc, suitable for outdoor applications complete as per technical specifications. (Similar to Havells CAT No. ENDURACITYLINERNEOMPSL80WLED757PASYBOTG or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 65.00 | each |  | 3480.00 | 226200.00 | 3704.63 | 240800.95 | 3600.00 | 234000.00 | 3917.00 | 254605.00 | 2659.00 | 172835.00 | 3297.63 | 214345.95 | 4770.00 | 310050.00 | 4458.00 | 289770.00 | 5353.00 | 347945.00 | 6500.00 | 422500.00 | 5879.00 | 382135.00 | 4555.00 | 296075.00 | 4080.00 | 265200.00 | 2719.00 | 176735.00 | 172835.00 | Capart Industries Pvt. Ltd.,
5.00 | Supplying of 60W LED street light fitting having lumen output not less than 6600 lumens and system efficiency of not less than 110 lumens per watt, CCT from 5700K ± 300K, complete with electronic driver and accessories etc, suitable for outdoor applications complete as per technical specifications. (Similar to Havells CAT No.ENDURACITYLINERNEOMPSL65WLED757PASYBOTG or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 35.00 | each |  | 1980.00 | 69300.00 | 3054.69 | 106914.15 | 3100.00 | 108500.00 | 2783.00 | 97405.00 | 2335.00 | 81725.00 | 3097.14 | 108399.90 | 4500.00 | 157500.00 | 3528.00 | 123480.00 | 3752.00 | 131320.00 | 4800.00 | 168000.00 | 3899.00 | 136465.00 | 3155.00 | 110425.00 | 3205.00 | 112175.00 | 2039.00 | 71365.00 | 69300.00 | RVD INFRA SOLUTION PVT.LTD.
6.00 | Supply of 600mmX600mm recess mounted 36W LED fixture with high efficiency PMMA diffuser complete with driver and accessories having lumen output not less than 3600 Lumens with luminarie efficiency not less than 100 lumens/Watt, CCT from 5700K ± 300K, Suitable to Indoor applications complete as per technical specifications.(Similar to Cropmton.CAT No. CCR-127-36-57-SL-NWH or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 75.00 | Each |  | 3000.00 | 225000.00 | 1754.82 | 131611.50 | 1650.00 | 123750.00 | 1750.00 | 131250.00 | 1357.00 | 101775.00 | 1742.91 | 130718.25 | 2700.00 | 202500.00 | 1949.00 | 146175.00 | 2580.00 | 193500.00 | 2600.00 | 195000.00 | 1999.00 | 149925.00 | 1828.00 | 137100.00 | 1960.00 | 147000.00 | 1360.00 | 102000.00 | 101775.00 | Capart Industries Pvt. Ltd.,
7.00 | Supply of self ballasted LED lamp equivalent to 36W Fluorescent tube light with heat dissipation capability with Opal diffuser which creates Optimum light uniformity with minimum glare with integral current led driver, it has system lumen output not less than 3600lumens with luminarie efficiency of not less than 100lm/W, CCT from 5700K ± 300K, Suitable for indoor applications completes as per technical specifications.(Similar to Crompton CAT No.LT8-8-565-2 or equivalent). Note: Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly (After 5 years extra luminaries will be handed over to L1 Bidder). | 100.00 | each |  | 360.00 | 36000.00 | 298.97 | 29897.00 | 340.00 | 34000.00 | 212.00 | 21200.00 | 280.00 | 28000.00 | 279.21 | 27921.00 | 270.00 | 27000.00 | 317.00 | 31700.00 | 577.00 | 57700.00 | 500.00 | 50000.00 | 349.00 | 34900.00 | 256.00 | 25600.00 | 540.00 | 54000.00 | 255.00 | 25500.00 | 21200.00 | Manoprabha Electricals
8.00 | Surface/wall mtd battern housing inwhite powder coated CRCA housing, pre-wired (Double sided) and suitable to LED tube operate at 230 V, 50 Hz AC supply etc as required. | 75.00 | each |  | 240.00 | 18000.00 | 230.43 | 17282.25 | 190.00 | 14250.00 | 315.00 | 23625.00 | 1092.00 | 81900.00 | 246.00 | 18450.00 | 150.00 | 11250.00 | 210.00 | 15750.00 | 403.00 | 30225.00 | 500.00 | 37500.00 | 359.00 | 26925.00 | 181.00 | 13575.00 | 210.00 | 15750.00 | 417.00 | 31275.00 | 11250.00 | C P MONCHESTER ELECTRICALS
9.00 | Installation, testing and commissioning of prewired high bay / flood light fitting/Street light of all types complete with all accessories, lamps etc. directly on ceiling / MS structure / wall including connection with 1.5 sq.mm PVC insulated FRLS copper conductor single core cable and earthing etc. as required. | 200.00 | each |  | 360.00 | 72000.00 | 467.00 | 93400.00 | 1000.00 | 200000.00 | 200.00 | 40000.00 | 900.00 | 180000.00 | 307.50 | 61500.00 | 450.00 | 90000.00 | 200.00 | 40000.00 | 150.00 | 30000.00 | 350.00 | 70000.00 | 299.00 | 59800.00 | 150.00 | 30000.00 | 850.00 | 170000.00 | 370.00 | 74000.00 | 30000.00 | POWER ELECTRICAL WORKS, SRI RAJARAJESHWARI ELECTRICALS
10.00 | Supply, installation, testing and commissioning of 20KVA capacity 3 phase in/3 phase out online UPS with double conversion PWM IGBT technology to drive constant current regulators & suitable specifications/data sheet as enclosed. The UPS shall have built in automatic static by pass, active input power factor correction, phase sequence detector, pure sine wave output, built-in isolation transformer, compatibility with generator supply, cold start capability, EMI/RFI noise filter advanced communication-RS232 port and user friendly LCD display, suitable to operate at 415V, 50 Hz, 3 phase AC supply and delivering 3phase output and necessary safety protection. The job also includes supply and connecting required number of 12V, VRLA/SMF batteries to give a backup time of minimum 20 minutes along with battery rack, connectors, wiring between battery bank and UPS with insulated copper conductor of required size i/c end termination of incoming and outgoing power cable as per site condition etc. complete as required. | 3.00 | Each |  | 420000.00 | 1260000.00 | 400632.00 | 1201896.00 | 383500.00 | 1150500.00 | 350000.00 | 1050000.00 | 377000.00 | 1131000.00 | 381000.00 | 1143000.00 | 345600.00 | 1036800.00 | 407000.00 | 1221000.00 | 368891.00 | 1106673.00 | 325000.00 | 975000.00 | 449999.00 | 1349997.00 | 630460.00 | 1891380.00 | 401850.00 | 1205550.00 | 360365.00 | 1081095.00 | 975000.00 | R.K.M. ELECTRICALS
11.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall/ surface as required. Upto 35 Sq.mm | 200.00 | Mtr |  | 36.00 | 7200.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 325.00 | 65000.00 | 369.00 | 73800.00 | 60.00 | 12000.00 | 50.00 | 10000.00 | 25.00 | 5000.00 | 75.00 | 15000.00 | 59.00 | 11800.00 | 90.00 | 18000.00 | 35.00 | 7000.00 | 42.00 | 8400.00 | 5000.00 | POWER ELECTRICAL WORKS
12.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall/ surface as required. Above 35 Sq.mm upto 95 Sq.mm | 200.00 | Mtr |  | 48.00 | 9600.00 | 35.00 | 7000.00 | 70.00 | 14000.00 | 70.00 | 14000.00 | 325.00 | 65000.00 | 369.00 | 73800.00 | 90.00 | 18000.00 | 70.00 | 14000.00 | 30.00 | 6000.00 | 100.00 | 20000.00 | 69.00 | 13800.00 | 90.00 | 18000.00 | 45.00 | 9000.00 | 67.00 | 13400.00 | 6000.00 | POWER ELECTRICAL WORKS
13.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on cable tray as required(With Cable tie). Upto 35 Sq.mm | 150.00 | Mtr |  | 20.00 | 3000.00 | 32.00 | 4800.00 | 60.00 | 9000.00 | 20.00 | 3000.00 | 325.00 | 48750.00 | 369.00 | 55350.00 | 60.00 | 9000.00 | 35.00 | 5250.00 | 25.00 | 3750.00 | 50.00 | 7500.00 | 59.00 | 8850.00 | 40.00 | 6000.00 | 30.00 | 4500.00 | 50.00 | 7500.00 | 3000.00 | RVD INFRA SOLUTION PVT.LTD., Manoprabha Electricals
14.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on cable tray as required(With Cable tie). Above 35 Sq.mm upto 95 Sq.mm | 150.00 | Mtr |  | 20.00 | 3000.00 | 38.00 | 5700.00 | 90.00 | 13500.00 | 30.00 | 4500.00 | 325.00 | 48750.00 | 369.00 | 55350.00 | 90.00 | 13500.00 | 50.00 | 7500.00 | 30.00 | 4500.00 | 60.00 | 9000.00 | 69.00 | 10350.00 | 60.00 | 9000.00 | 40.00 | 6000.00 | 42.00 | 6300.00 | 3000.00 | RVD INFRA SOLUTION PVT.LTD.
15.00 | Supplying and making indoor cable end termination with brass compression gland and aluminium lugs for following size of PVC insulated PVC sheathed/ XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5C 50 Sq.mm | 10.00 | each |  | 480.00 | 4800.00 | 718.00 | 7180.00 | 1200.00 | 12000.00 | 300.00 | 3000.00 | 754.00 | 7540.00 | 615.00 | 6150.00 | 900.00 | 9000.00 | 850.00 | 8500.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 299.00 | 2990.00 | 402.00 | 4020.00 | 250.00 | 2500.00 | 392.00 | 3920.00 | 2000.00 | R.K.M. ELECTRICALS
16.00 | Supplying and making indoor cable end termination with brass compression gland and aluminium lugs for following size of PVC insulated PVC sheathed/ XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5C 25 Sq.mm | 10.00 | each |  | 480.00 | 4800.00 | 601.00 | 6010.00 | 850.00 | 8500.00 | 150.00 | 1500.00 | 665.00 | 6650.00 | 615.00 | 6150.00 | 600.00 | 6000.00 | 572.00 | 5720.00 | 250.00 | 2500.00 | 150.00 | 1500.00 | 299.00 | 2990.00 | 399.00 | 3990.00 | 225.00 | 2250.00 | 321.00 | 3210.00 | 1500.00 | Manoprabha Electricals, R.K.M. ELECTRICALS
17.00 | Earthing with 38 mm dia, 3 mtr length copper pipe including excavation using 150 mm dia Augur or by manually digging a pit of size 600x600 mm at a depth of 3 mtr. Refilling with chemical powder (moisture enchancer) of 50 kgs i/c providing masonary enclosure with cover plate having locking arrangement etc complete as required. | 10.00 | each |  | 9600.00 | 96000.00 | 14285.00 | 142850.00 | 12000.00 | 120000.00 | 10000.00 | 100000.00 | 27950.00 | 279500.00 | 18450.00 | 184500.00 | 18000.00 | 180000.00 | 8000.00 | 80000.00 | 17500.00 | 175000.00 | 12000.00 | 120000.00 | 19999.00 | 199990.00 | 10000.00 | 100000.00 | 12000.00 | 120000.00 | 13334.00 | 133340.00 | 80000.00 | ECS ENGINEERING PVT LTD
18.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 50.00 | Mtr |  | 948.00 | 47400.00 | 732.85 | 36642.50 | 680.00 | 34000.00 | 900.00 | 45000.00 | 650.00 | 32500.00 | 959.40 | 47970.00 | 900.00 | 45000.00 | 1048.00 | 52400.00 | 1008.00 | 50400.00 | 1000.00 | 50000.00 | 549.00 | 27450.00 | 700.00 | 35000.00 | 930.00 | 46500.00 | 918.00 | 45900.00 | 27450.00 | CHENNAI ENGINEERING SERVICES
19.00 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | 50.00 | Mtr |  | 108.00 | 5400.00 | 109.24 | 5462.00 | 230.00 | 11500.00 | 300.00 | 15000.00 | 650.00 | 32500.00 | 135.30 | 6765.00 | 270.00 | 13500.00 | 175.00 | 8750.00 | 170.00 | 8500.00 | 200.00 | 10000.00 | 149.00 | 7450.00 | 140.00 | 7000.00 | 230.00 | 11500.00 | 128.00 | 6400.00 | 5400.00 | RVD INFRA SOLUTION PVT.LTD.
20.00 | SITC of 8 way (8+24 IC/OG Pre Wired with cable end box) ,TPN harizontal , sheet steel, MCB distribution board, 240 volts, on surface/ recess,double door complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 3.00 | each |  | 4080.00 | 12240.00 | 4460.10 | 13380.30 | 10000.00 | 30000.00 | 3000.00 | 9000.00 | 6942.00 | 20826.00 | 49200.00 | 147600.00 | 12000.00 | 36000.00 | 4100.00 | 12300.00 | 3096.00 | 9288.00 | 12000.00 | 36000.00 | 9999.00 | 29997.00 | 4006.00 | 12018.00 | 6100.00 | 18300.00 | 4352.00 | 13056.00 | 9000.00 | Manoprabha Electricals
| Total in Figures |  |  |  |  | 3085140.00 |  | 2855077.09 |  | 2851500.00 |  | 2562792.00 |  | 2947705.00 |  | 3144464.61 |  | 3079800.00 |  | 2928815.00 |  | 3161891.00 |  | 3360500.00 |  | 3436092.00 |  | 3486999.00 |  | 2960130.00 |  | 2399947.00
Lowest Amount Quoted BY: HPL Electric and Power Limited(2399947.00)

## BOQ Summary
BOQ Summary Details Tender Title: Convertion of Conventional fixtures to LED fixture at Coimbatore International Airport Tender ID: 2020_AAI_58374_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HPL Electric and Power Limited | 2399947.00 | L1
| 2 | Manoprabha Electricals | 2562792.00 | L2
| 3 | Shantha ELectricals and Engineers Pvt Ltd | 2851500.00 | L3
| 4 | Yash Energy Pvt. Ltd | 2855077.09 | L4
| 5 | ECS ENGINEERING PVT LTD | 2928815.00 | L5
| 6 | Capart Industries Pvt. Ltd., | 2947705.00 | L6
| 7 | vk sam engineering | 2960130.00 | L7
| 8 | C P MONCHESTER ELECTRICALS | 3079800.00 | L8
| 9 | RVD INFRA SOLUTION PVT.LTD. | 3085140.00 | L9
| 10 | INTELECT TECHNOLOGIES | 3144464.61 | L10
| 11 | POWER ELECTRICAL WORKS | 3161891.00 | L11
| 12 | R.K.M. ELECTRICALS | 3360500.00 | L12
| 13 | CHENNAI ENGINEERING SERVICES | 3436092.00 | L13
| 14 | SRI RAJARAJESHWARI ELECTRICALS | 3486999.00 | L14