## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 16-Nov-2020 12:57 PM Tender Title: Replacement of old faulty Power Cables and feeder pillar at C.A. Kandla Tender ID: 2020_AAI_58386_1
Tender Inviting Authority: Sr. Manager (E-E)
Name of Work: Replacement of old faulty Power Cables and feeder pillar at C.A. Kandla
Contract No: 2019_AAI_58386_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of heavy duty XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098, Part I 1988 with upto date amendments of following size complete as required.
1.10 | 3.5 core 240 sq. mm | 650.00 | Mtr |  | 752.00 | 488800.00 | 705.00 | 458250.00 | 900.00 | 585000.00 | 692.00 | 449800.00 | 744.00 | 483600.00 | 449800.00 | Taral Electricals
1.20 | 3.5 core 185 sq. mm | 450.00 | Mtr |  | 597.00 | 268650.00 | 543.00 | 244350.00 | 700.00 | 315000.00 | 546.00 | 245700.00 | 589.00 | 265050.00 | 244350.00 | Techno Electricals
1.30 | 3.5 core 25 sq. mm | 410.00 | Mtr |  | 128.00 | 52480.00 | 139.00 | 56990.00 | 180.00 | 73800.00 | 112.00 | 45920.00 | 128.00 | 52480.00 | 45920.00 | Taral Electricals
1.40 | 4 core 16 sq. mm | 1100.00 | Mtr |  | 101.00 | 111100.00 | 106.00 | 116600.00 | 110.00 | 121000.00 | 88.00 | 96800.00 | 100.00 | 110000.00 | 96800.00 | Taral Electricals
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required and making the ground surface same as before the execution of work.
2.10 | Above 95 sq. mm and upto 185 sq. mm | 390.00 | Mtr |  | 273.00 | 106470.00 | 265.00 | 103350.00 | 110.00 | 42900.00 | 256.00 | 99840.00 | 330.00 | 128700.00 | 42900.00 | jaydeep agency corporation
2.20 | Above 185 sq. mm and upto 400 sq. mm | 275.00 | Mtr |  | 320.00 | 88000.00 | 255.00 | 70125.00 | 125.00 | 34375.00 | 262.00 | 72050.00 | 350.00 | 96250.00 | 34375.00 | jaydeep agency corporation
3.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required and making the ground surface same as before the execution of work.
3.10 | Above 185 sq. mm and upto 400 sq. mm | 275.00 | Mtr |  | 230.00 | 63250.00 | 240.00 | 66000.00 | 90.00 | 24750.00 | 195.00 | 53625.00 | 290.00 | 79750.00 | 24750.00 | jaydeep agency corporation
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required and making the surface same as before the execution of work.
4.10 | Upto 35 sq. mm | 840.00 | Mtr |  | 24.00 | 20160.00 | 40.00 | 33600.00 | 20.00 | 16800.00 | 47.00 | 39480.00 | 50.00 | 42000.00 | 16800.00 | jaydeep agency corporation
4.20 | Above 95 sq. mm and upto 185 sq. mm | 78.00 | Mtr |  | 50.00 | 3900.00 | 40.00 | 3120.00 | 30.00 | 2340.00 | 54.00 | 4212.00 | 100.00 | 7800.00 | 2340.00 | jaydeep agency corporation
4.30 | Above 185 sq. mm and upto 400 sq. mm | 30.00 | Mtr |  | 90.00 | 2700.00 | 40.00 | 1200.00 | 40.00 | 1200.00 | 78.00 | 2340.00 | 130.00 | 3900.00 | 1200.00 | Techno Electricals, jaydeep agency corporation
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Above 95 sq. mm and upto 185 sq. mm size in the existing masonry open duct as required and making the surface same as before the execution of work. | 10.00 | Mtr |  | 42.00 | 420.00 | 40.00 | 400.00 | 30.00 | 300.00 | 59.00 | 590.00 | 70.00 | 700.00 | 300.00 | jaydeep agency corporation
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40 x 3 mm MS flat clamp) size on wall surface as required and making the surface same as before the execution of work. | 30.00 | Mtr |  | 98.00 | 2940.00 | 55.00 | 1650.00 | 30.00 | 900.00 | 95.00 | 2850.00 | 250.00 | 7500.00 | 900.00 | jaydeep agency corporation
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40 x 3 mm MS flat clamp) size on cable tray as required and making the surface same as before the execution of work. | 10.00 | Mtr |  | 75.00 | 750.00 | 55.00 | 550.00 | 30.00 | 300.00 | 95.00 | 950.00 | 250.00 | 2500.00 | 300.00 | jaydeep agency corporation
8.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe of grade PN-04 , PE-63 along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench, complete as required. | 800.00 | Mtr |  | 65.00 | 52000.00 | 250.00 | 200000.00 | 120.00 | 96000.00 | 77.00 | 61600.00 | 75.00 | 60000.00 | 52000.00 | SKYLINE ENGINEERS
9.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required
9.10 | 50 mm dia | 50.00 | Mtr |  | 600.00 | 30000.00 | 425.00 | 21250.00 | 450.00 | 22500.00 | 547.00 | 27350.00 | 360.00 | 18000.00 | 18000.00 | Awasthi Electric Works
9.20 | 100 mm dia | 100.00 | Mtr |  | 1000.00 | 100000.00 | 950.00 | 95000.00 | 750.00 | 75000.00 | 1000.00 | 100000.00 | 870.00 | 87000.00 | 75000.00 | jaydeep agency corporation
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.10 | 4 X 16 sq. mm (28mm) | 35.00 | Mtr |  | 200.00 | 7000.00 | 250.00 | 8750.00 | 100.00 | 3500.00 | 269.00 | 9415.00 | 150.00 | 5250.00 | 3500.00 | jaydeep agency corporation
10.20 | 3.5 X 25 sq. mm (28mm) | 4.00 | Mtr |  | 200.00 | 800.00 | 350.00 | 1400.00 | 110.00 | 440.00 | 300.00 | 1200.00 | 150.00 | 600.00 | 440.00 | jaydeep agency corporation
10.30 | 3.5 X 185 sq. mm (57mm) | 5.00 | Mtr |  | 530.00 | 2650.00 | 500.00 | 2500.00 | 350.00 | 1750.00 | 539.00 | 2695.00 | 600.00 | 3000.00 | 1750.00 | jaydeep agency corporation
10.40 | 3.5 X 240 sq. mm (62mm) | 5.00 | Mtr |  | 600.00 | 3000.00 | 500.00 | 2500.00 | 450.00 | 2250.00 | 613.00 | 3065.00 | 800.00 | 4000.00 | 2250.00 | jaydeep agency corporation
11.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 80.00 | Mtr |  | 100.00 | 8000.00 | 300.00 | 24000.00 | 165.00 | 13200.00 | 347.00 | 27760.00 | 450.00 | 36000.00 | 8000.00 | SKYLINE ENGINEERS
12.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 1850.00 | Mtr |  | 20.00 | 37000.00 | 32.00 | 59200.00 | 15.00 | 27750.00 | 12.00 | 22200.00 | 25.00 | 46250.00 | 22200.00 | Taral Electricals
13.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
13.10 | 3.5 X 25 sq. mm | 1.00 | Each |  | 1430.00 | 1430.00 | 1852.00 | 1852.00 | 250.00 | 250.00 | 1520.00 | 1520.00 | 1500.00 | 1500.00 | 250.00 | jaydeep agency corporation
13.20 | 3.5 X 185 sq. mm | 1.00 | Each |  | 2000.00 | 2000.00 | 3252.00 | 3252.00 | 850.00 | 850.00 | 2254.00 | 2254.00 | 3000.00 | 3000.00 | 850.00 | jaydeep agency corporation
14.00 | Design, Manufacture, Supply, Installation, Testing & Commissioning of totally enclosed, free standing, dust free, damp and vermin proof and water proof, Double door outdoor type IP 65 feeder pillar fabricated out of 2 mm thick CRCA sheet duly powder coated and including supply & fixing the following items and interconnection wiring with suitable size wires/cables and also including all civil work like excavation, PCC, Brick work etc. complete as per actual site requirement and specifications: (Please refer tender documents for details) | 1.00 | Job |  | 70000.00 | 70000.00 | 8525.00 | 8525.00 | 165000.00 | 165000.00 | 103000.00 | 103000.00 | 80000.00 | 80000.00 | 8525.00 | Techno Electricals
15.00 | Supply and fixing of IP 65 loop in loop out box for street light poles (Hensel make, Model No-KM9250) of following sizes, including suitable connector and DIN rail for mounting of MCBs/connectors, making interconnections as required i/c suitable clamp for fixing.(Dimension-200mm x 160mm x 98mm) | 30.00 | Each |  | 1500.00 | 45000.00 | 1325.00 | 39750.00 | 1150.00 | 34500.00 | 1000.00 | 30000.00 | 1600.00 | 48000.00 | 30000.00 | Taral Electricals
16.00 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
16.10 | Single pole | 30.00 | Each |  | 100.00 | 3000.00 | 112.00 | 3360.00 | 110.00 | 3300.00 | 110.00 | 3300.00 | 160.00 | 4800.00 | 3000.00 | SKYLINE ENGINEERS
17.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc with charcoal/ coke and salt as required. | 5.00 | Each |  | 3500.00 | 17500.00 | 6525.00 | 32625.00 | 2900.00 | 14500.00 | 5400.00 | 27000.00 | 4200.00 | 21000.00 | 14500.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 1589000.00 |  | 1660149.00 |  | 1679455.00 |  | 1536516.00 |  | 1698630.00
Lowest Amount Quoted BY: Taral Electricals(1536516.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old faulty Power Cables and feeder pillar at C.A. Kandla Tender ID: 2020_AAI_58386_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Taral Electricals | 1536516.00 | L1
| 2 | SKYLINE ENGINEERS | 1589000.00 | L2
| 3 | Techno Electricals | 1660149.00 | L3
| 4 | jaydeep agency corporation | 1679455.00 | L4
| 5 | Awasthi Electric Works | 1698630.00 | L5