## BoQ1
Government eProcurement System Created By: Shri Gopal Created Date/Time: 15-Dec-2020 12:37 PM Tender Title: Provision of 02 Nos Additional Fixed Finger for Passenger Boarding Bridge at D.A.B.H. Indore. Tender ID: 2020_AAI_58401_1
Tender Inviting Authority: AGM (Engg.-Civil)-I
Name of Work: Provision of 02 nos. additional Fixed Finger for Passenger Boarding Bridge at DABH Airport, Indore.
Contract No: AAI/INDORE/Eggg(CI)/2020-21/05
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Unique Associates(GSTN-27AFFPS6238E1ZA) |  | PD AGRAWAL INFRASTRUCTURE LIMITED(GSTN-23AACCP3626NIZC) |  | Nayan Engineering Corporation(GSTN-23ADUPS9408B1ZB) |  | Swami Contractors Pvt Ltd(GSTN-07AAICS8637E1Z3) |  | Messers Pradeep Shriwas(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 10.00 | Cum |  | 4450.00 | 44500.00 | 5000.00 | 50000.00 | 3000.00 | 30000.00 | 3878.56 | 38785.60 | 3900.00 | 39000.00 | 30000.00 | Nayan Engineering Corporation
1.02 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately).All works upto plinth level | 17.00 | Cum |  | 6700.00 | 113900.00 | 6000.00 | 102000.00 | 4800.00 | 81600.00 | 5618.90 | 95521.30 | 6500.00 | 110500.00 | 81600.00 | Nayan Engineering Corporation
1.03 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | 88.00 | Cum |  | 7600.00 | 668800.00 | 6500.00 | 572000.00 | 5000.00 | 440000.00 | 6605.04 | 581243.52 | 6630.00 | 583440.00 | 440000.00 | Nayan Engineering Corporation
1.04 | Add for using extra cement in the items of design mix over and above the specified cement content therein | 60.00 | quintal |  | 580.00 | 34800.00 | 800.00 | 48000.00 | 500.00 | 30000.00 | 473.06 | 28383.60 | 400.00 | 24000.00 | 24000.00 | Messers Pradeep Shriwas
1.05 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 20.00 | Sqm |  | 193.00 | 3860.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 200.14 | 4002.80 | 91.00 | 1820.00 | 1820.00 | Messers Pradeep Shriwas
1.06 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 35.00 | Sqm |  | 310.00 | 10850.00 | 300.00 | 10500.00 | 100.00 | 3500.00 | 387.87 | 13575.45 | 150.00 | 5250.00 | 3500.00 | Nayan Engineering Corporation
1.07 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 80.00 | Sqm |  | 310.00 | 24800.00 | 300.00 | 24000.00 | 350.00 | 28000.00 | 515.50 | 41240.00 | 300.00 | 24000.00 | 24000.00 | PD AGRAWAL INFRASTRUCTURE LIMITED, Messers Pradeep Shriwas
1.08 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2100.00 | Kg |  | 67.00 | 140700.00 | 80.00 | 168000.00 | 55.00 | 115500.00 | 58.67 | 123207.00 | 56.00 | 117600.00 | 115500.00 | Nayan Engineering Corporation
1.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 11000.00 | Kg |  | 67.00 | 737000.00 | 80.00 | 880000.00 | 55.00 | 605000.00 | 58.67 | 645370.00 | 56.00 | 616000.00 | 605000.00 | Nayan Engineering Corporation
1.10 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x4 mm | 6.00 | Each |  | 49.00 | 294.00 | 150.00 | 900.00 | 100.00 | 600.00 | 67.20 | 403.20 | 195.00 | 1170.00 | 294.00 | Unique Associates
1.11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 4.00 | Each |  | 220.00 | 880.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 162.79 | 651.16 | 234.00 | 936.00 | 651.16 | Swami Contractors Pvt Ltd
1.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 150x10 mm | 4.00 | Each |  | 67.00 | 268.00 | 200.00 | 800.00 | 50.00 | 200.00 | 52.70 | 210.80 | 247.00 | 988.00 | 200.00 | Nayan Engineering Corporation
1.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | 4.00 | Each |  | 49.00 | 196.00 | 150.00 | 600.00 | 50.00 | 200.00 | 41.91 | 167.64 | 150.00 | 600.00 | 167.64 | Swami Contractors Pvt Ltd
1.14 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :100 mm | 4.00 | Each |  | 58.00 | 232.00 | 125.00 | 500.00 | 50.00 | 200.00 | 37.13 | 148.52 | 150.00 | 600.00 | 148.52 | Swami Contractors Pvt Ltd
1.15 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. The contractor shall get structural & shop drawings with design (3 sets) for all structural work from registered consultant/architect at his own expenses & got vetted them from IIT/NIT .The Cost so incurred towards the all, will be borne by Contractor. Nothing extra shall be paid.Please refer SCC for Details. (Payment under this item shall be done for all structural steel work at all heights except in the MS tubes and connecting/welded plates with tubes & in item No.1.16,1.17,1.18 .) | 130000.00 | Kg |  | 76.00 | 9880000.00 | 80.00 | 10400000.00 | 75.00 | 9750000.00 | 71.49 | 9293700.00 | 67.71 | 8802300.00 | 8802300.00 | Messers Pradeep Shriwas
1.16 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 400.00 | Kg |  | 67.00 | 26800.00 | 150.00 | 60000.00 | 400.00 | 160000.00 | 58.91 | 23564.00 | 70.20 | 28080.00 | 23564.00 | Swami Contractors Pvt Ltd
1.17 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 6000.00 | Kg |  | 76.00 | 456000.00 | 90.00 | 540000.00 | 65.00 | 390000.00 | 65.80 | 394800.00 | 66.30 | 397800.00 | 390000.00 | Nayan Engineering Corporation
1.18 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 850.00 | Kg. |  | 85.00 | 72250.00 | 130.00 | 110500.00 | 70.00 | 59500.00 | 102.33 | 86980.50 | 80.60 | 68510.00 | 59500.00 | Nayan Engineering Corporation
1.19 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 16.00 | Sqm |  | 310.00 | 4960.00 | 6000.00 | 96000.00 | 200.00 | 3200.00 | 350.14 | 5602.24 | 325.00 | 5200.00 | 3200.00 | Nayan Engineering Corporation
1.20 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS:15622 (thickness to be specified by the manufacturer), of approved make,in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados,over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 4.00 | Sqm |  | 940.00 | 3760.00 | 1000.00 | 4000.00 | 850.00 | 3400.00 | 723.89 | 2895.56 | 676.00 | 2704.00 | 2704.00 | Messers Pradeep Shriwas
1.21 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc. complete. | 50.00 | Sqm |  | 850.00 | 42500.00 | 1500.00 | 75000.00 | 850.00 | 42500.00 | 651.24 | 32562.00 | 676.00 | 33800.00 | 32562.00 | Swami Contractors Pvt Ltd
1.22 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 35.00 | Sqm |  | 490.00 | 17150.00 | 600.00 | 21000.00 | 500.00 | 17500.00 | 440.92 | 15432.20 | 1014.00 | 35490.00 | 15432.20 | Swami Contractors Pvt Ltd
1.23 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of equired size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes, finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I | 250.00 | Sqm |  | 760.00 | 190000.00 | 1000.00 | 250000.00 | 700.00 | 175000.00 | 785.26 | 196315.00 | 845.00 | 211250.00 | 175000.00 | Nayan Engineering Corporation
1.24 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : GI Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 350.00 | Sqm |  | 1300.00 | 455000.00 | 1300.00 | 455000.00 | 1000.00 | 350000.00 | 1218.38 | 426433.00 | 1400.00 | 490000.00 | 350000.00 | Nayan Engineering Corporation
1.25 | Providing and fixing at site Modular Carpet Tiles "Remix 2.0" (Asia Pacific) , Colorline Freestyle Collection ( Freestyle FRS140-119 Rhythm with Azul or approved equivalent colours ) with Comfortplus® Cushion backing' of make 'Milliken' or approved equivalent as per Specifications and satisfaction of Engineer-In-Charge. | 470.00 | Sqm |  | 4900.00 | 2303000.00 | 5000.00 | 2350000.00 | 4100.00 | 1927000.00 | 4215.60 | 1981332.00 | 4281.00 | 2012070.00 | 1927000.00 | Nayan Engineering Corporation
1.26 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 100.00 | Sqm |  | 148.00 | 14800.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 185.17 | 18517.00 | 250.00 | 25000.00 | 14800.00 | Unique Associates
1.27 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) | 100.00 | Sqm |  | 166.00 | 16600.00 | 275.00 | 27500.00 | 150.00 | 15000.00 | 213.52 | 21352.00 | 300.00 | 30000.00 | 15000.00 | Nayan Engineering Corporation
1.28 | Distempering with 1st quality acrylic distemper (ready mixed) of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | 200.00 | Sqm |  | 58.00 | 11600.00 | 60.00 | 12000.00 | 50.00 | 10000.00 | 61.23 | 12246.00 | 52.00 | 10400.00 | 10000.00 | Nayan Engineering Corporation
1.29 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 50.00 | Kg |  | 355.00 | 17750.00 | 500.00 | 25000.00 | 250.00 | 12500.00 | 297.87 | 14893.50 | 595.00 | 29750.00 | 12500.00 | Nayan Engineering Corporation
1.30 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 20.00 | Kg |  | 400.00 | 8000.00 | 500.00 | 10000.00 | 290.00 | 5800.00 | 360.71 | 7214.20 | 575.00 | 11500.00 | 5800.00 | Nayan Engineering Corporation
1.31 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 10.00 | Sqm |  | 850.00 | 8500.00 | 2000.00 | 20000.00 | 800.00 | 8000.00 | 910.85 | 9108.50 | 875.00 | 8750.00 | 8000.00 | Nayan Engineering Corporation
1.32 | Brick work with common brunt clay locally available size bricks of class designation 35 in foundation and plinth in; Cement mortar 1:6 (1 cement : 6 coarse sand). | 10.00 | Cum |  | 4000.00 | 40000.00 | 6200.00 | 62000.00 | 5000.00 | 50000.00 | 4918.20 | 49182.00 | 5100.00 | 51000.00 | 40000.00 | Unique Associates
1.33 | Brick work with common brunt clay locally available size bricks of class designation 35 in superstructure above plinth level upto floor V level in all shapes and sizes ; Cement mortar 1:6 (1 cement : 6 coarse sand). | 16.00 | Cum |  | 4900.00 | 78400.00 | 6500.00 | 104000.00 | 5200.00 | 83200.00 | 4918.20 | 78691.20 | 5200.00 | 83200.00 | 78400.00 | Unique Associates
1.34 | Supplying,Providing,fabricating,assembling and erecting at site/workshop Tubular Structure/built-up section consisting of MS pipe rakers,perlins, confirming to IS 1161 Grade 240-310 and plates of Grade 240 confirming to IS : 2062 in the profile shaped as per drawings with special plate connectors, pinion joints, tension rods/members using SAW/MMAWMIG welding process with cleaning the surface and applying finish as per specification and including the cost of transportation. Assembling and erecting at site including leads and lifts up to all heights,tools and plants and necessary scaffolding etc. required for all operations involved to make structure of main terminal building. The tublar structure/built -up sections system with plate connectors, pinion joints etc. is to be provided. The cost is inclusive of epoxy primer and polyurethane paint. The contractor shall get structural & shop drawings with design (3 sets) for all structural work from registered consultant/architect at his own expenses & got vetted them from IIT/NIT .The Cost so incurred towards the all, will be borne by Contractor. Nothing extra shall be paid.Please refer SCC for Details. (Payment under this item shall be done for the MS tubes and connecting/welded plates with tubes only as per their respective weight.For other structureal work,payment shall be done under item no.1.15,1.16,1.17,1.18 ) | 35000.00 | Kg |  | 112.00 | 3920000.00 | 110.00 | 3850000.00 | 75.00 | 2625000.00 | 84.31 | 2950850.00 | 80.00 | 2800000.00 | 2625000.00 | Nayan Engineering Corporation
1.35 | Providing & fixing profiled metal deck sheet of 1.60 mm thickness on steel members with 50-60 mm corrugation depth & pitch of 150-200 mm. One side of sheet to be treated with primer coating & enamel paint or any other approved surface treatment. Sheet to be spot welded to be structural members as directed by Engineer-In-Charge/Drawings. | 920.00 | Sqm |  | 1840.00 | 1692800.00 | 1200.00 | 1104000.00 | 1500.00 | 1380000.00 | 491.82 | 452474.40 | 850.00 | 782000.00 | 452474.40 | Swami Contractors Pvt Ltd
1.36 | Providing and fixing for column/wall cladding with 4mm thick aluminium composite panel in desired shade as per technical specifications around the columns/dead walls at all heights. The rate shall include all necessary frame work, tools and plants, scaffolding, technical personal and as per technical specifications, complete as per the direction of the Engineer-in-Charge. | 1200.00 | Sqm |  | 3100.00 | 3720000.00 | 3500.00 | 4200000.00 | 2500.00 | 3000000.00 | 1299.81 | 1559772.00 | 2600.00 | 3120000.00 | 1559772.00 | Swami Contractors Pvt Ltd
1.37 | Providing and fixing upto 3.0 m high FRAMELESS GLASS INTERNAL PARTITIONS for PARTITION WALL OF DOMESTIC/INTERNATIONAL ARRIVAL , STERILE CORRIDOR AND HOLD ROOMS, and AEROBRIDGE with 12 mm clear Toughened/ tempered glass as per elevation drawing with approved make of 316 grade V-series stainless steel fittings of DORMA, Germany/LISUS-SIGAPORE or approved equivalent with FHB-M 12 bolts, M.S. vertical pipes (101.6 mm OD)/ or size as shown in the enclosed drawings fixed with stainless steel screws or with fixing clips including ecessary filling up gaps at junction, at top, and sides with required weather silicon sealant of grade 995 with backer rod shall be inserted between aluminium channel and glass as well as both insde and outside around the periphery to make the glazing air and water tight as shown the drawings. The stainless steel spider fittings shall have to be fixed to MS framework including making suitable holes in the glass before tempering process of glass, for installation complete as per design drawings. The periphery shall have to be sealed both from inside and outside with silicon weather sealant grade 995 to make the glazing water/airtight. The sealing of glass to connector pipes with stainless steel fixtures as detailed in drawings. Silicon sealant grade shall be "Dow corning USA" or "WACKER -Germany" as per the design requirement. The partition shall be aligned for the entire height and for the entire length by laser beam equipment to ensure 100 percent 'X' axis and 'Y' axis alignment. The glass joints must be properly sealed with weather silicon to make the joint water tight/air tight. (MS work shall be paid for separately under respective head ). | 725.00 | Sqm |  | 7600.00 | 5510000.00 | 8000.00 | 5800000.00 | 5800.00 | 4205000.00 | 2459.10 | 1782847.50 | 5200.00 | 3770000.00 | 1782847.50 | Swami Contractors Pvt Ltd
1.38 | Proving and fixing on glass 'Non-Reflective' 'Sun Control window films' of 'Garware' or approved equivalent in all shades and pattern (mix of light and dark shades) as per site requirement and as approved by Engineer-in-Charge including all skilled / unskilled manpower, materials, chemicals, adhesives, tools and equipments etc. required complete in all respect as desired and directed up to the satisfaction of Engineer-In-Charge. (The quoted rate shall be inclusive of all taxes and duties, cartage, cleaning charges and installation charges, wastage etc. complete in all respect.) (Note: Manufacturer's certificate for fulfilling all requirement /conditions is to be submitted by agency). | 725.00 | Sqm |  | 580.00 | 420500.00 | 200.00 | 145000.00 | 500.00 | 362500.00 | 667.47 | 483915.75 | 520.00 | 377000.00 | 145000.00 | PD AGRAWAL INFRASTRUCTURE LIMITED
1.39 | Providing fixing and erecting at site of frameless glass DORMA, Germany SM or KABA Switzerland or Portalp or equivalent Double Doors pivoted consisting of diecast patch fitting with stainless steel cover and corner lock with euro profile cylinder. The fittings will be mounted on 10 mm toughened glass with all necessary required accessories. The door will also consist of floor spring BTS-84 DORMA, Germany or equivalent with all necessary glass mounting accessories for the self closing feature complete. The door shall be grouted at the floor with aluminium 'u' channel. Doors on AIR SIDE GLAZING/ Sterile corridor as double door clear size 2.0 x2.4 m (approximate). | 16.00 | Sqm |  | 11002.00 | 176032.00 | 15000.00 | 240000.00 | 12000.00 | 192000.00 | 8431.20 | 134899.20 | 11180.00 | 178880.00 | 134899.20 | Swami Contractors Pvt Ltd
1.40 | Providing and Fixing HIT-RE500V3 with HIT-V Threaded Rod.The product should be approved by ETA, ICC, CSTB, COLA, BZS with Shock approval, Seismic (C1 & C2) approval, Fatigue and Fire Approvals in anchors to use in cracked/un-cracked concrete, tested for service temperature of -40 deg C to +80 deg C. Anchoring with HIT-V with RE500V3 to be designed as per ETAG guidelines of post installation of anchors and TR 029. Drilling hole with double flute type drill bits/hollow drill bits to the required depth by rotary hammer drill, cleaning with brush and jet of clean air, filling resin and hardener using serrated nozzle to eliminate mixing error with standard HDE A22 battery dispenser along with piston plug. The installation and the setting instructions should be strictly followed as per the manufacturer’s recommendations. The adequate embedment depth & number of anchors to be calculated as per PROFIS Anchor Software & the report to be submitted to the project manager, design engineer for approval. Scanning before drilling to be done with Hilti Scanner to avoid hitting existing rebars. For zones with high seismicity , seismic designs are mandatory. For shear loads , base plate designed by SOFA , filling sets are mandatory . With Anchor rod HAS-E-R M24x210/54 with Hilti HVU adhesive capsule | 52.00 | Each |  | 3100.00 | 161200.00 | 4000.00 | 208000.00 | 3500.00 | 182000.00 | 2459.10 | 127873.20 | 3380.00 | 175760.00 | 127873.20 | Swami Contractors Pvt Ltd
1.41 | Providing and Fixing HIT-RE500V3 with HIT-V Threaded Rod.The product should be approved by ETA, ICC, CSTB, COLA, BZS with Shock approval, Seismic (C1 & C2) approval, Fatigue and Fire Approvals in anchors to use in cracked/un-cracked concrete, tested for service temperature of -40 deg C to +80 deg C. Anchoring with HIT-V with RE500V3 to be designed as per ETAG guidelines of post installation of anchors and TR 029. Drilling hole with double flute type drill bits/hollow drill bits to the required depth by rotary hammer drill, cleaning with brush and jet of clean air, filling resin and hardener using serrated nozzle to eliminate mixing error with standard HDE A22 battery dispenser along with piston plug. The installation and the setting instructions should be strictly followed as per the manufacturer’s recommendations. The adequate embedment depth & number of anchors to be calculated as per PROFIS Anchor Software & the report to be submitted to the project manager, design engineer for approval. Scanning before drilling to be done with Hilti Scanner to avoid hitting existing rebars. For zones with high seismicity , seismic designs are mandatory. For shear loads , base plate designed by SOFA , filling sets are mandatory . With Anchor rod HAS-E-R M20x170/48 with Hilti HVU adhesive capsule | 300.00 | Each |  | 2200.00 | 660000.00 | 4000.00 | 1200000.00 | 3000.00 | 900000.00 | 1967.28 | 590184.00 | 2873.33 | 861999.00 | 590184.00 | Swami Contractors Pvt Ltd
1.42 | Providing and Fixing HIT-RE500V3 with HIT-V Threaded Rod.The product should be approved by ETA, ICC, CSTB, COLA, BZS with Shock approval, Seismic (C1 & C2) approval, Fatigue and Fire Approvals in anchors to use in cracked/un-cracked concrete, tested for service temperature of -40 deg C to +80 deg C. Anchoring with HIT-V with RE500V3 to be designed as per ETAG guidelines of post installation of anchors and TR 029. Drilling hole with double flute type drill bits/hollow drill bits to the required depth by rotary hammer drill, cleaning with brush and jet of clean air, filling resin and hardener using serrated nozzle to eliminate mixing error with standard HDE A22 battery dispenser along with piston plug. The installation and the setting instructions should be strictly followed as per the manufacturer’s recommendations. The adequate embedment depth & number of anchors to be calculated as per PROFIS Anchor Software & the report to be submitted to the project manager, design engineer for approval. Scanning before drilling to be done with Hilti Scanner to avoid hitting existing rebars. For zones with high seismicity , seismic designs are mandatory. For shear loads , base plate designed by SOFA , filling sets are mandatory . With Anchor rod HAS-E-R M16x125/20 with Hilti HVU adhesive capsule | 32.00 | Each |  | 1300.00 | 41600.00 | 2500.00 | 80000.00 | 1500.00 | 48000.00 | 1897.02 | 60704.64 | 2340.00 | 74880.00 | 41600.00 | Unique Associates
1.43 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 6.00 | Cum |  | 940.00 | 5640.00 | 2000.00 | 12000.00 | 1200.00 | 7200.00 | 1780.88 | 10685.28 | 850.00 | 5100.00 | 5100.00 | Messers Pradeep Shriwas
1.44 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 1.00 | Cum |  | 940.00 | 940.00 | 2000.00 | 2000.00 | 750.00 | 750.00 | 1220.73 | 1220.73 | 130.00 | 130.00 | 130.00 | Messers Pradeep Shriwas
1.45 | Rebarring of Reinforcment steel by digging appropriate size and depth of hole in Concetre and pouring approved chemical of Hilti or approved equivalent as per direction of Engineer - in- charge. | 136.00 | Each |  | 400.00 | 54400.00 | 200.00 | 27200.00 | 250.00 | 34000.00 | 351.30 | 47776.80 | 286.00 | 38896.00 | 27200.00 | PD AGRAWAL INFRASTRUCTURE LIMITED
1.46 | Providing and laying Granite in different sizes, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints. 18mm thick (mirror polished and machine cut edge) Granite stone of any colour and shade | 70.00 | Sqm |  | 2200.00 | 154000.00 | 4000.00 | 280000.00 | 2000.00 | 140000.00 | 1264.68 | 88527.60 | 3000.00 | 210000.00 | 88527.60 | Swami Contractors Pvt Ltd
1.47 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Edges of slabs and breaks in floors and walls Under 20 cm wide | 250.00 | Metre |  | 94.00 | 23500.00 | 50.00 | 12500.00 | 100.00 | 25000.00 | 121.73 | 30432.50 | 221.00 | 55250.00 | 12500.00 | PD AGRAWAL INFRASTRUCTURE LIMITED
1.48 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1500.00 | Sqm |  | 85.00 | 127500.00 | 70.00 | 105000.00 | 70.00 | 105000.00 | 85.40 | 128100.00 | 69.00 | 103500.00 | 103500.00 | Messers Pradeep Shriwas
1.49 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 400.00 | Sqm |  | 445.00 | 178000.00 | 700.00 | 280000.00 | 650.00 | 260000.00 | 360.40 | 144160.00 | 709.00 | 283600.00 | 144160.00 | Swami Contractors Pvt Ltd
1.50 | Painting with aluminium paint of approved brand and manufacture to give an even shade . Two or more coats on new work | 400.00 | Sqm |  | 67.00 | 26800.00 | 70.00 | 28000.00 | 70.00 | 28000.00 | 78.87 | 31548.00 | 69.00 | 27600.00 | 26800.00 | Unique Associates
1.51 | Dismentaling / removing ACP work all height i/c installation of scaffolding manually including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 40.00 | Sqm |  | 850.00 | 34000.00 | 1000.00 | 40000.00 | 1200.00 | 48000.00 | 104.52 | 4180.80 | 50.00 | 2000.00 | 2000.00 | Messers Pradeep Shriwas
1.52 | Dismantling/ removing DGU glass work at all height i/c installation of scaffolding manually including stacking of disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 40.00 | Sqm |  | 760.00 | 30400.00 | 1000.00 | 40000.00 | 1000.00 | 40000.00 | 140.52 | 5620.80 | 79.70 | 3188.00 | 3188.00 | Messers Pradeep Shriwas
1.53 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1000.00 | Kg |  | 1.30 | 1300.00 | 15.00 | 15000.00 | 20.00 | 20000.00 | 2.92 | 2920.00 | 17.00 | 17000.00 | 1300.00 | Unique Associates
1.54 | Providing & fixing DOUBLE GLASS UNIT of size as per site requirement of 6 mm reflective glass (SGG NANO TWILLIGHT BLUE KT 740) + 12 mm air gap + 6 mm clear, toughened glass i/c sealing the gap between the glasses with weather silicon sealant of grade 995 with backer rod/or as required upto the height of 20 mt. complete as per direction Engineer-in-charge. (Maximum size of the length and width of the panel shall be measured for payment.) | 10.00 | Sqm |  | 9400.00 | 94000.00 | 15000.00 | 150000.00 | 12000.00 | 120000.00 | 8431.20 | 84312.00 | 17500.00 | 175000.00 | 84312.00 | Swami Contractors Pvt Ltd
1.55 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) luding getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 32.00 | cum |  | 130.00 | 4160.00 | 200.00 | 6400.00 | 100.00 | 3200.00 | 127.77 | 4088.64 | 104.00 | 3328.00 | 3200.00 | Nayan Engineering Corporation
1.56 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | Cum |  | 580.00 | 2900.00 | 500.00 | 2500.00 | 800.00 | 4000.00 | 1032.75 | 5163.75 | 247.00 | 1235.00 | 1235.00 | Messers Pradeep Shriwas
2.00 | Electrical Work
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (a) Group - B | 12.00 | Point |  | 580.00 | 6960.00 | 1000.00 | 12000.00 | 15.00 | 180.00 | 675.20 | 8102.40 | 260.00 | 3120.00 | 180.00 | Nayan Engineering Corporation
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. (a)Group - B | 160.00 | Point |  | 580.00 | 92800.00 | 800.00 | 128000.00 | 15.00 | 2400.00 | 441.23 | 70596.80 | 260.00 | 41600.00 | 2400.00 | Nayan Engineering Corporation
2.03 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Meter |  | 76.00 | 11400.00 | 300.00 | 45000.00 | 50.00 | 7500.00 | 186.19 | 27928.50 | 195.00 | 29250.00 | 7500.00 | Nayan Engineering Corporation
2.04 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 35.00 | Meter |  | 193.00 | 6755.00 | 400.00 | 14000.00 | 45.00 | 1575.00 | 275.42 | 9639.70 | 208.00 | 7280.00 | 1575.00 | Nayan Engineering Corporation
2.05 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a) 2X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 420.00 | Meter |  | 58.00 | 24360.00 | 200.00 | 84000.00 | 35.00 | 14700.00 | 146.14 | 61378.80 | 156.00 | 65520.00 | 14700.00 | Nayan Engineering Corporation
2.06 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a) 2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 190.00 | Meter |  | 67.00 | 12730.00 | 220.00 | 41800.00 | 30.00 | 5700.00 | 160.90 | 30571.00 | 182.00 | 34580.00 | 5700.00 | Nayan Engineering Corporation
2.07 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (a) 2 x 1.5 sq. mm | 230.00 | Meter |  | 49.00 | 11270.00 | 50.00 | 11500.00 | 30.00 | 6900.00 | 28.81 | 6626.30 | 70.00 | 16100.00 | 6626.30 | Swami Contractors Pvt Ltd
2.08 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. (a) 5 Pair | 190.00 | Meter |  | 175.00 | 33250.00 | 40.00 | 7600.00 | 45.00 | 8550.00 | 31.62 | 6007.80 | 32.50 | 6175.00 | 6007.80 | Swami Contractors Pvt Ltd
2.09 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. (a) 20 mm | 190.00 | Meter |  | 58.00 | 11020.00 | 200.00 | 38000.00 | 25.00 | 4750.00 | 102.58 | 19490.20 | 71.50 | 13585.00 | 4750.00 | Nayan Engineering Corporation
2.10 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. (a) 25 mm | 230.00 | Meter |  | 67.00 | 15410.00 | 220.00 | 50600.00 | 33.00 | 7590.00 | 115.93 | 26663.90 | 91.00 | 20930.00 | 7590.00 | Nayan Engineering Corporation
2.11 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 13.00 | Each |  | 49.00 | 637.00 | 400.00 | 5200.00 | 88.00 | 1144.00 | 281.74 | 3662.62 | 360.00 | 4680.00 | 637.00 | Unique Associates
2.12 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 13.00 | Each |  | 58.00 | 754.00 | 450.00 | 5850.00 | 170.00 | 2210.00 | 347.79 | 4521.27 | 520.00 | 6760.00 | 754.00 | Unique Associates
2.13 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 165.00 | Each |  | 148.00 | 24420.00 | 150.00 | 24750.00 | 200.00 | 33000.00 | 118.04 | 19476.60 | 90.00 | 14850.00 | 14850.00 | Messers Pradeep Shriwas
2.14 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required. (a) 6 way (8 + 18), Double door | 2.00 | Each |  | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 4672.29 | 9344.58 | 6500.00 | 13000.00 | 8000.00 | Nayan Engineering Corporation
2.15 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Single Pole | 46.00 | Each |  | 94.00 | 4324.00 | 150.00 | 6900.00 | 120.00 | 5520.00 | 139.82 | 6431.72 | 190.00 | 8740.00 | 4324.00 | Unique Associates
2.16 | Supplying and fixing following rating, four pole, 415 V, "C" Curve, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) 40 A | 5.00 | Each |  | 1840.00 | 9200.00 | 1200.00 | 6000.00 | 190.00 | 950.00 | 584.56 | 2922.80 | 950.00 | 4750.00 | 950.00 | Nayan Engineering Corporation
2.17 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. (a) 150 mm width X 50 mm depth X 1.6 mm thickness | 210.00 | Meter |  | 353.00 | 74130.00 | 450.00 | 94500.00 | 240.00 | 50400.00 | 820.64 | 172334.40 | 195.00 | 40950.00 | 40950.00 | Messers Pradeep Shriwas
2.18 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. (a) 300 mm width X 50 mm depth X 1.6 mm thickness | 210.00 | Meter |  | 580.00 | 121800.00 | 600.00 | 126000.00 | 490.00 | 102900.00 | 1203.55 | 252745.50 | 260.00 | 54600.00 | 54600.00 | Messers Pradeep Shriwas
2.19 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Set |  | 6700.00 | 26800.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 2833.59 | 11334.36 | 4500.00 | 18000.00 | 11334.36 | Swami Contractors Pvt Ltd
2.20 | Providing· and fixing 25 mm X 5 mm· G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 45.00 | Meter |  | 94.00 | 4230.00 | 450.00 | 20250.00 | 79.00 | 3555.00 | 339.36 | 15271.20 | 350.00 | 15750.00 | 3555.00 | Nayan Engineering Corporation
2.21 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | 45.00 | Meter |  | 94.00 | 4230.00 | 200.00 | 9000.00 | 100.00 | 4500.00 | 144.74 | 6513.30 | 250.00 | 11250.00 | 4230.00 | Unique Associates
2.22 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 570.00 | Meter |  | 13.00 | 7410.00 | 40.00 | 22800.00 | 7.00 | 3990.00 | 70.26 | 40048.20 | 60.00 | 34200.00 | 3990.00 | Nayan Engineering Corporation
2.23 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 120.00 | Meter |  | 40.00 | 4800.00 | 40.00 | 4800.00 | 280.00 | 33600.00 | 27.40 | 3288.00 | 55.00 | 6600.00 | 3288.00 | Swami Contractors Pvt Ltd
2.24 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. (a) Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 570.00 | Meter |  | 175.00 | 99750.00 | 100.00 | 57000.00 | 90.00 | 51300.00 | 85.72 | 48860.40 | 95.00 | 54150.00 | 48860.40 | Swami Contractors Pvt Ltd
2.25 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 210.00 | Meter |  | 40.00 | 8400.00 | 30.00 | 6300.00 | 50.00 | 10500.00 | 23.19 | 4869.90 | 60.00 | 12600.00 | 4869.90 | Swami Contractors Pvt Ltd
2.26 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. (b) Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 210.00 | Meter |  | 175.00 | 36750.00 | 80.00 | 16800.00 | 80.00 | 16800.00 | 64.99 | 13647.90 | 110.00 | 23100.00 | 13647.90 | Swami Contractors Pvt Ltd
2.27 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. (a) 3½ X 120 sq. mm (45 mm) | 4.00 | Each |  | 256.00 | 1024.00 | 400.00 | 1600.00 | 2000.00 | 8000.00 | 414.53 | 1658.12 | 400.00 | 1600.00 | 1024.00 | Unique Associates
2.28 | Supply of 1.1. KV, Single Core 16 Sq.MM Copper Conductor XLPE insulated and PVC sheathed armoured cable as per IS 7098 (Part -I) : 1988 with upto date amendments, as required. | 115.00 | Meter |  | 139.00 | 15985.00 | 130.00 | 14950.00 | 200.00 | 23000.00 | 140.52 | 16159.80 | 321.00 | 36915.00 | 14950.00 | PD AGRAWAL INFRASTRUCTURE LIMITED
2.29 | Supply of 1.1. KV, Single Core 35 Sq.MM Copper Conductor XLPE insulated and PVC sheathed armoured cable as per IS 7098 (Part -I) : 1988 with upto date amendments, as required. | 115.00 | Meter |  | 256.00 | 29440.00 | 200.00 | 23000.00 | 300.00 | 34500.00 | 281.04 | 32319.60 | 431.00 | 49565.00 | 23000.00 | PD AGRAWAL INFRASTRUCTURE LIMITED
2.30 | Supply of following size of 1.1. KV grade multicore Aluminium Conductor XLPE insulated and PVC sheathed armoured cable as per IS 7098 (Part -I) : 1988 with upto date amendments, as required. (a) 3.5 core x 120 Sq. MM | 650.00 | Meter |  | 400.00 | 260000.00 | 450.00 | 292500.00 | 600.00 | 390000.00 | 70.26 | 45669.00 | 452.00 | 293800.00 | 45669.00 | Swami Contractors Pvt Ltd
2.31 | Supply, Installation, Testing & Commissioning of LT Panel, cubicle type, made out of 2 mm thick CRCA sheet, totally enclosed, IP 42, Wall Mounting free standing, floor mounting, dust and vermin proof, indoor compartmentalised, suitable for Operation on 3 Phase and neutral, 415 V, 50 Hz, AC system with busbars, internal wiring with suitable size wires / cables, interconnection, duly powder coated painting etc. including supply & installation of following switchgears, metering instruments and accessories in the LT Panel and as per specifications. INCOMER :- 01 No. 200 Amp Four Pole MCCB (Ics value 25kA) with built in thermal based release unit with adjustable settings ( Make - Indoasian, Cat No. - 830296 or equivalent) BUSBARS:- 01 Set of 250 Amp TPN busbars of high conductivity electrolytic type aluminium alloy INSTRUMENTS:- (1) 01 Set of digital multifunction meter with suitable size CTs for 3 phase, 4 wire operation with LED display (Make - Elmeasure, Model - LG 5310 or equivalent) (2) 01 Set of phase indicating lamps, LED type, RYB OUTGOING:- (1) 04 No. 63Amp Four Pole MCCB (Ics value 16kA) with adjustable Thermal Magnetic range ( Make - Indoasian, Cat No. - 830240 or equivalent) (2) 02 Nos. 40 Amp Four Pole, C Series MCB (Ics value 10 kA), ( Make - Indoasian, Cat No. - 811240 or equivalent) (3) 01 Nos. 100 Amp Four Pole, C Series MCCB (Ics value 16 kA), ( Make - Indoasian, Cat No. - 830242 or equivalent) Note :- (1) All breakers breaking capacities of MCCBs shall be Icu = Ics | 2.00 | Set |  | 85000.00 | 170000.00 | 140000.00 | 280000.00 | 200000.00 | 400000.00 | 70260.00 | 140520.00 | 104000.00 | 208000.00 | 140520.00 | Swami Contractors Pvt Ltd
2.32 | Supply of Recessed mouting LED Downlighter having System wattage - 18W, Efficiency of LED light Fittings (Efficacy) - Min 95 Lumens Per Watt, Life of LED fitting - Min 50,000 burning hours, complete as per technical specifications attached, as required with 05 years manufacturer warranty (Make : Jaquar, Model NERO(Round) or Equivalent in approved makes). | 160.00 | Nos |  | 760.00 | 121600.00 | 900.00 | 144000.00 | 1100.00 | 176000.00 | 702.60 | 112416.00 | 845.00 | 135200.00 | 112416.00 | Swami Contractors Pvt Ltd
2.33 | Supply of Regal LED Batten of approx. length 1224 mm, suitable upto 1 x 22 W LED Tube (single side), Housing & cover made up of CRCA sheet steel, Cover is fixed to the housing by means of 2 nos. bolt with engineering plastic head, Epoxy powder coated white after phosphochromate treatment, Push fit rotary type white polycarbonate/ PBT with electrical grade brass contacts, Pre-wired with lamp holder to terminal block, suitable for Ceiling / wall mounting, IP 20, alongwith 1 No. 20W ultra bright LED polycarbonate tubelight (Single Side) with THD<10%, with very high efficacy suited for installation in existing T8 tubelight with G13 lamp holders to give glare free light, complete as required. ( LED Batten Make - Havells, Cat No. LHFYBYPNIA1W022, LED Tubelight Make - Havells, Cat No. - LHLDCLXEUL83020, or equivalent in approved makes ) | 13.00 | Set |  | 670.00 | 8710.00 | 600.00 | 7800.00 | 500.00 | 6500.00 | 70.26 | 913.38 | 800.00 | 10400.00 | 913.38 | Swami Contractors Pvt Ltd
2.34 | Supply of Wall mounting fan, white colour, plastic body & blades, pull cord for speed regulation, smart speed control panel and having following specifications :- Sweep - 400 mm, 1300 RPM, Air Delivery 60 Cu.Mtr/Min, 50 Watt, 240 V, 50 Hz, Single Phase AC supply. (Make - Crompton, Model - High Flo Wave or equivalent in Approved makes ) | 13.00 | Nos |  | 1850.00 | 24050.00 | 3000.00 | 39000.00 | 2200.00 | 28600.00 | 2107.80 | 27401.40 | 2600.00 | 33800.00 | 24050.00 | Unique Associates
2.35 | Outdoor Units :- Supply installation testing and commissioning of VRV /VRF /MRV outdoor units with following multiple inverter based Scroll type compressors, electronic expansion valve, R 410A / eco friendly green refrigerant, cooling & heating mode both options, special pre-coated fin type heat exchanger, low noise direct driven propeller condenser fans in each module with top discharge including internal wiring, microprocessor controls, safety. The condensing unit should be capable of providing cooling between +/- 5deg. C. to 48 deg.C & heating within 0 deg.C to 15 deg.C, COP not less than 3.3. Each system should have the provision to combine maximum 3 nos compressor in each outdoor unit ,Every single outdoor unit should not have more than maximum Capacity 20 HP (3 Phase) each compressor complete as per specification. Outdoor / Indoor units should be of same make (Brand) Minimum 38 HP capacity. (Single Phase / Three Phase) | 1.00 | Set |  | 850000.00 | 850000.00 | 750000.00 | 750000.00 | 700000.00 | 700000.00 | 1264680.00 | 1264680.00 | 562000.00 | 562000.00 | 562000.00 | Messers Pradeep Shriwas
2.36 | Outdoor Units :- Supply installation testing and commissioning of VRV /VRF /MRV outdoor units with following multiple inverter based Scroll type compressors, electronic expansion valve, R 410A / eco friendly green refrigerant, cooling & heating mode both options, special pre-coated fin type heat exchanger, low noise direct driven propeller condenser fans in each module with top discharge including internal wiring, microprocessor controls, safety. The condensing unit should be capable of providing cooling between +/- 5deg. C. to 48 deg.C & heating within 0 deg.C to 15 deg.C, COP not less than 3.3. Each system should have the provision to combine maximum 3 nos compressor in each outdoor unit ,Every single outdoor unit should not have more than maximum Capacity 20 HP (3 Phase) each compressor complete as per specification. Outdoor / Indoor units should be of same make (Brand) Minimum 32 HP capacity. (Single Phase / Three Phase) | 1.00 | Set |  | 805000.00 | 805000.00 | 650000.00 | 650000.00 | 600000.00 | 600000.00 | 1053900.00 | 1053900.00 | 500000.00 | 500000.00 | 500000.00 | Messers Pradeep Shriwas
2.37 | Indoor Units :- Supply, Installation testing and commissioning of 4 Way Round Flow Ceilng Suspended/Mounted Cassette type Unit comprising of copper evaporator, electronic expansion valve along with a force shut adapter that syncs with fire alarm system and switch off the unit in case of fire accident, to switch off the unit blower, motor, filter pad, auto air swing louvers, temperature & ON/OFF display with inbuilt drain pump & decorative panels including internal wiring , controls. Each unit shall have sensors to detect human presence and floor temperature. Dimension in terms of length and width should not be more than 950mmX950mm with wireless remote controller. (single phase/three phase) 3.2 TR Cassette Unit | 19.00 | Set |  | 49000.00 | 931000.00 | 60000.00 | 1140000.00 | 47000.00 | 893000.00 | 210780.00 | 4004820.00 | 43000.00 | 817000.00 | 817000.00 | Messers Pradeep Shriwas
2.38 | Supply & Fixing of Copper Refrigerent Branch Kit (Refnet / Y -Joints). | 17.00 | Each |  | 4450.00 | 75650.00 | 4000.00 | 68000.00 | 4000.00 | 68000.00 | 351.30 | 5972.10 | 6250.00 | 106250.00 | 5972.10 | Swami Contractors Pvt Ltd
2.39 | Supply, Installation, Testing & Commissioning of Group Controller for controlling all the indoor and outdoor units of VRV system. | 2.00 | Set |  | 49000.00 | 98000.00 | 42000.00 | 84000.00 | 40000.00 | 80000.00 | 1405.20 | 2810.40 | 53000.00 | 106000.00 | 2810.40 | Swami Contractors Pvt Ltd
2.40 | Supply & fixing of interconnecting copper refrigerant pipe work duly insulated with elastomeric nitrile rubber insulation (19mm / 13mm thick ) class "O" closed cell between indoor & outdoor units as per specifications with a density range of 40 to 55 Kg/m3 as a standard range, thermal conductivity shall not exceed 0.035 W/(m.K) at mean temperature of 20 deg C and Moisture Diffusion Resistance Factor or ‘µ’ value shall be minimum 7,000 . All piping inside the room shall be properly supported with hanger and all external piping shall run in covered cable tray.Copper Tubing comprisisng of supply Run & Return) (a) Suitable Copper Pipe with OD above 22.2mm ( Thickness above 1.0mm) & Insulation – 19 mm thick | 50.00 | RMT |  | 760.00 | 38000.00 | 1400.00 | 70000.00 | 1300.00 | 65000.00 | 351.30 | 17565.00 | 260.00 | 13000.00 | 13000.00 | Messers Pradeep Shriwas
2.41 | Supply & fixing of interconnecting copper refrigerant pipe work duly insulated with elastomeric nitrile rubber insulation (19mm / 13mm thick ) class "O" closed cell between indoor & outdoor units as per specifications with a density range of 40 to 55 Kg/m3 as a standard range, thermal conductivity shall not exceed 0.035 W/(m.K) at mean temperature of 20 deg C and Moisture Diffusion Resistance Factor or ‘µ’ value shall be minimum 7,000 . All piping inside the room shall be properly supported with hanger and all external piping shall run in covered cable tray.Copper Tubing comprisisng of supply Run & Return) (b) Suitable Copper Pipe with OD below 20 mm and above 6 mm ( Thickness above 0.8mm) & Insulation – 13 mm thick | 170.00 | RMT |  | 490.00 | 83300.00 | 800.00 | 136000.00 | 700.00 | 119000.00 | 316.17 | 53748.90 | 234.00 | 39780.00 | 39780.00 | Messers Pradeep Shriwas
2.42 | Supply & Laying of Transmission & Control Wiring alongwith providing & Fixing suitable size ISI mark MS conduit between indoor and out door units of following sizes, complete as required:- 2 Core x 0.75 Sq.mm Copper Cable, ISI | 250.00 | RMT |  | 40.00 | 10000.00 | 150.00 | 37500.00 | 200.00 | 50000.00 | 316.17 | 79042.50 | 234.00 | 58500.00 | 10000.00 | Unique Associates
2.43 | Supply & Installation of ISI mark, B Class GI drain pipe with 9 mm thick nitrile rubber insulation, as required. (a) 32 mm dia | 200.00 | RMT |  | 400.00 | 80000.00 | 400.00 | 80000.00 | 350.00 | 70000.00 | 351.30 | 70260.00 | 293.00 | 58600.00 | 58600.00 | Messers Pradeep Shriwas
2.44 | Supply & Installation of ISI mark, B Class GI drain pipe with 9 mm thick nitrile rubber insulation, as required. (b) 25 mm dia | 80.00 | RMT |  | 400.00 | 32000.00 | 300.00 | 24000.00 | 300.00 | 24000.00 | 351.30 | 28104.00 | 254.00 | 20320.00 | 20320.00 | Messers Pradeep Shriwas
2.45 | Supply, fixing & thermal lining below Ceiling insulated with Resin Bonded wool of density of 140 Kg/m³ and thickness of 50 mm covered with one side aluminum foil (Core material - without any outer facing, Confirming to ASTM E 84, NFPA 90A, 90B, LIFE SAFETY CODE NFPA101 & 120 Minutes fire rating as per building insulation requirements) , applied below slab with the help of screw & washer - Cross wire system and the joints shall be sealed with 72 mm wide self adhesive aluminum tape having high strengh (70 microns). Thermal Resistance (R- value) shall be minimum 7.735 hr*ft²*˚F/BTU at 35 Deg C mean temperature. | 650.00 | Sq.Mtr. |  | 850.00 | 552500.00 | 600.00 | 390000.00 | 550.00 | 357500.00 | 351.30 | 228345.00 | 528.00 | 343200.00 | 228345.00 | Swami Contractors Pvt Ltd
2.46 | SITC of Intelligent Analogue Adrressable photoelectric smoke Detector including mounting base with LED etc., compatible with Honeywell Make Fire Alarm Control Panel of Model - XLS 1000, complete as required. (Make - Honeywell, Model - XLS-PS) | 25.00 | Each |  | 3100.00 | 77500.00 | 3000.00 | 75000.00 | 300.00 | 7500.00 | 351.30 | 8782.50 | 2990.00 | 74750.00 | 7500.00 | Nayan Engineering Corporation
2.47 | Providing & Fixing of brass quartzoid sprinklers (UL/ FM approved) of 20 mm dia size, suitable for sustaining the 175 psi pressure on the seat & water hammer effect. The type & tempererature rating shall be as follows:- (a) Pendent & rosette adjustable type with quartzoid bulb operating temperature at 68 deg C as per specification. | 50.00 | Each |  | 454.00 | 22700.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 351.30 | 17565.00 | 715.00 | 35750.00 | 17565.00 | Swami Contractors Pvt Ltd
2.48 | Providing & Laying MS(M) pipe IS 1239 marked including all forged fittings and accessories such as screwed / welded flanges, tees, reducers etc. complete including painting, welding, jointing and neoprene gaskets, nuts, bolts etc., as required of following pipes, painted with one coat of primer & two coats of Post Office red enamel paint fixed in ceiling, walls, columns for all heights with hangers, supports and fasteners all as per drawing including chasing of walls / columns / ceilings etc. and making good the same complete as required (For sprinkler system) (a) 50 mm dia | 25.00 | Meter |  | 580.00 | 14500.00 | 700.00 | 17500.00 | 600.00 | 15000.00 | 702.60 | 17565.00 | 117.00 | 2925.00 | 2925.00 | Messers Pradeep Shriwas
2.49 | Providing & Laying MS(M) pipe IS 1239 marked including all forged fittings and accessories such as screwed / welded flanges, tees, reducers etc. complete including painting, welding, jointing and neoprene gaskets, nuts, bolts etc., as required of following pipes, painted with one coat of primer & two coats of Post Office red enamel paint fixed in ceiling, walls, columns for all heights with hangers, supports and fasteners all as per drawing including chasing of walls / columns / ceilings etc. and making good the same complete as required (For sprinkler system) (b) 32 mm dia | 125.00 | Meter |  | 463.00 | 57875.00 | 500.00 | 62500.00 | 500.00 | 62500.00 | 316.17 | 39521.25 | 91.00 | 11375.00 | 11375.00 | Messers Pradeep Shriwas
2.50 | Providing & Laying MS(M) pipe IS 1239 marked including all forged fittings and accessories such as screwed / welded flanges, tees, reducers etc. complete including painting, welding, jointing and neoprene gaskets, nuts, bolts etc., as required of following pipes, painted with one coat of primer & two coats of Post Office red enamel paint fixed in ceiling, walls, columns for all heights with hangers, supports and fasteners all as per drawing including chasing of walls / columns / ceilings etc. and making good the same complete as required (For sprinkler system) (c) 25 mm dia | 20.00 | Meter |  | 400.00 | 8000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 281.04 | 5620.80 | 65.00 | 1300.00 | 1300.00 | Messers Pradeep Shriwas
2.51 | Providing & Fixing of ISI marked (IS: 2878) Fire Extinguisher, Carbon-Di-Oxide type capacity 5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including intitial fill with CO2 gas conforming to IS : 307-1966 filled to a filling rate of not more than 0.667 and wall suspension bracket. | 14.00 | Each |  | 3100.00 | 43400.00 | 7000.00 | 98000.00 | 6000.00 | 84000.00 | 1405.20 | 19672.80 | 2200.00 | 30800.00 | 19672.80 | Swami Contractors Pvt Ltd
2.52 | SITC of imported ceiling mount speaker, full range 60 Hz- 18kHz, tapping 12W RMS, 24 W Max, 34W peak, opening angle 160 deg., mounting clamp, front metal Grill, Built in LMT (Bosch LBC 3099) | 25.00 | Set |  | 7600.00 | 190000.00 | 6000.00 | 150000.00 | 6000.00 | 150000.00 | 702.60 | 17565.00 | 3500.00 | 87500.00 | 17565.00 | Swami Contractors Pvt Ltd
2.53 | Supply & Laying of Two core twisted & shielded Speaker Cable 48/0.2 mm in existing conduit | 250.00 | RMT |  | 94.00 | 23500.00 | 100.00 | 25000.00 | 100.00 | 25000.00 | 140.52 | 35130.00 | 36.10 | 9025.00 | 9025.00 | Messers Pradeep Shriwas
2.54 | Supply and installation of Butterfly Valve ( with matching flange of 50 mm Dia pipe ). | 2.00 | Each |  | 2560.00 | 5120.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 10539.00 | 21078.00 | 2500.00 | 5000.00 | 5000.00 | Messers Pradeep Shriwas
2.55 | Supply and installation of Stainless Steel flexible sprinkler hose (UL listed) suitable for sustaining the 175 psi pressure with maximum ambient temp of 225 degree fahrenheit. | 50.00 | Each |  | 1840.00 | 92000.00 | 1600.00 | 80000.00 | 1500.00 | 75000.00 | 351.30 | 17565.00 | 650.00 | 32500.00 | 17565.00 | Swami Contractors Pvt Ltd
| Total in Figures |  |  |  |  | 37859266.00 |  | 39988900.00 |  | 33105164.00 |  | 31244637.78 |  | 31176029.00
Lowest Amount Quoted BY: Messers Pradeep Shriwas(31176029.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 02 Nos Additional Fixed Finger for Passenger Boarding Bridge at D.A.B.H. Indore. Tender ID: 2020_AAI_58401_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Messers Pradeep Shriwas | 31176029.00 | L1
| 2 | Swami Contractors Pvt Ltd | 31244637.78 | L2
| 3 | Nayan Engineering Corporation | 33105164.00 | L3
| 4 | Unique Associates | 37859266.00 | L4
| 5 | PD AGRAWAL INFRASTRUCTURE LIMITED | 39988900.00 | L5