## BoQ1
Government eProcurement System Created By: SONAM NURBOO Created Date/Time: 23-Oct-2020 12:30 PM Tender Title: O andMof EandM installation of TB, Apron area, Car parking area, Power house, Old Hostel, New Hostel , Administrative building and DVOR building along with Central heating plant and supply of Electrical spares at KBR Airport, Leh (20-22) Tender ID: 2020_AAI_58419_1
Tender Inviting Authority: Asst GM Engg.(Electrical)-I, AAI,KBR Airport ,Leh
Name of work:- Operation & Maintenance of E&M installation of Terminal Building, Apron area, Car parking area, Power house, Old Hostel, New Hostel , Administrative building and DVOR building alongwith Central heating plant and supply of Electrical spares at KBR Airport, Leh for the year 2020-21 & 2021-2022.
Tender ID: 2020_AAI_58419_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | Anzen Projects Private Limited(GSTN-06AANCA5052C1ZZ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | National Engineering(GSTN-01AJFPM5466Q1ZS) |  | M/S B.A.G ENTERPRISES(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Preventive Maintenance contract of E&M Installations of Terminal Building, Apron area, Car parking area, Power house and DVOR building installations such as LT Electrical distribution Panels,DBs, Electrical light fittings, Illuminated signages, hand driers including operation and cleaning of DG sets & Baggage handling system of arrival & departure, including attending complain, maintaning log books and other records for all days including Sundays & Holidays by deploying minimum manpower shifts (each shift of eight hours) as detailed in special condition of the contract. The entire work shall be carried out as specified in conditions of the contract complete as required. | 24.00 | Month | 0.00 | 286560.00 | 6877440.00 | 240890.00 | 5781360.00 | 240000.00 | 5760000.00 | 276123.00 | 6626952.00 | 279786.00 | 6714864.00 | 286000.00 | 6864000.00 | 292500.00 | 7020000.00 | 342400.00 | 8217600.00 | 5760000.00 | Anil Kumar Sharma
2.00 | Operation & Preventive Maintenance of Central heating system comprising of HSDO fired hot brine generators 07 nos. including AHUs & FCUs of different capacities. brine make up pumps, primary & secondary circulating pumps, handling of HSD Oil, including attending complain, maintaining log books and other records for all days including Sundays & Holidays by deploying minimum manpower shifts (each shift of eight hours) in winter season as detailed in special condition of the contract. | 10.00 | Month | 0.00 | 79265.00 | 792650.00 | 65750.00 | 657500.00 | 120000.00 | 1200000.00 | 57379.00 | 573790.00 | 78786.00 | 787860.00 | 78000.00 | 780000.00 | 66682.00 | 666820.00 | 85000.00 | 850000.00 | 573790.00 | Anzen Projects Private Limited
3.00 | Operation & Preventive Maintenance contract of E&M Installations of new Hostel Block, Old Hostel block & administrative offices etc. including attending complain, maintaining log books and other records for all days by deploying minimum manpower per shifts (each shift of eight hours) as detailed in special condition of the contract. The entire work shall be carried out as specified in conditions of the contract complete as required. | 24.00 | Month | 0.00 | 38313.00 | 919512.00 | 31850.00 | 764400.00 | 35000.00 | 840000.00 | 36470.00 | 875280.00 | 35786.00 | 858864.00 | 37500.00 | 900000.00 | 40000.00 | 960000.00 | 44000.00 | 1056000.00 | 764400.00 | ASHWANI REFRIGERATION AND ELECTRICALS
4.00 | Lifting and lowering of Single/three phase submersible pump motor set of capacity up to 5HP into existing bore well alogwith pipe length i/c replacement of worn-out nut-bolts, rubber gasket, disconnection, reconnection and testing complete in all respect at site. | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 12015.00 | 24030.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Anzen Projects Private Limited
5.00 | Rewinding of 7.50 HP mono block centrifugal motor by providing appropriate class of insulation material & enamelled copper wire as the original motor. | 2.00 | Each | 0.00 | 5500.00 | 11000.00 | 12000.00 | 24000.00 | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Anil Kumar Sharma
6.00 | Rewinding of 3.0 to 5.0 hp motor by providing appropriate class of insulation material & enamelled copper wire as the original motor. | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 9000.00 | 18000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | Rewinding of AHU &FCU blower motor up to 2.0 HP motor by providing appropriate class of insulation material & enamelled copper wire as the original motor. | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 1200.00 | 4800.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 4800.00 | Anzen Projects Private Limited
8.00 | Repairing of radiator of existing FCUs of Zeco make of Capacity up to 7500 KCal/Hr i/c brazing the burst line along with re-assembling in the FCUs installed in floor as well as ceiling- complete as required. | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 20000.00 | 200000.00 | 4000.00 | 40000.00 | 200.00 | 2000.00 | 2000.00 | 20000.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 1500.00 | 15000.00 | 2000.00 | Anzen Projects Private Limited
9.00 | Rewinding of ceiling fan motor of all sizes by providing appropriate class of insulation material & enamelled copper wire as the original motor. | 2.00 | Each | 0.00 | 450.00 | 900.00 | 400.00 | 800.00 | 700.00 | 1400.00 | 700.00 | 1400.00 | 450.00 | 900.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 400.00 | 800.00 | 800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, ASHWANI REFRIGERATION AND ELECTRICALS
10.00 | Rewinding of 300 mm Sweep exhaust fan motor by providing appropriate class of insulation material & enamelled copper wire as the original motor. | 5.00 | Each | 0.00 | 250.00 | 1250.00 | 400.00 | 2000.00 | 800.00 | 4000.00 | 700.00 | 3500.00 | 600.00 | 3000.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 1250.00 | Sew Engineering Works Pvt Ltd
11.00 | Rewinding of 450 mm exhaust fan motor by providing appropriate class of insulation material & enamelled copper wire as the original motor. The work to be carried out as and when required. | 5.00 | Each | 0.00 | 350.00 | 1750.00 | 600.00 | 3000.00 | 800.00 | 4000.00 | 700.00 | 3500.00 | 700.00 | 3500.00 | 1500.00 | 7500.00 | 600.00 | 3000.00 | 650.00 | 3250.00 | 1750.00 | Sew Engineering Works Pvt Ltd
12.00 | Painting of existing E&M installations/MS pipe line/ MS supports etc. with synthetic enamel paint similar to Asian paints brand premium gloss enamel or approved equivalent paint of required colour/shade in two or more coats after cleaning old paint, rusty patches, by rubbing down with sand paper, brushes/wire brushes complete all as required and as specified. | 30.00 | Sq.Mtr | 0.00 | 80.00 | 2400.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 241.66 | 7249.80 | 200.00 | 6000.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 2400.00 | Sew Engineering Works Pvt Ltd
13.00 | Execution of item of DSR 2018 as and when required basis of value of Rs 50,000/- | 1.00 | Per Unit | 0.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 30000.00 | 30000.00 | 40000.00 | 40000.00 | 8000.00 | 8000.00 | 100000.00 | 100000.00 | 45000.00 | 45000.00 | 8000.00 | National Engineering
14.00 | Supply of bi-pin, Cool daylight, 12 W LED lamp as per standards | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 144.00 | 7200.00 | 120.00 | 6000.00 | 135.00 | 6750.00 | 250.00 | 12500.00 | 400.00 | 20000.00 | 6000.00 | Manish Electricals
15.00 | Supply of one way 6A piano type switch | 50.00 | Each | 0.00 | 18.00 | 900.00 | 30.00 | 1500.00 | 50.00 | 2500.00 | 30.62 | 1531.20 | 15.00 | 750.00 | 20.00 | 1000.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 750.00 | Manish Electricals
16.00 | Supply of one way 20A piano type switch | 50.00 | Each | 0.00 | 68.00 | 3400.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 38.40 | 1920.00 | 25.00 | 1250.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 60.00 | 3000.00 | 1250.00 | Manish Electricals
17.00 | Supply of one way 6A modular type switch | 50.00 | Each | 0.00 | 34.00 | 1700.00 | 80.00 | 4000.00 | 70.00 | 3500.00 | 30.62 | 1531.20 | 40.00 | 2000.00 | 40.00 | 2000.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 1531.20 | Anzen Projects Private Limited
18.00 | Supply of one way 16A modular type switch | 50.00 | Each | 0.00 | 84.00 | 4200.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 38.40 | 1920.00 | 80.00 | 4000.00 | 80.00 | 4000.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 1920.00 | Anzen Projects Private Limited
19.00 | Supply of 6 A, 5 pin 2 in 1 socket | 50.00 | Each | 0.00 | 26.00 | 1300.00 | 60.00 | 3000.00 | 70.00 | 3500.00 | 40.32 | 2016.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 79.00 | 3950.00 | 1300.00 | Sew Engineering Works Pvt Ltd
20.00 | Supply of 20 A & 10 A, Uni socket | 50.00 | Each | 0.00 | 68.00 | 3400.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 65.28 | 3264.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 3264.00 | Anzen Projects Private Limited
21.00 | Supply of 6A, 5 pin modular socket with Sutter | 50.00 | Each |  | 84.00 | 4200.00 | 80.00 | 4000.00 | 80.00 | 4000.00 | 40.32 | 2016.00 | 80.00 | 4000.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 2016.00 | Anzen Projects Private Limited
22.00 | Supply of 16A modular socket | 30.00 | Each |  | 42.00 | 1260.00 | 120.00 | 3600.00 | 120.00 | 3600.00 | 65.28 | 1958.40 | 90.00 | 2700.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 80.00 | 2400.00 | 1260.00 | Sew Engineering Works Pvt Ltd
23.00 | Supply of 3 pin, 6A plug top | 20.00 | Each |  | 42.00 | 840.00 | 60.00 | 1200.00 | 75.00 | 1500.00 | 28.00 | 560.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 80.00 | 1600.00 | 50.00 | 1000.00 | 560.00 | Anzen Projects Private Limited
24.00 | Supply of 3 pin, 16A plug top | 20.00 | Each |  | 63.00 | 1260.00 | 80.00 | 1600.00 | 125.00 | 2500.00 | 36.00 | 720.00 | 75.00 | 1500.00 | 70.00 | 1400.00 | 110.00 | 2200.00 | 80.00 | 1600.00 | 720.00 | Anzen Projects Private Limited
25.00 | Supply of 6A batten holder | 20.00 | Each |  | 21.00 | 420.00 | 30.00 | 600.00 | 100.00 | 2000.00 | 56.00 | 1120.00 | 30.00 | 600.00 | 20.00 | 400.00 | 40.00 | 800.00 | 40.00 | 800.00 | 400.00 | National Engineering
26.00 | Supply of surface mounted 3 module PVC gang box of size 73 mm X 115mm X 40 mm depth with cover | 20.00 | Each |  | 70.00 | 1400.00 | 30.00 | 600.00 | 300.00 | 6000.00 | 108.80 | 2176.00 | 60.00 | 1200.00 | 105.00 | 2100.00 | 60.00 | 1200.00 | 150.00 | 3000.00 | 600.00 | ASHWANI REFRIGERATION AND ELECTRICALS
27.00 | Supply of surface mounted 4 module PVC gang box of size 85 mm X 145mm X 42 mm depth with cover | 20.00 | Each |  | 105.00 | 2100.00 | 40.00 | 800.00 | 500.00 | 10000.00 | 121.60 | 2432.00 | 70.00 | 1400.00 | 180.00 | 3600.00 | 70.00 | 1400.00 | 200.00 | 4000.00 | 800.00 | ASHWANI REFRIGERATION AND ELECTRICALS
28.00 | Supply of surface mounted 6 module PVC gang box of size 85 mm X 219 mm X 42 mm depth with cover | 10.00 | Each |  | 126.00 | 1260.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 168.80 | 1688.00 | 80.00 | 800.00 | 230.00 | 2300.00 | 80.00 | 800.00 | 200.00 | 2000.00 | 500.00 | ASHWANI REFRIGERATION AND ELECTRICALS
29.00 | Supply of surface mounted 8 module PVC gang box of size 85 mm X 248mm X 40 mm depth with cover | 10.00 | Each |  | 189.00 | 1890.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 226.40 | 2264.00 | 90.00 | 900.00 | 250.00 | 2500.00 | 110.00 | 1100.00 | 200.00 | 2000.00 | 500.00 | ASHWANI REFRIGERATION AND ELECTRICALS
30.00 | Supply of 1.5 sq.mm Single Core FRLS PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694 ( As per AAI approved Make ) | 360.00 | Mtr. |  | 15.00 | 5400.00 | 25.00 | 9000.00 | 16.00 | 5760.00 | 8.78 | 3159.36 | 15.00 | 5400.00 | 16.00 | 5760.00 | 25.00 | 9000.00 | 12.00 | 4320.00 | 3159.36 | Anzen Projects Private Limited
31.00 | Supply of 2.5 sq.mm Single Core FRLS PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694 ( As per AAI approved Make ) | 180.00 | Mtr. |  | 23.00 | 4140.00 | 30.00 | 5400.00 | 24.00 | 4320.00 | 14.59 | 2626.56 | 23.00 | 4140.00 | 23.00 | 4140.00 | 30.00 | 5400.00 | 22.00 | 3960.00 | 2626.56 | Anzen Projects Private Limited
32.00 | Supply of 4 sq.mm Single Core FRLS PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694( As per AAI approved Make ) | 90.00 | Mtr. |  | 36.00 | 3240.00 | 40.00 | 3600.00 | 36.00 | 3240.00 | 22.89 | 2060.21 | 38.00 | 3420.00 | 35.00 | 3150.00 | 45.00 | 4050.00 | 50.00 | 4500.00 | 2060.21 | Anzen Projects Private Limited
33.00 | Supply of 2C X 1.5 sq.mm, FR PVC insulated and PVC round sheathed Industrial Grade Copper Conductor Flexible Cables, 1100 Volts Conforming to IS: 694( As per AAI approved Make ) | 200.00 | Mtr. |  | 30.00 | 6000.00 | 40.00 | 8000.00 | 28.00 | 5600.00 | 21.63 | 4326.40 | 32.00 | 6400.00 | 32.00 | 6400.00 | 50.00 | 10000.00 | 40.00 | 8000.00 | 4326.40 | Anzen Projects Private Limited
34.00 | Supply of 2 CX 2.5 sq.mm, FR PVC insulated and PVC round sheathed Industrial Grade Copper Conductor Flexible Cables, 1100 Volts Conforming to IS: 694( As per AAI approved Make ) | 100.00 | Mtr. |  | 40.00 | 4000.00 | 50.00 | 5000.00 | 30.00 | 3000.00 | 34.70 | 3470.40 | 48.00 | 4800.00 | 40.00 | 4000.00 | 70.00 | 7000.00 | 39.00 | 3900.00 | 3000.00 | Anil Kumar Sharma
35.00 | Supply of 3C X 1.5 sq.mm, FR PVC Industrial Grade Copper Conductor Flexible Cables, 1100 Volts Conforming to IS: 694( As per AAI approved Make ) | 100.00 | Mtr. |  | 34.00 | 3400.00 | 45.00 | 4500.00 | 40.00 | 4000.00 | 30.37 | 3036.80 | 50.00 | 5000.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 40.00 | 4000.00 | 3036.80 | Anzen Projects Private Limited
36.00 | Supply of 3C X 2.5 sq.mm, FR PVC round sheathed Industrial Grade Copper Conductor Flexible Cables, 1100 Volts Conforming to IS: 694( As per AAI approved Make ) | 100.00 | Mtr. |  | 84.00 | 8400.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 49.25 | 4924.80 | 90.00 | 9000.00 | 60.00 | 6000.00 | 80.00 | 8000.00 | 50.00 | 5000.00 | 4924.80 | Anzen Projects Private Limited
37.00 | Supply of Sequence controller for thermax make hot water generator , Siemens make, Model No. L0A 44.252A27 or equivalent | 4.00 | Each |  | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 4800.00 | 19200.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 3000.00 | 12000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Manish Electricals
38.00 | Supply of Sequence controller for thermax make hot water generator , Siemens make Model No. L0A 24.171B2EM or equivalent | 4.00 | Each |  | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 4800.00 | 19200.00 | 3000.00 | 12000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 12000.00 | Manish Electricals
39.00 | Supply of Geyser heating element for 25 ltr capacity. | 20.00 | Each |  | 425.00 | 8500.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 14000.00 | 280000.00 | 1200.00 | 24000.00 | 200.00 | 4000.00 | 2000.00 | 40000.00 | 4000.00 | M/S B.A.G ENTERPRISES
40.00 | Supply of ethylene glycol Brine for Central Heating System suitable for freezing temperature of -30 degree. Make: Servo/Castrol/Puricool/KGX or Equivalent | 3000.00 | Litre |  | 150.00 | 450000.00 | 300.00 | 900000.00 | 180.00 | 540000.00 | 46.40 | 139200.00 | 130.00 | 390000.00 | 130.00 | 390000.00 | 100.00 | 300000.00 | 400.00 | 1200000.00 | 139200.00 | Anzen Projects Private Limited
41.00 | Supply of 750W heating element in glass rod suitable for heat pillars | 50.00 | Each |  | 350.00 | 17500.00 | 2000.00 | 100000.00 | 350.00 | 17500.00 | 200.00 | 10000.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 80.00 | 4000.00 | 2000.00 | 100000.00 | 4000.00 | M/S B.A.G ENTERPRISES
42.00 | Supply of 6 A-32 A Single pole 'C' curve MCBs | 50.00 | Each |  | 116.00 | 5800.00 | 270.00 | 13500.00 | 150.00 | 7500.00 | 86.40 | 4320.00 | 180.00 | 9000.00 | 130.00 | 6500.00 | 150.00 | 7500.00 | 200.00 | 10000.00 | 4320.00 | Anzen Projects Private Limited
43.00 | Supply of 16-32 A TPN 'C' curve MCBs | 10.00 | Each |  | 672.00 | 6720.00 | 1400.00 | 14000.00 | 170.00 | 1700.00 | 596.00 | 5960.00 | 660.00 | 6600.00 | 130.00 | 1300.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 1300.00 | National Engineering
44.00 | Supply of 25 A TPN 'C' curve MCBs | 10.00 | Each |  | 672.00 | 6720.00 | 1400.00 | 14000.00 | 1340.00 | 13400.00 | 596.00 | 5960.00 | 1110.00 | 11100.00 | 550.00 | 5500.00 | 800.00 | 8000.00 | 300.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
45.00 | Supply of 32 A TPN 'C' curve MCBs | 10.00 | Each |  | 882.00 | 8820.00 | 1500.00 | 15000.00 | 1340.00 | 13400.00 | 596.00 | 5960.00 | 1200.00 | 12000.00 | 700.00 | 7000.00 | 1100.00 | 11000.00 | 300.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.00 | Supply of 40 A TPN 'C' curve MCBs | 10.00 | Each | 0.00 | 987.00 | 9870.00 | 1800.00 | 18000.00 | 1760.00 | 17600.00 | 846.00 | 8460.00 | 1800.00 | 18000.00 | 800.00 | 8000.00 | 1200.00 | 12000.00 | 300.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
47.00 | Supply of 63 A TPN 'C' curve MCBs | 10.00 | Each | 0.00 | 1208.00 | 12080.00 | 1800.00 | 18000.00 | 1830.00 | 18300.00 | 846.00 | 8460.00 | 1700.00 | 17000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 500.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
48.00 | Supply of 40 A Four pole isolator | 10.00 | Each |  | 620.00 | 6200.00 | 1400.00 | 14000.00 | 880.00 | 8800.00 | 404.80 | 4048.00 | 700.00 | 7000.00 | 800.00 | 8000.00 | 3500.00 | 35000.00 | 2000.00 | 20000.00 | 4048.00 | Anzen Projects Private Limited
49.00 | Supply of 63 A Four pole 'C' isolator | 10.00 | Each |  | 672.00 | 6720.00 | 1400.00 | 14000.00 | 840.00 | 8400.00 | 411.40 | 4114.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 4114.00 | Anzen Projects Private Limited
50.00 | Supply of SP MCB blanking plate | 20.00 | Each |  | 11.00 | 220.00 | 10.00 | 200.00 | 50.00 | 1000.00 | 28.00 | 560.00 | 25.00 | 500.00 | 12.00 | 240.00 | 20.00 | 400.00 | 20.00 | 400.00 | 200.00 | ASHWANI REFRIGERATION AND ELECTRICALS
51.00 | Supply of 12 V,180 Ah sealed maintenance free lead acid battery suitable for DG set operation. | 1.00 | Each |  | 16500.00 | 16500.00 | 20000.00 | 20000.00 | 18000.00 | 18000.00 | 12000.00 | 12000.00 | 16000.00 | 16000.00 | 19000.00 | 19000.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 12000.00 | Anzen Projects Private Limited
52.00 | Supply of aluminium lugs suitable for cable size 10 sq.mm | 10.00 | Each |  | 11.00 | 110.00 | 2.00 | 20.00 | 14.00 | 140.00 | 5.60 | 56.00 | 5.00 | 50.00 | 22.00 | 220.00 | 10.00 | 100.00 | 40.00 | 400.00 | 20.00 | ASHWANI REFRIGERATION AND ELECTRICALS
53.00 | Supply of aluminium lugs suitable for cable size 16 sq.mm | 10.00 | Each |  | 16.00 | 160.00 | 2.00 | 20.00 | 15.00 | 150.00 | 8.00 | 80.00 | 6.00 | 60.00 | 25.00 | 250.00 | 15.00 | 150.00 | 40.00 | 400.00 | 20.00 | ASHWANI REFRIGERATION AND ELECTRICALS
54.00 | Supply of aluminium lugs suitable for cable size 25 sq.mm | 10.00 | Each |  | 19.00 | 190.00 | 5.00 | 50.00 | 17.00 | 170.00 | 12.00 | 120.00 | 8.00 | 80.00 | 30.00 | 300.00 | 20.00 | 200.00 | 40.00 | 400.00 | 50.00 | ASHWANI REFRIGERATION AND ELECTRICALS
55.00 | Supply of aluminium lugs suitable for cable size 35 sq.mm | 10.00 | Each |  | 21.00 | 210.00 | 5.00 | 50.00 | 18.00 | 180.00 | 16.00 | 160.00 | 12.00 | 120.00 | 35.00 | 350.00 | 25.00 | 250.00 | 40.00 | 400.00 | 50.00 | ASHWANI REFRIGERATION AND ELECTRICALS
56.00 | Supply of aluminium lugs suitable for cable size 50 sq.mm | 10.00 | Each |  | 32.00 | 320.00 | 10.00 | 100.00 | 19.00 | 190.00 | 24.00 | 240.00 | 18.00 | 180.00 | 38.00 | 380.00 | 30.00 | 300.00 | 40.00 | 400.00 | 100.00 | ASHWANI REFRIGERATION AND ELECTRICALS
57.00 | Supply of aluminium lugs suitable for cable size 70 sq.mm | 10.00 | Each |  | 42.00 | 420.00 | 10.00 | 100.00 | 24.00 | 240.00 | 24.00 | 240.00 | 20.00 | 200.00 | 40.00 | 400.00 | 35.00 | 350.00 | 40.00 | 400.00 | 100.00 | ASHWANI REFRIGERATION AND ELECTRICALS
58.00 | Supply of aluminium lugs suitable for cable size 95 sq.mm | 10.00 | Each | 0.00 | 47.00 | 470.00 | 15.00 | 150.00 | 28.00 | 280.00 | 28.00 | 280.00 | 30.00 | 300.00 | 42.00 | 420.00 | 40.00 | 400.00 | 40.00 | 400.00 | 150.00 | ASHWANI REFRIGERATION AND ELECTRICALS
59.00 | Supply of aluminium lugs suitable for cable size 150 sq.mm | 5.00 | Each | 0.00 | 63.00 | 315.00 | 20.00 | 100.00 | 50.00 | 250.00 | 28.00 | 140.00 | 40.00 | 200.00 | 45.00 | 225.00 | 45.00 | 225.00 | 40.00 | 200.00 | 100.00 | ASHWANI REFRIGERATION AND ELECTRICALS
60.00 | Supply of aluminium lugs suitable for cable size 185 sq.mm | 5.00 | Each | 0.00 | 84.00 | 420.00 | 25.00 | 125.00 | 80.00 | 400.00 | 32.00 | 160.00 | 48.00 | 240.00 | 48.00 | 240.00 | 50.00 | 250.00 | 40.00 | 200.00 | 125.00 | ASHWANI REFRIGERATION AND ELECTRICALS
61.00 | Supply of aluminium lugs suitable for cable size 240 sq.mm | 5.00 | Each |  | 131.00 | 655.00 | 25.00 | 125.00 | 80.00 | 400.00 | 32.00 | 160.00 | 60.00 | 300.00 | 50.00 | 250.00 | 55.00 | 275.00 | 40.00 | 200.00 | 125.00 | ASHWANI REFRIGERATION AND ELECTRICALS
62.00 | Supply of double compression brass cable gland suitable for cable size 4 x 10 sq.mm | 5.00 | Each |  | 158.00 | 790.00 | 50.00 | 250.00 | 100.00 | 500.00 | 144.00 | 720.00 | 110.00 | 550.00 | 200.00 | 1000.00 | 80.00 | 400.00 | 200.00 | 1000.00 | 250.00 | ASHWANI REFRIGERATION AND ELECTRICALS
63.00 | Supply of double compression brass cable gland suitable for cable of size 4 X 16 sq.mm | 5.00 | Each |  | 210.00 | 1050.00 | 60.00 | 300.00 | 150.00 | 750.00 | 144.00 | 720.00 | 140.00 | 700.00 | 300.00 | 1500.00 | 150.00 | 750.00 | 200.00 | 1000.00 | 300.00 | ASHWANI REFRIGERATION AND ELECTRICALS
64.00 | Supply of double compression brass cable gland suitable for cable of size 4 X 25 sq.mm | 5.00 | Each |  | 262.00 | 1310.00 | 50.00 | 250.00 | 150.00 | 750.00 | 184.00 | 920.00 | 220.00 | 1100.00 | 400.00 | 2000.00 | 160.00 | 800.00 | 200.00 | 1000.00 | 250.00 | ASHWANI REFRIGERATION AND ELECTRICALS
65.00 | Supply of double compression brass cable gland suitable for cable size 3.50X35 sq.mm | 5.00 | Each |  | 315.00 | 1575.00 | 60.00 | 300.00 | 120.00 | 600.00 | 216.00 | 1080.00 | 440.00 | 2200.00 | 325.00 | 1625.00 | 170.00 | 850.00 | 200.00 | 1000.00 | 300.00 | ASHWANI REFRIGERATION AND ELECTRICALS
66.00 | Supply of double compression brass cable gland of size 3.50X 50 sq.mm | 5.00 | Each |  | 368.00 | 1840.00 | 70.00 | 350.00 | 200.00 | 1000.00 | 216.00 | 1080.00 | 800.00 | 4000.00 | 350.00 | 1750.00 | 180.00 | 900.00 | 200.00 | 1000.00 | 350.00 | ASHWANI REFRIGERATION AND ELECTRICALS
67.00 | Supply of 400 mm sweep, aluminium blade pedestal fan complete metal body with metal base for better stability etc. complete all as required | 2.00 | Each |  | 2200.00 | 4400.00 | 204.00 | 408.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 408.00 | ASHWANI REFRIGERATION AND ELECTRICALS
68.00 | Supply of high speed hand dryer fully SS body of Euronics make having model no-EH-21 NW or EH-26 NW or equivalent | 2.00 | Each |  | 16500.00 | 33000.00 | 2500.00 | 5000.00 | 5500.00 | 11000.00 | 12800.00 | 25600.00 | 15000.00 | 30000.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 6000.00 | 12000.00 | 5000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
69.00 | Supply of 25 mm X 16 PVC casing and capping | 50.00 | Mtr. |  | 50.00 | 2500.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 12.00 | 600.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 39.00 | 1950.00 | 30.00 | 1500.00 | 600.00 | Anzen Projects Private Limited
70.00 | Supply of 20 mm X 16 PVC casing and capping | 50.00 | Mtr. |  | 45.00 | 2250.00 | 20.00 | 1000.00 | 50.00 | 2500.00 | 12.00 | 600.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 49.00 | 2450.00 | 20.00 | 1000.00 | 600.00 | Anzen Projects Private Limited
71.00 | Supply of 10 mm dia PVC corrugated flexible conduit pipes | 20.00 | Mtr. |  | 25.00 | 500.00 | 20.00 | 400.00 | 40.00 | 800.00 | 8.00 | 160.00 | 20.00 | 400.00 | 18.00 | 360.00 | 40.00 | 800.00 | 20.00 | 400.00 | 160.00 | Anzen Projects Private Limited
72.00 | Supply of 16 mm dia PVC corrugated flexible conduit pipes | 20.00 | Mtr. |  | 20.00 | 400.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 12.00 | 240.00 | 20.00 | 400.00 | 20.00 | 400.00 | 50.00 | 1000.00 | 20.00 | 400.00 | 240.00 | Anzen Projects Private Limited
73.00 | Supply of 20 ltrs capacity storage water purifier Make-Kent Gold star or equivalent | 1.00 | Each |  | 18000.00 | 18000.00 | 28200.00 | 28200.00 | 4000.00 | 4000.00 | 2080.00 | 2080.00 | 30000.00 | 30000.00 | 18000.00 | 18000.00 | 4000.00 | 4000.00 | 30000.00 | 30000.00 | 2080.00 | Anzen Projects Private Limited
74.00 | Supply of filter kit and UF membrane set, suitable for 20 ltrs capacity storage water purifier Make-Kent Gold | 5.00 | Each |  | 1900.00 | 9500.00 | 5000.00 | 25000.00 | 1500.00 | 7500.00 | 520.00 | 2600.00 | 600.00 | 3000.00 | 4500.00 | 22500.00 | 2000.00 | 10000.00 | 30000.00 | 150000.00 | 2600.00 | Anzen Projects Private Limited
75.00 | Supply of 5-30 A single phase, 240 V, 50 Hz, class 1.0 Electronic digital kWh energy meter. | 2.00 | Each |  | 1100.00 | 2200.00 | 700.00 | 1400.00 | 1500.00 | 3000.00 | 640.00 | 1280.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 1280.00 | Anzen Projects Private Limited
76.00 | Supply of 5-30 A, Three phase, 440 V, 50 Hz, class 1.0 Electronic digital kWh energy meter. | 2.00 | Each |  | 2350.00 | 4700.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 720.00 | 1440.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 8000.00 | 16000.00 | 1000.00 | 2000.00 | 1440.00 | Anzen Projects Private Limited
| Total in Figures |  |  |  |  | 9454947.00 |  | 8888888.00 |  | 8834320.00 |  | 8507591.13 |  | 9476578.00 |  | 9465460.00 |  | 9508670.00 |  | 11967930.00
Lowest Amount Quoted BY: Anzen Projects Private Limited(8507591.13)

## BOQ Summary
BOQ Summary Details Tender Title: O andMof EandM installation of TB, Apron area, Car parking area, Power house, Old Hostel, New Hostel , Administrative building and DVOR building along with Central heating plant and supply of Electrical spares at KBR Airport, Leh (20-22) Tender ID: 2020_AAI_58419_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anzen Projects Private Limited | 8507591.13 | L1
| 2 | Anil Kumar Sharma | 8834320.00 | L2
| 3 | ASHWANI REFRIGERATION AND ELECTRICALS | 8888888.00 | L3
| 4 | Sew Engineering Works Pvt Ltd | 9454947.00 | L4
| 5 | National Engineering | 9465460.00 | L5
| 6 | Manish Electricals | 9476578.00 | L6
| 7 | M/S B.A.G ENTERPRISES | 9508670.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 11967930.00 | L8