## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 21-Oct-2020 12:15 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of Ultra Voilet Germicidal Irradiation (UVGI) unit inside the AHUs at Civil Airport Jammu Tender ID: 2020_AAI_58497_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Design, Supply, Installation, Testing and Commissioning of Ultra Voilet Germicidal Irradiation (UVGI) unit inside the AHU’s at Civil Airport Jammu.
Tender ID No: 2020_AAI_58497
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Limited(GSTN-04AAACB4487D1Z0) |  | Ensavior Technologies Private Limited(GSTN-NA) |  | Elite Air Techniques Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, testing and Commissioning of Ultra Voilet Germicidal Irradiation (UVGI) in existing Air Handling Units (AHUs) with out affecting cubic feet per minute flow (CFM). Job includes complete design & submission of reports with adapting Advanced Oxidation Plasma (AOP) Cell and Ultra Violet Germicidal Irradiation technology, generating ultra violet rays and hydroxil ions to prevent airborne decease transmission by infectious agents which may involves droplets by sneezing or coughing or are otherwise distributed into the air, the details of AHUs, Specifications with quantity of AOP cell units and Specifications with quantity of UVGIs are placed in tender documents (Total AHU 19 Nos.) including providing necessary modification, installtion, testing & commissioning of AOP-UVGI units (with 5 meter 3 core suitable size copper flexible cable for each unit) inside the AHUs/AHU planum/HVAC duct with the provision of control panel comprising of Electronic Ballast with high power factor of > 0.90, Run hour meter, Mains on indicator lamp, MCB or Disconnect Switch, indicator lamp for each UV lamp, complete etc as required. (Similar to Ensavior/ Aeropure, Myaire/ UVDI/ Honeywell/York / Philips / Sukrut / Alfaa UV or equivallent for UVGI & for AOP cell ultra fresh, air exchange solutions, elite air techniques,Ensavior, RGF, Myaire, Streilaire or equivallent *with no ozone forming certification for UV lamps and all electronics components used shall be UL listed, meeting the technical parameters mentioned in the tender documents and with prior approval of the Engineer-In-Charge.) Submission of air quality report from NABL certified lab with testing as per SS 554 (with upto date ammendment or equivallent) complete etc as required. Testing shall be done by collection of Plate sampling method for total microbial count in CFU/M3 in 8 hours, 12 sample in one day.The lab should have experience in Air quality checks for reputed hospitality industry/Health Centre required.The work completion shall depend upon the submission of Air Quality Report
1.10 | AHU No.1 and 2 (25000 CFM each) | 2.00 | Job | 134317.00 | 190468.00 | 380936.00 | 110000.00 | 220000.00 | 89000.00 | 178000.00 | 178000.00 | Elite Air Techniques Pvt Ltd
1.20 | AHU No.3 , 4 ,9,10,11and 12(20000 CFM each) | 6.00 | Job | 105254.00 | 175548.00 | 1053288.00 | 101000.00 | 606000.00 | 89000.00 | 534000.00 | 534000.00 | Elite Air Techniques Pvt Ltd
1.30 | AHU No.5and 6 (23000 CFM each) | 2.00 | Job | 134317.00 | 190353.00 | 380706.00 | 100000.00 | 200000.00 | 89000.00 | 178000.00 | 178000.00 | Elite Air Techniques Pvt Ltd
1.40 | AHU No.7and 8 (18000 CFM each) | 2.00 | Job | 105254.00 | 156513.00 | 313026.00 | 65000.00 | 130000.00 | 62000.00 | 124000.00 | 124000.00 | Elite Air Techniques Pvt Ltd
1.60 | AHU No.13 and 18 (6500 CFM each) | 2.00 | Job | 77762.00 | 113481.00 | 226962.00 | 48000.00 | 96000.00 | 53000.00 | 106000.00 | 96000.00 | Ensavior Technologies Private Limited
1.70 | AHU No.14 and 19 (6000 CFM each) | 2.00 | Job | 77762.00 | 113481.00 | 226962.00 | 48000.00 | 96000.00 | 53000.00 | 106000.00 | 96000.00 | Ensavior Technologies Private Limited
1.80 | AHU No.15 (3200 CFM each) | 1.00 | Job | 62838.00 | 108819.00 | 108819.00 | 23000.00 | 23000.00 | 53000.00 | 53000.00 | 23000.00 | Ensavior Technologies Private Limited
1.90 | AHU No.16 (4600 CFM each) | 1.00 | Job | 62838.00 | 109081.00 | 109081.00 | 20000.00 | 20000.00 | 53000.00 | 53000.00 | 20000.00 | Ensavior Technologies Private Limited
2.00 | AHU No.17 (4200 CFM each) | 1.00 | Job | 77762.00 | 109081.00 | 109081.00 | 20000.00 | 20000.00 | 53000.00 | 53000.00 | 20000.00 | Ensavior Technologies Private Limited
2.10 | Supply of Multicore Round PVC insulated round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volts, conforming to IS: 694 as per approved make list. 3 core X 2.5 Sqmm | 200.00 | Mtr | 70.00 | 124.00 | 24800.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 20000.00 | Elite Air Techniques Pvt Ltd
2.20 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 19.00 | Job | 370.00 | 1949.00 | 37031.00 | 3000.00 | 57000.00 | 35.00 | 665.00 | 665.00 | Elite Air Techniques Pvt Ltd
2.30 | Supply and fixing of 6 A 3 Pin Plug Top suitable for 240 V, 50 Hz supply. (Model no:Crabtree ACAGXXW063 or Equivalent as per approved make list.) | 19.00 | Job | 100.00 | 229.00 | 4351.00 | 100.00 | 1900.00 | 100.00 | 1900.00 | 1900.00 | Ensavior Technologies Private Limited, Elite Air Techniques Pvt Ltd
| Total in Figures |  |  |  |  | 2975043.00 |  | 1509900.00 |  | 1407565.00
Lowest Amount Quoted BY: Elite Air Techniques Pvt Ltd(1407565.00)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of Ultra Voilet Germicidal Irradiation (UVGI) unit inside the AHUs at Civil Airport Jammu Tender ID: 2020_AAI_58497_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Elite Air Techniques Pvt Ltd | 1407565.00 | L1
| 2 | Ensavior Technologies Private Limited | 1509900.00 | L2
| 3 | Blue Star Limited | 2975043.00 | L3