## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 05-Nov-2020 04:57 PM Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations at Kishangarh Airport, Ajmer (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_58626_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work: Annual Maintenance Contract of Electrical & Mechanical Installations at Kishangarh Airport, Ajmer. (Year 2020-21 and 2021-22)
Tender ID: 2020_AAI_58626_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Power And Instrumentation Guj Ltd(GSTN-24AACCP4292Q1ZW) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical & Mechanical installations by deploying following minimum manpower in shift duty of 8 hour on all days including sundays & holidays (excluding weekly off day) and attending the breakdown and preventive maintenance as per Special Conditions of Contract :- i) Highly-Skilled (Supervisor)- 01 No.
1.10 | First Year | 12.00 | Month | 10.00 | 20000.00 | 240000.00 | 22225.00 | 266700.00 | 23410.00 | 280920.00 | 23800.00 | 285600.00 | 22000.00 | 264000.00 | 22285.00 | 267420.00 | 240000.00 | Trishul Enterprises
1.20 | Second Year | 12.00 | Month | 10.00 | 20000.00 | 240000.00 | 22225.00 | 266700.00 | 23410.00 | 280920.00 | 23800.00 | 285600.00 | 22230.00 | 266760.00 | 22285.00 | 267420.00 | 240000.00 | Trishul Enterprises
2.00 | Operation of computer system and maintaining office documentations by deploying following minimum manpower in general duty of 8 hour on all days (excluding sunday) as per Special Conditions of Contract :- i) Highly-Skilled (Computer Operator)- 01 No.
2.10 | First Year | 12.00 | Month | 10.00 | 20000.00 | 240000.00 | 22225.00 | 266700.00 | 23410.00 | 280920.00 | 23800.00 | 285600.00 | 22000.00 | 264000.00 | 22285.00 | 267420.00 | 240000.00 | Trishul Enterprises
2.20 | Second Year | 12.00 | Month | 10.00 | 20000.00 | 240000.00 | 22225.00 | 266700.00 | 23410.00 | 280920.00 | 23800.00 | 285600.00 | 22230.00 | 266760.00 | 22285.00 | 267420.00 | 240000.00 | Trishul Enterprises
3.00 | Operation & Maintenance of Electrical & Mechanical installations by deploying following minimum manpower in shift duty of 8 hour on all days including sundays & holidays (excluding weekly off day) and attending the breakdown and preventive maintenance as per Special Conditions of Contract :- i) Skilled - 05 Nos.
3.10 | First Year | 12.00 | Month | 10.00 | 87500.00 | 1050000.00 | 85520.00 | 1026240.00 | 97269.00 | 1167228.00 | 110800.00 | 1329600.00 | 84700.00 | 1016400.00 | 86505.00 | 1038060.00 | 1016400.00 | Manish Electricals
3.20 | Second Year | 12.00 | Month | 10.00 | 87500.00 | 1050000.00 | 85520.00 | 1026240.00 | 97269.00 | 1167228.00 | 110800.00 | 1329600.00 | 84786.00 | 1017432.00 | 86505.00 | 1038060.00 | 1017432.00 | Manish Electricals
4.00 | Operation & Maintenance of Electrical & Mechanical installations by deploying following minimum manpower in shift duty of 8 hour on all days including sundays & holidays (excluding weekly off day) and attending the breakdown and preventive maintenance as per Special Conditions of Contract :- i) Semi-Skilled - 05 Nos.
4.10 | First Year | 12.00 | Month | 10.00 | 70000.00 | 840000.00 | 70650.00 | 847800.00 | 83210.00 | 998520.00 | 92500.00 | 1110000.00 | 70000.00 | 840000.00 | 71729.00 | 860748.00 | 840000.00 | Trishul Enterprises, Manish Electricals
4.20 | Second Year | 12.00 | Month | 10.00 | 70000.00 | 840000.00 | 70650.00 | 847800.00 | 83210.00 | 998520.00 | 92500.00 | 1110000.00 | 70500.00 | 846000.00 | 71729.00 | 860748.00 | 840000.00 | Trishul Enterprises
5.00 | Operation & Maintenance of Electrical & Mechanical installations by deploying following minimum manpower in shift duty of 8 hour on all days including sundays & holidays (excluding weekly off day) and attending the breakdown and preventive maintenance as per Special Conditions of Contract :- i) Un-Skilled - 10 Nos.
5.10 | First Year | 12.00 | Month | 10.00 | 130000.00 | 1560000.00 | 121120.00 | 1453440.00 | 147857.00 | 1774284.00 | 158800.00 | 1905600.00 | 120000.00 | 1440000.00 | 122513.00 | 1470156.00 | 1440000.00 | Manish Electricals
5.20 | Second Year | 12.00 | Month | 10.00 | 130000.00 | 1560000.00 | 121120.00 | 1453440.00 | 147857.00 | 1774284.00 | 158800.00 | 1905600.00 | 120500.00 | 1446000.00 | 122513.00 | 1470156.00 | 1446000.00 | Manish Electricals
6.00 | Visit charges of service engineer as & when required from manufacturer or authorized dealer of manufacturer for inspection & breakdown maintenance of Solar Powered Obstruction Lights make-AVAIDS (which are installed on Three different hillocks near Airport, approx 15 kms away from Kishangarh Airport) including submission of service report etc. complete as per site requirment. | 6.00 | Each | 10.00 | 6000.00 | 36000.00 | 15000.00 | 90000.00 | 12600.00 | 75600.00 | 8500.00 | 51000.00 | 3000.00 | 18000.00 | 15000.00 | 90000.00 | 18000.00 | Manish Electricals
7.00 | Visit charges of service engineer as & when required from manufacturer or authorized dealer of manufacturer for inspection & breakdown maintenance of 33 KV VCB panel make-ABB complete as per site requirment. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 5250.00 | 21000.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 12000.00 | 48000.00 | 20000.00 | Trishul Enterprises, NATIONAL SAFETY ENGINEERS
8.00 | Inspection, Repairing, servicing, overhauling, callibration and testing of 33 KV VCB Panel having 04 nos., 630Amp breakers of make-ABB including protection relays, VCBs, Measuring equipments, control & power circuit etc complete as per site requirment from the manufacturer or authorised service dealer of manufacturer. | 2.00 | Job | 10.00 | 5000.00 | 10000.00 | 32000.00 | 64000.00 | 16800.00 | 33600.00 | 35000.00 | 70000.00 | 20000.00 | 40000.00 | 120000.00 | 240000.00 | 10000.00 | Trishul Enterprises
9.00 | Inspection, repairing, servicing, overhauling and testing of L&T make Air Circuit Breaker (415 V, 1250/800/630 Amps capacity) etc complete as per site requirment from the manufacturer or authorised service dealer of manufacturer. | 26.00 | Each | 10.00 | 750.00 | 19500.00 | 4500.00 | 117000.00 | 2625.00 | 68250.00 | 5000.00 | 130000.00 | 2200.00 | 57200.00 | 3000.00 | 78000.00 | 19500.00 | Trishul Enterprises
10.00 | Visit charges of service engineer as & when required from specialized firm for inspection & breakdown maintenance of AMF/Synchronisation system of DG set etc. complete as per site requirement. | 4.00 | Each | 10.00 | 2500.00 | 10000.00 | 3500.00 | 14000.00 | 2625.00 | 10500.00 | 5000.00 | 20000.00 | 12000.00 | 48000.00 | 1000.00 | 4000.00 | 4000.00 | ABHISHEK ASSOCIATES
11.00 | Visit charges of service engineer as & when required from manufacturer or authorised service dealer of manufacturer for attending the break down/ preventive maintenance of Constant Current Regulators (make-Hind Rectifier) of GLF system etc. complete as per site requirement. | 4.00 | Each | 10.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 13387.00 | 53548.00 | 8500.00 | 34000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 34000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Visit charges of service engineer as & when required from manufacturer or authorised service dealer of manufacturer for attending the break down maintenance of Airfield Lighting Control & Monitoring System (Make-Electro Systems) of GLF system etc. complete as per site requirement. | 3.00 | Job | 10.00 | 15000.00 | 45000.00 | 12000.00 | 36000.00 | 13387.00 | 40161.00 | 25000.00 | 75000.00 | 10000.00 | 30000.00 | 20000.00 | 60000.00 | 30000.00 | Manish Electricals
13.00 | Carring out the stack monitoring of 500 KVA DG set for paramaters like PM, SO2, NO2, CO & HC i/c taking samples, testing and submission of analysis reports with mandatory parameters from Govt authorized lab etc. complete as required. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 3150.00 | 12600.00 | 7500.00 | 30000.00 | 10000.00 | 40000.00 | 3700.00 | 14800.00 | 12000.00 | Trishul Enterprises
14.00 | Carring out the noise monitoring of 500 KVA DG set for Minimum and Maximum i/c testing, recording data and submission of analysis reports with mandatory parameters from Govt authorized lab etc. complete as required. | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 5000.00 | 20000.00 | 3150.00 | 12600.00 | 10000.00 | 40000.00 | 13000.00 | 52000.00 | 800.00 | 3200.00 | 3200.00 | ABHISHEK ASSOCIATES
15.00 | Carriying out the B-check maintenance of 500 KVA D.G. Set (Make-Kirloskar, Model-KVO.5003/0800238) from manufacturer or authorized dealer of manufacturer i/c supply of B-check kit and submission of report etc. complete as required. | 4.00 | Each | 10.00 | 11000.00 | 44000.00 | 17000.00 | 68000.00 | 26250.00 | 105000.00 | 22000.00 | 88000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 40000.00 | ABHISHEK ASSOCIATES
16.00 | Carriying out the B-check maintenance of 500 KVA D.G. Set (Make-Kirloskar, Model-DVO.8104/1620138) from manufacturer or authorized dealer of manufacturer i/c supply of B-check kit and submission of report etc. complete as required. | 4.00 | Each | 10.00 | 11000.00 | 44000.00 | 18000.00 | 72000.00 | 26250.00 | 105000.00 | 22000.00 | 88000.00 | 15000.00 | 60000.00 | 10500.00 | 42000.00 | 42000.00 | ABHISHEK ASSOCIATES
17.00 | Carriying out the B-check maintenance of 15 KVA D.G. Set (Make-Kirloskar) from manufacturer or authorized dealer of manufacturer i/c supply of B-check kit and submission of report etc. complete as required. | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 6000.00 | 24000.00 | 12600.00 | 50400.00 | 7500.00 | 30000.00 | 4000.00 | 16000.00 | 3100.00 | 12400.00 | 4000.00 | Trishul Enterprises
18.00 | Carriying out the B-check maintenance of Fire Engine (Make-Greaves Cotton Ltd) from manufacturer or authorized dealer of manufacturer i/c supply of B-check kit and submission of report etc. complete as required. | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 20000.00 | 80000.00 | 6300.00 | 25200.00 | 9000.00 | 36000.00 | 3000.00 | 12000.00 | 5200.00 | 20800.00 | 4000.00 | Trishul Enterprises
19.00 | Hiring charges for lighting decoration with LED lights of Terminal building and main entrance gate of Airport in tri-color theme/occasional theme for atleast two nights on the occasion of Republic day/Indepandance day/ Diwali/ etc complete as per satisfaction of engineer-in-charge and site requirement. | 6.00 | Job | 10.00 | 11000.00 | 66000.00 | 35000.00 | 210000.00 | 31500.00 | 189000.00 | 25000.00 | 150000.00 | 18000.00 | 108000.00 | 11000.00 | 66000.00 | 66000.00 | Trishul Enterprises, ABHISHEK ASSOCIATES
20.00 | Charges for Lifting & Lowering of 5.0/7.5 HP submersible pump from existing borewell etc. complete as required. | 6.00 | Each | 10.00 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 3150.00 | 18900.00 | 5000.00 | 30000.00 | 4000.00 | 24000.00 | 4800.00 | 28800.00 | 18900.00 | Power And Instrumentation Guj Ltd
21.00 | Rewinding of motor of 5.0/7.5 HP submersible pump complete as required. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 3150.00 | 12600.00 | 6000.00 | 24000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 8000.00 | ABHISHEK ASSOCIATES
22.00 | Repairing, servicing, overhauling and testing of 5.0/7.5 HP submersible pump set (pump part only) complete as required. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 1575.00 | 6300.00 | 4500.00 | 18000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 6300.00 | Power And Instrumentation Guj Ltd
23.00 | CPWD- DSR 2018 (E&M) Note: (i) The rate for this item has to be quoted carefully. (ii) The guidelines for quoting the rate for this item is mentioned in clause 25 (c) of Page GTT-4. | 200000.00 | Rs. | 10.00 | 1.00 | 200000.00 | .90 | 180000.00 | .85 | 170000.00 | 1.00 | 200000.00 | .80 | 160000.00 | .80 | 160000.00 | 160000.00 | Manish Electricals, ABHISHEK ASSOCIATES
24.00 | Supply of 15W/40 grade lube oil suitable for DG Sets. | 210.00 | Ltr | 10.00 | 150.00 | 31500.00 | 280.00 | 58800.00 | 262.00 | 55020.00 | 300.00 | 63000.00 | 410.00 | 86100.00 | 250.00 | 52500.00 | 31500.00 | Trishul Enterprises
25.00 | Supply of 12 V, 180 AH, 25 plate Lead Acid Battery with buyback of old batteries, suitable for D.G. Set. | 2.00 | Each | 10.00 | 11000.00 | 22000.00 | 14500.00 | 29000.00 | 14700.00 | 29400.00 | 17000.00 | 34000.00 | 14000.00 | 28000.00 | 10500.00 | 21000.00 | 21000.00 | ABHISHEK ASSOCIATES
26.00 | Supply of 12 V, 100 AH, 25 plate Lead Acid Battery with buyback of old batteries, suitable for D.G. Set. | 1.00 | Each | 10.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 12600.00 | 12600.00 | 9000.00 | 9000.00 | 7000.00 | 7000.00 | 5400.00 | 5400.00 | 5000.00 | Trishul Enterprises
27.00 | Supply of National Flag of size 20 feet x 30 feet in 100% knitted polyester (160gsm), with reinforced super -strong nylon webbing on all 3 sides & rope/toggle sleeve. | 5.00 | Each | 10.00 | 18000.00 | 90000.00 | 35000.00 | 175000.00 | 13125.00 | 65625.00 | 8000.00 | 40000.00 | 12000.00 | 60000.00 | 16000.00 | 80000.00 | 40000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
28.00 | Supply of 200 W, 6.6 A Bi-Pin halogen lamp suitable for elevated type approach lights. | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 800.00 | 16000.00 | 359.00 | 7180.00 | 825.00 | 16500.00 | 450.00 | 9000.00 | 330.00 | 6600.00 | 6600.00 | ABHISHEK ASSOCIATES
29.00 | Supply of 150 W, 6.6 A Bi-Pin halogen lamp suitable for elevated type runway edge lights. | 50.00 | Each | 10.00 | 350.00 | 17500.00 | 700.00 | 35000.00 | 424.00 | 21200.00 | 775.00 | 38750.00 | 650.00 | 32500.00 | 350.00 | 17500.00 | 17500.00 | Trishul Enterprises, ABHISHEK ASSOCIATES
30.00 | Supply of 45 W, 6.6 A Bi-Pin halogen lamp suitable for elevated type Taxiway edge lights. | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 474.00 | 9480.00 | 600.00 | 12000.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 7000.00 | Trishul Enterprises, ABHISHEK ASSOCIATES
31.00 | Supply of Bi-Pin lamp holder suitable for 45/150/200 watt, 6.6 amps halogen lamps. | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 344.00 | 17200.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 10000.00 | Trishul Enterprises
32.00 | Supply of 105 W, 6.6 A tungsten-halogen Lamp with reflector suitable for inset type Runway Edge fitting (Make- OCEM Model-SLRE). | 5.00 | Each | 10.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 4488.00 | 22440.00 | 1000.00 | 5000.00 | 4800.00 | 24000.00 | 740.00 | 3700.00 | 2500.00 | NATIONAL SAFETY ENGINEERS
| Total in Figures |  |  |  |  | 8680500.00 |  | 9215060.00 |  | 10254148.00 |  | 11225050.00 |  | 8792652.00 |  | 8977808.00
Lowest Amount Quoted BY: Trishul Enterprises(8680500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations at Kishangarh Airport, Ajmer (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_58626_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Trishul Enterprises | 8680500.00 | L1
| 2 | Manish Electricals | 8792652.00 | L2
| 3 | ABHISHEK ASSOCIATES | 8977808.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 9215060.00 | L4
| 5 | Power And Instrumentation Guj Ltd | 10254148.00 | L5
| 6 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 11225050.00 | L6