## BoQ1
Government eProcurement System Created By: D Boominathan Created Date/Time: 21-Oct-2020 04:09 PM Tender Title: Operation and General Maintenance of E and M Installations in operational Area, Power house and Residential Colony at Trichy Airport (2020-22) Tender ID: 2020_AAI_58784_1
Tender Inviting Authority: Assistant General Manager (E-E)
Name of Work: Operation & General Maintenance of E&M Installations in operational Area, Power house & Residential Colony at Trichy Airport (2020-22)
Contract No: ARMO-03/TRY/20-21 Tender ID: 2020_AAI_58784_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & Maintenance of various Electrical & Mechanical Installations and GLF Installations as detailed in "Annexure-B" of operational and non operational area such as 11KV Sub-Station, OTB, CCR including operation, repairs & maintenance, attending faults / breakdown rectifications, ensuring serviceability / satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / quarterly / half yearly / yearly basis maintenance of records / documentation etc., as per scope of work given in special conditions of contract in all days including sunday and holidays. The services of DG Sets, AMF Panels at power house shall be ensured round the clock (i.e. in three shifts daily, each shift of 8 hours) and the services of all others E&M Installations shall be ensured for three shifts (each of 8 hours) daily as required. by engaging minimum number of staff as stipulated in the special conditions of the contract . | 24.00 | Month |  | 694659.00 | 16671816.00 | 769253.00 | 18462072.00 | 756649.26 | 18159582.24 | 16671816.00 | CHENNAI ENGINEERING SERVICES
2.00 | Providing maintenance vehicle for use in day to day maintenance of Electrical installation, operational requirement and office purpose on all days including national holidays and sunday as per special terms and conditions in addition to general terms and conditions of contract as required for a maximum of 1500KM per month (Type of vehicle :SCORPIO/ TAVERA / QUALIS / BOLERO / TATA SUMO GOLD) (Approx. 1500 KM per Month)
2.01 | For First Year | 12.00 | Month |  | 44999.00 | 539988.00 | 38632.50 | 463590.00 | 37500.00 | 450000.00 | 450000.00 | DElite System Engineering (India) Pvt. Ltd.
2.02 | For Second Year | 12.00 | Month |  | 45999.00 | 551988.00 | 40905.00 | 490860.00 | 37500.00 | 450000.00 | 450000.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Dehydration and filtration of transformer oil at site with high vacuum filtration apparatus to obtain BDV value 40 KV for 1 minute as required, topping of oil and submission of test reports etc. as required for following Transformers. (Make: Kirloskar, Capacity 1250 KVA, Oil Capacity 850 Ltrs, Qty - 3 Nos)
3.01 | 1st Year | 2550.00 | Ltrs |  | 2.39 | 6094.50 | 1.60 | 4080.00 | 16.00 | 40800.00 | 4080.00 | VOLTECH O AND M SERVICES PVT LTD
3.02 | 2nd Year | 2550.00 | Ltrs |  | 2.39 | 6094.50 | 1.60 | 4080.00 | 16.00 | 40800.00 | 4080.00 | VOLTECH O AND M SERVICES PVT LTD
4.00 | Supply of transformer top-up oil suitable for kirloskar make, 1250 KVA Transformer. | 100.00 | Ltrs |  | 119.00 | 11900.00 | 87.00 | 8700.00 | 199.00 | 19900.00 | 8700.00 | VOLTECH O AND M SERVICES PVT LTD
5.00 | Testing the BDV value and PH value by applying minimum 40 KV for 1 minute of transformer oil of two samples (top and bottom) and submission of report as required.
5.01 | 1st Year (3 Transformers 6 tests) | 1.00 | Job |  | 2669.00 | 2669.00 | 1568.00 | 1568.00 | 4999.00 | 4999.00 | 1568.00 | VOLTECH O AND M SERVICES PVT LTD
5.02 | 2nd Year (3 Transformers 6 tests) | 1.00 | Job |  | 2669.00 | 2669.00 | 1568.00 | 1568.00 | 4999.00 | 4999.00 | 1568.00 | VOLTECH O AND M SERVICES PVT LTD
6.00 | Inspection, servicing and testing of 630A, Avera make, 11 KV Vaccum Circuit Breakers as per OEM method and practice including carrying out preventive maintenance and submission of test reports etc. as required.
6.01 | 1st Year | 4.00 | Each |  | 5189.00 | 20756.00 | 5517.00 | 22068.00 | 7500.00 | 30000.00 | 20756.00 | CHENNAI ENGINEERING SERVICES
6.02 | 2nd Year | 4.00 | Each |  | 5189.00 | 20756.00 | 5517.00 | 22068.00 | 7500.00 | 30000.00 | 20756.00 | CHENNAI ENGINEERING SERVICES
7.00 | Carrying out secondary injection tests & calibration of over current, earth fault, auxilary, supervision and triping relay set (2 Over current,1 Earth fault, 2 Auxilary, 1 Trip and 1 Supervision relay) of 11 KV HT panel including submission of reports as required.
7.01 | 1st Year | 4.00 | Set |  | 2899.00 | 11596.00 | 2904.00 | 11616.00 | 5000.00 | 20000.00 | 11596.00 | CHENNAI ENGINEERING SERVICES
7.02 | 2nd Year | 4.00 | Set |  | 2899.00 | 11596.00 | 2904.00 | 11616.00 | 5000.00 | 20000.00 | 11596.00 | CHENNAI ENGINEERING SERVICES
8.00 | Inspection, servicing and testing of following GE make Air circuit breakers including carrying out preventive maintenance asper OEM recommendations and submission of test reports etc. as required. (Two services per year) a) 2500A - 8 Nos b) 2000A - 12 Nos c) 1600A - 1 No d) 1250A - 4 Nos e) 800A - 10 Nos
8.01 | 1st Year | 35.00 | Each |  | 2559.00 | 89565.00 | 3194.00 | 111790.00 | 2200.00 | 77000.00 | 77000.00 | DElite System Engineering (India) Pvt. Ltd.
8.02 | 2nd Year | 35.00 | Each |  | 2559.00 | 89565.00 | 3194.00 | 111790.00 | 2200.00 | 77000.00 | 77000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Rewinding, servicing, repairing of ceiling fan upto 1400mm sweep including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 100.00 | Job |  | 489.00 | 48900.00 | 348.50 | 34850.00 | 700.00 | 70000.00 | 34850.00 | VOLTECH O AND M SERVICES PVT LTD
10.00 | Rewinding, servicing, repairing upto 450mm sweep wall mounted fans/exhaust fans/pedestal fans including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 30.00 | Job |  | 489.00 | 14670.00 | 348.50 | 10455.00 | 900.00 | 27000.00 | 10455.00 | VOLTECH O AND M SERVICES PVT LTD
11.00 | Rewinding, servicing, repairing above 450 - 600mm sweep wall fan / Exhaust fan/Pedestal fan including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 20.00 | Job |  | 569.00 | 11380.00 | 406.50 | 8130.00 | 900.00 | 18000.00 | 8130.00 | VOLTECH O AND M SERVICES PVT LTD
12.00 | Repair and rewinding of submersible / monoblock pump motor set below & upto 3 HP capacity Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bushes sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. | 6.00 | Job |  | 5439.00 | 32634.00 | 3397.50 | 20385.00 | 5000.00 | 30000.00 | 20385.00 | VOLTECH O AND M SERVICES PVT LTD
13.00 | Repair and rewinding of submersible / mono block pump motor upto 5 HP Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. | 6.00 | Job |  | 6039.00 | 36234.00 | 3775.00 | 22650.00 | 9000.00 | 54000.00 | 22650.00 | VOLTECH O AND M SERVICES PVT LTD
14.00 | Repair and rewinding of submersible / mono block pump motor set of above 3 HP and upto 7.5 HP Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. | 6.00 | Job |  | 6929.00 | 41574.00 | 4617.00 | 27702.00 | 7000.00 | 42000.00 | 27702.00 | VOLTECH O AND M SERVICES PVT LTD
15.00 | Annual maintenance, service contract of following UPS complete with all electrical, electronic, mechanical, equipment, safety controls and instrumentations with all associated systems including all minor spare parts carrying out preventive / scheduled maintenance as per OEM's & AAI recommendations etc., as required.
15.01 | For First Year Capacity: 80 KVA, Make: Power One 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 22869.00 | 91476.00 | 12805.38 | 51221.52 | 5000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
15.02 | For First Year Capacity: 80 KVA, Make:Numeric 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 10989.00 | 43956.00 | 5427.24 | 21708.96 | 5000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
15.03 | For Second Year Capacity: 80 KVA, Make: Power One 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 23479.00 | 93916.00 | 12805.38 | 51221.52 | 5500.00 | 22000.00 | 22000.00 | DElite System Engineering (India) Pvt. Ltd.
15.04 | For Second Year Capacity: 80 KVA, Make:Numeric 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 12589.00 | 50356.00 | 6219.78 | 24879.12 | 5500.00 | 22000.00 | 22000.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | Annual comprehensive maintenance service contract of Technocrat make sliding gate & boom barrier by carrying out one mandatory visit in quarterly and attending any number of breakdown calls in additional to quarterly visit Job include all electrical, electronic, mechanical, equipment, safety controls and instrumentations with all associated systems including all minor spare / worn out / defective parts (excluding gate & boom barrier), carrying out preventive maintenance as per OEM & AAI recommendations etc. as required. a). Sliding gate of size 6.10 Mtr x 2.02 Mtr - 01 No. b). Boom barrier of size 5.10 Mtr - 01No.
16.01 | 1st Year | 4.00 | Job |  | 16039.00 | 64156.00 | 9437.00 | 37748.00 | 9000.00 | 36000.00 | 36000.00 | DElite System Engineering (India) Pvt. Ltd.
16.02 | 2nd Year | 4.00 | Job |  | 18509.00 | 74036.00 | 10889.00 | 43556.00 | 9000.00 | 36000.00 | 36000.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Calibration of tools from Electronics Test & Development Centre For First Year
17.01 | Calibration of True RMS Multimeter of the maximum rating of 20A, 1000V, 40M.Ohms, AC/DC TRMS Make :FLUKE Model no:179 EJKCT, including adjustment of settings as required | 2.00 | Each |  | 3419.00 | 6838.00 | 2845.50 | 5691.00 | 1500.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
17.02 | Calibration of Digital clamp meter of the maximum rating of 1000A, 1000V, 60M.Ohms AC/DC TRMS Make :Fluke Model No : 376, including adjustment of settings as required | 2.00 | Each |  | 2439.00 | 4878.00 | 2032.80 | 4065.60 | 1500.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
17.03 | Calibration of Digital insulation tester of the maximum rating of with setting 500V & 1000V and maximum rating of 1000V, 50MW Make : Fluke Model No : 1507-1kV, including adjustment of settings as required | 2.00 | Each |  | 3219.00 | 6438.00 | 2683.10 | 5366.20 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
17.04 | Calibration of AC Digital Earth Tester the maximum range 20V, 2000W Make : Fluke , Model No : 1621 kit,including adjustment of settings as required | 1.00 | Each |  | 2829.00 | 2829.00 | 2357.60 | 2357.60 | 2000.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Calibration of tools from Electronics Test & Development Centre For Second Year
18.01 | Calibration of True RMS Multimeter of the maximum rating of 20A, 1000V, 40M.Ohms, AC/DC TRMS Make :FLUKE Model no:179 EJKCT, including adjustment of settings as required | 2.00 | Each |  | 3759.00 | 7518.00 | 3130.40 | 6260.80 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
18.02 | Calibration of Digital clamp meter of the maximum rating of 1000A, 1000V, 60M.Ohms AC/DC TRMS Make :Fluke Model No : 376, including adjustment of settings as required | 2.00 | Each |  | 2679.00 | 5358.00 | 2235.80 | 4471.60 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
18.03 | Calibration of Digital insulation tester of the maximum rating of with setting 500V & 1000V and maximum rating of 1000V, 50MW Make : Fluke Model No : 1507-1kV, including adjustment of settings as required | 2.00 | Each |  | 3539.00 | 7078.00 | 2951.20 | 5902.40 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
18.04 | Calibration of AC Digital Earth Tester the maximum range 20V, 2000W Make : Fluke , Model No : 1621 kit,including adjustment of settings as required | 1.00 | Each |  | 3109.00 | 3109.00 | 2593.50 | 2593.50 | 2000.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | Execution of items of schedule of rates CPWD DSR-2018 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area/OTB/Colony as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.4,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2018 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For First Year | 1.00 | Job |  | 379999.00 | 379999.00 | 280000.00 | 280000.00 | 350000.00 | 350000.00 | 280000.00 | VOLTECH O AND M SERVICES PVT LTD
20.00 | Execution of items of schedule of rates CPWD DSR-2018 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area/OTB/Colony as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.4,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2018 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For Second Year | 1.00 | Job |  | 379999.00 | 379999.00 | 280000.00 | 280000.00 | 350000.00 | 350000.00 | 280000.00 | VOLTECH O AND M SERVICES PVT LTD
| Total in Figures |  |  |  |  | 19444385.00 |  | 20678681.82 |  | 20548080.24
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(19444385.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and General Maintenance of E and M Installations in operational Area, Power house and Residential Colony at Trichy Airport (2020-22) Tender ID: 2020_AAI_58784_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 19444385.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 20548080.24 | L2
| 3 | VOLTECH O AND M SERVICES PVT LTD | 20678681.82 | L3