## BoQ1
Government eProcurement System Created By: UMASANKAR AMBIGAPATHI Created Date/Time: 20-Nov-2020 12:15 PM Tender Title: Modernization of Chennai Airport Phase II-SH-Miscellaneous Electrical works during 2020-21 Tender ID: 2020_AAI_58807_1
Tender Inviting Authority: Asst. Genl. Mgr. (Engg - Elec), Project Electrical Division-I, Airports Authority of India, Link Building, Chennai Airport, Chennai
Name of Work: Modernization of Chennai Airport Phase – II, Chennai.SH : Miscellaneous Electrical during works 2020 – 21.
Contract No: 03_2020_PED_Misc_Works_20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | ELECTRO TECH ENGINEERS(GSTN-33AABFE4627J1ZM) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | EA Facilities services Pvt Ltd(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3½ core × 70 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 300.00 | Mtrs |  | 269.00 | 80700.00 | 367.00 | 110100.00 | 275.00 | 82500.00 | 267.90 | 80370.00 | 219.00 | 65700.00 | 65700.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | Supply of 4 core × 35 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 300.00 | Mtrs |  | 169.00 | 50700.00 | 210.00 | 63000.00 | 180.00 | 54000.00 | 169.10 | 50730.00 | 129.00 | 38700.00 | 38700.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Supply of 4 core × 25 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 500.00 | Mtrs |  | 139.00 | 69500.00 | 172.00 | 86000.00 | 150.00 | 75000.00 | 137.75 | 68875.00 | 114.00 | 57000.00 | 57000.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Supply of 4 core × 16 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 500.00 | Mtrs |  | 99.00 | 49500.00 | 126.00 | 63000.00 | 100.00 | 50000.00 | 100.70 | 50350.00 | 86.00 | 43000.00 | 43000.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Supply of 3 core x 4 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 119.00 | 59500.00 | 140.00 | 70000.00 | 140.00 | 70000.00 | 124.45 | 62225.00 | 92.00 | 46000.00 | 46000.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Supply of 4 core x 6 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 209.00 | 104500.00 | 245.00 | 122500.00 | 225.00 | 112500.00 | 229.90 | 114950.00 | 179.00 | 89500.00 | 89500.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Supply of 4 core x 10 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 339.00 | 169500.00 | 395.00 | 197500.00 | 350.00 | 175000.00 | 358.15 | 179075.00 | 273.00 | 136500.00 | 136500.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required. Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 50.00 | Mtrs |  | 299.00 | 14950.00 | 371.00 | 18550.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required. In the existing RCC / HUME / METAL pipe | 100.00 | Mtrs |  | 19.00 | 1900.00 | 36.00 | 3600.00 | 15.00 | 1500.00 | 30.00 | 3000.00 | 22.00 | 2200.00 | 1500.00 | Balaji Engineering
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required. In the existing masonry open duct | 50.00 | Mtrs |  | 29.00 | 1450.00 | 26.00 | 1300.00 | 15.00 | 750.00 | 30.00 | 1500.00 | 22.00 | 1100.00 | 750.00 | Balaji Engineering
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required. On wall surface | 400.00 | Mtrs |  | 49.00 | 19600.00 | 45.00 | 18000.00 | 15.00 | 6000.00 | 40.00 | 16000.00 | 22.00 | 8800.00 | 6000.00 | Balaji Engineering
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required On cable tray | 700.00 | Mtrs |  | 29.00 | 20300.00 | 38.00 | 26600.00 | 15.00 | 10500.00 | 30.00 | 21000.00 | 22.00 | 15400.00 | 10500.00 | Balaji Engineering
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required. Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 10.00 | Mtrs |  | 349.00 | 3490.00 | 389.00 | 3890.00 | 150.00 | 1500.00 | 270.00 | 2700.00 | 199.00 | 1990.00 | 1500.00 | Balaji Engineering
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required. In the existing RCC / HUME / METAL pipe | 30.00 | Mtrs |  | 29.00 | 870.00 | 138.00 | 4140.00 | 15.00 | 450.00 | 40.00 | 1200.00 | 22.00 | 660.00 | 450.00 | Balaji Engineering
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required. In the existing masonry open duct | 10.00 | Mtrs |  | 39.00 | 390.00 | 144.00 | 1440.00 | 15.00 | 150.00 | 30.00 | 300.00 | 22.00 | 220.00 | 150.00 | Balaji Engineering
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required. On wall surface | 100.00 | Mtrs |  | 59.00 | 5900.00 | 120.00 | 12000.00 | 25.00 | 2500.00 | 50.00 | 5000.00 | 22.00 | 2200.00 | 2200.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required. On cable tray | 150.00 | Mtrs |  | 39.00 | 5850.00 | 85.00 | 12750.00 | 15.00 | 2250.00 | 30.00 | 4500.00 | 22.00 | 3300.00 | 2250.00 | Balaji Engineering
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm etc as required. Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 25.00 | Mtrs |  | 399.00 | 9975.00 | 455.00 | 11375.00 | 175.00 | 4375.00 | 310.00 | 7750.00 | 209.00 | 5225.00 | 4375.00 | Balaji Engineering
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm etc as required. In the existing RCC / HUME / METAL pipe | 25.00 | Mtrs |  | 49.00 | 1225.00 | 205.00 | 5125.00 | 45.00 | 1125.00 | 120.00 | 3000.00 | 29.00 | 725.00 | 725.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm etc as required. In the existing masonry open duct | 50.00 | Mtrs |  | 49.00 | 2450.00 | 110.00 | 5500.00 | 35.00 | 1750.00 | 120.00 | 6000.00 | 29.00 | 1450.00 | 1450.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm etc as required. On wall surface | 50.00 | Mtrs |  | 69.00 | 3450.00 | 209.00 | 10450.00 | 50.00 | 2500.00 | 150.00 | 7500.00 | 29.00 | 1450.00 | 1450.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm etc as required. On cable tray | 50.00 | Mtrs |  | 59.00 | 2950.00 | 173.00 | 8650.00 | 25.00 | 1250.00 | 120.00 | 6000.00 | 29.00 | 1450.00 | 1250.00 | Balaji Engineering
23.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 400 sq. mm (82mm) | 4.00 | Each |  | 1199.00 | 4796.00 | 1390.00 | 5560.00 | 700.00 | 2800.00 | 2775.00 | 11100.00 | 729.00 | 2916.00 | 2800.00 | Balaji Engineering
24.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm (70mm) | 4.00 | Each |  | 1189.00 | 4756.00 | 1076.00 | 4304.00 | 700.00 | 2800.00 | 2933.00 | 11732.00 | 729.00 | 2916.00 | 2800.00 | Balaji Engineering
25.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 240 sq. mm (62mm) | 4.00 | Each |  | 1179.00 | 4716.00 | 930.00 | 3720.00 | 500.00 | 2000.00 | 2188.00 | 8752.00 | 500.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd., Balaji Engineering
26.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm (57mm) | 4.00 | Each |  | 1099.00 | 4396.00 | 807.00 | 3228.00 | 500.00 | 2000.00 | 2024.00 | 8096.00 | 500.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd., Balaji Engineering
27.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 95 sq. mm (45mm) | 4.00 | Each |  | 799.00 | 3196.00 | 544.00 | 2176.00 | 400.00 | 1600.00 | 1170.00 | 4680.00 | 500.00 | 2000.00 | 1600.00 | Balaji Engineering
28.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 35 sq. mm (32mm) | 10.00 | Each |  | 499.00 | 4990.00 | 347.00 | 3470.00 | 250.00 | 2500.00 | 653.00 | 6530.00 | 399.00 | 3990.00 | 2500.00 | Balaji Engineering
29.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm (28mm) | 10.00 | Each |  | 399.00 | 3990.00 | 288.00 | 2880.00 | 250.00 | 2500.00 | 641.00 | 6410.00 | 399.00 | 3990.00 | 2500.00 | Balaji Engineering
30.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 10.00 | Each |  | 399.00 | 3990.00 | 288.00 | 2880.00 | 250.00 | 2500.00 | 625.00 | 6250.00 | 399.00 | 3990.00 | 2500.00 | Balaji Engineering
31.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 400 sq. mm | 2.00 | Each |  | 4999.00 | 9998.00 | 5612.00 | 11224.00 | 5000.00 | 10000.00 | 6230.00 | 12460.00 | 6000.00 | 12000.00 | 9998.00 | CHENNAI ENGINEERING SERVICES
32.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm | 2.00 | Each |  | 4499.00 | 8998.00 | 9653.00 | 19306.00 | 4000.00 | 8000.00 | 5900.00 | 11800.00 | 5000.00 | 10000.00 | 8000.00 | Balaji Engineering
33.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 240 sq. mm | 2.00 | Each |  | 4489.00 | 8978.00 | 7900.00 | 15800.00 | 3000.00 | 6000.00 | 5570.00 | 11140.00 | 5000.00 | 10000.00 | 6000.00 | Balaji Engineering
34.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm | 2.00 | Each |  | 4479.00 | 8958.00 | 6400.00 | 12800.00 | 3000.00 | 6000.00 | 5350.00 | 10700.00 | 5000.00 | 10000.00 | 6000.00 | Balaji Engineering
35.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 95 sq. mm | 2.00 | Each |  | 3999.00 | 7998.00 | 4750.00 | 9500.00 | 3000.00 | 6000.00 | 4025.00 | 8050.00 | 3999.00 | 7998.00 | 6000.00 | Balaji Engineering
36.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 35 sq. mm | 2.00 | Each |  | 2999.00 | 5998.00 | 3405.00 | 6810.00 | 2500.00 | 5000.00 | 3530.00 | 7060.00 | 3999.00 | 7998.00 | 5000.00 | Balaji Engineering
37.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm | 2.00 | Each |  | 2989.00 | 5978.00 | 3405.00 | 6810.00 | 2500.00 | 5000.00 | 3530.00 | 7060.00 | 3999.00 | 7998.00 | 5000.00 | Balaji Engineering
38.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 2.00 | Each |  | 2979.00 | 5958.00 | 2982.00 | 5964.00 | 2000.00 | 4000.00 | 3530.00 | 7060.00 | 3999.00 | 7998.00 | 4000.00 | Balaji Engineering
39.00 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 100.00 | Point |  | 1049.00 | 104900.00 | 1078.00 | 107800.00 | 900.00 | 90000.00 | 1050.00 | 105000.00 | 750.00 | 75000.00 | 75000.00 | DElite System Engineering (India) Pvt. Ltd.
40.00 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 100.00 | Point |  | 1299.00 | 129900.00 | 1367.00 | 136700.00 | 900.00 | 90000.00 | 1200.00 | 120000.00 | 750.00 | 75000.00 | 75000.00 | DElite System Engineering (India) Pvt. Ltd.
41.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 2000.00 | Metre |  | 149.00 | 298000.00 | 239.00 | 478000.00 | 190.00 | 380000.00 | 158.00 | 316000.00 | 179.00 | 358000.00 | 298000.00 | CHENNAI ENGINEERING SERVICES
42.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 2000.00 | Metre |  | 169.00 | 338000.00 | 263.00 | 526000.00 | 220.00 | 440000.00 | 183.00 | 366000.00 | 199.00 | 398000.00 | 338000.00 | CHENNAI ENGINEERING SERVICES
43.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 4.0 sq. mm + 1 X 4.0 sq. mm earth wire | 1000.00 | Metre |  | 199.00 | 199000.00 | 302.00 | 302000.00 | 275.00 | 275000.00 | 200.00 | 200000.00 | 229.00 | 229000.00 | 199000.00 | CHENNAI ENGINEERING SERVICES
44.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 4 X 6.0 sq. mm + 2 X 6.0 sq. mm earth wire | 500.00 | Metre |  | 399.00 | 199500.00 | 608.00 | 304000.00 | 300.00 | 150000.00 | 450.00 | 225000.00 | 299.00 | 149500.00 | 149500.00 | DElite System Engineering (India) Pvt. Ltd.
45.00 | Rewiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface / recessed steel / PVC conduit including dismantling as required. Group C | 25.00 | Point |  | 999.00 | 24975.00 | 1112.00 | 27800.00 | 700.00 | 17500.00 | 550.00 | 13750.00 | 450.00 | 11250.00 | 11250.00 | DElite System Engineering (India) Pvt. Ltd.
46.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required. 3 x 1.5 sqmm | 200.00 | Metre |  | 129.00 | 25800.00 | 168.00 | 33600.00 | 60.00 | 12000.00 | 45.00 | 9000.00 | 89.00 | 17800.00 | 9000.00 | EA Facilities services Pvt Ltd
47.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required. 3 x 2.5 sqmm | 200.00 | Metre |  | 149.00 | 29800.00 | 192.00 | 38400.00 | 80.00 | 16000.00 | 45.00 | 9000.00 | 109.00 | 21800.00 | 9000.00 | EA Facilities services Pvt Ltd
48.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required. 3 x 4.0 sqmm | 200.00 | Metre |  | 199.00 | 39800.00 | 230.00 | 46000.00 | 150.00 | 30000.00 | 131.00 | 26200.00 | 199.00 | 39800.00 | 26200.00 | EA Facilities services Pvt Ltd
49.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required. 3 x 6.0 sqmm | 100.00 | Metre |  | 299.00 | 29900.00 | 286.00 | 28600.00 | 250.00 | 25000.00 | 180.00 | 18000.00 | 209.00 | 20900.00 | 18000.00 | EA Facilities services Pvt Ltd
50.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 50.00 | Each |  | 499.00 | 24950.00 | 460.00 | 23000.00 | 400.00 | 20000.00 | 356.00 | 17800.00 | 699.00 | 34950.00 | 17800.00 | EA Facilities services Pvt Ltd
51.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 75.00 | Each |  | 599.00 | 44925.00 | 569.00 | 42675.00 | 450.00 | 33750.00 | 479.00 | 35925.00 | 799.00 | 59925.00 | 33750.00 | Balaji Engineering
52.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 50.00 | Each |  | 119.00 | 5950.00 | 52.00 | 2600.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 629.00 | 31450.00 | 2500.00 | EA Facilities services Pvt Ltd
53.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet | 50.00 | Each |  | 129.00 | 6450.00 | 67.00 | 3350.00 | 125.00 | 6250.00 | 90.00 | 4500.00 | 699.00 | 34950.00 | 3350.00 | ELECTRO TECH ENGINEERS
54.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 50.00 | Each |  | 139.00 | 6950.00 | 127.00 | 6350.00 | 150.00 | 7500.00 | 114.00 | 5700.00 | 799.00 | 39950.00 | 5700.00 | EA Facilities services Pvt Ltd
55.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 50.00 | Each |  | 159.00 | 7950.00 | 147.00 | 7350.00 | 200.00 | 10000.00 | 149.00 | 7450.00 | 799.00 | 39950.00 | 7350.00 | ELECTRO TECH ENGINEERS
56.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 50.00 | Each |  | 9.00 | 450.00 | 37.00 | 1850.00 | 20.00 | 1000.00 | 31.00 | 1550.00 | 22.00 | 1100.00 | 450.00 | CHENNAI ENGINEERING SERVICES
57.00 | Proving and fixing of Casing and Caping width of 25mm on wall surface etc as required | 700.00 | Mtrs |  | 59.00 | 41300.00 | 55.00 | 38500.00 | 100.00 | 70000.00 | 88.00 | 61600.00 | 69.00 | 48300.00 | 38500.00 | ELECTRO TECH ENGINEERS
58.00 | Supplying and fixing 6 module, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required. | 50.00 | Each |  | 399.00 | 19950.00 | 383.00 | 19150.00 | 300.00 | 15000.00 | 215.00 | 10750.00 | 599.00 | 29950.00 | 10750.00 | EA Facilities services Pvt Ltd
59.00 | Dismantling of Existing 2 x 36 Watts / 1 x 36 watts Fixtures with all accessories etc as required | 100.00 | Each |  | 119.00 | 11900.00 | 115.00 | 11500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 199.00 | 19900.00 | 5000.00 | EA Facilities services Pvt Ltd, Balaji Engineering
60.00 | Installation ,Testing, Commissioning of wall bracket / ceiling fittings of all sizes and shapes containing upto two GLS / CFL / LED lamps per fitting, complete with all accessories including connections etc. as required. | 100.00 | Each |  | 499.00 | 49900.00 | 230.00 | 23000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 299.00 | 29900.00 | 5000.00 | Balaji Engineering
61.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 25.00 | Each |  | 199.00 | 4975.00 | 173.00 | 4325.00 | 50.00 | 1250.00 | 100.00 | 2500.00 | 299.00 | 7475.00 | 1250.00 | Balaji Engineering
62.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 20.00 | Each |  | 999.00 | 19980.00 | 345.00 | 6900.00 | 350.00 | 7000.00 | 150.00 | 3000.00 | 399.00 | 7980.00 | 3000.00 | EA Facilities services Pvt Ltd
63.00 | Dismantling of Existing 12" Exhaust Fan including the damage, connection, testing, commissioning etc. as required. | 5.00 | Nos |  | 499.00 | 2495.00 | 230.00 | 1150.00 | 100.00 | 500.00 | 100.00 | 500.00 | 109.00 | 545.00 | 500.00 | EA Facilities services Pvt Ltd, Balaji Engineering
64.00 | Supplying and fixing 6 way Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB / RCCB / Isolator) | 10.00 | Each |  | 1999.00 | 19990.00 | 1610.00 | 16100.00 | 4500.00 | 45000.00 | 1797.00 | 17970.00 | 1299.00 | 12990.00 | 12990.00 | DElite System Engineering (India) Pvt. Ltd.
65.00 | Supplying and fixing of following ways surface / recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 6.00 | Each |  | 7999.00 | 47994.00 | 6500.00 | 39000.00 | 5500.00 | 33000.00 | 4000.00 | 24000.00 | 7500.00 | 45000.00 | 24000.00 | EA Facilities services Pvt Ltd
66.00 | Supplying and fixing of following ways surface / recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | 4.00 | Each |  | 9999.00 | 39996.00 | 8906.00 | 35624.00 | 8500.00 | 34000.00 | 10474.00 | 41896.00 | 7999.00 | 31996.00 | 31996.00 | DElite System Engineering (India) Pvt. Ltd.
67.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 210.00 | Each |  | 199.00 | 41790.00 | 230.00 | 48300.00 | 200.00 | 42000.00 | 190.00 | 39900.00 | 299.00 | 62790.00 | 39900.00 | EA Facilities services Pvt Ltd
68.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 20.00 | Each |  | 449.00 | 8980.00 | 639.00 | 12780.00 | 250.00 | 5000.00 | 613.00 | 12260.00 | 799.00 | 15980.00 | 5000.00 | Balaji Engineering
69.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 100.00 | Each |  | 19.00 | 1900.00 | 9.00 | 900.00 | 20.00 | 2000.00 | 10.00 | 1000.00 | 20.00 | 2000.00 | 900.00 | ELECTRO TECH ENGINEERS
70.00 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole MCB (miniature circuit breaker) suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 6.00 | Each |  | 1499.00 | 8994.00 | 3020.00 | 18120.00 | 1000.00 | 6000.00 | 1650.00 | 9900.00 | 1500.00 | 9000.00 | 6000.00 | Balaji Engineering
71.00 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole MCB (miniature circuit breaker) suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 4.00 | Each |  | 1599.00 | 6396.00 | 3195.00 | 12780.00 | 1000.00 | 4000.00 | 1720.00 | 6880.00 | 1999.00 | 7996.00 | 4000.00 | Balaji Engineering
72.00 | Supplying and fixing Cable End Box suitable for 4 Way / 8 Way, triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | 10.00 | Each |  | 499.00 | 4990.00 | 1425.00 | 14250.00 | 900.00 | 9000.00 | 780.00 | 7800.00 | 1799.00 | 17990.00 | 4990.00 | CHENNAI ENGINEERING SERVICES
73.00 | Supply of 12" heavy duty exhaust fan running at 1400 RPM operated in 230V, 50 Hz AC supply as required as per direction of Engineer In charge. | 20.00 | Nos |  | 2999.00 | 59980.00 | 2530.00 | 50600.00 | 2500.00 | 50000.00 | 5800.00 | 116000.00 | 3199.00 | 63980.00 | 50000.00 | Balaji Engineering
74.00 | Supply of Recess mounted LED Luminaire with system wattage 32-40 W and system lumen 3600lm-3800lm, of size not less than 550mmx550mm and not more than 600mm x 600mm. The luminaire efficiency shall be >100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintennance. CRI should be greater than 80, housing should be CRCA Sheet of thickness of 0.5-0.6 mm thick. The diffuser shll be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor >0.9 of the inout voltage tolerance shall be 140-270 volt AC complete in all recpect including LED and other accessories etc as required. | 20.00 | Nos |  | 1999.00 | 39980.00 | 2645.00 | 52900.00 | 3000.00 | 60000.00 | 1950.00 | 39000.00 | 3099.00 | 61980.00 | 39000.00 | EA Facilities services Pvt Ltd
75.00 | Supply of Ceiling / Wall mounted Batten type (T5) LED Tubelight fixtures with lamp wattage 18-20 W, Housing & cover made up of CRCA sheet steel. Cover is fixed to the housing by means of 2 nos. bolt with engineering plastic head with Epoxy powder coated white after phosphochromate complete in all recpect and other accessories etc as required. | 100.00 | Nos |  | 399.00 | 39900.00 | 483.00 | 48300.00 | 500.00 | 50000.00 | 1635.00 | 163500.00 | 399.00 | 39900.00 | 39900.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
76.00 | Supply of Recess mounted LED downlighter with system wattage 15-24 W and system lumen 1125 lm-2400 lm. The luminaire efficiency shall be >140 lm/W. The luminaire shall be 3000K-5700K color temperature and having 50000 burning hours life. CRI should be greater than 80, housing should be die-cast aluminium heat sink & PC diffuser in white powder coated finish with integrated driver with life of 50000 hrs power factor > 0.9 of the inout voltage tolerance shall be 140-270 volt AC complete in all recpect including LED and other accessories etc as required. | 30.00 | Nos |  | 999.00 | 29970.00 | 1265.00 | 37950.00 | 3000.00 | 90000.00 | 1690.00 | 50700.00 | 1299.00 | 38970.00 | 29970.00 | CHENNAI ENGINEERING SERVICES
77.00 | Supply of surface / wall mounted 65-70W LED IP 66 luminaire made of Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & corrosion resistant of size of 309mm x 346mm x 60mm having tolerance +5 mm. The luminaire shall be able to deliver a system lumen of >7000 lumens. The CCT shall be 5700K, operating temperature -10° C to +45° C, operating voltage 140 V-300 V, Lumen efficacy of LED >130 lm/W and viewing angle of 120°. The electronic Powered by an integral, isolated electronic LED driver (SMPS based constant current supply) with lower THD, Output Open / Short Circuit protection, Over Voltage protection, Surge Voltage Protection & other safety test as per IS 15885 Part-2/Sec 13. The luminaire shall be complete in all respect including led tube and other accessories etc as required | 10.00 | Nos |  | 4499.00 | 44990.00 | 6038.00 | 60380.00 | 7500.00 | 75000.00 | 4580.00 | 45800.00 | 4999.00 | 49990.00 | 44990.00 | CHENNAI ENGINEERING SERVICES
78.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 20.00 | Set |  | 5999.00 | 119980.00 | 5918.00 | 118360.00 | 6000.00 | 120000.00 | 9500.00 | 190000.00 | 3999.00 | 79980.00 | 79980.00 | DElite System Engineering (India) Pvt. Ltd.
79.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal / coke and salt as required. | 20.00 | Set | 8544.00 | 14999.00 | 299980.00 | 12335.00 | 246700.00 | 12500.00 | 250000.00 | 16500.00 | 330000.00 | 7500.00 | 150000.00 | 150000.00 | DElite System Engineering (India) Pvt. Ltd.
80.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 200.00 | Mtrs | 8544.00 | 639.00 | 127800.00 | 985.00 | 197000.00 | 750.00 | 150000.00 | 740.00 | 148000.00 | 600.00 | 120000.00 | 120000.00 | DElite System Engineering (India) Pvt. Ltd.
81.00 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | 100.00 | Mtrs |  | 1999.00 | 199900.00 | 2120.00 | 212000.00 | 1500.00 | 150000.00 | 1490.00 | 149000.00 | 750.00 | 75000.00 | 75000.00 | DElite System Engineering (India) Pvt. Ltd.
82.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 20.00 | Each |  | 5999.00 | 119980.00 | 6105.00 | 122100.00 | 5000.00 | 100000.00 | 8500.00 | 170000.00 | 3299.00 | 65980.00 | 65980.00 | DElite System Engineering (India) Pvt. Ltd.
83.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 500.00 | Mtrs |  | 149.00 | 74500.00 | 152.00 | 76000.00 | 100.00 | 50000.00 | 160.00 | 80000.00 | 259.00 | 129500.00 | 50000.00 | Balaji Engineering
84.00 | Supply and fixing of Earth Electrodes, 17.2mm dia. exothermic welded copper bonded rod 17.2mm dia, 3 mtr. long with terminal size 32x10mm with 50 Kgs. Of backfil earth enhancing compound. Base metal shall be IS marked branded MS Rod and providng masonry enclosure with cover plate including all other accessories. (Chemical Earthing) | 5.00 | Each |  | 20999.00 | 104995.00 | 16675.00 | 83375.00 | 7500.00 | 37500.00 | 16500.00 | 82500.00 | 9000.00 | 45000.00 | 37500.00 | Balaji Engineering
85.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface / recessed conduit / submain wiring / cable as required. | 3200.00 | Mtrs |  | 19.00 | 60800.00 | 66.00 | 211200.00 | 20.00 | 64000.00 | 13.00 | 41600.00 | 19.00 | 60800.00 | 41600.00 | EA Facilities services Pvt Ltd
86.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 10.00 | Each |  | 999.00 | 9990.00 | 598.00 | 5980.00 | 700.00 | 7000.00 | 690.00 | 6900.00 | 799.00 | 7990.00 | 5980.00 | ELECTRO TECH ENGINEERS
87.00 | Supplying and fixing 16 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 2999.00 | 59980.00 | 1417.00 | 28340.00 | 2500.00 | 50000.00 | 4500.00 | 90000.00 | 1799.00 | 35980.00 | 28340.00 | ELECTRO TECH ENGINEERS
88.00 | Supplying and fixing 63A , 415 V, TPN Industrial type socket outlet, with 5 pole and earth, metal enclosed plug top alongwith 63 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 3999.00 | 79980.00 | 8970.00 | 179400.00 | 5000.00 | 100000.00 | 11000.00 | 220000.00 | 2799.00 | 55980.00 | 55980.00 | DElite System Engineering (India) Pvt. Ltd.
89.00 | Execution of miscellaneous electrical works like providing temporary power supply, dismantling of fixtures, fans, exhaust fand switch points, extension of existing power points and attending the AC fault etc whenever required on daily wages basis as follows Electrician | 100.00 | days |  | 999.00 | 99900.00 | 775.00 | 77500.00 | 800.00 | 80000.00 | 1041.00 | 104100.00 | 599.00 | 59900.00 | 59900.00 | DElite System Engineering (India) Pvt. Ltd.
90.00 | Execution of miscellaneous electrical works like providing temporary power supply, dismantling of fixtures, fans, exhaust fand switch points, extension of existing power points and attending the AC fault etc whenever required on daily wages basis as follows Wireman | 100.00 | days |  | 989.00 | 98900.00 | 775.00 | 77500.00 | 800.00 | 80000.00 | 1041.00 | 104100.00 | 599.00 | 59900.00 | 59900.00 | DElite System Engineering (India) Pvt. Ltd.
91.00 | Execution of miscellaneous electrical works like providing temporary power supply, dismantling of fixtures, fans, exhaust fand switch points, extension of existing power points and attending the AC fault etc whenever required on daily wages basis as follows AC Technician | 50.00 | days |  | 999.00 | 49950.00 | 775.00 | 38750.00 | 800.00 | 40000.00 | 1041.00 | 52050.00 | 599.00 | 29950.00 | 29950.00 | DElite System Engineering (India) Pvt. Ltd.
92.00 | Execution of miscellaneous electrical works like providing temporary power supply, dismantling of fixtures, fans, exhaust fand switch points, extension of existing power points and attending the AC fault etc whenever required on daily wages basis as follows Helper | 500.00 | days |  | 799.00 | 399500.00 | 636.00 | 318000.00 | 700.00 | 350000.00 | 864.00 | 432000.00 | 399.00 | 199500.00 | 199500.00 | DElite System Engineering (India) Pvt. Ltd.
93.00 | Providing 01 No. Skilled Driver for Project Electrical Departmental Vehicle from 0930 hrs to 1800 etc as per direction of Engineer in charge etc as required | 12.00 | Mon |  | 19999.00 | 239988.00 | 842.00 | 10104.00 | 20000.00 | 240000.00 | 1041.00 | 12492.00 | 24999.00 | 299988.00 | 10104.00 | ELECTRO TECH ENGINEERS
94.00 | Providing the following machinaries with operator on requirement basis for carryout the work etc as required Excavator (JCB) | 40.00 | Hours |  | 1999.00 | 79960.00 | 978.00 | 39120.00 | 800.00 | 32000.00 | 1100.00 | 44000.00 | 699.00 | 27960.00 | 27960.00 | DElite System Engineering (India) Pvt. Ltd.
95.00 | Providing the following machinaries with operator on requirement basis for carryout the work etc as required Crane capacity of handling 12 Tons | 40.00 | Hours |  | 1999.00 | 79960.00 | 978.00 | 39120.00 | 800.00 | 32000.00 | 2300.00 | 92000.00 | 699.00 | 27960.00 | 27960.00 | DElite System Engineering (India) Pvt. Ltd.
96.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc., complete as required. In the existing trench | 50.00 | Mtrs |  | 149.00 | 7450.00 | 125.00 | 6250.00 | 75.00 | 3750.00 | 150.00 | 7500.00 | 99.00 | 4950.00 | 3750.00 | Balaji Engineering
97.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc., complete as required. Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 249.00 | 12450.00 | 240.00 | 12000.00 | 175.00 | 8750.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
98.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. In the existing trench | 50.00 | Mtrs |  | 199.00 | 9950.00 | 172.00 | 8600.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 109.00 | 5450.00 | 5000.00 | Balaji Engineering
99.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 399.00 | 19950.00 | 286.00 | 14300.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
100.00 | Supplying and laying of 160 mm dia (OD-160 mm & ID-135 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. In the existing trench | 30.00 | Mtrs |  | 419.00 | 12570.00 | 412.00 | 12360.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 299.00 | 8970.00 | 7500.00 | Balaji Engineering
101.00 | Supplying and laying of 160 mm dia (OD-160 mm & ID-135 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. Direct in ground (75 cm below ground level) | 30.00 | Mtrs |  | 499.00 | 14970.00 | 527.00 | 15810.00 | 400.00 | 12000.00 | 570.00 | 17100.00 | 299.00 | 8970.00 | 8970.00 | DElite System Engineering (India) Pvt. Ltd.
102.00 | Supplying and laying of 200 mm dia (OD-200 mm & ID-175 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. In the existing trench | 20.00 | Mtrs |  | 499.00 | 9980.00 | 473.00 | 9460.00 | 375.00 | 7500.00 | 400.00 | 8000.00 | 299.00 | 5980.00 | 5980.00 | DElite System Engineering (India) Pvt. Ltd.
103.00 | Supplying and laying of 200 mm dia (OD-200 mm & ID-175 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. Direct in ground (75 cm below ground level) | 20.00 | Mtrs |  | 549.00 | 10980.00 | 688.00 | 13760.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 299.00 | 5980.00 | 5980.00 | DElite System Engineering (India) Pvt. Ltd.
104.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 20.00 | Cum |  | 7999.00 | 159980.00 | 7606.00 | 152120.00 | 4500.00 | 90000.00 | 4000.00 | 80000.00 | 6999.00 | 139980.00 | 80000.00 | EA Facilities services Pvt Ltd
105.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required 150 mm dia | 20.00 | Mtrs |  | 1999.00 | 39980.00 | 616.00 | 12320.00 | 1600.00 | 32000.00 | 1800.00 | 36000.00 | 2399.00 | 47980.00 | 12320.00 | ELECTRO TECH ENGINEERS
106.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required 100 mm dia | 20.00 | Mtrs |  | 1499.00 | 29980.00 | 1278.00 | 25560.00 | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 2099.00 | 41980.00 | 24000.00 | Balaji Engineering
107.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 4.5 metre and upto 6.5 metre | 5.00 | Each |  | 9999.00 | 49995.00 | 5520.00 | 27600.00 | 2000.00 | 10000.00 | 4500.00 | 22500.00 | 2999.00 | 14995.00 | 10000.00 | Balaji Engineering
108.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 8.0 metre and upto 11.0 metre | 5.00 | Each |  | 11999.00 | 59995.00 | 7820.00 | 39100.00 | 2000.00 | 10000.00 | 6500.00 | 32500.00 | 3999.00 | 19995.00 | 10000.00 | Balaji Engineering
109.00 | Dismantling of exising metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 4.5 metre and upto 6.5 metre | 5.00 | Each |  | 4999.00 | 24995.00 | 2554.00 | 12770.00 | 2500.00 | 12500.00 | 5500.00 | 27500.00 | 999.00 | 4995.00 | 4995.00 | DElite System Engineering (India) Pvt. Ltd.
110.00 | Dismantling of exising metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 8.0 metre and upto 11.0 metre | 5.00 | Each |  | 5999.00 | 29995.00 | 3680.00 | 18400.00 | 1000.00 | 5000.00 | 7500.00 | 37500.00 | 999.00 | 4995.00 | 4995.00 | DElite System Engineering (India) Pvt. Ltd.
111.00 | SITC of 1.5 TR Split Type Air Conditioner 5 Star rating nominal cooling capacity 4500 kcal / Hr shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 4.00 | Nos |  | 38929.00 | 155716.00 | 33325.00 | 133300.00 | 39000.00 | 156000.00 | 39048.00 | 156192.00 | 43999.00 | 175996.00 | 133300.00 | ELECTRO TECH ENGINEERS
112.00 | SITC of 2 TR Split Type Air Conditioner 3 Star rating nominal cooling capacity 5500 kcal / Hr shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 3.00 | Nos |  | 41279.00 | 123837.00 | 39025.00 | 117075.00 | 49000.00 | 147000.00 | 38236.00 | 114708.00 | 65999.00 | 197997.00 | 114708.00 | EA Facilities services Pvt Ltd
113.00 | SITC of 2 TR Ceiling mounted Cassete Type Air Conditioner 3 Star rating with refrigerant gas, PVC drain pipe etc shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 2.00 | Nos |  | 74999.00 | 149998.00 | 73800.00 | 147600.00 | 70000.00 | 140000.00 | 63950.00 | 127900.00 | 43999.00 | 87998.00 | 87998.00 | DElite System Engineering (India) Pvt. Ltd.
114.00 | SITC of 4 TR Cassete Type Air Conditioner with refrigerant gas, PVC drain pipe etc shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 1.00 | Nos |  | 105999.00 | 105999.00 | 98400.00 | 98400.00 | 100000.00 | 100000.00 | 95476.00 | 95476.00 | 82999.00 | 82999.00 | 82999.00 | DElite System Engineering (India) Pvt. Ltd.
115.00 | SITC of 2 TR Fan Cooling Coil Unit shall be fully factory assembled, wired, internally piped & tested with all accessories for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 4.00 | Nos | 8311.00 | 44999.00 | 179996.00 | 43000.00 | 172000.00 | 40000.00 | 160000.00 | 42461.00 | 169844.00 | 29999.00 | 119996.00 | 119996.00 | DElite System Engineering (India) Pvt. Ltd.
116.00 | SITC of 3 TR Slim line tower type Vertical air conditioner split AC unit suitable for operation at 230V, 50Hz AC supply with all accessories including standard length of suction and discharge coper pipe line with inisulation, initial gas charging, leak testing, electrical cabling, regrigerant piping, remote control, providing fixing of MS Channel / bracket frame work for mounting indoor and outdoor units etc as required | 2.00 | Nos |  | 101999.00 | 203998.00 | 149800.00 | 299600.00 | 90000.00 | 180000.00 | 82175.00 | 164350.00 | 82999.00 | 165998.00 | 164350.00 | EA Facilities services Pvt Ltd
117.00 | SITC of 5 TR Slim line tower type Vertical air conditioner split AC unit suitable for operation at 220 / 415 V, 50Hz AC supply with all accessories including standard length of suction and discharge coper pipe line with inisulation, initial gas charging, leak testing, electrical cabling, regrigerant piping, remote control, providing fixing of MS Channel / bracket frame work for mounting indoor andoutdoor units etc as required | 1.00 | Nos |  | 133999.00 | 133999.00 | 168000.00 | 168000.00 | 90000.00 | 90000.00 | 115551.00 | 115551.00 | 99999.00 | 99999.00 | 90000.00 | Balaji Engineering
118.00 | SITC of Air Conditoner Stabilizers capacity of 4 KVA shall be fully factory assembled, wired & tested with all accessories etc. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 10.00 | Nos |  | 1999.00 | 19990.00 | 3800.00 | 38000.00 | 1750.00 | 17500.00 | 1600.00 | 16000.00 | 2000.00 | 20000.00 | 16000.00 | EA Facilities services Pvt Ltd
119.00 | SITC of Air Conditoner Stabilizers capacity of 5 KVA shall be fully factory assembled, wired & tested with all accessories etc. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 10.00 | Nos |  | 2199.00 | 21990.00 | 5500.00 | 55000.00 | 4000.00 | 40000.00 | 2100.00 | 21000.00 | 2200.00 | 22000.00 | 21000.00 | EA Facilities services Pvt Ltd
120.00 | The existing 400mm dia Chilled Water pipe line approximately 12 mtrs to be rerouted with necessary fittings like tees, elbows, junctions, unions, bends, plugs, MS support & fixing structure for pipes with suitable accessories as per the site condition and testing, commissioning as complete as required. (Materials will be provide by AAI) | 2.00 | Jobs |  | 44999.00 | 89998.00 | 27600.00 | 55200.00 | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 9999.00 | 19998.00 | 19998.00 | DElite System Engineering (India) Pvt. Ltd.
121.00 | Supplying, laying, fixing, testing and commissioning of 38mm thickness closed cell elastrometric nitrile rubber of class 'O' applied by suiatable adhesive, as per specifications and as required complete in all respect. | 60.00 | Mtrs |  | 1999.00 | 119940.00 | 1057.00 | 63420.00 | 200.00 | 12000.00 | 270.00 | 16200.00 | 799.00 | 47940.00 | 12000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 6944618.00 |  | 7449040.00 |  | 6220050.00 |  | 6745799.00 |  | 5776710.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(5776710.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modernization of Chennai Airport Phase II-SH-Miscellaneous Electrical works during 2020-21 Tender ID: 2020_AAI_58807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 5776710.00 | L1
| 2 | Balaji Engineering | 6220050.00 | L2
| 3 | EA Facilities services Pvt Ltd | 6745799.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 6944618.00 | L4
| 5 | ELECTRO TECH ENGINEERS | 7449040.00 | L5