## BoQ1
Government eProcurement System Created By: Amit Singh Created Date/Time: 20-Oct-2020 05:53 PM Tender Title: Annual Maintenance contract of Electrical Mechanical installations at Darbhanga Airport Tender ID: 2020_AAI_58876_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Annual Maintenance Contract of Electrical & Mechanical Installations at Darbhanga Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | SAURABH ENTERPRISES(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Providing Operation & Maintenance Services of Electrical and Mechanical Installations i.e Fire Alarm system,VRF AC System,Arrival & Departure Conveyor belt systems, Automatic Sliding Door, Water coolers,lighting etc for Terminal Building, Power House i.e Sub-Station,DG Sets,transformer etc,ancilliary building of Office's & Canteen, PAPI Lights,STP & Pump, Car Park Area,Street light etc covering the above scope of works only minor maintenance, preventive and breakdown maintenance, ensuring serviceability, satisfactory working condition of the system, preventive maintenance on daily, weekly, monthly,quarterly, half yearly and yearly basis, maintenance of records,documents etc. by engaging manpower round the clock basis and as per details mentioned in Special Condition of Contract . | 12.00 | Month |  | 167000.00 | 2004000.00 | 158000.00 | 1896000.00 | 170000.00 | 2040000.00 | 1896000.00 | SAURABH ENTERPRISES
2.01 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year. L.O. Filter+Element V8/V6 ( 605411880009 ) | 12.00 | Each |  | 310.00 | 3720.00 | 310.00 | 3720.00 | 2800.00 | 33600.00 | 3720.00 | DOSHI ELECTRIC ENGG. CO., SAURABH ENTERPRISES
2.02 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year Radiator Coolant Top Up 10 Ltr pack ( 141100195038 ) | 7.00 | Each |  | 2200.00 | 15400.00 | 165.00 | 1155.00 | 2200.00 | 15400.00 | 1155.00 | SAURABH ENTERPRISES
2.03 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year OUTER Element ( 106900000014 ) | 6.00 | Each |  | 4300.00 | 25800.00 | 141.00 | 846.00 | 2800.00 | 16800.00 | 846.00 | SAURABH ENTERPRISES
2.04 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year INNER Element ( 106900000015 ) | 6.00 | Each |  | 2200.00 | 13200.00 | 4299.00 | 25794.00 | 2500.00 | 15000.00 | 13200.00 | DOSHI ELECTRIC ENGG. CO.
2.05 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year GREAVES LUB OIL20 Ltr CI-4 ( 123200198634 ) | 12.00 | Each |  | 5400.00 | 64800.00 | 2174.00 | 26088.00 | 2400.00 | 28800.00 | 26088.00 | SAURABH ENTERPRISES
2.06 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year GREAVES LUB OIL 10 Ltr pack ( 123200198448 ) | 6.00 | Each |  | 2700.00 | 16200.00 | 2154.00 | 12924.00 | 2000.00 | 12000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.07 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year FILTER ELEMENT WITH O RING (1200240911 ) | 6.00 | Each |  | 170.00 | 1020.00 | 5313.00 | 31878.00 | 4000.00 | 24000.00 | 1020.00 | DOSHI ELECTRIC ENGG. CO.
2.08 | Supply of following spares required for carryingout the maintenance work of following Greaves make 320 KVA DG Set(2 Nos.) etc complete as required for the period of one year FILTER INSRT WITH O RING (1200240912 ) | 6.00 | Each |  | 150.00 | 900.00 | 2502.00 | 15012.00 | 5000.00 | 30000.00 | 900.00 | DOSHI ELECTRIC ENGG. CO.
3.01 | Execution of works as per CPWD DSR (E&M) 2018 excluding GST for Rs.50,000.00 as and when required. Note for contractor: For 10% above contractor shall quote 50000+10%= 55000. Similarly for 10% below contractor shall quote 50000-10%= 45000. | 1.00 | Job |  | 39489.00 | 39489.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 39489.00 | DOSHI ELECTRIC ENGG. CO.
| Total in Figures |  |  |  |  | 2184529.00 |  | 2063417.00 |  | 2255600.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(2063417.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance contract of Electrical Mechanical installations at Darbhanga Airport Tender ID: 2020_AAI_58876_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 2063417.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. | 2184529.00 | L2
| 3 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 2255600.00 | L3