## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 27-Nov-2020 12:11 PM Tender Title: Provision of VRF / VRV Air conditioning System for Arrival Hall at CE, Jamnagar Tender ID: 2020_AAI_59066_1
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: Provision of VRF / VRV Air Conditioning System for Arrival Hall at CE, Jamnagar.
Contract No: AAI/VAJM/AGM(E-E)/ENIT-03/20-21 TENDER ID NO: 2020_AAI_59066_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Innovative Engineers(GSTN-24ADQPJ4199L1ZV) |  | SHES Air and Automation Poona(GSTN-27ACXPT1678A1Z3) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Sagar Aircon Pvt Ltd(GSTN-09AAUCS2208M1ZR) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | AAR PEE REFRIGERATION AND AIR CONDITIONING(GSTN-07AAEPA9214E2Z6) |  | Shree Sai Services(GSTN-NA) |  | OZONE AIR CONDITIONING AND CONSULTANCY(GSTN-NA) |  | b p enterprises(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of following capacity modular type Variable Refrigerant Flow / Variable Refrigerant Volume air cooled Outdoor units suitable for cooling, having all hermetically sealed inverter type Scroll Compressor(s), minimum two compressors per module for better reliability of the system, microprocessor based Controller, top discharge type condensing unit(s), with R 410 A Refrigerant, vibration isolation pads, special pre coated fins, panel, corrosion resistant coated condenser, with suitable CC /MS foundation and base frame etc. complete, as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 54°C ambient temperature without tripping. The unit shall be suitable to work on 415V +/- 10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant, lubricating oil and ready for use including Nitrogen Pressure testing as per specification. The Cooling COP at AHRI Conditions shall not be less than 4 and IEER not less than 6.5, complete as per technical specifications, as required.
1.10 | 24 HP VRF ODU | 1.00 | Each |  | 400357.82 | 400357.82 | 396750.00 | 396750.00 | 489236.00 | 489236.00 | 380000.00 | 380000.00 | 496000.00 | 496000.00 | 450000.00 | 450000.00 | 461160.00 | 461160.00 | 399546.00 | 399546.00 | 389300.00 | 389300.00 | 380000.00 | Sagar Aircon Pvt Ltd
1.20 | 22 HP VRF ODU | 2.00 | Each |  | 385616.60 | 771233.20 | 366000.00 | 732000.00 | 525450.00 | 1050900.00 | 310000.00 | 620000.00 | 464000.00 | 928000.00 | 396000.00 | 792000.00 | 455625.00 | 911250.00 | 331811.00 | 663622.00 | 374600.00 | 749200.00 | 620000.00 | Sagar Aircon Pvt Ltd
2.00 | Supply, Installation, Testing and Commissioning of 18 TR capacity and high external static pressure VRF/VRV ceiling suspended ductable type Indoor unit equipped with washable synthetic media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX copper coil, electronic expansion valve, corded remote control, outer cabinet, vibration isolators, drain pan, other necessary supports etc., suitable for operation on three phase AC supply 415 V ± 10%, 50 Hz complete as required. The unit shall have automatic force shut down provision in case of fire on receiveing signal from BMS / FIRE System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature, complete as per technical specifications, as required. | 3.00 | Each |  | 108155.08 | 324465.24 | 118500.00 | 355500.00 | 125450.00 | 376350.00 | 200000.00 | 600000.00 | 110000.00 | 330000.00 | 180000.00 | 540000.00 | 109930.00 | 329790.00 | 167333.00 | 501999.00 | 70600.00 | 211800.00 | 211800.00 | b p enterprises
3.00 | Supply and Installation of REFNET joint kits as per OEM recommendations suitable for the above VRF / VRV system, complete as required. | 4.00 | Each |  | 5296.12 | 21184.48 | 5555.40 | 22221.60 | 4252.00 | 17008.00 | 8810.00 | 35240.00 | 5500.00 | 22000.00 | 1800.00 | 7200.00 | 5806.00 | 23224.00 | 2750.00 | 11000.00 | 6600.00 | 26400.00 | 7200.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
4.00 | Supply, Installation, Testing and Commissioning of Group Controller of OEM make suitable for above VRV / VRF AC system, complete as required. | 1.00 | Each |  | 11971.92 | 11971.92 | 36600.00 | 36600.00 | 9525.00 | 9525.00 | 32000.00 | 32000.00 | 18000.00 | 18000.00 | 72000.00 | 72000.00 | 34650.00 | 34650.00 | 26170.00 | 26170.00 | 28000.00 | 28000.00 | 9525.00 | Techno Electricals
5.00 | Supply, Installation, Testing and Commissioning including vacuumization and nitrogen testing of hard drawn copper refrigerant piping of minimum 1.2 mm tube thickness and in required sizes as per OEM standards suitable for above VRV / VRF system, complete with fittings, suitable adjustable ring type hanger supports, GI Cable Tray, jointing / brazing including accessories, insulated with XPLE Class-O tubular insulation / with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of minimum 19 / 13 mm thickness for Suction and Liquid lines, all accessories as per specifications etc. as required. | 51.00 | RMT |  | 2366.47 | 120689.97 | 1500.00 | 76500.00 | 2200.00 | 112200.00 | 900.00 | 45900.00 | 1150.00 | 58650.00 | 540.00 | 27540.00 | 2070.00 | 105570.00 | 1720.00 | 87720.00 | 1800.00 | 91800.00 | 27540.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
6.00 | Supply and laying of 2C x 0.75 sqmm shielded communication Cabling between the Indoor & Outdoor units in ISI PVC conduits, complete as required. | 56.00 | RMT |  | 104.29 | 5840.24 | 66.66 | 3732.96 | 150.00 | 8400.00 | 190.00 | 10640.00 | 110.00 | 6160.00 | 90.00 | 5040.00 | 135.00 | 7560.00 | 70.00 | 3920.00 | 150.00 | 8400.00 | 3732.96 | SHES Air and Automation Poona
7.00 | Supply and Fixing of U-PVC drain piping of 32 mm for all Indoor Units with proper Slope arrangement & duly insulated with Nitrile Insulation of minimum 9 mm thickness to the nearest drain point, with required support etc, complete as required. | 45.00 | Mtr |  | 161.64 | 7273.80 | 204.00 | 9180.00 | 200.00 | 9000.00 | 150.00 | 6750.00 | 130.00 | 5850.00 | 135.00 | 6075.00 | 171.00 | 7695.00 | 176.00 | 7920.00 | 180.00 | 8100.00 | 5850.00 | VOLKS ENERGIE PVT LTD
8.00 | Supply, fabrication and Installation of following gauges of Galvanised Iron ( GI ) Sheet Round Duct, inner insulated, spray painted in approved colour, complete with GI Angle supports & flenged, threaded support for level adjustment, expansion fasteners etc., complete as required.
8.10 | 22 G GI Ducting | 81.00 | Sq.M |  | 981.29 | 79484.49 | 1050.00 | 85050.00 | 2000.00 | 162000.00 | 790.00 | 63990.00 | 1250.00 | 101250.00 | 650.00 | 52650.00 | 927.00 | 75087.00 | 1182.00 | 95742.00 | 1050.00 | 85050.00 | 52650.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
8.20 | 24 G GI Ducting | 324.00 | Sq.M |  | 948.48 | 307307.52 | 906.00 | 293544.00 | 1850.00 | 599400.00 | 860.00 | 278640.00 | 1050.00 | 340200.00 | 650.00 | 210600.00 | 846.00 | 274104.00 | 1054.00 | 341496.00 | 850.00 | 275400.00 | 210600.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
9.00 | Supply and Fixing acoustic Insulation of ducts with minimum 12 mm thick fibreglass of density 48 kg/ Cu.Mtr. And covered with RP tissue and 28G perforated aluminium sheet from inside the duct, complete as required. | 81.00 | Sq.M |  | 360.45 | 29196.45 | 510.00 | 41310.00 | 593.00 | 48033.00 | 450.00 | 36450.00 | 550.00 | 44550.00 | 1350.00 | 109350.00 | 702.00 | 56862.00 | 361.00 | 29241.00 | 950.00 | 76950.00 | 29196.45 | Innovative Engineers
10.00 | Supply and Fixing of Nitrile Insulation of minimum 9mm thickness closed-cell Elastomeric Class -O Nitrile rubber insulation of 40-60 kg/Cu. Mtr. density on inner side of duct. Pre-clean duct surface before applying insulation, stick insulation material using a thin flim of manufacturer-recommended adhesive on both duct and insulation; keeping the insulation material under compression (without any stretching), seal all joints air-tight, complete as required. | 324.00 | Sq.M |  | 393.86 | 127610.64 | 501.00 | 162324.00 | 583.00 | 188892.00 | 350.00 | 113400.00 | 500.00 | 162000.00 | 450.00 | 145800.00 | 477.00 | 154548.00 | 317.00 | 102708.00 | 650.00 | 210600.00 | 102708.00 | OZONE AIR CONDITIONING AND CONSULTANCY
11.00 | Supply, Installation, Testing and Commissioning of Fresh air fan to supply 1400 CFM cabinet type fan with 10 Micro filter for Fresh air in duct air delavary `capacity and suitable for operation on three phase AC supply 415 V ± 10%, 50 Hz complete as required. The unit shall have automatic force shut down provision in case of fire on receiveing signal from BMS / FIRE System, complete as required. | 1.00 | Each |  | 19138.10 | 19138.10 | 54600.00 | 54600.00 | 26000.00 | 26000.00 | 40000.00 | 40000.00 | 34000.00 | 34000.00 | 1800.00 | 1800.00 | 22540.00 | 22540.00 | 23814.00 | 23814.00 | 15500.00 | 15500.00 | 1800.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
12.00 | Supply, Installation, Testing and Commissioning of Exhaust air fan to supply 1400 CFM cabinet type fan with 10 Micro filter for Exhaust air in duct air delavary capacity and suitable for operation on three phase AC supply 415 V ± 10%, 50 Hz complete as required. The unit shall have automatic force shut down provision in case of fire on receiveing signal from BMS / FIRE System, complete as required. | 1.00 | Each |  | 19138.10 | 19138.10 | 45600.00 | 45600.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 34000.00 | 34000.00 | 1800.00 | 1800.00 | 22540.00 | 22540.00 | 23814.00 | 23814.00 | 15500.00 | 15500.00 | 1800.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
13.00 | SITC of Powder coated, extruded Aluminium Supply Air Grills in approved colour with adjustable vertical and horizontal deflection louvers, complete as required. | 11.00 | Sq.M |  | 4976.73 | 54744.03 | 6666.00 | 73326.00 | 4858.00 | 53438.00 | 7500.00 | 82500.00 | 7100.00 | 78100.00 | 13500.00 | 148500.00 | 7200.00 | 79200.00 | 3566.00 | 39226.00 | 3500.00 | 38500.00 | 38500.00 | b p enterprises
14.00 | SITC of Volume control damper, as required. | 5.00 | Sq.M |  | 3889.63 | 19448.15 | 5555.40 | 27777.00 | 5000.00 | 25000.00 | 4200.00 | 21000.00 | 4500.00 | 22500.00 | 6300.00 | 31500.00 | 5400.00 | 27000.00 | 5329.00 | 26645.00 | 4500.00 | 22500.00 | 19448.15 | Innovative Engineers
15.00 | SITC of Duct Damper, as required. | 1.00 | Sq.M |  | 6238.98 | 6238.98 | 5100.00 | 5100.00 | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 8300.00 | 8300.00 | 6300.00 | 6300.00 | 7200.00 | 7200.00 | 5075.00 | 5075.00 | 4000.00 | 4000.00 | 4000.00 | b p enterprises
16.00 | SITC of fire Damper, as required. | 1.00 | Sq.M |  | 11183.85 | 11183.85 | 9600.00 | 9600.00 | 12520.00 | 12520.00 | 8200.00 | 8200.00 | 11500.00 | 11500.00 | 9000.00 | 9000.00 | 8100.00 | 8100.00 | 22771.00 | 22771.00 | 18000.00 | 18000.00 | 8100.00 | Shree Sai Services
17.00 | Design, Fabrication, Supply and Installation of Ultra Violet Germicidal Irradiation System (UVGI) suitable for ductable packaged type air-conditioning units for maintaining Indoor Air Quality through air-stream microbe disinfection with factory fabricated UV modules in strict compliance of tender specifications including microprocessor based control panel with provision of individual ballast for each lamp, isolation transformer, provision of RS 485 port, audiable buzzer, indication lamps, auto door interlocking, interconnection bewtween control panel & UV modules, power supply and control cabling, cable glanding, other safety euqipment & mounting accessories, any minor civil works complete with Testing & Commissioning of the entire system all as required and specified. The whole system shall either be duct/AHU mounted and shall be in compliance with the selection chart based on ISHRAE recommendations. | 3.00 | Each |  | 69946.52 | 209839.56 | 96000.00 | 288000.00 | 42000.00 | 126000.00 | 120000.00 | 360000.00 | 89000.00 | 267000.00 | 45000.00 | 135000.00 | 72000.00 | 216000.00 | 56115.00 | 168345.00 | 30786.00 | 92358.00 | 92358.00 | b p enterprises
18.00 | Designing the HVAC system along with disinfection system ( UVGI / MERV Filters ) , Preparing CAD Construction Drawing, getting approval of the system design from AAI and OEM of VRF AC, Preparing as built drawing and Handing over the HVAC system with required documents such as test reports/Certificate of each material and entire system performance etc. | 1.00 | Job |  | 5882.35 | 5882.35 | 6666.00 | 6666.00 | 8000.00 | 8000.00 | 50000.00 | 50000.00 | 10000.00 | 10000.00 | 18000.00 | 18000.00 | 69780.00 | 69780.00 | 15000.00 | 15000.00 | 250000.00 | 250000.00 | 5882.35 | Innovative Engineers
19.00 | Supply of following size of XLPE insulated, PVC sheathed, Aluminium conductor, armoured electric cable of 1.1 KV grade confirming to IS 7098 PART-I with upto date amended, complete as required.
19.10 | 4 C x 16 Sq.mm | 150.00 | Mtr |  | 96.64 | 14496.00 | 150.00 | 22500.00 | 90.00 | 13500.00 | 230.00 | 34500.00 | 115.00 | 17250.00 | 450.00 | 67500.00 | 108.00 | 16200.00 | 94.00 | 14100.00 | 250.00 | 37500.00 | 13500.00 | Techno Electricals
19.20 | 3.5 C x 240 Sq.mm | 700.00 | Mtr |  | 714.71 | 500297.00 | 825.00 | 577500.00 | 663.00 | 464100.00 | 900.00 | 630000.00 | 755.00 | 528500.00 | 630.00 | 441000.00 | 720.00 | 504000.00 | 699.00 | 489300.00 | 780.00 | 546000.00 | 441000.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
20.00 | Supply of following size of XLPE insulated, PVC sheathed, Copper conductor, armoured electric cable of 1.1 KV grade confirming to IS 7098 PART-I with upto date amended, complete as required. 3C X 4 Sq.mm | 180.00 | Mtr |  | 141.01 | 25381.80 | 115.00 | 20700.00 | 90.00 | 16200.00 | 170.00 | 30600.00 | 125.00 | 22500.00 | 450.00 | 81000.00 | 130.00 | 23400.00 | 114.00 | 20520.00 | 200.00 | 36000.00 | 16200.00 | Techno Electricals
21.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 185 sq. mm and upto 400 sq. mm | 18.00 | Mtr |  | 105.41 | 1897.38 | 285.00 | 5130.00 | 25.00 | 450.00 | 100.00 | 1800.00 | 110.00 | 1980.00 | 225.00 | 4050.00 | 72.00 | 1296.00 | 99.00 | 1782.00 | 100.00 | 1800.00 | 450.00 | Techno Electricals
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required:- Above 185 sq. mm and upto 400 sq. mm | 682.00 | Mtr |  | 105.41 | 71889.62 | 96.00 | 65472.00 | 25.00 | 17050.00 | 85.00 | 57970.00 | 110.00 | 75020.00 | 225.00 | 153450.00 | 72.00 | 49104.00 | 90.00 | 61380.00 | 100.00 | 68200.00 | 17050.00 | Techno Electricals
23.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required:- Upto 35 sq. mm(Clamped with 1 mm thick saddle) | 330.00 | Mtr |  | 52.70 | 17391.00 | 42.00 | 13860.00 | 45.00 | 14850.00 | 50.00 | 16500.00 | 75.00 | 24750.00 | 225.00 | 74250.00 | 36.00 | 11880.00 | 50.00 | 16500.00 | 95.00 | 31350.00 | 11880.00 | Shree Sai Services
24.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100mm dia | 40.00 | Mtr |  | 1060.80 | 42432.00 | 339.00 | 13560.00 | 1000.00 | 40000.00 | 300.00 | 12000.00 | 410.00 | 16400.00 | 180.00 | 7200.00 | 540.00 | 21600.00 | 1396.00 | 55840.00 | 350.00 | 14000.00 | 7200.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
25.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
25.10 | 4 C x 16 Sq.mm (28 mm) | 6.00 | Each |  | 518.33 | 3109.98 | 303.00 | 1818.00 | 185.00 | 1110.00 | 240.00 | 1440.00 | 330.00 | 1980.00 | 540.00 | 3240.00 | 270.00 | 1620.00 | 287.00 | 1722.00 | 55.00 | 330.00 | 330.00 | b p enterprises
25.20 | 3.5 C x 240 Sq.mm (62 mm) | 8.00 | Each |  | 2213.45 | 17707.60 | 1050.00 | 8400.00 | 400.00 | 3200.00 | 1200.00 | 9600.00 | 900.00 | 7200.00 | 2250.00 | 18000.00 | 1170.00 | 9360.00 | 1399.00 | 11192.00 | 145.00 | 1160.00 | 1160.00 | b p enterprises
26.00 | Providing and fixing of advance technology earth electrode earthing system fabricated from hot deep galvanized pipes (pipe in pipe technology) & cavity between pipes pressure filled with highly conductive non-corrosive crystalline material complete with chemically modified homogeneous earth enhancing compound (back fill compound 25 Kg) to treat the soil for lowering the effective ground impedance for each earth pit to make it maintenance free and to minimize the ground voltage potential rise i/c excavation of earth pit suitable to accommodate earth electrode, prefabricated FRP enclosure with cover plate all as reqd. & conforming to (IS:3043 : 1987) duly CPRI/ERDA approved all as required & as specified for Size : - Outer pipe dia = 80mm Inner pipe dia = 40mm Length of electrode = 2 Mtr | 2.00 | Set |  | 14916.62 | 29833.24 | 33000.00 | 66000.00 | 3252.00 | 6504.00 | 1800.00 | 3600.00 | 13000.00 | 26000.00 | 18000.00 | 36000.00 | 4500.00 | 9000.00 | 13395.00 | 26790.00 | 30025.00 | 60050.00 | 3600.00 | Sagar Aircon Pvt Ltd
27.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 10.00 | Mtr |  | 162.59 | 1625.90 | 393.00 | 3930.00 | 300.00 | 3000.00 | 1000.00 | 10000.00 | 260.00 | 2600.00 | 450.00 | 4500.00 | 630.00 | 6300.00 | 490.00 | 4900.00 | 70.00 | 700.00 | 700.00 | b p enterprises
28.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Mtr |  | 162.59 | 4877.70 | 141.00 | 4230.00 | 125.00 | 3750.00 | 225.00 | 6750.00 | 110.00 | 3300.00 | 135.00 | 4050.00 | 45.00 | 1350.00 | 143.00 | 4290.00 | 70.00 | 2100.00 | 1350.00 | Shree Sai Services
29.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing alongwith existing surface / recessed conduit / submail wiring / cable as required. | 300.00 | Mtr |  | 26.99 | 8097.00 | 51.00 | 15300.00 | 10.00 | 3000.00 | 160.00 | 48000.00 | 30.00 | 9000.00 | 22.50 | 6750.00 | 18.00 | 5400.00 | 18.00 | 5400.00 | 80.00 | 24000.00 | 3000.00 | Techno Electricals
30.00 | Providing and fixing 200A, 36kA, FP MCCB with adjustable thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | 2.00 | Each |  | 33375.88 | 66751.76 | 7773.00 | 15546.00 | 9000.00 | 18000.00 | 22000.00 | 44000.00 | 13000.00 | 26000.00 | 9000.00 | 18000.00 | 58500.00 | 117000.00 | 33790.00 | 67580.00 | 25921.00 | 51842.00 | 15546.00 | SHES Air and Automation Poona
31.00 | Supplying and Fixing of outdoor TPN Sheet Steel Enclosure made of 2mm thick CRCA Sheet, IP 65, powder coated, wall / floor mounted with MS angle stand alongwith providing and fixing of 1 Nos. 4 pole 80A, 10kA, D series MCBs complete with connections, testing and commissioning etc, as required. | 3.00 | Set |  | 9027.65 | 27082.95 | 9600.00 | 28800.00 | 9000.00 | 27000.00 | 17000.00 | 51000.00 | 15000.00 | 45000.00 | 4500.00 | 13500.00 | 7200.00 | 21600.00 | 6775.00 | 20325.00 | 24869.00 | 74607.00 | 13500.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
32.00 | Supply, Installation,Testing and Commisioning of cubical type, made out of 2 mm thick CRCA sheet, totally enclosed, IP 45, free standing, Wall mounting, dust and vermin proof, indoor, compartmentalized, suitable for operation on 3 phase and neutral, 415 V, 50Hz, AC system with busbars extensible on both sides, making interlocking arrangement between incomers & buscouple breakers, including internal wiring with suitable size wires / cables, interconnection, duly poweder coated painting etc., including supply & installation of following switchgears, metering instruments and accessories as per specifications:- Incoming : (a) 01 No. 100 Amp., 10kA, 4 Pole, MCB having Adjustable Thermal Setting (Ics=100%Icu), spreader links and extendable ON/OFF rotary handle. (b) 01 Sets of phase indicating lamps, LED type, RYB ON, OFF lamps controlled by 2 A MCB. Outgoings : (a) 16 A, TP, D curve MCB- 04 Nos. (b) 16 A, DP, D curve MCB- 04 Nos. | 1.00 | Set |  | 49637.66 | 49637.66 | 96000.00 | 96000.00 | 21000.00 | 21000.00 | 54000.00 | 54000.00 | 29000.00 | 29000.00 | 33300.00 | 33300.00 | 36000.00 | 36000.00 | 51750.00 | 51750.00 | 29786.00 | 29786.00 | 21000.00 | Techno Electricals
33.00 | Supply, Installation,Testing and Commisioning of cubical type, made out of 2 mm thick CRCA sheet, totally enclosed, IP 54, free standing, floor mounting, dust and vermin proof, outdoor, compartmentalized, suitable for operation on 3 phase and neutral, 415 V, 50Hz, AC system with busbars extensible on both sides, making interlocking arrangement between incomers & buscouple breakers, including internal wiring with suitable size wires / cables, interconnection, duly poweder coated painting etc., including supply & installation of following switchgears, metering instruments and accessories as per specifications:- Incoming : (a) 01 No. 200 Amp., 25kA, 4 Pole, MCCB having Adjustable Thermal Setting (Ics=100%Icu), spreader links and extendable ON/OFF rotary handle. (b) 01 Nos. digital multifunction meter for 3 Phase, 4 wire operation with LED display. (c) 01 Sets of phase indicating lamps, LED type, RYB ON, OFF lamps controlled by 2 A MCB. Outgoings : (a) 100 A, 25kA, 4 Pole MCCB with adjustable thermal setting (Ics = 100%Icu) - 05 Nos. (b) 63 A, FP, D curve MCB- 04 Nos.. (c) 32 A, FP, D curve MCB- 04 Nos. | 1.00 | Set |  | 175928.76 | 175928.76 | 105000.00 | 105000.00 | 51250.00 | 51250.00 | 100000.00 | 100000.00 | 95000.00 | 95000.00 | 33300.00 | 33300.00 | 126000.00 | 126000.00 | 179750.00 | 179750.00 | 30786.00 | 30786.00 | 30786.00 | b p enterprises
34.00 | SITC of Air-curtain of 2 Mtr.length, 1400 RPM, suitable to operate on 230 V, 50 Hz, 1-phase AC supply, Air Throw up to 2 Mtr, Velocity of 13/14 M/Sec., Noise Level 72 db along with suitable mounting arrangement complete as required. | 4.00 | Each |  | 31850.73 | 127402.92 | 42000.00 | 168000.00 | 23000.00 | 92000.00 | 40000.00 | 160000.00 | 20000.00 | 80000.00 | 18000.00 | 72000.00 | 18000.00 | 72000.00 | 18825.00 | 75300.00 | 17786.00 | 71144.00 | 71144.00 | b p enterprises
35.00 | SITC of 200A FP/4, 415V on load Change over Switch in sheet steel Enclosure (Cat ref. ICAS0200) | 1.00 | Each |  | 19761.53 | 19761.53 | 24000.00 | 24000.00 | 8125.00 | 8125.00 | 15000.00 | 15000.00 | 15500.00 | 15500.00 | 9000.00 | 9000.00 | 5400.00 | 5400.00 | 39181.00 | 39181.00 | 18786.00 | 18786.00 | 5400.00 | Shree Sai Services
36.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required.
36.10 | 90 mm dia (OD-90 mm & ID-76 mm nominal) | 60.00 | Meter |  | 507.16 | 30429.60 | 240.00 | 14400.00 | 150.00 | 9000.00 | 120.00 | 7200.00 | 360.00 | 21600.00 | 225.00 | 13500.00 | 162.00 | 9720.00 | 181.00 | 10860.00 | 175.00 | 10500.00 | 7200.00 | Sagar Aircon Pvt Ltd
36.20 | 200 mm dia (OD-200 mm & ID-175 mm nominal) | 233.00 | Meter |  | 875.48 | 203986.84 | 510.00 | 118830.00 | 200.00 | 46600.00 | 250.00 | 58250.00 | 530.00 | 123490.00 | 450.00 | 104850.00 | 270.00 | 62910.00 | 411.00 | 95763.00 | 325.00 | 75725.00 | 46600.00 | Techno Electricals
| Total in Figures |  |  |  |  | 3992247.13 |  | 4114357.56 |  | 4206591.00 |  | 4182420.00 |  | 4150130.00 |  | 3968595.00 |  | 4005000.00 |  | 3849999.00 |  | 3803724.00
Lowest Amount Quoted BY: b p enterprises(3803724.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of VRF / VRV Air conditioning System for Arrival Hall at CE, Jamnagar Tender ID: 2020_AAI_59066_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | b p enterprises | 3803724.00 | L1
| 2 | OZONE AIR CONDITIONING AND CONSULTANCY | 3849999.00 | L2
| 3 | AAR PEE REFRIGERATION AND AIR CONDITIONING | 3968595.00 | L3
| 4 | Innovative Engineers | 3992247.13 | L4
| 5 | Shree Sai Services | 4005000.00 | L5
| 6 | SHES Air and Automation Poona | 4114357.56 | L6
| 7 | VOLKS ENERGIE PVT LTD | 4150130.00 | L7
| 8 | Sagar Aircon Pvt Ltd | 4182420.00 | L8
| 9 | Techno Electricals | 4206591.00 | L9