## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 01-Dec-2020 12:47 PM Tender Title: Annual Periodical Maintenance Contract of Fire Fighting System, Fire Retardation System and Fire Suppression System i/c CMC of Fire Alarm and Detection System (FADS) at C.A.Porbandar for two years (2020-22) Tender ID: 2020_AAI_59069_1
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: "Annual Periodical Maintenance Contract of Fire Fighting system, Fire Retardation System & Fire Supression System i/c CMC of Fire Alarm & Detection System (FADS) at C. A. Porbandar for two years ( 2020-22)."
Contract No: AAI/POR/AGM(E-E)/ENIT-03/20-21 TENDER ID NO: 2020_AAI_59069_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of Water Supply and Fire fighting Systems inclusive of periodical checking/ testing, servicing, attending breakdown calls of all hydrant valves, hoze boxes, pipes, branch pipes, hose reels,hose pipes, NRVs, pipe lines, pressure switches, main pumps, jockey pumps, starter panels, air cushion tank, pressuregauges, sluice valves etc, monitoring, recording various parameters, preventive, breakdown maintenance by deploying minimum manpower per day as per SCC for carrying out the maintenance and operation work for all days (including sunday & holiday) as detailed in specifications, SCC under scope of work covered under this contract etc. complete as required | 24.00 | Month |  | 54555.00 | 1309320.00 | 28000.00 | 672000.00 | 45000.00 | 1080000.00 | 672000.00 | CENTRE TAP ENGINEERING
2.00 | Comprehensive Maintenance Contract (CMC) of Fire Alarm & Detection System (FADS) installed at NTB, MSSR,DVOR etc. inclusive of all comprehensive maintenance and checks as per manufacturer's recommendations including attending to faults / breakdowns and taking rectification actions, ensuring serviceability / satisfactory working condition of the system and associate maintenance work as per the detailed specifications, terms and condition and scope of work covered under this contract, job includes replacement of faulty parts etc. complete as per special condition of contract etc complete as required.
2.10 | For 1st Year | 12.00 | Month |  | 25000.00 | 300000.00 | 23000.00 | 276000.00 | 14500.00 | 174000.00 | 174000.00 | Manish Electricals
2.20 | For 2nd Year | 12.00 | Month |  | 20000.00 | 240000.00 | 25000.00 | 300000.00 | 15500.00 | 186000.00 | 186000.00 | Manish Electricals
3.00 | Comprehensive Maintenance Contract (CMC) of Fire Retardation & Fire Supression System installed at NTB, MSSR,DVOR, GAGAN,CNS Equipment Room, etc. inclusive of all comprehensive maintenance and checks as per manufacturer's recommendations including attending to faults / breakdowns and taking rectification actions, ensuring serviceability / satisfactory working condition of the system and associate maintenance work as per the detailed specifications, terms and condition and scope of work covered under this contract, job includes replacement of faulty parts, etc. complete as per special condition of contract etc complete as required.(FM -200 & NOVEC-1230 gas shall be provided by AAI)
3.10 | For 2nd Year | 12.00 | Month |  | 20000.00 | 240000.00 | 35000.00 | 420000.00 | 23000.00 | 276000.00 | 240000.00 | ABHISHEK ASSOCIATES
4.00 | Supply and topping up the clean agent FM-200 gas in existing fire extinguisher complete as required. Job includes transportaion charges (if any) from site to workshop & back etc complete as required.
4.10 | For 1st Year | 5.00 | Kg |  | 3200.00 | 16000.00 | 3000.00 | 15000.00 | 1800.00 | 9000.00 | 9000.00 | Manish Electricals
4.20 | For 2nd Year | 5.00 | Kg |  | 3200.00 | 16000.00 | 3000.00 | 15000.00 | 1960.00 | 9800.00 | 9800.00 | Manish Electricals
5.00 | Supply and topping up the clean agent Novac-1230 gas in existing cylinders of Fire Supression System installed at MSSR, ATC, DVOR & CNS equipment room complete as required. Job includes transportaion charges (if any) from site to workshop & back etc complete as required.
5.10 | For 2nd Year | 40.00 | Kg |  | 6000.00 | 240000.00 | 3500.00 | 140000.00 | 3250.00 | 130000.00 | 130000.00 | Manish Electricals
6.00 | Supplying of 30 m. long 20 mm (nominal internal) dia water hose Thermoplastic (textile reinforced) Type - 2 as per IS: 12585 First Aid Hose Reel duly fitted with 20 mm (nominal internal) dia gun metal globe valve and nozzle etc complete as required.
6.10 | For 1st Year | 2.00 | Set |  | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 8000.00 | CENTRE TAP ENGINEERING, Manish Electricals
6.20 | For 2nd Year | 2.00 | Set |  | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 4300.00 | 8600.00 | 8000.00 | CENTRE TAP ENGINEERING
7.00 | Painting of Fire Fighting Pipe line including all accessories complete with two coats of approved enamel paint over one coat of primer/red oxide all as required & as specified. | 150.00 | Sq. Mtr. |  | 50.00 | 7500.00 | 350.00 | 52500.00 | 160.00 | 24000.00 | 7500.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 2392820.00 |  | 1906500.00 |  | 1905400.00
Lowest Amount Quoted BY: Manish Electricals(1905400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Periodical Maintenance Contract of Fire Fighting System, Fire Retardation System and Fire Suppression System i/c CMC of Fire Alarm and Detection System (FADS) at C.A.Porbandar for two years (2020-22) Tender ID: 2020_AAI_59069_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1905400.00 | L1
| 2 | CENTRE TAP ENGINEERING | 1906500.00 | L2
| 3 | ABHISHEK ASSOCIATES | 2392820.00 | L3