## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 04-Jan-2021 01:09 PM Tender Title: ARMO of E and M Installations of Operational Area, Residential Colony, MSSR and GLF at R. B. Airport, Bhopal for the year 2020-22. Tender ID: 2020_AAI_59142_1
Tender Inviting Authority: AGM(E-E)-II, AAI, R.B. Airport, Bhopal
Name of Work: ARMO of E & M Installations of Operational Area, Residential Colony, MSSR & GLF at R.B. Airport, Bhopal for the year 2020-22.
Contract No: AAI/BPL/ENGG(E)/NIT-06/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KSHARMAELECTRICALS(GSTN-27ALMPS0630H1ZO) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | EFFECTIVE ENTERPRISES(GSTN-NA) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation of 320 KVA D.G.Set of Old Power House & MSSR and Maintenance of Electrical & Mechanical installations of Old Power House, ATC Building, Fire Station, MT Workshop, Nav-Aids, GLF Installations, Perimeter lighting, Outer Marker, MSSR, Street light, Pump House, Residential colony etc. by deploying adequate manpower as per special conditions of contract. | 24.00 | Month |  | 657120.80 | 15770899.20 | 666888.00 | 16005312.00 | 686786.00 | 16482864.00 | 708630.13 | 17007123.12 | 683400.00 | 16401600.00 | 667500.00 | 16020000.00 | 658000.00 | 15792000.00 | 687860.00 | 16508640.00 | 709072.00 | 17017728.00 | 665200.00 | 15964800.00 | 735000.00 | 17640000.00 | 850000.00 | 20400000.00 | 15770899.20 | KSHARMAELECTRICALS
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis.
2.01 | Skilled | 50.00 | Hours |  | 180.00 | 9000.00 | 707.00 | 35350.00 | 90.00 | 4500.00 | 88.00 | 4400.00 | 97.00 | 4850.00 | 90.00 | 4500.00 | 88.00 | 4400.00 | 90.00 | 4500.00 | 111.00 | 5550.00 | 100.00 | 5000.00 | 88.00 | 4400.00 | 80.00 | 4000.00 | 4000.00 | JAI ENTERPRISES
2.02 | Un-skilled | 50.00 | Hours |  | 140.00 | 7000.00 | 534.00 | 26700.00 | 68.00 | 3400.00 | 67.00 | 3350.00 | 73.00 | 3650.00 | 70.00 | 3500.00 | 66.00 | 3300.00 | 70.00 | 3500.00 | 85.00 | 4250.00 | 75.00 | 3750.00 | 67.00 | 3350.00 | 80.00 | 4000.00 | 3300.00 | NATIONAL SAFETY ENGINEERS
3.00 | Inspection, servicing and testing of 3 Pole, 800A, 11KV, HT Vaccum circuit Breakers (2 Nos. VCB ) (Make: Crompton Greaves) installed at Old power house at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation
3.01 | First Year | 1.00 | Job |  | 18000.00 | 18000.00 | 10000.00 | 10000.00 | 25000.00 | 25000.00 | 1680.00 | 1680.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 12000.00 | 12000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 12000.00 | 12000.00 | 1680.00 | Ascent Electrification Engineers
3.02 | Second Year | 1.00 | Job |  | 19000.00 | 19000.00 | 10000.00 | 10000.00 | 25000.00 | 25000.00 | 1680.00 | 1680.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 12500.00 | 12500.00 | 6500.00 | 6500.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 12000.00 | 12000.00 | 1680.00 | Ascent Electrification Engineers
4.00 | Calibration of 11 KV HT panel of relays of Crompton Greaves make (01 Over current relay + Earth fault relay, type-CGI 14 N) complete by digital relay testing set of the Airport power house. - 2 Nos.
4.01 | First Year | 1.00 | Job |  | 1200.00 | 1200.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 5500.00 | 5500.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 6000.00 | 6000.00 | 2500.00 | 2500.00 | 13000.00 | 13000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 1200.00 | KSHARMAELECTRICALS
4.02 | Second Year | 1.00 | Job |  | 1250.00 | 1250.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 6500.00 | 6500.00 | 35000.00 | 35000.00 | 20000.00 | 20000.00 | 6300.00 | 6300.00 | 2500.00 | 2500.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 1250.00 | KSHARMAELECTRICALS
5.00 | Dehydration and filtration of transformer oil at AAI site including testing the BDV before and after testing and submission of test reports etc. as required for following Transformers.
5.01 | 500 KVA Transformer (Make: Voltamp)
5.02 | First Year | 1.00 | Job |  | 8000.00 | 8000.00 | 7500.00 | 7500.00 | 11250.00 | 11250.00 | 6500.00 | 6500.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 5760.00 | 5760.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 5000.00 | Manish Electricals
5.03 | Second Year | 1.00 | Job |  | 9000.00 | 9000.00 | 7500.00 | 7500.00 | 11250.00 | 11250.00 | 6500.00 | 6500.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 8400.00 | 8400.00 | 6000.00 | 6000.00 | 6120.00 | 6120.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 6000.00 | JAI ENTERPRISES, Manish Electricals
5.04 | 630 KVA Transformer (Make: Voltamp)
5.05 | First Year | 1.00 | Job |  | 9000.00 | 9000.00 | 11250.00 | 11250.00 | 15000.00 | 15000.00 | 6500.00 | 6500.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 8500.00 | 8500.00 | 6000.00 | 6000.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 6000.00 | Manish Electricals
5.06 | Second Year | 1.00 | Job |  | 10000.00 | 10000.00 | 11250.00 | 11250.00 | 15000.00 | 15000.00 | 6500.00 | 6500.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 9000.00 | 9000.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 6500.00 | Ascent Electrification Engineers, Manish Electricals
6.00 | Supply and topping of transformer oil (Tested). | 100.00 | Litre |  | 135.00 | 13500.00 | 110.00 | 11000.00 | 180.00 | 18000.00 | 145.00 | 14500.00 | 120.00 | 12000.00 | 200.00 | 20000.00 | 170.00 | 17000.00 | 140.00 | 14000.00 | 75.60 | 7560.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 250.00 | 25000.00 | 7560.00 | EFFECTIVE ENTERPRISES
7.00 | Rewinding of the following Fans & Pumps with copper wire of required size including less for dismantled copper wire, alignment, bearing etc. complete as reqd.
7.01 | Ceiling Fans 48", 230V | 40.00 | Each |  | 400.00 | 16000.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 3000.00 | 120000.00 | 300.00 | 12000.00 | 400.00 | 16000.00 | 600.00 | 24000.00 | 400.00 | 16000.00 | 400.00 | 16000.00 | 250.00 | 10000.00 | 10000.00 | PAN POLAR ENGINEERS PVT. LTD., S. N ELECTRICALS, JAI ENTERPRISES
7.02 | Exhaust Fans/ Air cooler | 20.00 | Each |  | 450.00 | 9000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 3000.00 | 60000.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 5000.00 | PAN POLAR ENGINEERS PVT. LTD., S. N ELECTRICALS
7.03 | 1 HP - 2 HP Submersible Pump Motor | 2.00 | Each |  | 3000.00 | 6000.00 | 500.00 | 1000.00 | 1400.00 | 2800.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 3600.00 | 7200.00 | 5000.00 | 10000.00 | 1200.00 | 2400.00 | 4500.00 | 9000.00 | 1000.00 | ABHISHEK ASSOCIATES
7.04 | 3 HP - 5 HP Mono block Pump Motor | 2.00 | Each |  | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 1400.00 | 2800.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 5040.00 | 10080.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 2000.00 | ABHISHEK ASSOCIATES
7.05 | 7.5 HP - 10 HP Mono block Pump Motor | 2.00 | Each |  | 7500.00 | 15000.00 | 2500.00 | 5000.00 | 3250.00 | 6500.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 9520.00 | 19040.00 | 10000.00 | 20000.00 | 4000.00 | 8000.00 | 7000.00 | 14000.00 | 5000.00 | ABHISHEK ASSOCIATES
7.06 | 4 HP Submersible Pump Motor | 1.00 | Each |  | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 5040.00 | 5040.00 | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2000.00 | ABHISHEK ASSOCIATES
7.07 | 7.5 HP Submersible Pump Motor | 1.00 | Each |  | 8500.00 | 8500.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 6500.00 | 6500.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 9520.00 | 9520.00 | 10000.00 | 10000.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 2000.00 | ABHISHEK ASSOCIATES
8.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No.
8.01 | 50 mm Gl pipe pole of length not exceeding 3 Mt. | 472.00 | Each |  | 400.00 | 188800.00 | 125.00 | 59000.00 | 70.00 | 33040.00 | 210.00 | 99120.00 | 150.00 | 70800.00 | 500.00 | 236000.00 | 150.00 | 70800.00 | 125.00 | 59000.00 | 148.00 | 69856.00 | 200.00 | 94400.00 | 160.00 | 75520.00 | 80.00 | 37760.00 | 33040.00 | PAN POLAR ENGINEERS PVT. LTD.
8.02 | 75 mm Gl pipe pole of length not exceeding 3 Mt. | 141.00 | Each |  | 450.00 | 63450.00 | 150.00 | 21150.00 | 72.00 | 10152.00 | 210.00 | 29610.00 | 150.00 | 21150.00 | 500.00 | 70500.00 | 200.00 | 28200.00 | 170.00 | 23970.00 | 198.00 | 27918.00 | 250.00 | 35250.00 | 170.00 | 23970.00 | 90.00 | 12690.00 | 10152.00 | PAN POLAR ENGINEERS PVT. LTD.
8.03 | Tubular street light poles of length not exceeding 11 Mt. | 162.00 | Each |  | 1400.00 | 226800.00 | 400.00 | 64800.00 | 350.00 | 56700.00 | 400.00 | 64800.00 | 250.00 | 40500.00 | 500.00 | 81000.00 | 450.00 | 72900.00 | 350.00 | 56700.00 | 142.00 | 23004.00 | 300.00 | 48600.00 | 700.00 | 113400.00 | 130.00 | 21060.00 | 21060.00 | JAI ENTERPRISES
9.00 | Annual Servicing of CCR of 4KW to 30 KW capacity of NASU make by OEM.The scope of item includes inspection of all the parts of CCR, servicing, checking of wiring for healthiness etc. and submission of test reports etc, complete as required.
9.01 | First Year | 19.00 | Job |  | 6000.00 | 114000.00 | 5500.00 | 104500.00 | 7000.00 | 133000.00 | 2500.00 | 47500.00 | 5500.00 | 104500.00 | 25000.00 | 475000.00 | 6500.00 | 123500.00 | 1500.00 | 28500.00 | 5000.00 | 95000.00 | 2500.00 | 47500.00 | 5000.00 | 95000.00 | 1500.00 | 28500.00 | 28500.00 | JAI ENTERPRISES, Manish Electricals
9.02 | Second Year | 19.00 | Job |  | 7000.00 | 133000.00 | 5500.00 | 104500.00 | 7000.00 | 133000.00 | 3000.00 | 57000.00 | 6500.00 | 123500.00 | 25000.00 | 475000.00 | 7000.00 | 133000.00 | 1600.00 | 30400.00 | 5900.00 | 112100.00 | 2500.00 | 47500.00 | 5000.00 | 95000.00 | 6000.00 | 114000.00 | 30400.00 | Manish Electricals
10.00 | Spray Painting of sheet metal enclosures of electrical panels inside the power house, Pump room & ATC building & terminal building including cleaning the surface and one coats of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 50.00 | Square Meter |  | 175.00 | 8750.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 160.00 | 8000.00 | 12000.00 | 600000.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 240.00 | 12000.00 | 2500.00 | ABHISHEK ASSOCIATES
11.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pillars, distribution boards, electrical panel, frame etc. including cleaning the surface and one coat of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 20.00 | Square Meter |  | 175.00 | 3500.00 | 50.00 | 1000.00 | 125.00 | 2500.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 90.00 | 1800.00 | 160.00 | 3200.00 | 5000.00 | 100000.00 | 100.00 | 2000.00 | 130.00 | 2600.00 | 240.00 | 4800.00 | 1000.00 | ABHISHEK ASSOCIATES
12.00 | Supply of 200 W, 6.6 Amp Bi pin Halogen Lamp suitable for for AMA Make PAPI fitting (Make: OSRAM/Philips/Youyang or as recommended by OEM) | 100.00 | Nos. |  | 700.00 | 70000.00 | 340.00 | 34000.00 | 880.00 | 88000.00 | 442.75 | 44275.00 | 335.00 | 33500.00 | 3000.00 | 300000.00 | 750.00 | 75000.00 | 375.00 | 37500.00 | 1100.00 | 110000.00 | 500.00 | 50000.00 | 500.00 | 50000.00 | 500.00 | 50000.00 | 33500.00 | S. N ELECTRICALS
13.00 | Supply of 200 W, 6.6 Amp Lamp suitable for CAT 1, Threshold, SAPL & End light fittings (Make: OSRAM/Philips/Youyang or as recommended by OEM) | 200.00 | Nos. |  | 700.00 | 140000.00 | 670.00 | 134000.00 | 880.00 | 176000.00 | 770.00 | 154000.00 | 720.00 | 144000.00 | 3000.00 | 600000.00 | 750.00 | 150000.00 | 750.00 | 150000.00 | 950.00 | 190000.00 | 500.00 | 100000.00 | 600.00 | 120000.00 | 480.00 | 96000.00 | 96000.00 | JAI ENTERPRISES
14.00 | Supply of 150 W, 6.6 Amp Bi pin Halogen Lamp for Runway Edge light fitting (Make: Phillips /OSRAM/Youyang or as recommended by OEM) | 100.00 | Nos. |  | 700.00 | 70000.00 | 530.00 | 53000.00 | 880.00 | 88000.00 | 982.00 | 98200.00 | 375.00 | 37500.00 | 3000.00 | 300000.00 | 750.00 | 75000.00 | 725.00 | 72500.00 | 900.00 | 90000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 480.00 | 48000.00 | 37500.00 | S. N ELECTRICALS
15.00 | Supply of 105 W, 6.6 Amp Bi pin Halogen Lamp for inset fitting (Make: Osram /Philips/Youyang or as recommended by OEM) | 100.00 | Nos. |  | 600.00 | 60000.00 | 730.00 | 73000.00 | 1040.00 | 104000.00 | 1064.00 | 106400.00 | 785.00 | 78500.00 | 3000.00 | 300000.00 | 600.00 | 60000.00 | 900.00 | 90000.00 | 1300.00 | 130000.00 | 500.00 | 50000.00 | 600.00 | 60000.00 | 900.00 | 90000.00 | 50000.00 | M/s BHARAT ELECTRIC, NAGPUR
16.00 | Supply of Lamp Holder for 200 W, 6.6 Amp Bi pin Halogen Lamp suitable for AMA Make PAPI fitting. | 60.00 | Nos. |  | 400.00 | 24000.00 | 250.00 | 15000.00 | 520.00 | 31200.00 | 402.00 | 24120.00 | 200.00 | 12000.00 | 3000.00 | 180000.00 | 425.00 | 25500.00 | 210.00 | 12600.00 | 850.00 | 51000.00 | 500.00 | 30000.00 | 400.00 | 24000.00 | 600.00 | 36000.00 | 12000.00 | S. N ELECTRICALS
17.00 | Supply of driver for Retro-Fit conversion of existing LED type way light fitting. Each fitting is to be illuminated by a single driver & by using single isolating transformer of suitable size. The Driver should work on runway / taxiway current varying from 2.8 to 6.6 Amp complete etc. as required. | 50.00 | Nos. |  | 12000.00 | 600000.00 | 1250.00 | 62500.00 | 1200.00 | 60000.00 | 1250.00 | 62500.00 | 500.00 | 25000.00 | 3000.00 | 150000.00 | 12500.00 | 625000.00 | 2500.00 | 125000.00 | 6000.00 | 300000.00 | 5000.00 | 250000.00 | 1000.00 | 50000.00 | 4200.00 | 210000.00 | 25000.00 | S. N ELECTRICALS
18.00 | Supply of Neoprene type Inner Gasket for Runway inset fitting of YOUYANG Make | 30.00 | Nos. |  | 500.00 | 15000.00 | 225.00 | 6750.00 | 50.00 | 1500.00 | 300.00 | 9000.00 | 450.00 | 13500.00 | 1000.00 | 30000.00 | 150.00 | 4500.00 | 300.00 | 9000.00 | 420.00 | 12600.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 275.00 | 8250.00 | 1500.00 | PAN POLAR ENGINEERS PVT. LTD.
19.00 | Supply of Neoprene type Outer Gasket for Runway inset fitting of YOUYANG Make | 30.00 | Nos. |  | 800.00 | 24000.00 | 225.00 | 6750.00 | 50.00 | 1500.00 | 300.00 | 9000.00 | 450.00 | 13500.00 | 1000.00 | 30000.00 | 150.00 | 4500.00 | 350.00 | 10500.00 | 420.00 | 12600.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 275.00 | 8250.00 | 1500.00 | PAN POLAR ENGINEERS PVT. LTD.
20.00 | Supply of 200 Watts, 6.6/6.6 Amps 5 kV grade 50 Hz Isolating transformers, series type encapsulated in neoprene tube rubber with primary and secondary leads as specified in particular specifications. | 100.00 | Nos. |  | 5200.00 | 520000.00 | 3495.00 | 349500.00 | 520.00 | 52000.00 | 544.00 | 54400.00 | 3950.00 | 395000.00 | 200.00 | 20000.00 | 5500.00 | 550000.00 | 4000.00 | 400000.00 | 6300.00 | 630000.00 | 3000.00 | 300000.00 | 800.00 | 80000.00 | 4500.00 | 450000.00 | 20000.00 | R. D. ENGINEERS
21.00 | Supply of 100 Watts, 6.6/6.6 Amps 5 kV grade 50 Hz Isolating transformers, series type encapsulated in neoprene tube rubber with primary and secondary leads as specified in particular specifications. | 10.00 | Nos. |  | 4800.00 | 48000.00 | 3495.00 | 34950.00 | 4800.00 | 48000.00 | 544.00 | 5440.00 | 3950.00 | 39500.00 | 200.00 | 2000.00 | 5000.00 | 50000.00 | 3000.00 | 30000.00 | 6000.00 | 60000.00 | 2500.00 | 25000.00 | 800.00 | 8000.00 | 4000.00 | 40000.00 | 2000.00 | R. D. ENGINEERS
22.00 | Supply of 6.0 Sq.mm Plug and Receptacle of Type-I Class 'B' connector and suitable for field attachment with 5 kV grade PVC insulated, PVC sheathed single core Runway copper conductor cable complete as required. | 150.00 | Pair |  | 600.00 | 90000.00 | 295.00 | 44250.00 | 960.00 | 144000.00 | 1250.00 | 187500.00 | 350.00 | 52500.00 | 500.00 | 75000.00 | 625.00 | 93750.00 | 350.00 | 52500.00 | 625.00 | 93750.00 | 400.00 | 60000.00 | 80.00 | 12000.00 | 300.00 | 45000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Supply of 16.0 Sq.mm Plug and Receptacle of Type-I Class 'B' connector and suitable for field attachment with 5 kV grade PVC insulated, PVC sheathed single core Runway copper conductor cable complete as required. | 100.00 | Pair |  | 900.00 | 90000.00 | 295.00 | 29500.00 | 960.00 | 96000.00 | 1250.00 | 125000.00 | 350.00 | 35000.00 | 1000.00 | 100000.00 | 950.00 | 95000.00 | 380.00 | 38000.00 | 640.00 | 64000.00 | 500.00 | 50000.00 | 80.00 | 8000.00 | 300.00 | 30000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
24.00 | Supply of driver for Retro-Fit conversion of existing signage board. Each board having length from 800mm up to 3000mm should be illuminated by a single driver & by using single isolating transformer of suitable size. The entire sign board should have inbuilt dual circuit to work on main & Stand by Circuits. The Driver should work on runway current on runway current varying from 2.8 to 6.6 Amp & should have uniform brightness across the entire range of current variation from 2.8 Amp to 6.6 Amp. The Driver should be able to drive LED strips of 0.5 Watts Osram LED's assembled on aluminium PCB of size 700mm X 200mm and having 11 LED's per PCB for boards. From 5 strips to 20 strips | 50.00 | Nos. |  | 12000.00 | 600000.00 | 3590.00 | 179500.00 | 3600.00 | 180000.00 | 2500.00 | 125000.00 | 3400.00 | 170000.00 | 1000.00 | 50000.00 | 12500.00 | 625000.00 | 8000.00 | 400000.00 | 7250.00 | 362500.00 | 6594.00 | 329700.00 | 500.00 | 25000.00 | 4000.00 | 200000.00 | 25000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
25.00 | Supply of Red filter for Runway End light fittings of YOUYANG make | 10.00 | Nos. |  | 2000.00 | 20000.00 | 2250.00 | 22500.00 | 3600.00 | 36000.00 | 450.00 | 4500.00 | 2200.00 | 22000.00 | 1000.00 | 10000.00 | 250.00 | 2500.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 5000.00 | 50000.00 | 1500.00 | 15000.00 | 2100.00 | 21000.00 | 2500.00 | NATIONAL SAFETY ENGINEERS
26.00 | Supply of 360° Outer Clear Lens (Dome) for Runway Edge Light Fitting (YOUYANG Make). | 100.00 | Nos. |  | 1200.00 | 120000.00 | 1250.00 | 125000.00 | 5200.00 | 520000.00 | 450.00 | 45000.00 | 2500.00 | 250000.00 | 1000.00 | 100000.00 | 500.00 | 50000.00 | 3000.00 | 300000.00 | 3200.00 | 320000.00 | 1000.00 | 100000.00 | 500.00 | 50000.00 | 2100.00 | 210000.00 | 45000.00 | Ascent Electrification Engineers
27.00 | Supply of Breakable couplings for Signage Board. | 40.00 | Nos. |  | 1600.00 | 64000.00 | 395.00 | 15800.00 | 2800.00 | 112000.00 | 880.00 | 35200.00 | 300.00 | 12000.00 | 1000.00 | 40000.00 | 175.00 | 7000.00 | 500.00 | 20000.00 | 800.00 | 32000.00 | 500.00 | 20000.00 | 91.50 | 3660.00 | 600.00 | 24000.00 | 3660.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | Supply of heat shrinkable jointing kit of 6 sq. mm size, single core copper conductor, 5 KV grade for Airfield lighting cable complete etc. as required. | 40.00 | Nos. |  | 3000.00 | 120000.00 | 750.00 | 30000.00 | 880.00 | 35200.00 | 2000.00 | 80000.00 | 750.00 | 30000.00 | 10000.00 | 400000.00 | 875.00 | 35000.00 | 460.00 | 18400.00 | 1100.00 | 44000.00 | 500.00 | 20000.00 | 1400.00 | 56000.00 | 800.00 | 32000.00 | 18400.00 | Manish Electricals
29.00 | Supply of 5 KV grade 6 Sq.mm size unarmered single core airfield lighting cable with Stranded Annealed Plain Copper Conductor, Underground, Unscreened, Unarmored, PVC Insulated & PVC Sheathed completed etc. as required. | 1000.00 | Meter |  | 95.00 | 95000.00 | 105.00 | 105000.00 | 75.00 | 75000.00 | 55.00 | 55000.00 | 85.00 | 85000.00 | 500.00 | 500000.00 | 100.00 | 100000.00 | 70.00 | 70000.00 | 48.00 | 48000.00 | 500.00 | 500000.00 | 49.50 | 49500.00 | 60.00 | 60000.00 | 48000.00 | EFFECTIVE ENTERPRISES
30.00 | Supply of PAPI Check Stick Base Plate complete with suitable size of nut bolts and other accessories complete etc. as required. | 4.00 | Nos. |  | 2000.00 | 8000.00 | 1250.00 | 5000.00 | 3600.00 | 14400.00 | 3880.00 | 15520.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 1700.00 | 6800.00 | 600.00 | 2400.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 300.00 | 1200.00 | 1200.00 | JAI ENTERPRISES
31.00 | Supply of 6.0 Sq.mm Plug and Receptacle of Type-I Class 'B' connector and suitable field attachment with 5 KV grade XLP insulated PE Sheathed single core screened copper conductor cable as required. | 60.00 | Each |  | 600.00 | 36000.00 | 295.00 | 17700.00 | 960.00 | 57600.00 | 1250.00 | 75000.00 | 350.00 | 21000.00 | 500.00 | 30000.00 | 630.00 | 37800.00 | 1700.00 | 102000.00 | 625.00 | 37500.00 | 500.00 | 30000.00 | 90.00 | 5400.00 | 80.00 | 4800.00 | 4800.00 | JAI ENTERPRISES
32.00 | Supply of 16.0 Sq.mm Plug and Receptacle of Type-I Class 'B' connector and suitable field attachment with 5 KV grade XLP insulated PE Sheathed single core screened copper conductor cable as required. | 20.00 | Each |  | 900.00 | 18000.00 | 295.00 | 5900.00 | 960.00 | 19200.00 | 1250.00 | 25000.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 950.00 | 19000.00 | 1700.00 | 34000.00 | 640.00 | 12800.00 | 700.00 | 14000.00 | 90.00 | 1800.00 | 80.00 | 1600.00 | 1600.00 | JAI ENTERPRISES
33.00 | CPWD Schedule of rates DSR-2018 (Electrical) items of Rs. 1,00,000/- - Chapter 01 to 10 & 14 The rate shall be quoted for this item as per examples given below- • Please refer clause 43 of GTT page No. GTT - 10 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2018 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR- 2018 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR- 2018 (E & M), then bidder has to quote 0.90 in the rate column. | 100000.00 | Percentage |  | .90 | 90000.00 | .70 | 70000.00 | .90 | 90000.00 | .85 | 85000.00 | .83 | 83000.00 | 1.00 | 100000.00 | .85 | 85000.00 | .75 | 75000.00 | 1.50 | 150000.00 | .80 | 80000.00 | .85 | 85000.00 | 1.00 | 100000.00 | 70000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 19604149.20 |  | 17948912.00 |  | 19091606.00 |  | 18841818.12 |  | 18561950.00 |  | 21075500.00 |  | 19133900.00 |  | 18922710.00 |  | 21011876.00 |  | 18552000.00 |  | 19000000.00 |  | 22557910.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(17948912.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of Operational Area, Residential Colony, MSSR and GLF at R. B. Airport, Bhopal for the year 2020-22. Tender ID: 2020_AAI_59142_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 17948912.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 18552000.00 | L2
| 3 | S. N ELECTRICALS | 18561950.00 | L3
| 4 | Ascent Electrification Engineers | 18841818.12 | L4
| 5 | Manish Electricals | 18922710.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 19000000.00 | L6
| 7 | PAN POLAR ENGINEERS PVT. LTD. | 19091606.00 | L7
| 8 | NATIONAL SAFETY ENGINEERS | 19133900.00 | L8
| 9 | KSHARMAELECTRICALS | 19604149.20 | L9
| 10 | EFFECTIVE ENTERPRISES | 21011876.00 | L10
| 11 | R. D. ENGINEERS | 21075500.00 | L11
| 12 | JAI ENTERPRISES | 22557910.00 | L12