## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 06-Nov-2020 04:58 PM Tender Title: Job Contract for EnM installations at Mysore Airport Tender ID: 2020_AAI_59350_1
Tender Inviting Authority: Airport Authority of India, Mysore Airport
Name of Work: Job Contract for Operation and Maintenance of E&M Installations at Mysore Airport for the year 2020-21 & 2021-22 and Supply of Electrical Spares for Operational requirement.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | SHRI SAI ELECTRICAL(GSTN-24ACRFS4803Q2ZE) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | EA Facilities services Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:1 Job contract: Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of 11 KV indoor substation, Aerodrome Ground Lighting Facilities (GLF), HT, LT panels, Transformers, Switch rooms, UPS, DG Sets, Pumps, Departure Conveyors, HVAC, Perimeter lightings, supply to DVOR, STP and residential colony in three shifts on all working days as per specification & condition attached, attending to complaints/ faults/ breakdowns, ensuring serviceability and satisfactory working condition of the system, performing preventive maintenance, maintenance of records/ documentation etc. as per the detailed specifications, terms & conditions covered under this contract, on all days including Sundays and holidays and also as & when required basis etc. as required.(Highly Skilled(Sr. Supervisor)-1; Highly Skilled (Asst. office)- 1; Skilled-8; Semi-skilled-2; Un-Skilled-4. The above mentioned minimum stregth of labour is exclusive of releiver.Releiver as per site requirement shall be considered in addition to the minimum strength while quoting rate for this item.). | 24.00 | Month | 8541.00 | 327777.00 | 7866648.00 | 353753.00 | 8490072.00 | 339489.00 | 8147736.00 | 320000.00 | 7680000.00 | 373000.00 | 8952000.00 | 342753.00 | 8226072.00 | 7680000.00 | KALKI ELECTRICALS
2.00 | SH:2 - SUPPLY OF SPARES: Supply of following sizes ISI marked PVC insulated, 1.1 KV grade, XLPE alluminium armoured cable: 4 X 25 Sqmm | 100.00 | Mtr | 995468.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 159.00 | 15900.00 | 125.00 | 12500.00 | 139.00 | 13900.00 | 140.00 | 14000.00 | 11000.00 | GLOBAL TECH SERVICES
3.00 | 4 X 16 Sqmm | 100.00 | Mtr | 995468.00 | 85.00 | 8500.00 | 70.00 | 7000.00 | 119.00 | 11900.00 | 90.00 | 9000.00 | 102.00 | 10200.00 | 100.00 | 10000.00 | 7000.00 | SHRI SAI ELECTRICAL
4.00 | 4 X 10 Sqm | 100.00 | Mtr | 995468.00 | 50.00 | 5000.00 | 55.00 | 5500.00 | 129.00 | 12900.00 | 80.00 | 8000.00 | 90.00 | 9000.00 | 90.00 | 9000.00 | 5000.00 | GLOBAL TECH SERVICES
5.00 | Supplying of following sizes ISI marked PVC insulated, single core, FR grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required (Each coil having 90mtr length): 1.5 Sqmm | 18.00 | Coil | 995468.00 | 1000.00 | 18000.00 | 1100.00 | 19800.00 | 999.00 | 17982.00 | 900.00 | 16200.00 | 1133.00 | 20394.00 | 1400.00 | 25200.00 | 16200.00 | KALKI ELECTRICALS
6.00 | 2.5 Sqmm | 10.00 | Coil | 995468.00 | 1100.00 | 11000.00 | 2050.00 | 20500.00 | 1749.00 | 17490.00 | 1600.00 | 16000.00 | 1840.00 | 18400.00 | 2250.00 | 22500.00 | 11000.00 | GLOBAL TECH SERVICES
7.00 | 4 Sqmm | 4.00 | Coil | 995468.00 | 2200.00 | 8800.00 | 3200.00 | 12800.00 | 2149.00 | 8596.00 | 2300.00 | 9200.00 | 2680.00 | 10720.00 | 3350.00 | 13400.00 | 8596.00 | CHENNAI ENGINEERING SERVICES
8.00 | 6 Sqmm | 4.00 | Coil | 995429.00 | 3200.00 | 12800.00 | 4200.00 | 16800.00 | 6699.00 | 26796.00 | 3600.00 | 14400.00 | 3979.00 | 15916.00 | 5000.00 | 20000.00 | 12800.00 | GLOBAL TECH SERVICES
9.00 | Supply of following sizes ISI marked PVC insulated, multi core, multi strands copper cable: 3 Core X 6 Sqmm flat cable | 100.00 | Mtr | 995429.00 | 120.00 | 12000.00 | 190.00 | 19000.00 | 129.00 | 12900.00 | 105.00 | 10500.00 | 194.00 | 19400.00 | 175.00 | 17500.00 | 10500.00 | KALKI ELECTRICALS
10.00 | 3 Core X 1.5 Sqmm | 50.00 | Mtr | 995429.00 | 90.00 | 4500.00 | 55.00 | 2750.00 | 49.00 | 2450.00 | 50.00 | 2500.00 | 45.00 | 2250.00 | 55.00 | 2750.00 | 2250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | MCB/MCCB/RCCB: Supply of 6A ratings, single pole "C" curve, 10 KA breaking capacity | 20.00 | Nos | 995468.00 | 220.00 | 4400.00 | 130.00 | 2600.00 | 149.00 | 2980.00 | 180.00 | 3600.00 | 138.00 | 2760.00 | 170.00 | 3400.00 | 2600.00 | SHRI SAI ELECTRICAL
12.00 | Supply of 10A ratings, single pole "C" curve, 10 KA breaking capacity | 10.00 | Nos | 995468.00 | 252.00 | 2520.00 | 130.00 | 1300.00 | 149.00 | 1490.00 | 180.00 | 1800.00 | 138.00 | 1380.00 | 170.00 | 1700.00 | 1300.00 | SHRI SAI ELECTRICAL
13.00 | Supply of 16A ratings, single pole "C" curve, 10 KA breaking capacity | 15.00 | Nos | 995429.00 | 300.00 | 4500.00 | 130.00 | 1950.00 | 149.00 | 2235.00 | 180.00 | 2700.00 | 138.00 | 2070.00 | 170.00 | 2550.00 | 1950.00 | SHRI SAI ELECTRICAL
14.00 | Supply of 25A ratings, single pole "C" curve, 10 KA breaking capacity | 10.00 | Nos | 995429.00 | 320.00 | 3200.00 | 130.00 | 1300.00 | 149.00 | 1490.00 | 180.00 | 1800.00 | 138.00 | 1380.00 | 170.00 | 1700.00 | 1300.00 | SHRI SAI ELECTRICAL
15.00 | Supply of 32A ratings, single pole with neutral "C" curve, 10 KA breaking capacity MCB | 3.00 | Nos | 995429.00 | 400.00 | 1200.00 | 130.00 | 390.00 | 149.00 | 447.00 | 180.00 | 540.00 | 138.00 | 414.00 | 170.00 | 510.00 | 390.00 | SHRI SAI ELECTRICAL
16.00 | Supply of 32A /40A ratings, Four pole "C" curve, 10 KA breaking capacity MCB | 5.00 | Nos | 995468.00 | 1300.00 | 6500.00 | 1250.00 | 6250.00 | 1529.00 | 7645.00 | 1000.00 | 5000.00 | 1104.00 | 5520.00 | 1600.00 | 8000.00 | 5000.00 | KALKI ELECTRICALS
17.00 | Supply of 63A ratings, Four pole "C" curve, 10 KA breaking capacity MCB | 5.00 | Nos | 995468.00 | 1400.00 | 7000.00 | 1250.00 | 6250.00 | 1529.00 | 7645.00 | 1100.00 | 5500.00 | 1369.00 | 6845.00 | 1650.00 | 8250.00 | 5500.00 | KALKI ELECTRICALS
18.00 | Supply of 40A rating, 30mA Tripping current double pole RCCB | 10.00 | Nos | 995429.00 | 2800.00 | 28000.00 | 1650.00 | 16500.00 | 2929.00 | 29290.00 | 1000.00 | 10000.00 | 2151.00 | 21510.00 | 2300.00 | 23000.00 | 10000.00 | KALKI ELECTRICALS
19.00 | Supply of 63A rating, 30mA Tripping current double pole RCCB | 5.00 | Nos | 995429.00 | 3000.00 | 15000.00 | 2450.00 | 12250.00 | 3419.00 | 17095.00 | 1100.00 | 5500.00 | 2277.00 | 11385.00 | 2722.00 | 13610.00 | 5500.00 | KALKI ELECTRICALS
20.00 | Supply of 63A rating, TPN (4pole) MCCB | 5.00 | Nos | 995429.00 | 2000.00 | 10000.00 | 1250.00 | 6250.00 | 5919.00 | 29595.00 | 1800.00 | 9000.00 | 3680.00 | 18400.00 | 8000.00 | 40000.00 | 6250.00 | SHRI SAI ELECTRICAL
21.00 | Supply of 100A rating, TPN (4pole) MCCB | 5.00 | Nos | 995429.00 | 4000.00 | 20000.00 | 4800.00 | 24000.00 | 6449.00 | 32245.00 | 3000.00 | 15000.00 | 4313.00 | 21565.00 | 8500.00 | 42500.00 | 15000.00 | KALKI ELECTRICALS
22.00 | Supply of one way Switches and Sockets: 5/6 A One way regular piano type switches make Anchor roma (model: 21011) or equivalent. | 20.00 | Nos | 995429.00 | 35.00 | 700.00 | 40.00 | 800.00 | 49.00 | 980.00 | 36.00 | 720.00 | 32.00 | 640.00 | 60.00 | 1200.00 | 640.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
23.00 | 5/6 A, 3/6 pin socket make anchor roma model:30373 or equivalent | 10.00 | Nos | 995429.00 | 35.00 | 350.00 | 90.00 | 900.00 | 79.00 | 790.00 | 55.00 | 550.00 | 81.00 | 810.00 | 100.00 | 1000.00 | 350.00 | GLOBAL TECH SERVICES
24.00 | 15/16 A one way regular piano type switches make anchor roma (Model: 21066 or equivalent) | 10.00 | Nos | 995429.00 | 50.00 | 500.00 | 70.00 | 700.00 | 79.00 | 790.00 | 90.00 | 900.00 | 79.00 | 790.00 | 90.00 | 900.00 | 500.00 | GLOBAL TECH SERVICES
25.00 | 15/16A Socket make anchor roma model:30828/34374 or equivalent | 10.00 | Nos | 995429.00 | 50.00 | 500.00 | 120.00 | 1200.00 | 139.00 | 1390.00 | 150.00 | 1500.00 | 138.00 | 1380.00 | 150.00 | 1500.00 | 500.00 | GLOBAL TECH SERVICES
26.00 | Electronic type Fan regulator suitable for modular switch plate | 5.00 | Nos | 995429.00 | 50.00 | 250.00 | 350.00 | 1750.00 | 279.00 | 1395.00 | 250.00 | 1250.00 | 196.00 | 980.00 | 300.00 | 1500.00 | 250.00 | GLOBAL TECH SERVICES
27.00 | Supply of DOL starter suitable for 7.5 HP, 5.5 KW, Coil voltage 230V with enclosure consisting of stop/start push button | 2.00 | Nos | 995429.00 | 1500.00 | 3000.00 | 9000.00 | 18000.00 | 3309.00 | 6618.00 | 4100.00 | 8200.00 | 1668.00 | 3336.00 | 5000.00 | 10000.00 | 3000.00 | GLOBAL TECH SERVICES
28.00 | Supply of Analog timers, Quartz daily 240VAC base/Din mounting | 5.00 | Nos | 995429.00 | 120.00 | 600.00 | 2100.00 | 10500.00 | 3709.00 | 18545.00 | 1200.00 | 6000.00 | 3105.00 | 15525.00 | 4500.00 | 22500.00 | 600.00 | GLOBAL TECH SERVICES
29.00 | Supply of catridge Fuse 32 A | 30.00 | Nos | 995429.00 | 300.00 | 9000.00 | 90.00 | 2700.00 | 119.00 | 3570.00 | 120.00 | 3600.00 | 138.00 | 4140.00 | 200.00 | 6000.00 | 2700.00 | SHRI SAI ELECTRICAL
30.00 | Supply of LED indicating lamps operating with 230VAC: Red | 50.00 | Nos | 995429.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 119.00 | 5950.00 | 150.00 | 7500.00 | 299.00 | 14950.00 | 200.00 | 10000.00 | 1500.00 | GLOBAL TECH SERVICES, SHRI SAI ELECTRICAL
31.00 | Blue | 50.00 | Nos | 995429.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 219.00 | 10950.00 | 150.00 | 7500.00 | 573.00 | 28650.00 | 300.00 | 15000.00 | 1500.00 | GLOBAL TECH SERVICES, SHRI SAI ELECTRICAL
32.00 | Yellow | 60.00 | Nos | 995429.00 | 30.00 | 1800.00 | 30.00 | 1800.00 | 119.00 | 7140.00 | 150.00 | 9000.00 | 299.00 | 17940.00 | 200.00 | 12000.00 | 1800.00 | GLOBAL TECH SERVICES, SHRI SAI ELECTRICAL
33.00 | Green | 10.00 | Nos | 995429.00 | 30.00 | 300.00 | 30.00 | 300.00 | 119.00 | 1190.00 | 150.00 | 1500.00 | 299.00 | 2990.00 | 200.00 | 2000.00 | 300.00 | GLOBAL TECH SERVICES, SHRI SAI ELECTRICAL
34.00 | Supply of NO elements Teknic, IEC/EN 60947-5-1 | 10.00 | Nos | 995429.00 | 60.00 | 600.00 | 250.00 | 2500.00 | 69.00 | 690.00 | 100.00 | 1000.00 | 52.00 | 520.00 | 250.00 | 2500.00 | 520.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
35.00 | Supply of NC elements Teknic, IEC/EN 60947-5-1 | 10.00 | Nos | 995429.00 | 60.00 | 600.00 | 250.00 | 2500.00 | 69.00 | 690.00 | 100.00 | 1000.00 | 52.00 | 520.00 | 250.00 | 2500.00 | 520.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
36.00 | Supply of HRC fuses: 160A, 500VAC | 2.00 | Nos | 995429.00 | 300.00 | 600.00 | 950.00 | 1900.00 | 392.00 | 784.00 | 600.00 | 1200.00 | 414.00 | 828.00 | 600.00 | 1200.00 | 600.00 | GLOBAL TECH SERVICES
37.00 | 63A, 500VAC | 4.00 | Nos | 995429.00 | 250.00 | 1000.00 | 850.00 | 3400.00 | 249.00 | 996.00 | 200.00 | 800.00 | 299.00 | 1196.00 | 200.00 | 800.00 | 800.00 | EA Facilities services Pvt Ltd, KALKI ELECTRICALS
38.00 | Supply of Energy Meter: Supply of Single phase 5-40A Digital Energy meter (KWH) with box suitable for 230V AC supply. | 10.00 | Nos | 995429.00 | 2000.00 | 20000.00 | 3100.00 | 31000.00 | 2329.00 | 23290.00 | 1600.00 | 16000.00 | 1438.00 | 14380.00 | 3500.00 | 35000.00 | 14380.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
39.00 | Supply of 3 phase, 4 wire KWH dir base mtg 240V, 10-60A sleek digital energy meter (KWH) with the box | 3.00 | Nos | 995429.00 | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 7479.00 | 22437.00 | 6000.00 | 18000.00 | 3335.00 | 10005.00 | 6000.00 | 18000.00 | 7500.00 | GLOBAL TECH SERVICES, SHRI SAI ELECTRICAL
40.00 | Supply of Contactors: 18A, 3/4pole, 230V coil voltage, L&T (module: MNX18) or Equivalent. | 3.00 | Nos | 995429.00 | 750.00 | 2250.00 | 1200.00 | 3600.00 | 1039.00 | 3117.00 | 1200.00 | 3600.00 | 713.00 | 2139.00 | 1200.00 | 3600.00 | 2139.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
41.00 | 25A, 3/4 pole, 230V coil voltage, L&T (model: MNX18) or Equivalent | 3.00 | Nos | 995429.00 | 800.00 | 2400.00 | 1600.00 | 4800.00 | 1239.00 | 3717.00 | 1500.00 | 4500.00 | 851.00 | 2553.00 | 3000.00 | 9000.00 | 2400.00 | GLOBAL TECH SERVICES
42.00 | 20A, 4 pole, 230V coil voltage, Make Siemens (Model: 3TF31) or Equivalent. | 2.00 | Nos | 995429.00 | 600.00 | 1200.00 | 1400.00 | 2800.00 | 479.00 | 958.00 | 1500.00 | 3000.00 | 713.00 | 1426.00 | 3500.00 | 7000.00 | 958.00 | CHENNAI ENGINEERING SERVICES
43.00 | 16A, 4 pole, 230V coil voltage | 2.00 | Nos | 995429.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 479.00 | 958.00 | 400.00 | 800.00 | 713.00 | 1426.00 | 1500.00 | 3000.00 | 800.00 | KALKI ELECTRICALS
44.00 | Supply of Ceiling Fan make oriental or equivalent. | 5.00 | Nos | 995429.00 | 1500.00 | 7500.00 | 1400.00 | 7000.00 | 1999.00 | 9995.00 | 1800.00 | 9000.00 | 1725.00 | 8625.00 | 1600.00 | 8000.00 | 7000.00 | SHRI SAI ELECTRICAL
| Total in Figures |  |  |  |  | 8125218.00 |  | 8795912.00 |  | 8533747.00 |  | 7945860.00 |  | 9301158.00 |  | 8679842.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(7945860.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job Contract for EnM installations at Mysore Airport Tender ID: 2020_AAI_59350_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 7945860.00 | L1
| 2 | GLOBAL TECH SERVICES | 8125218.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 8533747.00 | L3
| 4 | EA Facilities services Pvt Ltd | 8679842.00 | L4
| 5 | SHRI SAI ELECTRICAL | 8795912.00 | L5
| 6 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 9301158.00 | L6