## BoQ1
Government eProcurement System Created By: B. NAGESWARA RAO Created Date/Time: 06-Jul-2022 03:02 PM Tender Title: Linear expansion of existing integrated Terminal Building at Visakhapatnam Airport SH Provision of 01 No Makeup Carousel for Departure BHS system and Modification of existing Arrival Carousel 1 and 3 Tender ID: 2020_AAI_59364_1
Tender Inviting Authority: Asst.G.M. (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Linear expansion of existing integrated Terminal Building at Visakhapatnam Airport. SH : Provision of 01 No. Make-up Carousel for Departure BHS system and Modification of existing Arrival Carousel 1 & 3.
Contract No: 2020_AAI_59364
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Three D Intregrated Solution LTD.(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Manufacturing, supply of following equipments/components of make-up baggage carousel, Endless race track type flat make up carousel of loop length 49 m measured along with centre line, shape as per the attached drawing, useful width 1000 mm (minimum), speed 24-30 meters per minute (approx), complete with flat overlapping slats of 05 mm thick (minimum) antistatic & flame retardant PVC/PU/rubber of high quality made, slat carrier made of 3 mm thick (minimum) MS painted or die cast aluminium, chain consists of robust cast aluminium links, frame work, friction drive unit etc complete as required. | 49.00 | Mtrs. |  | 116881.00 | 5727169.00 | 5727169.00 | Three D Intregrated Solution LTD.
2.00 | Custom duty (prevailing rate) including social welfare cess/ CVD (Countervailing Duty) excluding IGST on applicable amount (CIF Amount) for item no.1 (For imported items only, for indigenous items 0.00 to be quoted). | 1.00 | Job |  | 554462.00 | 554462.00 | 554462.00 | Three D Intregrated Solution LTD.
3.00 | Modification of existing deparure BHS control panel incorporating switch gears, protection devices, i/o modules with sensor including other components and interfacing & integration with existing departure conveyor system & including supply of power and control cables complete as required etc. a. Design, Development of PLC program to make it compatible with the proposed modified system. b. Design Development of SCADA software to make it compatible with the proposed modified system. | 1.00 | Job |  | 349941.00 | 349941.00 | 349941.00 | Three D Intregrated Solution LTD.
4.00 | Assembling, positioning, Installation of item 1 with all accessories etc. at the Airport site including modified panel along with necessary out going cables / Wire, Emergency stop push buttons,indications, annunciation etc. as required. Testing and commissioning of the Make-up Carousel system along with existing departure conveyor lines etc. complete as required. | 1.00 | Job |  | 229993.00 | 229993.00 | 229993.00 | Three D Intregrated Solution LTD.
5.00 | Freight ,insurance and transportation from country of origin to India Sea port / Airport including handling charges for imported Item no. 1 | 1.00 | Job |  | 229088.00 | 229088.00 | 229088.00 | Three D Intregrated Solution LTD.
6.00 | Inland Transportation ,insurance till AAI, Vizag airport including handling charges. | 1.00 | Job |  | 114544.00 | 114544.00 | 114544.00 | Three D Intregrated Solution LTD.
7.00 | Supply of Queuing / Start-Stop Conveyors including drive unit for Arrival-1 & Arrival-3 with Stainless Steel Side Guarding | 2.00 | Nos. |  | 273411.00 | 546822.00 | 546822.00 | Three D Intregrated Solution LTD.
8.00 | Custom duty (prevailing rate) including social welfare cess/ CVD (Countervailing Duty) excluding IGST on CIF Amount for above item no.7 (For imported items only, for indigenous items 0.00 to be quoted). | 1.00 | Job |  | 0.00 | 0.00 | 0.00 | Three D Intregrated Solution LTD.
9.00 | Supply of Transport Conveyor (Straight/inclined/declined) inclusive of drive unit for each section as required for arrival-1 & arrival-3 with Stainless Steel Gurading ( 2 sections of 3.5 meter each) | 7.00 | Mtrs. |  | 118509.00 | 829563.00 | 829563.00 | Three D Intregrated Solution LTD.
10.00 | Custom duty (prevailing rate) including social welfare cess/ CVD (Countervailing Duty) excluding IGST on CIF Amount for above item no.9 (For imported items only, for indigenous items 0.00 to be quoted). | 1.00 | Job |  | 0.00 | 0.00 | 0.00 | Three D Intregrated Solution LTD.
11.00 | Supply of 90 degree Belt Curve including drive unit with Stainless Steel Guarding | 2.00 | Nos. |  | 847362.00 | 1694724.00 | 1694724.00 | Three D Intregrated Solution LTD.
12.00 | Custom duty (prevailing rate) including social welfare cess/ CVD (Countervailing Duty) excluding IGST on CIF Amount for above item no.11 (For imported items only, for indigenous items 0.00 to be quoted). | 1.00 | Job |  | 0.00 | 0.00 | 0.00 | Three D Intregrated Solution LTD.
13.00 | Modification of existing control panel of arrival-1 & arrival-3 BHS incorporating switch gears, protection devices, PLC, i/o modules, 4.3 inch HMI, sensors including other components and interfacing & integration with existing arrival conveyor system including supply of power and control cables complete as required including Design, Development of PLC program to make it compatible with the proposed modified system. | 2.00 | Job |  | 993552.00 | 1987104.00 | 1987104.00 | Three D Intregrated Solution LTD.
14.00 | Assembling, positioning, Installation of item 6 - 9 with all accessories etc. and required modification in the existing conveyor system at the Airport site including modified panel along with necessary out going cables / Wire, Emergency stop push buttons, indications, annunciation etc. complete as required. Testing and commissioning of the complete BHS system of Arrival-1 & Arrival-3. | 2.00 | Job |  | 299900.00 | 599800.00 | 599800.00 | Three D Intregrated Solution LTD.
15.00 | Freight ,insurance and transportation from country of origin to India Sea port / Airport including handling charges for imported Item no. 1 to 3 | 1.00 | Job |  | 122844.00 | 122844.00 | 122844.00 | Three D Intregrated Solution LTD.
16.00 | Inland Transportation, insurance till AAI, Vizag airport including handling charges. | 1.00 | Job |  | 61422.00 | 61422.00 | 61422.00 | Three D Intregrated Solution LTD.
| Total in Figures |  |  |  |  | 13047476.00
Lowest Amount Quoted BY: Three D Intregrated Solution LTD.(13047476.00)

## BOQ Summary
BOQ Summary Details Tender Title: Linear expansion of existing integrated Terminal Building at Visakhapatnam Airport SH Provision of 01 No Makeup Carousel for Departure BHS system and Modification of existing Arrival Carousel 1 and 3 Tender ID: 2020_AAI_59364_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Three D Intregrated Solution LTD. | 13047476.00 | L1