## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 10-Nov-2020 01:19 PM Tender Title: Annual Maintenance Contract of Water Supply Borewell, A.C and Softener Pumps at R.G. Bhawan, New Delhi.(year 2020-21 and year 2021-22) Tender ID: 2020_AAI_59380_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: “Annual Maintenance Contract of Water Supply Borewell, A.C and Softener Pumps at R.G. Bhawan, New Delhi.(year 2020-21 and year 2021-22)”
Contract No: 2020_AAI_59380_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | SIGMA REFRIGERATION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Lifting and lowering of 5H.P. submersible pump set along with 50 mm dia flanged pipe and submersible cable from 100 ft. to 150 ft. depth with the help of tripod chain pully block i/c changing nut and bolts, packing sheet cable tie and making water proof joint of cable complete as required. | 3.00 | Job |  | 2150.00 | 6450.00 | 2000.00 | 6000.00 | 6000.00 | SIGMA REFRIGERATION
2.00 | Lifting & lowering of up to 7.5 HP submersible pump set/Sewage pump along with 50 mm dia flanged pipe and sumersible cable upto 15 ft depth with the help of tripod chain pully block i/c changing of nut bolts cable tie and making water proof joint of cable complete as reqd. | 8.00 | Job |  | 2150.00 | 17200.00 | 2000.00 | 16000.00 | 16000.00 | SIGMA REFRIGERATION
3.00 | Lifting & lowering of upto 7.5 HP submersible pump set/ Sewage pump set along with flexible pipe and sumersible cable upto 5 ft depth i/c changing of nut bolts cable tie and making water proof joint of cable complete as reqd. | 8.00 | Job |  | 2150.00 | 17200.00 | 2000.00 | 16000.00 | 16000.00 | SIGMA REFRIGERATION
4.00 | Repairing of submersible pump of capacity 1 H.P. to 2 H.P. (KSB/CALAMA make), by replacement of following defective parts as per requirement which includes labour charges for dismantling & assembling of pump set & testing at workshop and site including of to & fro charges to site. Note : The cost of following item will be paid in case of replacement. | 4.00 | Job |  | 5000.00 | 20000.00 | 3500.00 | 14000.00 | 14000.00 | SIGMA REFRIGERATION
4.01 | Nroyll impeller | 20.00 | No. |  | 300.00 | 6000.00 | 290.00 | 5800.00 | 5800.00 | SIGMA REFRIGERATION
4.02 | Diffuser | 20.00 | No. |  | 200.00 | 4000.00 | 350.00 | 7000.00 | 4000.00 | SNOWMEX ENGINEERS LIMITED
4.03 | Distance bush GM | 20.00 | No. |  | 200.00 | 4000.00 | 340.00 | 6800.00 | 4000.00 | SNOWMEX ENGINEERS LIMITED
4.04 | Guide Bush | 8.00 | No. |  | 50.00 | 400.00 | 150.00 | 1200.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
4.05 | Cast iron stage bowl | 20.00 | No. |  | 300.00 | 6000.00 | 275.00 | 5500.00 | 5500.00 | SIGMA REFRIGERATION
4.06 | Pump shaft turning,polishing and balancing. | 4.00 | Job |  | 200.00 | 800.00 | 250.00 | 1000.00 | 800.00 | SNOWMEX ENGINEERS LIMITED
4.07 | Re-winding with copper conductor of suitable gauge and insulation grading. | 4.00 | No. |  | 200.00 | 800.00 | 450.00 | 1800.00 | 800.00 | SNOWMEX ENGINEERS LIMITED
4.08 | G.M. Motor bush | 16.00 | No. |  | 200.00 | 3200.00 | 400.00 | 6400.00 | 3200.00 | SNOWMEX ENGINEERS LIMITED
4.09 | Hardware | 4.00 | set |  | 150.00 | 600.00 | 350.00 | 1400.00 | 600.00 | SNOWMEX ENGINEERS LIMITED
4.10 | Thrust plate | 4.00 | No. |  | 100.00 | 400.00 | 250.00 | 1000.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
4.11 | Rotor turning polishing | 4.00 | Job |  | 100.00 | 400.00 | 250.00 | 1000.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Repairing of submersible pump of capacity 3 H.P. to 5 H.P. (KSB/Calama make) by replacement of following defective parts as per requirement which includes labour charges for dismantling & assembling of pump set & testing at workshop and site including of to & fro charges to site. Note : The cost of following item will be paid in case of replacement. | 8.00 | Job |  | 2000.00 | 16000.00 | 4000.00 | 32000.00 | 16000.00 | SNOWMEX ENGINEERS LIMITED
5.01 | Nroyll impeller | 48.00 | No. |  | 150.00 | 7200.00 | 300.00 | 14400.00 | 7200.00 | SNOWMEX ENGINEERS LIMITED
5.02 | Diffuser | 48.00 | No. |  | 120.00 | 5760.00 | 290.00 | 13920.00 | 5760.00 | SNOWMEX ENGINEERS LIMITED
5.03 | Distance bush GM | 48.00 | No. |  | 120.00 | 5760.00 | 210.00 | 10080.00 | 5760.00 | SNOWMEX ENGINEERS LIMITED
5.04 | Guide Bush | 16.00 | No. |  | 110.00 | 1760.00 | 250.00 | 4000.00 | 1760.00 | SNOWMEX ENGINEERS LIMITED
5.05 | Cast iron stage bowl | 16.00 | No. |  | 110.00 | 1760.00 | 190.00 | 3040.00 | 1760.00 | SNOWMEX ENGINEERS LIMITED
5.06 | Pump shaft turning ,polishing and balancing. | 16.00 | Job |  | 120.00 | 1920.00 | 195.00 | 3120.00 | 1920.00 | SNOWMEX ENGINEERS LIMITED
5.07 | Re-winding with copper conductor of suitable gauge and insulation grading. | 6.00 | No. |  | 120.00 | 720.00 | 250.00 | 1500.00 | 720.00 | SNOWMEX ENGINEERS LIMITED
5.08 | G.M. Motor bush | 24.00 | No. |  | 110.00 | 2640.00 | 250.00 | 6000.00 | 2640.00 | SNOWMEX ENGINEERS LIMITED
5.09 | Hardware | 6.00 | set |  | 110.00 | 660.00 | 240.00 | 1440.00 | 660.00 | SNOWMEX ENGINEERS LIMITED
5.10 | Thrust plate | 6.00 | No. |  | 120.00 | 720.00 | 260.00 | 1560.00 | 720.00 | SNOWMEX ENGINEERS LIMITED
5.11 | Rotor turning polishing | 6.00 | Job |  | 110.00 | 660.00 | 350.00 | 2100.00 | 660.00 | SNOWMEX ENGINEERS LIMITED
6.00 | Repairing of submersible/sewage pump of capacity 7.5 H.P. (Calama make) by replacement of following defective parts as per requirement which includes labour charges for dismantling & assembling of pump set & testing at workshop and site including of to & fro charges to site.Note : The cost of following item will be paid in case of replacement. | 4.00 | Job |  | 1100.00 | 4400.00 | 2900.00 | 11600.00 | 4400.00 | SNOWMEX ENGINEERS LIMITED
6.01 | Nroyll impeller | 24.00 | No. |  | 110.00 | 2640.00 | 400.00 | 9600.00 | 2640.00 | SNOWMEX ENGINEERS LIMITED
6.02 | Diffuser | 24.00 | No. |  | 110.00 | 2640.00 | 400.00 | 9600.00 | 2640.00 | SNOWMEX ENGINEERS LIMITED
6.03 | Distance bush GM | 24.00 | No. |  | 120.00 | 2880.00 | 220.00 | 5280.00 | 2880.00 | SNOWMEX ENGINEERS LIMITED
6.04 | Guide Bush | 8.00 | No. |  | 120.00 | 960.00 | 220.00 | 1760.00 | 960.00 | SNOWMEX ENGINEERS LIMITED
6.05 | Cast iron stage bowl | 8.00 | No. |  | 120.00 | 960.00 | 250.00 | 2000.00 | 960.00 | SNOWMEX ENGINEERS LIMITED
6.06 | Pump shaft turning ,polishing and balancing. | 8.00 | Job |  | 120.00 | 960.00 | 300.00 | 2400.00 | 960.00 | SNOWMEX ENGINEERS LIMITED
6.07 | Re-winding with copper conductor of suitable gauge and insulation grading. | 4.00 | No. |  | 110.00 | 440.00 | 295.00 | 1180.00 | 440.00 | SNOWMEX ENGINEERS LIMITED
6.08 | G.M. Motor bush | 16.00 | No. |  | 120.00 | 1920.00 | 395.00 | 6320.00 | 1920.00 | SNOWMEX ENGINEERS LIMITED
6.09 | Hardware | 4.00 | set |  | 120.00 | 480.00 | 400.00 | 1600.00 | 480.00 | SNOWMEX ENGINEERS LIMITED
6.10 | Thrust plate | 4.00 | No. |  | 120.00 | 480.00 | 410.00 | 1640.00 | 480.00 | SNOWMEX ENGINEERS LIMITED
6.11 | Rotor turning polishing | 4.00 | Job |  | 110.00 | 440.00 | 350.00 | 1400.00 | 440.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Repairing of sewage submersible pump & motor model KRTUPK 190/24 of capacity 4 H.P. (KSB make) by replacement of following defective parts as per requirement which includes labour charges for dismantling & assembling of pump set & testing at workshop and site including of to & fro charges to site.Note : The cost of following item will be paid in case of replacement. | 1.00 | Job |  | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2000.00 | SNOWMEX ENGINEERS LIMITED
7.01 | Re-winding with copper conductor of suitable gauge and insulation grading. | 1.00 | No. |  | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
7.02 | Temperature sensor | 1.00 | No. |  | 500.00 | 500.00 | 1650.00 | 1650.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
7.03 | Cable end bush | 8.00 | No. |  | 20.00 | 160.00 | 1500.00 | 12000.00 | 160.00 | SNOWMEX ENGINEERS LIMITED
7.04 | Ball bearing set | 1.00 | set |  | 20.00 | 20.00 | 2200.00 | 2200.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.05 | O ring & Gasket sheet | 1.00 | set |  | 20.00 | 20.00 | 2100.00 | 2100.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.06 | Mechanical seal | 1.00 | Job |  | 420.00 | 420.00 | 960.00 | 960.00 | 420.00 | SNOWMEX ENGINEERS LIMITED
7.07 | Moisture Sensor | 1.00 | No. |  | 500.00 | 500.00 | 350.00 | 350.00 | 350.00 | SIGMA REFRIGERATION
7.08 | Cable 7 core | 20.00 | mtr. |  | 250.00 | 5000.00 | 650.00 | 13000.00 | 5000.00 | SNOWMEX ENGINEERS LIMITED
7.09 | Oil (2.5 ltr.) | 1.00 | Job |  | 450.00 | 450.00 | 350.00 | 350.00 | 350.00 | SIGMA REFRIGERATION
7.10 | CI Impeller with Nut bolts | 1.00 | No. |  | 250.00 | 250.00 | 350.00 | 350.00 | 250.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Repairing of KSB make sewage submersible pump & motor model Ama Porter of capacity 1 H.P. by replacement of following defective parts as per requirement which includes labour charges for dismantling & assembling of pump set & testing at workshop and site including of to & fro charges to site. Note : The cost of following item will be paid in case of replacement. | 4.00 | Job |  | 2500.00 | 10000.00 | 3900.00 | 15600.00 | 10000.00 | SNOWMEX ENGINEERS LIMITED
8.01 | Re-winding with copper conductor of suitable gauge and insulation grading. | 4.00 | No. |  | 2000.00 | 8000.00 | 5500.00 | 22000.00 | 8000.00 | SNOWMEX ENGINEERS LIMITED
8.02 | Mechanical seal | 4.00 | No. |  | 2000.00 | 8000.00 | 2200.00 | 8800.00 | 8000.00 | SNOWMEX ENGINEERS LIMITED
8.03 | Cable End bush | 20.00 | No. |  | 1200.00 | 24000.00 | 2000.00 | 40000.00 | 24000.00 | SNOWMEX ENGINEERS LIMITED
8.04 | Ball bearing | 4.00 | Set |  | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 4000.00 | SNOWMEX ENGINEERS LIMITED
8.05 | Oil Seal | 4.00 | No. |  | 1600.00 | 6400.00 | 1600.00 | 6400.00 | 6400.00 | SNOWMEX ENGINEERS LIMITED, SIGMA REFRIGERATION
8.06 | O Ring | 4.00 | No. |  | 750.00 | 3000.00 | 1800.00 | 7200.00 | 3000.00 | SNOWMEX ENGINEERS LIMITED
8.07 | Capacitor | 4.00 | No. |  | 650.00 | 2600.00 | 700.00 | 2800.00 | 2600.00 | SNOWMEX ENGINEERS LIMITED
8.08 | Float Switch | 4.00 | No. |  | 250.00 | 1000.00 | 500.00 | 2000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
8.09 | Suction Cover | 4.00 | No. |  | 450.00 | 1800.00 | 700.00 | 2800.00 | 1800.00 | SNOWMEX ENGINEERS LIMITED
8.10 | Set of Fastners | 4.00 | No. |  | 350.00 | 1400.00 | 600.00 | 2400.00 | 1400.00 | SNOWMEX ENGINEERS LIMITED
8.11 | Circlip Lock | 4.00 | No. |  | 250.00 | 1000.00 | 500.00 | 2000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Repairing of different models and make 3 phase induction motors of centrifugal / monoblock pump motors upto 5 HP as & when required by replacement of following defective parts which i/c labour charges for dismantling & assembling of pump-motor set & testing at workshop including to & fro charges to site and refixing the same at site which i/c replacement of minor items such as nut bolts etc. Note : The cost of following item will be paid in case of replacement & dismantle material will be retained by agency. | 4.00 | Job |  | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 16000.00 | SNOWMEX ENGINEERS LIMITED
9.01 | Re-winding with copper conductor of suitable gauge and insulation grading. | 2.00 | Job |  | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 5000.00 | SNOWMEX ENGINEERS LIMITED
9.02 | Replacement of ball bearing | 4.00 | Each |  | 2000.00 | 8000.00 | 3500.00 | 14000.00 | 8000.00 | SNOWMEX ENGINEERS LIMITED
9.03 | Replacement of mechanical seals | 4.00 | Set |  | 1800.00 | 7200.00 | 4200.00 | 16800.00 | 7200.00 | SNOWMEX ENGINEERS LIMITED
10.00 | Supplying installation testing and commissioning of following items in existing electical panels & feeder pillars i/c dismantalling of defective items and handing over these items to AAI store.
10.01 | ML -1.5 contactor | 4.00 | No. |  | 2650.00 | 10600.00 | 3200.00 | 12800.00 | 10600.00 | SNOWMEX ENGINEERS LIMITED
10.02 | (8.5-12.5 A range) O/L thermal relay | 4.00 | No. |  | 1650.00 | 6600.00 | 2500.00 | 10000.00 | 6600.00 | SNOWMEX ENGINEERS LIMITED
10.03 | (3.5-5 A range) O/L thermal relay | 4.00 | No. |  | 1450.00 | 5800.00 | 2100.00 | 8400.00 | 5800.00 | SNOWMEX ENGINEERS LIMITED
10.04 | Single phase preventor (make minilec VSP2) | 8.00 | No. |  | 2250.00 | 18000.00 | 2000.00 | 16000.00 | 16000.00 | SIGMA REFRIGERATION
10.05 | Water level guard (make Minilec.) with 3 stainless steel prods | 4.00 | No. |  | 1450.00 | 5800.00 | 2400.00 | 9600.00 | 5800.00 | SNOWMEX ENGINEERS LIMITED
10.06 | 10 Amp HRC FUSE | 20.00 | No. |  | 250.00 | 5000.00 | 500.00 | 10000.00 | 5000.00 | SNOWMEX ENGINEERS LIMITED
10.07 | Supply of 3 C x 2.5 sq. mm. copper conductor flat PVC insulated Industrial cable for Submersible pump.(Havells or equ. approved make ) | 200.00 | mtr. |  | 450.00 | 90000.00 | 300.00 | 60000.00 | 60000.00 | SIGMA REFRIGERATION
11.00 | Spares for panel of sewage submersible motor & pump for Model KRTUPK 190/24 4 HP panel.
11.01 | Single phase preventer cum phase reversal relay | 4.00 | Each |  | 2250.00 | 9000.00 | 2500.00 | 10000.00 | 9000.00 | SNOWMEX ENGINEERS LIMITED
11.02 | Moisture sensor | 4.00 | Each |  | 2400.00 | 9600.00 | 3000.00 | 12000.00 | 9600.00 | SNOWMEX ENGINEERS LIMITED
11.03 | Water level controller | 4.00 | Each |  | 1400.00 | 5600.00 | 1800.00 | 7200.00 | 5600.00 | SNOWMEX ENGINEERS LIMITED
11.04 | 4HP DOL starter with overload relay | 2.00 | Each |  | 12500.00 | 25000.00 | 8000.00 | 16000.00 | 16000.00 | SIGMA REFRIGERATION
11.05 | Transformer & control wiring | 4.00 | Job |  | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 18000.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Lettering with one coat of approved shade of synthetic enamel paint in following sizes on different places in English or Hindi etc. as reqd.
12.01 | 1" size | 100.00 | No. |  | 350.00 | 35000.00 | 450.00 | 45000.00 | 35000.00 | SNOWMEX ENGINEERS LIMITED
12.02 | 2" size | 100.00 | No. |  | 450.00 | 45000.00 | 450.00 | 45000.00 | 45000.00 | SNOWMEX ENGINEERS LIMITED, SIGMA REFRIGERATION
13.00 | Re-painting of following motors with base frame, fuel tank, motor, Engine, pump etc. complete with two or more coat of approved colour of enameld paint as required and as per direction of E-I-C.
13.01 | Diesel Engine Fire Pump(78HP) | 1.00 | Job |  | 45000.00 | 45000.00 | 42550.00 | 42550.00 | 42550.00 | SIGMA REFRIGERATION
13.02 | Main Fire Pump(74 HP) | 1.00 | Job |  | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 25000.00 | SNOWMEX ENGINEERS LIMITED
13.03 | Jockey Pump(15HP) | 3.00 | Job |  | 15000.00 | 45000.00 | 13000.00 | 39000.00 | 39000.00 | SIGMA REFRIGERATION
13.04 | Jockey Pump(10HP) | 1.00 | Job |  | 12000.00 | 12000.00 | 7000.00 | 7000.00 | 7000.00 | SIGMA REFRIGERATION
13.05 | Jockey Pump(25HP) | 1.00 | Job |  | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 8000.00 | SIGMA REFRIGERATION
14.00 | Re-painting of panel with base frame with two coat of approved color of enamel paint etc. complete as required as per direction of E-I-C. | 40.00 | Sq.M |  | 1200.00 | 48000.00 | 1050.00 | 42000.00 | 42000.00 | SIGMA REFRIGERATION
15.00 | Re-painting of water pipe line i/c all fittings with good quality of synthetic enamel paint of approved colour with two or more coats of approved brand i/c scrapping, cleaning etc. complete as per site condition and direction of E-I-C.
15.01 | Upto 2" dia(50mm) | 100.00 | Meter |  | 600.00 | 60000.00 | 250.00 | 25000.00 | 25000.00 | SIGMA REFRIGERATION
15.02 | From 2" to 4" | 150.00 | Meter |  | 650.00 | 97500.00 | 350.00 | 52500.00 | 52500.00 | SIGMA REFRIGERATION
16.00 | S/F of following size of bronze ball valve/check valve in the existing pipe line i/c cutting threading of GI pipe complete as required at site.
16.01 | 65 mm ball valve | 2.00 | Each |  | 150.00 | 300.00 | 300.00 | 600.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
16.02 | 50 mm ball valve | 2.00 | Each |  | 200.00 | 400.00 | 400.00 | 800.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
16.03 | 40 mm ball valve | 4.00 | Each |  | 225.00 | 900.00 | 250.00 | 1000.00 | 900.00 | SNOWMEX ENGINEERS LIMITED
16.04 | 50 mm check valve | 2.00 | Each |  | 250.00 | 500.00 | 500.00 | 1000.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
16.05 | 40 mm check valve | 2.00 | Each |  | 250.00 | 500.00 | 350.00 | 700.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
17.00 | Providing and Fixing of following dia MS pipe ( heavy class )with all required fittings and accessories i.e. clamps, flanges, gasket, nuts-bolts etc. complete as required.
17.01 | 50mm | 15.00 | mtr. |  | 1650.00 | 24750.00 | 2000.00 | 30000.00 | 24750.00 | SNOWMEX ENGINEERS LIMITED
17.02 | 100mm | 15.00 | mtr. |  | 2300.00 | 34500.00 | 3300.00 | 49500.00 | 34500.00 | SNOWMEX ENGINEERS LIMITED
18.00 | Providing and fixing GI pipes (heavy class) complete with all required fittings and accessories i.e. clamps, flanges, gasket, nuts-bolts etc. on surface i/c cutting and making good the walls etc. (Exposed on wall/trench) complete as required.
18.01 | 40 mm dia. nominal bore | 30.00 | mtr. |  | 1200.00 | 36000.00 | 1800.00 | 54000.00 | 36000.00 | SNOWMEX ENGINEERS LIMITED
18.02 | 50 mm dia. nominal bore | 30.00 | mtr. |  | 1600.00 | 48000.00 | 1750.00 | 52500.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
19.00 | Providing and fixing of 100 mm PVC suction pipes suitable for sewage pump complete with G.I. clamps i/c cutting and making good the connection etc. | 20.00 | mtr. |  | 1400.00 | 28000.00 | 1800.00 | 36000.00 | 28000.00 | SNOWMEX ENGINEERS LIMITED
20.00 | Supplying unskilled labour for day to day maintenance jobs (Remarks: one job will be treated for providing of one no. man power for 8 Hours). | 25.00 | job |  | 1350.00 | 33750.00 | 1550.00 | 38750.00 | 33750.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 1114030.00 |  | 1252600.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(1114030.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Water Supply Borewell, A.C and Softener Pumps at R.G. Bhawan, New Delhi.(year 2020-21 and year 2021-22) Tender ID: 2020_AAI_59380_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED | 1114030.00 | L1
| 2 | SIGMA REFRIGERATION | 1252600.00 | L2