## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 03-Nov-2020 11:13 AM Tender Title: Operation and preventive maintenance of Fire Fighting System, Hydro pneumatic Pumping System and CO2 flooded system with associated accessories at DATS, IGI Airport, New Delhi (2020-22) Tender ID: 2020_AAI_59517_1
Tender Inviting Authority: Senior Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Operation and preventive maintenance of Fire Fighting System, Hydro pneumatic Pumping System and CO2 flooded system with associated accessories at DATS, IGI Airport, New Delhi (2020-22).
Contract No: AAI/DATS/E-E/AMC-Fire Fighting/2020-21/E-NIT-04
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD-I : OPERATION & MAINTENANCE Annual upkeep of complete Fire Fighting and PHE pumping system comprising of hydropneumatic pumps including associated Electrical panels and other accessories, preventive maintenance of Fire Fighting and sprinkler system ,CO2 flooded system installed with various Electrical Panels at different locations and all associated accessorries, periodical cleaning, servicing, testing of systems as per enclosed technical specifications and manufacturer's recommendations, attending & rectifying day to day complaints etc as required by providing following man power .
1.01 | GENERAL SHIFT - 6days a week Supervisor (Highly Skilled) - 1 No. Technician/Electrician (skilled) -1 No. Helper(Unskilled) - 1 No | 24.00 | Month | 74144.00 | 51500.00 | 1236000.00 | 63000.00 | 1512000.00 | 61286.00 | 1470864.00 | 1236000.00 | ANAND AND COMPANTY
1.02 | SHIFT DUTY Pump operator / Mechanic (Skilled) -(Total 4 Nos i/c one reliever for performing shift duties) | 24.00 | Month | 96261.00 | 65000.00 | 1560000.00 | 80000.00 | 1920000.00 | 81408.00 | 1953792.00 | 1560000.00 | ANAND AND COMPANTY
2.00 | SH II : Fire Diesel Engine (B & C Checks) Carry out B- check of the Fire Diesel engine (Engine Model No.JUGHUF54 make - CLARKE U.K LTD). as per OEM recommendation (Material required for B- check and C- checks shall be issued by AAI) These B-check activities shall be carried out by OEM of Pump /Engine (i.e., Patterson/Clarke U.K.Ltd.) or his authorised distributor/Service center only. | 2.00 | Job | 29038.00 | 25000.00 | 50000.00 | 27000.00 | 54000.00 | 15000.00 | 30000.00 | 30000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | SH II : Fire Diesel Engine (B & C Checks) Supply of following spares suitable to carry out 'B' & 'C' Check of 216 BHP Fire Engine Set (Engine Model No.JUGHUF54 make - CLARKE U.K LTD).
3.01 | Fuel filter | 2.00 | Nos | 8793.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 1500.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.02 | Oil Filter | 2.00 | Nos | 8135.00 | 7500.00 | 15000.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.03 | Air filter | 2.00 | Nos | 16151.00 | 15600.00 | 31200.00 | 14500.00 | 29000.00 | 3000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.04 | Engine Oil | 60.00 | Ltr. | 981.00 | 950.00 | 57000.00 | 900.00 | 54000.00 | 600.00 | 36000.00 | 36000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.05 | Coolant | 20.00 | Ltr. | 718.00 | 650.00 | 13000.00 | 650.00 | 13000.00 | 150.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.06 | Cooling Loop Solenoid Kit | 1.00 | Nos | 59219.00 | 12000.00 | 12000.00 | 54000.00 | 54000.00 | 6000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.00 | SH-III Rewinding & Repairing Rewinding and reparing of following ratings vertical type jockey pump motors including overhauling/ servicing , varnishing, baking, applying moisture proof varnish, assembling, testing ,decoupling and coupling, loading / unloading and transportation to and from the site complete (as and when required) .(Old defective winding shall be retained by Agency).
4.01 | 3 phase Vertical type motor of 4 KW, 2950 RPM, Discharge(Q)-10.5 m3/h,Head(H)-89 mtr, of jockey pump(for jockey sprinkler). | 2.00 | Job | 6529.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.02 | 3 phase Vertical type motor of 7.5 KW, 2940 RPM, Discharge(Q)-10.6 m3/h,Head(H)-139.5 mtr, of jockey pump(for jockey hydrant). | 2.00 | Job | 8569.00 | 5500.00 | 11000.00 | 11000.00 | 22000.00 | 6000.00 | 12000.00 | 11000.00 | ANAND AND COMPANTY
5.00 | SH-III Rewinding & Repairing Rewinding and reparing of diffrent make, type and capacity of sump pump motor(MONOBLOCK TYPE) including overhauling/ servicing , varnishing, baking, applying moisture proof varnish, assembling, testing ,decoupling and coupling, loading / unloading and transportation to and fro from the site complete (as and when required) .(Old defective winding shall be retained by Agency).
5.01 | 3 Phase, P1-1.5 KW P2-2.14 KW, Head(H)- 16.7 to 6.5 mtr, Hmin- 6.5 m , Discharge(Q)= 200-700 Ltr/Min. Make -Lowra. | 2.00 | Job | 7651.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 7000.00 | 14000.00 | 6000.00 | ANAND AND COMPANTY
5.02 | 3 Phase, 2.40 KW, 2780 rpm., Make- Steady by Xylem. | 2.00 | Job | 8671.00 | 3100.00 | 6200.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 6200.00 | ANAND AND COMPANTY
6.00 | SH-III Rewinding & Repairing Rewinding and reparing of diffrent type and capacity of vertical type pump motor including overhauling/ servicing , varnishing, baking, applying moisture proof varnish, assembling, testing ,decoupling and coupling, loading / unloading and transportation to and fro from the site complete (as and when required) .(Old defective winding shall be retained by Agency).( Make- XYLEM).
6.01 | 0.55 KW 2860 RPM Head(H)- 12.2 to 28.2 mtr, Discharge(Q)= 2.4 to 8.5 m3/h. | 2.00 | Job | 2550.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 3000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
6.02 | 1.5 KW, 2860 RPM, Head(H)-44.2 to 21.7 mtr, Discharge(Q)-5 to 14 m3/h. | 2.00 | Job | 3060.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 4000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
6.03 | 1.1 KW 2850 RPM,Head(H)-43.7 to 28.3 mtr, Discharge(Q)-2.4 to 8.5 m3/h. | 2.00 | Job | 3060.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
6.04 | 5.5 KW 2910 RPM, Head(H)- 146.5 to 74.3 mtr, Discharge(Q)-5 to 14 m3/h. | 2.00 | Job | 6121.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | SH IV : CO2 Flooded System Annual Upkeep of CO2 flooded system with following schedule/non-schedule activities as and when required.
7.01 | Refilling/Charging of (CO2) Gas (including supply of Gas) in cylinder | 100.00 | KG | 94.00 | 150.00 | 15000.00 | 55.00 | 5500.00 | 150.00 | 15000.00 | 5500.00 | NATIONAL SAFETY ENGINEERS
7.02 | Replacement of CO2 Fire Detection Tube | 50.00 | Mtr. | 1701.00 | 650.00 | 32500.00 | 800.00 | 40000.00 | 550.00 | 27500.00 | 27500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.03 | Calibration of weighing machines installed in Carbon Dioxide (CO2) flooding system in the Electrical panels by Weight & Measurement Deptt., Govt.of India/GNCTD. | 75.00 | Job | 1742.00 | 1100.00 | 82500.00 | 1900.00 | 142500.00 | 1100.00 | 82500.00 | 82500.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
7.04 | Hydrostatic Re-Testing and Inspection of CO2 Cylinders by any Govt. accredited Laboratory and submission of testing report. | 20.00 | Job | 581.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 250.00 | 5000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
7.05 | Replacement of faulty Load cell in the weighing machine. | 20.00 | Nos. | 1830.00 | 1100.00 | 22000.00 | 1000.00 | 20000.00 | 100.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.06 | Replacement of faulty CO2 cylinder of capacity 4.5KG | 5.00 | Nos. | 8036.00 | 4700.00 | 23500.00 | 6000.00 | 30000.00 | 3800.00 | 19000.00 | 19000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.07 | Replacement of faulty control panel of weighing machine. | 20.00 | Nos. | 7625.00 | 4000.00 | 80000.00 | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 30000.00 | NATIONAL SAFETY ENGINEERS
8.00 | SH V : Painting Painting with synthetic enamel paint of approved make and manufacture of required colour to give an even shade after one coat of Red Oxide
8.01 | One coat of Red Oxide & 2 coats of Synthetic enamel paint (Fire red color) | 100.00 | Sqm. | 167.00 | 135.00 | 13500.00 | 80.00 | 8000.00 | 110.00 | 11000.00 | 8000.00 | NATIONAL SAFETY ENGINEERS
9.00 | SH VI : Replacing of valves Replacing, testing and commissioning of following rating butterfly valves for Fire Hydrant/Sprinkler Line as per specifications as and when required with new one. A) BUTTERFLY VALVE with Cast Iron body, Stainless Steel disc nitrile sheet & O - ring & PN 25 pressure rating, IS marked as specified with flanges etc.
9.01 | 150 mm | 8.00 | Nos. | 8399.00 | 4500.00 | 36000.00 | 5000.00 | 40000.00 | 7000.00 | 56000.00 | 36000.00 | ANAND AND COMPANTY
9.02 | 100 mm | 1.00 | Nos. | 5070.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
9.03 | 80 mm | 2.00 | Nos. | 4022.00 | 1900.00 | 3800.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
9.04 | 65 mm | 1.00 | Nos. | 3447.00 | 1700.00 | 1700.00 | 1300.00 | 1300.00 | 3000.00 | 3000.00 | 1300.00 | NATIONAL SAFETY ENGINEERS
10.00 | SH VI : Replacing of valves Replacing, testing and commissioning of following rating gate valves for Fire Hydrant/Sprinkler Line as per specifications as and when required with new one. A) GATE VALVES with Cast Iron body,PN 16 pressure rating, IS marked of specified flanged
10.01 | 250 mm | 1.00 | Nos. | 35094.00 | 19000.00 | 19000.00 | 20000.00 | 20000.00 | 3000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.02 | 200 mm | 1.00 | Nos. | 21803.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 2500.00 | 2500.00 | 2500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.03 | 150 mm | 2.00 | Nos. | 13867.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 2300.00 | 4600.00 | 4600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.04 | 100 mm | 1.00 | Nos. | 10765.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 2200.00 | 2200.00 | 2200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.05 | 80 mm | 1.00 | Nos. | 7193.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.00 | SH VI : Replacing of valves Replacement of CI / bronze / gun metal non-return valve IS marked flanged complete as and when required with new one of following sizes & PN 16 pressure rating :-
11.01 | Non Return Valve (250 mm dia), Cast Iron | 1.00 | Nos. | 28135.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 15000.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
11.02 | Non Return Valve (150 mm dia), Cast Iron | 1.00 | Nos. | 9769.00 | 9000.00 | 9000.00 | 13000.00 | 13000.00 | 20000.00 | 20000.00 | 9000.00 | ANAND AND COMPANTY
11.03 | Non Return Valve (80 mm dia) , Cast Iron | 1.00 | Nos. | 3911.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 20000.00 | 20000.00 | 2500.00 | NATIONAL SAFETY ENGINEERS
11.04 | Non Return Valve (65 mm dia) , Cast Iron | 1.00 | Nos. | 3139.00 | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 20000.00 | 20000.00 | 1800.00 | NATIONAL SAFETY ENGINEERS
11.05 | Non Return Valve (40 mm dia), Bronze / Gun Metal | 2.00 | Nos. | 1489.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 20000.00 | 40000.00 | 1400.00 | ANAND AND COMPANTY
11.06 | Non Return Valve (32 mm dia), Bronze / Gun Metal | 2.00 | Nos. | 1181.00 | 700.00 | 1400.00 | 600.00 | 1200.00 | 20000.00 | 40000.00 | 1200.00 | NATIONAL SAFETY ENGINEERS
12.00 | SH VII : DSR Execution of works as per CPWD schedule of rates and specification for amount of Rs. 1,50,000/- as and when required during contract period. Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = X Basic rate (on which percentage above or below to be quoted)= Y = X / 1.1405 (ex. GST) Example: if rate of an item as per DSR-2018 = 114.05 Basic rate (on which percentage above or below to be quoted) = 114.05 / 1.1405 = 100 If contractor is quoting Rs. 1,50,000/- againts Rs. 2,00,000 i.e. 25 % below it means Rs. 75.00 (ex GST) shall be paid for that item against Rs. 114.05 (as per DSR-2018) | 1.00 | Job | 150000.00 | 50000.00 | 50000.00 | 127500.00 | 127500.00 | 75000.00 | 75000.00 | 50000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 3518700.00 |  | 4308900.00 |  | 4096956.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(3518700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and preventive maintenance of Fire Fighting System, Hydro pneumatic Pumping System and CO2 flooded system with associated accessories at DATS, IGI Airport, New Delhi (2020-22) Tender ID: 2020_AAI_59517_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 3518700.00 | L1
| 2 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4096956.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 4308900.00 | L3