## BoQ1
Government eProcurement System Created By: VETRISELVI JAGADEESAN Created Date/Time: 02-Nov-2020 04:41 PM Tender Title: Facility Management Services Contract for all Electrical Installations at New Domestic and New International Terminals at Chennai Airport Chennai. Tender ID: 2020_AAI_59684_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect.), AMED-II, Operational Offices,Chennai Airport.
Name of Work: Facility Management Services Contract for all Electrical Installations at New Domestic and New International Terminals at Chennai Airport, Chennai.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | M/s T and C ENGINEERS PVT LTD(GSTN-33AADCT6406B1ZV) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD - I : Facility Management Services Contract.
2.00 | Facility management services for all Internal and External Electrical installations at New Domestic Terminal Building and its ancillary buildings etc. to ensure satisfactory serviceabilty through providing man power (as per clause No. 39 of SCC) for attending minor faults/ repair/replacement of defective components/ maintenance of LT feeders at switch rooms, point/circuit/sub main wiring, switches, lamps, chokes, fixtures, DB's (Required replacement of materials shall be issued by AAI ) i/c providing consumable material like cotton waste, oil, grease, insulation tape, other sundry material etc. as required for cleaning at site. including ensuring 100 % serviceability of EI installations in passenger movement area, routine and general preventive maintenance, maintenance of records / log books and reporting as and when required ,effective supervision, upkeeping of all switch rooms etc.on round the clock basis on all days including Sundays and holidays as specified and as directed by Engr-in charge as per the terms and conditions of contract covered under the agreement. Two Years (01.12.2020 to 30.11.2022) | 24.00 | Month |  | 542999.00 | 13031976.00 | 592468.00 | 14219232.00 | 668902.53 | 16053660.72 | 565436.00 | 13570464.00 | 510000.00 | 12240000.00 | 541999.00 | 13007976.00 | 12240000.00 | M/s T and C ENGINEERS PVT LTD
3.00 | Facility management services for all Internal and External Electrical installations at New International Terminal Building and its ancillary buildings etc. to ensure satisfactory serviceabilty through providing manpower (as per clause No. 39 of SCC) for attending minor faults/ repair/replacement of defective components/ maintenance of LT feeders at switch rooms, point/ circuit/ submain wiring, switches, Lamps, chockes, fixtures, DBs. (Required replacement of materials shall be issued by AAI) i/c providing consumable material like cotton waste, oil, grease, insulation tap, other sundry material etc., as reuired for cleaning at site including ensuring 100% serviceability of EI installations in passenger movement area, routing and general preventive maitenance, maintenance of records/ log books and reporting as and when required, effective supervision, keeping of all switch rooms etc. on round clock basis on all days including sundays and holidays as specified and as directed by Engineering-in-charge as per the terms and conditions of the contract covered under the agreement. Two Years (01.12.2020 to 30.11.2022) | 24.00 | Month |  | 569389.00 | 13665336.00 | 621255.00 | 14910120.00 | 701302.42 | 16831258.08 | 593189.00 | 14236536.00 | 700000.00 | 16800000.00 | 571999.00 | 13727976.00 | 13665336.00 | CHENNAI ENGINEERING SERVICES
4.00 | SUB HEAD-II: Rate contract for DSR SCHEDULE ITEMS as on when required basis.
5.00 | (Separate man power other than man power mentioned in SH-I should be deputed as on when required basis) .
6.00 | Execution of works as per CPWD Delhi Schedule of rates (E &M) - 2018 as on when required for a fixed amount for 02 years as mentioned below following sub heads: Chapter-1 - WIRING Chapter-2 - MCCB, MCB & DB'S Chapter-5 -EARTHING Chapter-7 -MV CABLE LAYING Chapter-9 -MV CABLE JOINTING & END TERMINATION Chapter-11 - POLE ERECTION Chapter-14 - MISC. CIVIL ITEMS. Note: Rate shall be quoted for 02 Years in the Indian Rupees only, payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs. 20,00,000.00 as clarified below: (Example If desired to quote 5% above on DSR- 2018 rates, the rate column shall be filled as Rs. 21,00,000.00 If desired to quote 5% below on DSR-2018 rates, the rate column shall be filled as Rs.19,00,000.00) Two Years (01.12.2020 to 30.11.2022) | 1.00 | Job |  | 1900000.00 | 1900000.00 | 100000.00 | 100000.00 | 190000.00 | 190000.00 | 1800000.00 | 1800000.00 | 2200000.00 | 2200000.00 | 1750000.00 | 1750000.00 | 100000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
7.00 | SUB HEAD - III : Rate contract for NON SCHEDULE ITEMS as on when required basis.
8.00 | (Separate man power other than man power mentioned in SH-I should be deputed as on when required basis) .
9.00 | Rewinding with super enamelled copper winding wire, varnishing, baking, overhauling, replacement of ball bearings, capacitor, greasing, refitting etc. of following fans as required:
10.00 | a) 600mm Sweep aircirculators | 10.00 | Each |  | 899.00 | 8990.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 900.00 | 9000.00 | 1500.00 | 15000.00 | 999.00 | 9990.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD
11.00 | b) 450mm Sweep aircirculators | 10.00 | Each |  | 599.00 | 5990.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 700.00 | 7000.00 | 1500.00 | 15000.00 | 750.00 | 7500.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD
12.00 | c) 1200mm Sweep ceiling fan | 10.00 | Each |  | 599.00 | 5990.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 1500.00 | 15000.00 | 750.00 | 7500.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD
13.00 | d) 400mm Sweep wall mounting/pedestal fan | 10.00 | Each |  | 649.00 | 6490.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 650.00 | 6500.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 3500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, VOLTECH O AND M SERVICES PVT LTD
14.00 | e) 300 mm Exhaust fan | 10.00 | Each |  | 599.00 | 5990.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD
15.00 | f) 450 mm Ehuast fan | 10.00 | Each |  | 699.00 | 6990.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 700.00 | 7000.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD
16.00 | g) Roof air extractor (Up to 5 HP) | 4.00 | Each |  | 5999.00 | 23996.00 | 2500.00 | 10000.00 | 4200.00 | 16800.00 | 4000.00 | 16000.00 | 900.00 | 3600.00 | 5500.00 | 22000.00 | 3600.00 | M/s T and C ENGINEERS PVT LTD
17.00 | Calibration of following Electrical measuring instruments and producing certificate regarding calibration etc., as required.
18.00 | a) Lux meter | 4.00 | Each |  | 1499.00 | 5996.00 | 1800.00 | 7200.00 | 15000.00 | 60000.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., M/s T and C ENGINEERS PVT LTD
19.00 | b) Clamp meter | 4.00 | Each |  | 999.00 | 3996.00 | 1850.00 | 7400.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 3996.00 | CHENNAI ENGINEERING SERVICES
20.00 | c) Insulation Tester | 4.00 | Each |  | 2099.00 | 8396.00 | 2000.00 | 8000.00 | 1700.00 | 6800.00 | 2300.00 | 9200.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 4000.00 | M/s T and C ENGINEERS PVT LTD
21.00 | d) Multimeter | 4.00 | Each |  | 999.00 | 3996.00 | 2000.00 | 8000.00 | 900.00 | 3600.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 3600.00 | VOLTECH O AND M SERVICES PVT LTD
22.00 | e) Earth tester | 4.00 | Each |  | 899.00 | 3596.00 | 2500.00 | 10000.00 | 1300.00 | 5200.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 3596.00 | CHENNAI ENGINEERING SERVICES
23.00 | Overhauling and Servicing of ACB's of L&T, C&S/GE make of following capacities provided in the various LT Panels by Deploying Authorised Sevice Personnel of Manufactures/ Service Dealer/ Specialised Agencies cleaning of ACB's Opening ithe same inspection, servicing, cleaning of contact surfaces acr fhutes overhauling of doeppraint mechanism, lubrications of moving parts, Checking of UV Coils Trip Circuits, Checking of Control Circuits , testing and commissiong etc. as required. | 50.00 | Each |  | 1999.00 | 99950.00 | 3500.00 | 175000.00 | 2400.00 | 120000.00 | 2000.00 | 100000.00 | 10000.00 | 500000.00 | 1700.00 | 85000.00 | 85000.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | (a) Dismantling of existing 25-30 mtr high mast along with lumminairies, lightening finial, aviation of obstruction lights, Galvanised lantern carriage arrangement, control gear, double drum winch 6 mm dia SS wire rope trailing cable, mannual handle and shifting the same to required location as per the instruction EIC. | 4.00 | Job |  | 19999.00 | 79996.00 | 10000.00 | 40000.00 | 120000.00 | 480000.00 | 15000.00 | 60000.00 | 1000.00 | 4000.00 | 12000.00 | 48000.00 | 4000.00 | M/s T and C ENGINEERS PVT LTD
25.00 | (b) ITC of the existing 25-30 mtr high mast system including Luminaire along with lumminairies, lightening finial, aviation of obstruction lights, Galvanised lantern carriage arrangement, control gear, double drum winch 6 mm dia SS wire rope trailing cable, mannual handle. complete as required. | 4.00 | Job |  | 24999.00 | 99996.00 | 10000.00 | 40000.00 | 40000.00 | 160000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 40000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, M/s T and C ENGINEERS PVT LTD
26.00 | (c) SITC of foundation bolts manufactured from special steel along with nuts, washers, anchor plates and templates. | 4.00 | Job |  | 14999.00 | 59996.00 | 2000.00 | 8000.00 | 40000.00 | 160000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 4199.00 | 16796.00 | 8000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
27.00 | (d) Construction of suitable shallow foundation with M25 concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. | 4.00 | Job |  | 49999.00 | 199996.00 | 5000.00 | 20000.00 | 70000.00 | 280000.00 | 99000.00 | 396000.00 | 10000.00 | 40000.00 | 109000.00 | 436000.00 | 20000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
28.00 | (e) Supply of 6mm Stainless Steel Rope | 600.00 | Meter |  | 29.00 | 17400.00 | 20.00 | 12000.00 | 50.00 | 30000.00 | 200.00 | 120000.00 | 120.00 | 72000.00 | 120.00 | 72000.00 | 12000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
29.00 | (f) Supply of Five Core 4Sq.mm Copper flexible cable | 400.00 | Meter |  | 199.00 | 79600.00 | 35.00 | 14000.00 | 300.00 | 120000.00 | 186.00 | 74400.00 | 75.00 | 30000.00 | 300.00 | 120000.00 | 14000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
30.00 | Repair of existing DB's by replacing required accessories like Hinges, magnetic locks and providing handles for opening DB's including painting with approved colour of two coats etc., as required. | 50.00 | Job |  | 599.00 | 29950.00 | 350.00 | 17500.00 | 600.00 | 30000.00 | 400.00 | 20000.00 | 1000.00 | 50000.00 | 1100.00 | 55000.00 | 17500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
31.00 | Providing lettering for LT Panel boards, DB's, Street light Pole as per the direction of Engineer-in-Charge etc., as required. | 6000.00 | Each |  | 3.00 | 18000.00 | 10.00 | 60000.00 | 30.00 | 180000.00 | 1.00 | 6000.00 | 5.00 | 30000.00 | 75.00 | 450000.00 | 6000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
32.00 | Spray Painting of LT feeder pillars/DB's at NDTC and NITC car park with two coats of synthetic enamel paint of approved shade, quality and brand including scrapping, cleaning and providing metal primer on the surface, etc., as required. | 1000.00 | Sq. Meter |  | 209.00 | 209000.00 | 100.00 | 100000.00 | 400.00 | 400000.00 | 250.00 | 250000.00 | 200.00 | 200000.00 | 139.00 | 139000.00 | 100000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
33.00 | Servicing and replacement of defective Stainless steel hand drier spares like Euronics, Kallerians & Anand make and the spares will be supplied from AAI stores etc., as required. | 200.00 | Job |  | 999.00 | 199800.00 | 550.00 | 110000.00 | 500.00 | 100000.00 | 300.00 | 60000.00 | 200.00 | 40000.00 | 1200.00 | 240000.00 | 40000.00 | M/s T and C ENGINEERS PVT LTD
34.00 | Painting of 4 Mtr height Street light pole at NDTC and NITC car park with two coats of Aluminium paint of approved shade, quality and brand including scrapping, cleaning and providing metal primer on the surface, etc., as required. | 200.00 | Job |  | 149.00 | 29800.00 | 300.00 | 60000.00 | 600.00 | 120000.00 | 200.00 | 40000.00 | 600.00 | 120000.00 | 3500.00 | 700000.00 | 29800.00 | CHENNAI ENGINEERING SERVICES
35.00 | SUB HEAD - III : Rate contract for NON SCHEDULE ITEMS as on when required basis.
36.00 | Supply of 8Watts 2Pin LED Lamp operating on 230Volts, 50Hz etc., as required. | 800.00 | Each |  | 89.00 | 71200.00 | 130.00 | 104000.00 | 60.00 | 48000.00 | 350.00 | 280000.00 | 85.00 | 68000.00 | 80.00 | 64000.00 | 48000.00 | VOLTECH O AND M SERVICES PVT LTD
37.00 | Supply of 7W LED lamp cool day light B22-14 Cap Philips make or equivalent. | 150.00 | Each |  | 89.00 | 13350.00 | 45.00 | 6750.00 | 60.00 | 9000.00 | 99.00 | 14850.00 | 290.00 | 43500.00 | 80.00 | 12000.00 | 6750.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
38.00 | Supply of 250 watts Metal Halide Lamp, Philips make HPIT- Plus 250 W or equivalent. | 76.00 | Each |  | 599.00 | 45524.00 | 160.00 | 12160.00 | 624.00 | 47424.00 | 550.00 | 41800.00 | 900.00 | 68400.00 | 999.00 | 75924.00 | 12160.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
39.00 | Supply of Open Type Ballast for 1X 250 W SON/MHN/CDM lamp, philips make Cat No. BSN 250 M 363 or equivalent. | 40.00 | Each |  | 999.00 | 39960.00 | 100.00 | 4000.00 | 1250.00 | 50000.00 | 999.00 | 39960.00 | 1300.00 | 52000.00 | 799.00 | 31960.00 | 4000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
40.00 | Supply of Panel lock having size of 20mm dia with key. | 500.00 | Each |  | 99.00 | 49500.00 | 50.00 | 25000.00 | 100.00 | 50000.00 | 40.00 | 20000.00 | 10.00 | 5000.00 | 300.00 | 150000.00 | 5000.00 | M/s T and C ENGINEERS PVT LTD
41.00 | Supply of Panel Indication Lamp - LED type, Size:22.5mm,operating on 230VAC, Gen Next LED L&T make or equivalent.
42.00 | a) Supply of LED panel indication lamps (Red) | 50.00 | Each |  | 149.00 | 7450.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 65.00 | 3250.00 | 10.00 | 500.00 | 399.00 | 19950.00 | 500.00 | M/s T and C ENGINEERS PVT LTD
43.00 | b) Supply of LED Panel indication lamps (Amber) | 50.00 | Each |  | 149.00 | 7450.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 65.00 | 3250.00 | 10.00 | 500.00 | 399.00 | 19950.00 | 500.00 | M/s T and C ENGINEERS PVT LTD
44.00 | c) Supply of LED panel indication lamps (Blue) | 50.00 | Each |  | 199.00 | 9950.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 80.00 | 4000.00 | 10.00 | 500.00 | 399.00 | 19950.00 | 500.00 | M/s T and C ENGINEERS PVT LTD
45.00 | Supply of Stainless steel Hand drier spares for various makes like Euronics, Kallerians and Anand or equivalent.
46.00 | a) Sensor | 40.00 | Each |  | 649.00 | 25960.00 | 400.00 | 16000.00 | 1200.00 | 48000.00 | 750.00 | 30000.00 | 500.00 | 20000.00 | 3500.00 | 140000.00 | 16000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
47.00 | b) Heater | 40.00 | Each |  | 999.00 | 39960.00 | 250.00 | 10000.00 | 1000.00 | 40000.00 | 750.00 | 30000.00 | 500.00 | 20000.00 | 2000.00 | 80000.00 | 10000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
48.00 | c) Wire card | 40.00 | Each |  | 999.00 | 39960.00 | 100.00 | 4000.00 | 150.00 | 6000.00 | 400.00 | 16000.00 | 500.00 | 20000.00 | 200.00 | 8000.00 | 4000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
49.00 | d) PCB Board | 40.00 | Each |  | 999.00 | 39960.00 | 300.00 | 12000.00 | 2000.00 | 80000.00 | 1000.00 | 40000.00 | 250.00 | 10000.00 | 2500.00 | 100000.00 | 10000.00 | M/s T and C ENGINEERS PVT LTD
50.00 | e) Motor | 40.00 | Each |  | 549.00 | 21960.00 | 500.00 | 20000.00 | 2000.00 | 80000.00 | 1200.00 | 48000.00 | 500.00 | 20000.00 | 4000.00 | 160000.00 | 20000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, M/s T and C ENGINEERS PVT LTD
51.00 | f) Shell Cabinet | 20.00 | Each |  | 999.00 | 19980.00 | 700.00 | 14000.00 | 1300.00 | 26000.00 | 900.00 | 18000.00 | 500.00 | 10000.00 | 3500.00 | 70000.00 | 10000.00 | M/s T and C ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 30243376.00 |  | 30192862.00 |  | 35866142.80 |  | 31525210.00 |  | 32840000.00 |  | 31969472.00
Lowest Amount Quoted BY: SHRADDHA ENGINEERING AND FACILITY SERVICES(30192862.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Services Contract for all Electrical Installations at New Domestic and New International Terminals at Chennai Airport Chennai. Tender ID: 2020_AAI_59684_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 30192862.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 30243376.00 | L2
| 3 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 31525210.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 31969472.00 | L4
| 5 | M/s T and C ENGINEERS PVT LTD | 32840000.00 | L5
| 6 | VOLTECH O AND M SERVICES PVT LTD | 35866142.80 | L6