## BoQ1
Government eProcurement System Created By: YASHPAL BIST Created Date/Time: 09-Nov-2020 03:37 PM Tender Title: Supply, Installation, Testing and Commissioning (S.I.T.C.) of Two nos. 10 KVA UPS Tender ID: 2020_AAI_59739_1
Tender Inviting Authority: Incharge CNS AAI Dehradun Airport, Dehradun.
Name of Work: Supply, Installation, Testing & Commissioning (S.I.T.C.) of Two nos. 10 KVA 3 Phase Input output UPS and two battery bank with 2 years warranty for IP Based VCCS at Dehradun Airport
Contract No: AAI/DDN/CNS/VCCS/UPS/2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Saar Technologies(GSTN-04ABIFS3089A1ZD) |  | Ganpati Electricals Pvt Limited(GSTN-07AAACG9076H1ZE) |  | power electric co(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Two nos. 10 KVA 3phase to 3phase inbuilt isolation transformer UPS with remote monitoring application, technical manuals etc. Only Reputed brands, who has proven experience in providing UPS system for critical installation of aviation automation system/VCCS/DVOR should only be provided. | 2.00 | INR |  | 184460.00 | 368920.00 | 310000.00 | 620000.00 | 190000.00 | 380000.00 | 368920.00 | Saar Technologies
2.00 | External SMF VRLA battery bank suitable for 30-minute backup (with rack) of Reputed brands only and a battery isolator of adequate rating. Each battery of capacity 12V and minimum 65 Ah (including interconnecting cables and connectors) | 2.00 | INR |  | 92800.00 | 185600.00 | 0.00 | 0.00 | 90000.00 | 180000.00 | 0.00 | Ganpati Electricals Pvt Limited
3.00 | Training on UPS Operation and Maintenance and Manual. | 1.00 | INR |  | 4000.00 | 4000.00 | 0.00 | 0.00 | 5000.00 | 5000.00 | 0.00 | Ganpati Electricals Pvt Limited
| Total in Figures |  |  |  |  | 558520.00 |  | 620000.00 |  | 565000.00
Lowest Amount Quoted BY: Saar Technologies(558520.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning (S.I.T.C.) of Two nos. 10 KVA UPS Tender ID: 2020_AAI_59739_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Saar Technologies | 558520.00 | L1
| 2 | power electric co | 565000.00 | L2
| 3 | Ganpati Electricals Pvt Limited | 620000.00 | L3