## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 13-Nov-2020 12:13 PM Tender Title: Repair and Maintenance works related to Central Air Conditioning plant at LGBI Airport Guwahati Tender ID: 2020_AAI_59768_1
Tender Inviting Authority: Senior Manager (Engineering Electrical), LGBI Airport, Guwahati
Name of Work: Repair & Maintenance works related to Central Air Conditioning plant at LGBI Airport, Guwahati.
Contract No: 2020_AAI_59768_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | Blue Star Ltd(GSTN-19AAACB4487D1ZP)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, fixing, testing and commissioning of following sizes MS 'C' class condensor waterpipes along with necessary clamps, vibration isolators and fittings such as bends, tees etc.but excluding valves, strainers, gauges etc. adequately supported on rigid supports duly painted/buried in ground excavation and refilling etc. as per specification and job also includes cutting, dismantling of existing condensor water pipes & shifting to dismantle store complete as required in all respect.
1.01 | 400 mm dia. & 7.00 mm wall thickness as per IS: 3589 | 7.00 | Meters | 100.00 | 9129.00 | 63903.00 | 9348.00 | 65436.00 | 63903.00 | Voltas Limited
1.02 | 250 mm dia. & 6.35 mm wall thickness as per IS: 3589 | 45.00 | Meters | 100.00 | 5537.00 | 249165.00 | 5044.00 | 226980.00 | 226980.00 | Blue Star Ltd
1.03 | 200 mm dia. & 6.35 mm wall thickness as per IS: 3589 | 14.00 | Meters | 10.00 | 4293.00 | 60102.00 | 4098.00 | 57372.00 | 57372.00 | Blue Star Ltd
1.04 | 150 mm dia. & 6.35 mm wall thickness as per IS:1239 Part-1 | 38.00 | Meters | 10.00 | 2608.00 | 99104.00 | 2578.00 | 97964.00 | 97964.00 | Blue Star Ltd
1.05 | 100 mm dia. & 6.35 mm wall thickness as per IS:1239 Part-1 | 3.00 | Meters | 10.00 | 1762.00 | 5286.00 | 1914.00 | 5742.00 | 5286.00 | Voltas Limited
1.06 | 80 mm dia. & 6.35 mm wall thickness as per IS:1239 Part-1 | 15.00 | Meters | 10.00 | 1245.00 | 18675.00 | 1477.00 | 22155.00 | 18675.00 | Voltas Limited
1.07 | 50 mm dia. & 6.35 mm wall thickness as per IS:1239 Part-1 | 32.00 | Meters | 10.00 | 932.00 | 29824.00 | 978.00 | 31296.00 | 29824.00 | Voltas Limited
2.00 | Supplying, fixing, testing and commissioning of following sizes Butterfly Valve (Manual) with CI body SS disc nitrile sheet & O - ring & PN 16 pressure rating as specified for condenser water circulation as per specifications and job also includes dismantling of existing valves & shifting to dismantle store complete as per site requirement.
2.01 | 250 mm dia. | 3.00 | Nos | 100.00 | 29132.00 | 87396.00 | 22242.00 | 66726.00 | 66726.00 | Blue Star Ltd
2.02 | 200 mm dia. | 12.00 | Nos | 100.00 | 19192.00 | 230304.00 | 15948.00 | 191376.00 | 191376.00 | Blue Star Ltd
2.03 | 100 mm dia. | 3.00 | Nos | 10.00 | 6797.00 | 20391.00 | 6010.00 | 18030.00 | 18030.00 | Blue Star Ltd
2.04 | 50 mm dia. | 15.00 | Nos | 10.00 | 4035.00 | 60525.00 | 3754.00 | 56310.00 | 56310.00 | Blue Star Ltd
3.00 | Supplying, fixing, testing and commissioning of Pot strainer of dia. 250 mm, Ductile CI Body flanged ends with stainless steel strainer in the condensor water plumbing adequately supported as per specifications job also includes dismantling of existing valves & shifting to dismantle store complete as per site requirement.. | 1.00 | Nos | 10.00 | 60996.00 | 60996.00 | 112926.00 | 112926.00 | 60996.00 | Voltas Limited
4.00 | Supplying, laying/ fixing of 50 mm thick insulation with fire retardant quality expanded polystrene moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with 500g polythene faced hessain & metal sheet and finally applying cement plastering as per specifications and as required complete in all respect. | 20.00 | Sq.meter | 10.00 | 876.00 | 17520.00 | 930.00 | 18600.00 | 17520.00 | Voltas Limited
5.00 | Supply and installation of MERV 13 class (Type: Synthetic media, pleated with expanded aluminium mesh Frame: Finished Aluminium sheet Media: Synthetic, thickness 305 mm) air filter of following sizes:
5.01 | 1000 mm*800 mm | 1.00 | Nos | 100.00 | 9144.00 | 9144.00 | 6577.00 | 6577.00 | 6577.00 | Blue Star Ltd
5.02 | 750 mm*600 mm | 1.00 | Nos | 100.00 | 6287.00 | 6287.00 | 5947.00 | 5947.00 | 5947.00 | Blue Star Ltd
5.03 | 600 mm*600 mm | 8.00 | Nos | 10.00 | 5572.00 | 44576.00 | 5631.00 | 45048.00 | 44576.00 | Voltas Limited
5.04 | 750 mm*750 mm | 2.00 | Nos | 10.00 | 7001.00 | 14002.00 | 6342.00 | 12684.00 | 12684.00 | Blue Star Ltd
5.05 | 700 mm*400 mm | 1.00 | Nos | 10.00 | 6287.00 | 6287.00 | 5473.00 | 5473.00 | 5473.00 | Blue Star Ltd
5.06 | 500 mm*500 mm | 2.00 | Nos | 10.00 | 3429.00 | 6858.00 | 5434.00 | 10868.00 | 6858.00 | Voltas Limited
6.00 | Supply and installation of Volume Control Damper (Manually operated) of 150mm blade made of 20 gauge GI sheet of following sizes including making the hole on brick walls for fitting the same:
6.01 | 1000 mm*800 mm | 1.00 | Nos | 100.00 | 7001.00 | 7001.00 | 5121.00 | 5121.00 | 5121.00 | Blue Star Ltd
6.02 | 750 mm*600 mm | 1.00 | Nos | 100.00 | 4251.00 | 4251.00 | 3449.00 | 3449.00 | 3449.00 | Blue Star Ltd
6.03 | 600 mm*600 mm | 8.00 | Nos | 10.00 | 3543.00 | 28344.00 | 3019.00 | 24152.00 | 24152.00 | Blue Star Ltd
6.04 | 750 mm*750 mm | 2.00 | Nos | 10.00 | 5135.00 | 10270.00 | 3986.00 | 7972.00 | 7972.00 | Blue Star Ltd
6.05 | 700 mm*400 mm | 1.00 | Nos | 10.00 | 3465.00 | 3465.00 | 2638.00 | 2638.00 | 2638.00 | Blue Star Ltd
6.06 | 500 mm*500 mm | 2.00 | Nos | 10.00 | 2679.00 | 5358.00 | 2494.00 | 4988.00 | 4988.00 | Blue Star Ltd
7.00 | Supply, Fabrication and installation of Fresh air Pakage arrangement having Intake Cowl of 45 deg and arrangement of filter frame for installation of fresh air package made out of 20 gauge GI sheet of following sizes:
7.01 | 1000 mm*800 mm | 1.00 | Nos | 100.00 | 9716.00 | 9716.00 | 5790.00 | 5790.00 | 5790.00 | Blue Star Ltd
7.02 | 750 mm*600 mm | 1.00 | Nos | 100.00 | 6001.00 | 6001.00 | 3826.00 | 3826.00 | 3826.00 | Blue Star Ltd
7.03 | 600 mm*600 mm | 8.00 | Nos | 10.00 | 5229.00 | 41832.00 | 3320.00 | 26560.00 | 26560.00 | Blue Star Ltd
7.04 | 750 mm*750 mm | 2.00 | Nos | 10.00 | 7680.00 | 15360.00 | 4458.00 | 8916.00 | 8916.00 | Blue Star Ltd
7.05 | 700 mm*400 mm | 1.00 | Nos | 10.00 | 4544.00 | 4544.00 | 2872.00 | 2872.00 | 2872.00 | Blue Star Ltd
7.06 | 500 mm*500 mm | 2.00 | Nos | 10.00 | 4286.00 | 8572.00 | 2703.00 | 5406.00 | 5406.00 | Blue Star Ltd
8.00 | Supplying & fixing of powder coated extruded linear aluminium Air Grills without louvers & volume control dampers complete as required. | 30.00 | Sqm. | 10.00 | 6144.00 | 184320.00 | 7260.00 | 217800.00 | 184320.00 | Voltas Limited
| Total in Figures |  |  |  |  | 1419379.00 |  | 1377000.00
Lowest Amount Quoted BY: Blue Star Ltd(1377000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and Maintenance works related to Central Air Conditioning plant at LGBI Airport Guwahati Tender ID: 2020_AAI_59768_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Blue Star Ltd | 1377000.00 | L1
| 2 | Voltas Limited | 1419379.00 | L2