## BoQ1
Government eProcurement System Created By: SUDHISH KUMAR MAHESH CHANDRA JAIN Created Date/Time: 27-Nov-2020 12:16 PM Tender Title: Supply, Installation, Testing and Commissioning of Optical fiber in operational area at Vadodara Airport Tender ID: 2020_AAI_59922_1
Tender Inviting Authority: Airport Director Vadodara on behalf of Chairman, Airports Authority of India (AAI)
Name of Work: Supply, Installation, Testing and Commissioning of Optical fiber in operational area at Vadodara Airport.”
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R R GUPTA STEEL INDUSTRIES(GSTN-06AHLPG3163C2ZP) |  | Vijaya Enterprises(GSTN-36AAHFV4577G1ZR) |  | ACUTE SYSTEMS AND SOLUTIONS(GSTN-24CXZPK0484N1ZM) |  | pratap technocrats pvt ltd(GSTN-08AAICP3621R1ZV) |  | A S INFOTECH E SOLUTIONS PVT LTD(GSTN-07AAKCA1067E1ZX) |  | Anant Vision Technologies(GSTN-09AARFA6548E1Z4) |  | INTEK MICRO SYSTEMS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Passive & Active Components
1.01 | 12 core SM armored OFC | 9300.00 | mtrs |  | 70.00 | 651000.00 | 62.00 | 576600.00 | 40.50 | 376650.00 | 21.50 | 199950.00 | 140.00 | 1302000.00 | 81.86 | 761298.00 | 130.00 | 1209000.00 | 199950.00 | pratap technocrats pvt ltd
1.02 | 40mm Dia HDPE pipe | 9300.00 | mtrs |  | 70.00 | 651000.00 | 79.00 | 734700.00 | 276.28 | 2569404.00 | 57.00 | 530100.00 | 110.00 | 1023000.00 | 92.88 | 863784.00 | 98.00 | 911400.00 | 530100.00 | pratap technocrats pvt ltd
1.03 | L 3 CORE SWITCH AS PER SPECS ATTACHED | 1.00 | Nos |  | 40000.00 | 40000.00 | 261000.00 | 261000.00 | 55282.50 | 55282.50 | 114073.30 | 114073.30 | 559320.00 | 559320.00 | 356556.00 | 356556.00 | 420000.00 | 420000.00 | 40000.00 | R R GUPTA STEEL INDUSTRIES
1.04 | 8 port L2 Managed switches with at least 02 Fiber uplink with redundant Power Supplies | 4.00 | Nos |  | 20000.00 | 80000.00 | 52000.00 | 208000.00 | 15457.50 | 61830.00 | 9790.00 | 39160.00 | 56800.00 | 227200.00 | 16641.00 | 66564.00 | 42000.00 | 168000.00 | 39160.00 | pratap technocrats pvt ltd
1.05 | DIN RAIL Fiber Patch Panel 24 Core Fully Loaded | 5.00 | Nos |  | 40000.00 | 200000.00 | 12050.00 | 60250.00 | 3375.00 | 16875.00 | 11823.00 | 59115.00 | 15800.00 | 79000.00 | 10965.00 | 54825.00 | 18900.00 | 94500.00 | 16875.00 | ACUTE SYSTEMS AND SOLUTIONS
1.06 | LC-LC Style SM Duplex Patch Cord, 3 Meter – TRACEABLE PATCH CORD | 10.00 | Nos |  | 1500.00 | 15000.00 | 1900.00 | 19000.00 | 2025.00 | 20250.00 | 1727.25 | 17272.50 | 5500.00 | 55000.00 | 8772.00 | 87720.00 | 9800.00 | 98000.00 | 15000.00 | R R GUPTA STEEL INDUSTRIES
1.07 | LC-LC Style SM Duplex Patch Cord, 5 Meter – TRACEABLE PATCH CORD | 10.00 | Nos |  | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 2025.00 | 20250.00 | 1992.90 | 19929.00 | 6500.00 | 65000.00 | 10062.00 | 100620.00 | 15600.00 | 156000.00 | 19929.00 | pratap technocrats pvt ltd
1.08 | Category 6A 4 Pair UTP Cable (305 mt. Roll) | 1.00 | Nos |  | 6000.00 | 6000.00 | 12850.00 | 12850.00 | 13500.00 | 13500.00 | 23244.90 | 23244.90 | 18000.00 | 18000.00 | 12255.00 | 12255.00 | 16890.00 | 16890.00 | 6000.00 | R R GUPTA STEEL INDUSTRIES
1.09 | RJ45 Connectors – Field Terminate Plug – CAT-6A CONNECTOR (Pkt) of 25 Nos) | 2.00 | Pkt |  | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 675.00 | 1350.00 | 12286.05 | 24572.10 | 25000.00 | 50000.00 | 16060.00 | 32120.00 | 35000.00 | 70000.00 | 1350.00 | ACUTE SYSTEMS AND SOLUTIONS
1.10 | 27U closed Rack with Standard Accessories(with sockets) | 1.00 | Nos |  | 40000.00 | 40000.00 | 35800.00 | 35800.00 | 33750.00 | 33750.00 | 15407.70 | 15407.70 | 52690.00 | 52690.00 | 42312.00 | 42312.00 | 48910.00 | 48910.00 | 15407.70 | pratap technocrats pvt ltd
1.11 | 6 U Wall Mounted Rack With Standard Accessories(with sockets) | 4.00 | Nos |  | 10000.00 | 40000.00 | 5600.00 | 22400.00 | 4725.00 | 18900.00 | 3984.75 | 15939.00 | 8900.00 | 35600.00 | 4747.00 | 18988.00 | 11400.00 | 45600.00 | 15939.00 | pratap technocrats pvt ltd
1.12 | MOXA make convertors model -N Port 5250A | 8.00 | Nos |  | 25000.00 | 200000.00 | 25200.00 | 201600.00 | 24806.25 | 198450.00 | 24407.25 | 195258.00 | 25900.00 | 207200.00 | 22575.00 | 180600.00 | 28200.00 | 225600.00 | 180600.00 | Anant Vision Technologies
1.13 | UTP to fiber optic full duplex media convertor | 4.00 | Nos |  | 25000.00 | 100000.00 | 6800.00 | 27200.00 | 21600.00 | 86400.00 | 1859.55 | 7438.20 | 35800.00 | 143200.00 | 11739.00 | 46956.00 | 42800.00 | 171200.00 | 7438.20 | pratap technocrats pvt ltd
1.14 | CAT6A UTP Jack Panel loaded with 24 ports | 4.00 | Nos |  | 12000.00 | 48000.00 | 7500.00 | 30000.00 | 4725.00 | 18900.00 | 13947.15 | 55788.60 | 16800.00 | 67200.00 | 8746.00 | 34984.00 | 14780.00 | 59120.00 | 18900.00 | ACUTE SYSTEMS AND SOLUTIONS
1.15 | CAT 6A UTP Patch Cords 10 Mtrs | 10.00 | Nos |  | 2000.00 | 20000.00 | 750.00 | 7500.00 | 472.50 | 4725.00 | 1195.95 | 11959.50 | 1800.00 | 18000.00 | 1148.00 | 11480.00 | 1200.00 | 12000.00 | 4725.00 | ACUTE SYSTEMS AND SOLUTIONS
1.16 | 32mm dia 03mm thickness GI Conduit | 450.00 | mtrs |  | 100.00 | 45000.00 | 300.00 | 135000.00 | 637.20 | 286740.00 | 450.00 | 202500.00 | 450.00 | 202500.00 | 155.00 | 69750.00 | 350.00 | 157500.00 | 45000.00 | R R GUPTA STEEL INDUSTRIES
1.17 | 32mm PVC Conduit | 200.00 | mtrs |  | 50.00 | 10000.00 | 90.00 | 18000.00 | 105.21 | 21042.00 | 45.00 | 9000.00 | 110.00 | 22000.00 | 70.00 | 14000.00 | 94.00 | 18800.00 | 9000.00 | pratap technocrats pvt ltd
1.18 | Flexible Metallic PVC Pipe for laying in Bends for 40 MM HDPE | 100.00 | mtrs |  | 60.00 | 6000.00 | 75.00 | 7500.00 | 135.00 | 13500.00 | 54.00 | 5400.00 | 690.00 | 69000.00 | 452.00 | 45200.00 | 625.00 | 62500.00 | 5400.00 | pratap technocrats pvt ltd
1.19 | Route Markers | 150.00 | Nos |  | 1500.00 | 225000.00 | 560.00 | 84000.00 | 405.00 | 60750.00 | 400.00 | 60000.00 | 680.00 | 102000.00 | 490.00 | 73500.00 | 850.00 | 127500.00 | 60000.00 | pratap technocrats pvt ltd
1.20 | Laptop with accessories | 1.00 | Nos |  | 50000.00 | 50000.00 | 90000.00 | 90000.00 | 108000.00 | 108000.00 | 95760.00 | 95760.00 | 240000.00 | 240000.00 | 252840.00 | 252840.00 | 268000.00 | 268000.00 | 50000.00 | R R GUPTA STEEL INDUSTRIES
1.21 | One 0.6 mm, 10-pair armored jelly filled RC cable | 200.00 | mtrs |  | 150.00 | 30000.00 | 120.00 | 24000.00 | 175.50 | 35100.00 | 119.70 | 23940.00 | 185.00 | 37000.00 | 134.00 | 26800.00 | 147.00 | 29400.00 | 23940.00 | pratap technocrats pvt ltd
2.00 | Installation, Testing and commissioning.
2.01 | Laying of Fiber cable through HDPE duct/PVC Pipe | 9300.00 | mtrs |  | 25.00 | 232500.00 | 21.00 | 195300.00 | 20.25 | 188325.00 | 20.00 | 186000.00 | 20.00 | 186000.00 | 24.00 | 223200.00 | 22.00 | 204600.00 | 186000.00 | pratap technocrats pvt ltd, A S INFOTECH E SOLUTIONS PVT LTD
2.02 | Supply and installation of OFC Jointing Kits by splicing | 8.00 | Nos |  | 3000.00 | 24000.00 | 10000.00 | 80000.00 | 12825.00 | 102600.00 | 5500.00 | 44000.00 | 2800.00 | 22400.00 | 6048.00 | 48384.00 | 4800.00 | 38400.00 | 22400.00 | A S INFOTECH E SOLUTIONS PVT LTD
2.03 | Installation of Route Marker | 150.00 | Nos |  | 500.00 | 75000.00 | 265.00 | 39750.00 | 675.00 | 101250.00 | 300.00 | 45000.00 | 400.00 | 60000.00 | 505.00 | 75750.00 | 780.00 | 117000.00 | 39750.00 | Vijaya Enterprises
2.04 | Trenching in soft soil up to 1mtr depth, laying of HDPE Duct in the trench, back filling the trench to the original | 4800.00 | mtrs |  | 120.00 | 576000.00 | 265.00 | 1272000.00 | 297.00 | 1425600.00 | 280.00 | 1344000.00 | 120.00 | 576000.00 | 248.00 | 1190400.00 | 140.00 | 672000.00 | 576000.00 | R R GUPTA STEEL INDUSTRIES, A S INFOTECH E SOLUTIONS PVT LTD
2.05 | Excavating Trenching in Hard Soil with JCB upto 3ft Depth,laying HDPE Pipe and backfilling the trench to normal poistion | 2900.00 | mtrs |  | 400.00 | 1160000.00 | 265.00 | 768500.00 | 229.50 | 665550.00 | 450.00 | 1305000.00 | 200.00 | 580000.00 | 440.00 | 1276000.00 | 224.00 | 649600.00 | 580000.00 | A S INFOTECH E SOLUTIONS PVT LTD
2.06 | Laying of HDPE Duct in existing Ducts (by opening the Cement Covers), then clamping it to the wall of existing ducts if | 800.00 | mtrs |  | 50.00 | 40000.00 | 110.00 | 88000.00 | 67.50 | 54000.00 | 50.00 | 40000.00 | 60.00 | 48000.00 | 100.00 | 80000.00 | 65.00 | 52000.00 | 40000.00 | R R GUPTA STEEL INDUSTRIES, pratap technocrats pvt ltd
2.07 | Laying of HDPE Duct in existing Nalas / culverts including laying of GI Pipes | 300.00 | mtrs |  | 100.00 | 30000.00 | 230.00 | 69000.00 | 270.00 | 81000.00 | 450.00 | 135000.00 | 45.00 | 13500.00 | 125.00 | 37500.00 | 30.00 | 9000.00 | 9000.00 | INTEK MICRO SYSTEMS PVT LTD
2.08 | Laying of 20-pair armored jelly filled RC cable Old DVOR to new DVOR through Nala of 30 mtr approx (Over 30 m Nala, the cable will pass through 4 inch GI pipe.) | 150.00 | mtrs |  | 100.00 | 15000.00 | 220.00 | 33000.00 | 270.00 | 40500.00 | 875.00 | 131250.00 | 48.00 | 7200.00 | 50.00 | 7500.00 | 35.00 | 5250.00 | 5250.00 | INTEK MICRO SYSTEMS PVT LTD
2.09 | Construction of Manholes / OFC Chambers as per site requirement (i.e. Cable joints, runway crossing/as per requirement) | 10.00 | Nos |  | 10000.00 | 100000.00 | 10000.00 | 100000.00 | 27000.00 | 270000.00 | 12000.00 | 120000.00 | 5100.00 | 51000.00 | 6300.00 | 63000.00 | 4200.00 | 42000.00 | 42000.00 | INTEK MICRO SYSTEMS PVT LTD
2.10 | Installation of racks / LIUs / Switches / Splicing of Fibre at LIUs / Connecting Pig Tails / fixing of Patch Chords and labeling and dressing Patch Cords. | 1.00 | Job |  | 200000.00 | 200000.00 | 150000.00 | 150000.00 | 135000.00 | 135000.00 | 25000.00 | 25000.00 | 22000.00 | 22000.00 | 46000.00 | 46000.00 | 16000.00 | 16000.00 | 16000.00 | INTEK MICRO SYSTEMS PVT LTD
2.11 | Commissioning of the Network by programming Switches, link testing etc | 1.00 | Job |  | 100000.00 | 100000.00 | 50000.00 | 50000.00 | 33750.00 | 33750.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 60000.00 | 60000.00 | 15000.00 | 15000.00 | 15000.00 | pratap technocrats pvt ltd, INTEK MICRO SYSTEMS PVT LTD
2.12 | Preparation of Cable Route Diagram by CAD and necessary Documentation | 1.00 | Job |  | 70000.00 | 70000.00 | 10000.00 | 10000.00 | 20250.00 | 20250.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 42000.00 | 42000.00 | 10000.00 | 10000.00 | 10000.00 | Vijaya Enterprises, pratap technocrats pvt ltd, INTEK MICRO SYSTEMS PVT LTD
3.00 | Note: L1 will be decided on the basis of Total basic price excluding GST quoted by the Bidder.
| Total in Figures |  |  |  |  | 5101500.00 |  | 5432950.00 |  | 7139473.50 |  | 5126057.80 |  | 6181010.00 |  | 6302886.00 |  | 6200770.00
Lowest Amount Quoted BY: R R GUPTA STEEL INDUSTRIES(5101500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of Optical fiber in operational area at Vadodara Airport Tender ID: 2020_AAI_59922_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R R GUPTA STEEL INDUSTRIES | 5101500.00 | L1
| 2 | pratap technocrats pvt ltd | 5126057.80 | L2
| 3 | Vijaya Enterprises | 5432950.00 | L3
| 4 | A S INFOTECH E SOLUTIONS PVT LTD | 6181010.00 | L4
| 5 | INTEK MICRO SYSTEMS PVT LTD | 6200770.00 | L5
| 6 | Anant Vision Technologies | 6302886.00 | L6
| 7 | ACUTE SYSTEMS AND SOLUTIONS | 7139473.50 | L7