## BoQ1
Government eProcurement System Created By: Yugal Kishor Created Date/Time: 06-Nov-2020 04:43 PM Tender Title: ARMO of E and M Installations of CISF Barracks, Outer Marker and Solar Obstruction Lights on Hills at International Airport, Jaipur 2020-21 Tender ID: 2020_AAI_59986_1
Tender Inviting Authority: Asstt. General Manager (Engg-Electrical), Jaipur Airport.
Name of Work: ARMO of E&M Installations of CISF Barracks, Outer Marker and Solar Obstruction Lights on Hills at International Airport, Jaipur (2020-21).
Contract No: 2020_AAI_59986_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s Shri Shyam Enterprises(GSTN-08ADXPR8123R1ZA) |  | Pooja Electricals(GSTN-08AMJPM5477G1ZM)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing one number skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations. | 72.00 | Job | 100.00 | 20000.00 | 1440000.00 | 19170.00 | 1380240.00 | 19921.00 | 1434312.00 | 1380240.00 | M/s Shri Shyam Enterprises
2.00 | Providing one number semi-skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations. | 48.00 | Job | 100.00 | 17100.00 | 820800.00 | 16310.00 | 782880.00 | 17016.00 | 816768.00 | 782880.00 | M/s Shri Shyam Enterprises
3.00 | Providing one number un-skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations. | 96.00 | Job | 100.00 | 15000.00 | 1440000.00 | 14150.00 | 1358400.00 | 15090.00 | 1448640.00 | 1358400.00 | M/s Shri Shyam Enterprises
4.00 | Comprehensive maintenance of 02 nos. solar powered obstruction light comprising of battery bank, charger, light assembly, solar panel, controls cards, PV panels, flashers unit, ammeter, voltmeter etc. installed at Jagatpura & Jhalana Hills including replacement/ repairs of all consumables, spares, materials etc. complete as required. | 12.00 | Month | 10.00 | 16000.00 | 192000.00 | 2500.00 | 30000.00 | 5000.00 | 60000.00 | 30000.00 | M/s Shri Shyam Enterprises
5.00 | Repairing and rewinding of fan motor of desert cooler/room cooler with super enamelled copper wire of required grade insulation including dismantling, re-installation, testing etc. as required. | 30.00 | Each | 10.00 | 640.00 | 19200.00 | 650.00 | 19500.00 | 250.00 | 7500.00 | 7500.00 | Pooja Electricals
6.00 | Repairing and rewinding of fan motor of 300 mm dia exhaust fan with super enamelled copper wire of required grade insulation including dismantling, re-installation, testing etc. as required. | 15.00 | Each | 10.00 | 450.00 | 6750.00 | 750.00 | 11250.00 | 350.00 | 5250.00 | 5250.00 | Pooja Electricals
7.00 | Repairing and rewinding of fan motor of 450 mm dia exhaust fan with super enamelled copper wire of required grade insulation including dismantling, re-installation, testing etc. as required. | 15.00 | Each | 10.00 | 600.00 | 9000.00 | 1050.00 | 15750.00 | 450.00 | 6750.00 | 6750.00 | Pooja Electricals
8.00 | Repairing and rewinding of fan motor of ceiling fan/wall fan with super enamelled copper wire of required grade insulation including dismantling, re-installation, testing etc. as required. | 30.00 | Each | 10.00 | 450.00 | 13500.00 | 480.00 | 14400.00 | 500.00 | 15000.00 | 13500.00 | Manish Electricals
9.00 | Repairing and rewinding of 7.5 HP (discharge capacity- 5.5LPS & head 33-50m) submersible pump set suitable for 415V volts, 3 phase, 50 Hz AC including dismantling, re-installation, testing etc. as required. | 2.00 | Each | 10.00 | 4000.00 | 8000.00 | 5500.00 | 11000.00 | 3000.00 | 6000.00 | 6000.00 | Pooja Electricals
10.00 | Lifting and lowering of 3/5/7.5/10/12.5 HP submersible pump from existing borewell upto 100 meter depth. | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | Pooja Electricals
11.00 | Callibration of following Protection Relays (Make Alstom) installed on 03 nos 11 KV VCB Breaker Panel (01 Incomer + 02 Outgoing) by OEM/ Authorized dealer/ specialized agency inculding cleaning, repairing, testing, submission of reports etc. complete as required. a) Numerical Communicable IDMT Relay (3 OC + 1 EF) - 03 Nos. b) Electromechnical type Master trip Relay -03 Nos. c) Tranformer Fault Aux. Relay - 02 Nos | 1.00 | Job | 10.00 | 18000.00 | 18000.00 | 21000.00 | 21000.00 | 10000.00 | 10000.00 | 10000.00 | Pooja Electricals
12.00 | Supply of Transformer oil for top up the existing transformer including transportation, loading & unloading etc. as required. | 100.00 | Ltr | 10.00 | 140.00 | 14000.00 | 165.00 | 16500.00 | 100.00 | 10000.00 | 10000.00 | Pooja Electricals
13.00 | Dehydration of Transformer oil at site i/c transportation of dehydration machine at site and submisstion of report as required. | 1520.00 | Ltr | 10.00 | 10.00 | 15200.00 | 25.00 | 38000.00 | 10.00 | 15200.00 | 15200.00 | Manish Electricals, Pooja Electricals
14.00 | Collecting transformer oil sample and testing for di-electric strength (BDV value) of oil from authorised testing laboratory and submission of test report as required. | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 10000.00 | M/s Shri Shyam Enterprises
15.00 | Overhauling of Schneider make, HVX model Vacuum Circuit Breakers of 11KV, 630 Amps capacity by OEM/ Authorized dealer/ specialized agency including cleaning, inspection, servicing, repairing, testing etc. complete as required. Cost of spare (if required) shall be paid extra by AAI. | 3.00 | Each | 10.00 | 20000.00 | 60000.00 | 20000.00 | 60000.00 | 10000.00 | 30000.00 | 30000.00 | Pooja Electricals
16.00 | Visit charges of service engineer from specialized firm for attending the break down in AMF panel of DG set / LT Panel complete as required. | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 6000.00 | M/s Shri Shyam Enterprises, Pooja Electricals
17.00 | Comprehensive maintenance of different make 1.5 TR Split type airconditioner including comprehensive maintenance of voltage stablizer for one unit per month. | 36.00 | Job | 10.00 | 380.00 | 13680.00 | 200.00 | 7200.00 | 300.00 | 10800.00 | 7200.00 | M/s Shri Shyam Enterprises
18.00 | Comprehensive maintenance of 5.0 Tr ductable split-type air-conditioner including replacement/ repairs of parts like compressor, gas refilling, capacitor etc. for one unit per month complete as per site requirement. | 24.00 | Job | 10.00 | 1000.00 | 24000.00 | 500.00 | 12000.00 | 600.00 | 14400.00 | 12000.00 | M/s Shri Shyam Enterprises
19.00 | Comprehensive maintenance of different make water cooler of different capacity including replacement/ repairs of parts like compressor, gas refilling, capacitor etc. for one unit per month complete as per site requirement. | 24.00 | Job | 10.00 | 450.00 | 10800.00 | 300.00 | 7200.00 | 300.00 | 7200.00 | 7200.00 | M/s Shri Shyam Enterprises, Pooja Electricals
20.00 | Comprehensive maintenance of Reverse Osmosis Unit of 10 LPH capacity including replacement/ repairs of parts like filter, membrane, motor etc. for one unit per month complete as per site requirement. | 12.00 | Job | 10.00 | 300.00 | 3600.00 | 200.00 | 2400.00 | 250.00 | 3000.00 | 2400.00 | M/s Shri Shyam Enterprises
21.00 | Comprehensive maintenance of 50 LPH (Nominal) Reverse Osmosis unit including replacement/ repairs of parts like sediment filter, carbon filter, booster pump, membrane,bacteria's removing system, water level sensor for one unit per month complete as per site requirement. (Make : ION Exchange, Model : Zero, B RO Skid 50L) | 12.00 | Job | 10.00 | 1400.00 | 16800.00 | 600.00 | 7200.00 | 1000.00 | 12000.00 | 7200.00 | M/s Shri Shyam Enterprises
22.00 | Carrying out D.G. set stack monitoring for parameters like PM, SO2, NO2, CO & HC including taking samples, testing and submission of analysis reports with mandatory parameters from Govt authorized lab, complete as required. | 4.00 | Each | 10.00 | 2500.00 | 10000.00 | 4500.00 | 18000.00 | 1800.00 | 7200.00 | 7200.00 | Pooja Electricals
23.00 | Carrying out D.G. set noise monitoring for minimum and maximum including testing, recording data and submission of analysis reports with mandatory parameters from Govt authorized lab, complete as required. | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 700.00 | 2800.00 | 2800.00 | Pooja Electricals
24.00 | Providing & Fixing DOL Starter suitable for 3 phase, 50 Hz, 7.5 HP/10 HP Submersible Pump Set i/c provision for voltage, amp. & ON/OFF Metering also i/c minor civil work complete as per site requirement. (Make : L & T, MU-G15 or equivalent) | 2.00 | Each | 10.00 | 7800.00 | 15600.00 | 5500.00 | 11000.00 | 5500.00 | 11000.00 | 11000.00 | M/s Shri Shyam Enterprises, Pooja Electricals
25.00 | Supply and fixing of ISI marked Carbon Dioxide (CO2) type fire extinguisher of 4.5 Kg capacity with all accessories conforming to IS-15683:2006 including wheel type release valve, discharge hose not less than 1 meter and 10mm dia, bracket, locking arragement etc. complete with initial filling with CO2 gas as required. | 3.00 | Each | 10.00 | 6800.00 | 20400.00 | 2500.00 | 7500.00 | 3500.00 | 10500.00 | 7500.00 | M/s Shri Shyam Enterprises
26.00 | Supply, installation, testing and commissioning of ABC type 6 kg Fire Extinguisher confirm to IS 15683:2006 fitted with squeeze grip release valve, locking arrangement, pressure gauge, bracket and other required accessories complete with initial filling as required. | 3.00 | Each | 10.00 | 2600.00 | 7800.00 | 3200.00 | 9600.00 | 2500.00 | 7500.00 | 7500.00 | Pooja Electricals
27.00 | Supply of 60 Watt LED Stree/ Roadway Lighting Luminaire with IP65 Protection, die cas aluminium housing suitable for single phase 240 V, 50 Hz AC supply complete as required. | 10.00 | Each | 10.00 | 2500.00 | 25000.00 | 4950.00 | 49500.00 | 2000.00 | 20000.00 | 20000.00 | Pooja Electricals
28.00 | Supply of 36 Watt LED Stree/ Roadway Lighting Luminaire with IP65 Protection, die cas aluminium housing suitable for single phase 240 V, 50 Hz AC supply complete as required. | 10.00 | Each | 10.00 | 1250.00 | 12500.00 | 3000.00 | 30000.00 | 1300.00 | 13000.00 | 12500.00 | Manish Electricals
29.00 | Supply of Driver suitable for Gears Energy Make 72 W LED Street Light Fitting suitable for 230 V, 50 Hz AC Power Supply. | 10.00 | Each | 10.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 600.00 | 6000.00 | 6000.00 | Pooja Electricals
30.00 | Supply of Driver suitable for Gears Energy Make 24/25 W LED Street Light Fitting suitable for 230 V, 50 Hz AC Power Supply. | 10.00 | Each | 10.00 | 450.00 | 4500.00 | 780.00 | 7800.00 | 400.00 | 4000.00 | 4000.00 | Pooja Electricals
31.00 | Supply of metal Almirah of size approximate 48" x 30" x 18" of thickness 18 G of approved color and make as per direction of Engineer In Charge (Make: Godrej/ Durian/ Evok/ Usha Lexus Wipro/ Hoff) | 1.00 | Each | 10.00 | 500.00 | 500.00 | 15100.00 | 15100.00 | 11500.00 | 11500.00 | 500.00 | Manish Electricals
32.00 | Supply of Mechanic Tool Kit including drill machine, drill bit, hammer, plier etc (BOSCH GSB 550). | 1.00 | Each | 10.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 4000.00 | Pooja Electricals
33.00 | Supply of variable speed Air-Blower including all accessories. (BOSCH GBL 800E). | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3000.00 | Pooja Electricals
34.00 | Supply of 1 x 1.5 Sqmm size FRLS, PVC insulated copper conductor wires suitable for operation of 230 volt single phase 50 Hz AC Supply. | 100.00 | Mtr | 10.00 | 11.00 | 1100.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 1000.00 | M/s Shri Shyam Enterprises
35.00 | Supply of 1 x 2.5 Sqmm size FRLS, PVC insulated copper conductor wires suitable for operation of 230 volt single phase 50 Hz AC Supply. | 100.00 | Mtr | 10.00 | 21.00 | 2100.00 | 17.00 | 1700.00 | 25.00 | 2500.00 | 1700.00 | M/s Shri Shyam Enterprises
36.00 | Supply of 1 x 4.0 Sqmm size FRLS, PVC insulated copper conductor wires suitable for operation of 230 volt single phase 50 Hz AC Supply. | 100.00 | Mtr | 10.00 | 35.00 | 3500.00 | 27.00 | 2700.00 | 37.00 | 3700.00 | 2700.00 | M/s Shri Shyam Enterprises
37.00 | Supply of 3 x 1.5 Sqmm size FRLS, PVC insulated copper conductor wires suitable for operation of 230 volt single phase 50 Hz AC Supply. | 50.00 | Mtr | 10.00 | 45.00 | 2250.00 | 58.00 | 2900.00 | 49.00 | 2450.00 | 2250.00 | Manish Electricals
38.00 | Supply of 3 x 2.5 Sqmm size FRLS, PVC insulated copper conductor wires suitable for operation of 230 volt single phase 50 Hz AC Supply. | 50.00 | Mtr | 10.00 | 65.00 | 3250.00 | 75.00 | 3750.00 | 79.00 | 3950.00 | 3250.00 | Manish Electricals
39.00 | Supply of 2.5 MFD capacitor suitable for ceiling fan operation on 230 volt 50 Hz single phase AC supply. | 50.00 | Each | 10.00 | 30.00 | 1500.00 | 47.00 | 2350.00 | 25.00 | 1250.00 | 1250.00 | Pooja Electricals
40.00 | Supply of 12 V, 180 AH lead acid battery suitable for DG set. | 2.00 | Each | 10.00 | 16500.00 | 33000.00 | 18500.00 | 37000.00 | 12000.00 | 24000.00 | 24000.00 | Pooja Electricals
41.00 | CPWD- DSR 2018 (E&M) Note: The guidelines for quoting the rate for this item is mentioned in clause 25 (b) of Page GTT‐4. | 75000.00 | Rs. | 10.00 | .90 | 67500.00 | .85 | 63750.00 | .65 | 48750.00 | 48750.00 | Pooja Electricals
42.00 | CPWD- DSR 2018 (CIVIL) Note: The guidelines for quoting the rate for this item is mentioned in clause 25 (b) of Page GTT‐4. | 25000.00 | Rs. | 10.00 | .90 | 22500.00 | 1.05 | 26250.00 | .65 | 16250.00 | 16250.00 | Pooja Electricals
| Total in Figures |  |  |  |  | 4415830.00 |  | 4142820.00 |  | 4141670.00
Lowest Amount Quoted BY: Pooja Electricals(4141670.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of CISF Barracks, Outer Marker and Solar Obstruction Lights on Hills at International Airport, Jaipur 2020-21 Tender ID: 2020_AAI_59986_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Pooja Electricals | 4141670.00 | L1
| 2 | M/s Shri Shyam Enterprises | 4142820.00 | L2
| 3 | Manish Electricals | 4415830.00 | L3