## BoQ1
Government eProcurement System Created By: NANDKUMAR KUNDALE Created Date/Time: 12-Nov-2020 02:50 PM Tender Title: CMC of Ductable, Split, Window AC units, Water Coolers and Water Purifiers at New Airport Colony, Mumbai for 2 years (2020-22) Tender ID: 2020_AAI_60036_1
Tender Inviting Authority: AGM(E-E)
Name of Work: Comprehensive Maintenance Contract (CMC) of Ductable , Split, Window Air conditioning units, water Coolers and water Purifiers at New Airport Colony, Mumbai for 2 years (2020-22).
Contract No: 2020_AAI_60036_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S N COOL(GSTN-27ABFMS5493A1ZX) |  | Aqua Cool Co.Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance Contract of 1.5 TR window type Air Conditioners of M/s. Voltas / Carrier / Blue Star /LG make at different locations including repair/replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
1.01 | For First Year | 49.00 | JOB | 2500.00 | 1350.00 | 66150.00 | 1400.00 | 68600.00 | 66150.00 | S N COOL
1.02 | For Second Year | 49.00 | JOB | 2500.00 | 1350.00 | 66150.00 | 1400.00 | 68600.00 | 66150.00 | S N COOL
2.00 | Comprehensive Maintenance Contract of 2.0 TR window type Air Conditioners of M/s. Voltas / Carrier / Blue Star make at different locations including repair/replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
2.01 | For First Year | 5.00 | JOB | 2500.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 7500.00 | S N COOL, Aqua Cool Co.Pvt Ltd
2.02 | For Second Year | 5.00 | JOB | 2500.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 7500.00 | S N COOL, Aqua Cool Co.Pvt Ltd
3.00 | Comprehensive Maintenance Contract of 1.5 TR Split Air-Conditioner Unit of M/s. Voltas / Carrier / Blue Star / LG make at different locations including repair/replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
3.01 | For First Year | 42.00 | JOB | 2750.00 | 1850.00 | 77700.00 | 1600.00 | 67200.00 | 67200.00 | Aqua Cool Co.Pvt Ltd
3.02 | For Second Year | 42.00 | JOB | 2750.00 | 1850.00 | 77700.00 | 1650.00 | 69300.00 | 69300.00 | Aqua Cool Co.Pvt Ltd
4.00 | Comprehensive Maintenance Contract of 2.0 TR Split Air-Conditioner Unit of M/s. Voltas / Carrier / Blue Star / LG make at different locations including repair/replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
4.01 | For First Year | 7.00 | JOB | 2875.00 | 1900.00 | 13300.00 | 1700.00 | 11900.00 | 11900.00 | Aqua Cool Co.Pvt Ltd
4.02 | For Second Year | 7.00 | JOB | 2875.00 | 1900.00 | 13300.00 | 1750.00 | 12250.00 | 12250.00 | Aqua Cool Co.Pvt Ltd
5.00 | Comprehensive Maintenance Contract of 8.5 TR Ductable Air-conditioner units of M/s. Carrier make at Porta Cabin including repair/replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
5.01 | For First Year | 10.00 | JOB | 10125.00 | 7900.00 | 79000.00 | 8000.00 | 80000.00 | 79000.00 | S N COOL
5.02 | For Second Year | 10.00 | JOB | 10125.00 | 7900.00 | 79000.00 | 8000.00 | 80000.00 | 79000.00 | S N COOL
6.00 | Comprehensive Maintenance Contract of 80 Ltr. capacity Water Coolers with inbuilt RO+UV purifiers (Model : SWCSDLX6080UVROE) of M/s. Blue Star make at different locations including repair/replacement of defective components such as compressor, gas charging, all types of filters (i.e. particulate filter, pre- carbon block filter, antiscalant filter, sediment filter & RO membrane filter etc.), Post-carbon cartridge and UV chamber and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
6.01 | For First Year | 6.00 | JOB | 2875.00 | 1917.00 | 11502.00 | 2800.00 | 16800.00 | 11502.00 | S N COOL
6.02 | For Second Year | 6.00 | JOB | 2875.00 | 1917.00 | 11502.00 | 2850.00 | 17100.00 | 11502.00 | S N COOL
7.00 | Comprehensive Maintenance Contract of Water Filter of Aquaguard /Eureka Forbes make at different locations such as NAC and Porta cabin including repair/replacement of defective components such as control circuit, UV Tube, Carbon Filter, pre-filter and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints/ faults breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the system i/c preventive maintenance, maintaining records/ documentation etc as per special conditions of contract and additional special of contract.
7.01 | For First Year | 3.00 | JOB | 1500.00 | 1080.00 | 3240.00 | 2200.00 | 6600.00 | 3240.00 | S N COOL
7.02 | For Second Year | 3.00 | JOB | 1500.00 | 1080.00 | 3240.00 | 2400.00 | 7200.00 | 3240.00 | S N COOL
8.00 | Dismantling and shifting of window type AC unit i/c closing the opening with suitable plywood sheet as per site requirement complete as required. | 15.00 | JOB | 375.00 | 650.00 | 9750.00 | 400.00 | 6000.00 | 6000.00 | Aqua Cool Co.Pvt Ltd
9.00 | Installation of window type AC unit in the existing opening i/c providing wooden frame connection, interconnection, testing and commissioning etc. as required. | 15.00 | JOB | 1062.00 | 900.00 | 13500.00 | 800.00 | 12000.00 | 12000.00 | Aqua Cool Co.Pvt Ltd
10.00 | Dismantling and shifting split type Airconditioning unit of 1.5 TR / 2.0 TR i/c piping etc. as required. | 15.00 | JOB | 844.00 | 650.00 | 9750.00 | 600.00 | 9000.00 | 9000.00 | Aqua Cool Co.Pvt Ltd
11.00 | Installation of split type Airconditioning unit of capacity 1.5 TR i/c gas charging, pressure testing and commissioning etc. complete as required. | 10.00 | JOB | 1500.00 | 1100.00 | 11000.00 | 1600.00 | 16000.00 | 11000.00 | S N COOL
12.00 | Installation of split type Airconditioning unit of capacity 2.0TR i/c gas charging, pressure testing and commissioning etc. complete as required. | 5.00 | JOB | 1687.00 | 1200.00 | 6000.00 | 1850.00 | 9250.00 | 6000.00 | S N COOL
13.00 | Supply & Fixing of copper refrigerant piping of size 1/2" & 1/4" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps etc. complete as required. | 60.00 | MTR | 720.00 | 700.00 | 42000.00 | 590.00 | 35400.00 | 35400.00 | Aqua Cool Co.Pvt Ltd
14.00 | Supplying & Fixing of approved make electrical cable 2.5 sq.mm x 3 core suitable for 1.5 / 2.0 TR split Airconditioning unit with accessories complete as required. | 60.00 | MTR | 131.00 | 100.00 | 6000.00 | 180.00 | 10800.00 | 6000.00 | S N COOL
15.00 | Supply and fixing 25 mm dia PVC pipe alongwith necessary accessories on surface / recess for drain water outlets of AC unit etc. complete as required. | 40.00 | MTR | 100.00 | 95.00 | 3800.00 | 60.00 | 2400.00 | 2400.00 | Aqua Cool Co.Pvt Ltd
16.00 | Supply and fixing 40 mm dia PVC pipe alongwith necessary accessories on surface / recess for drain water outlets of AC unit etc. complete as required. | 40.00 | MTR | 120.00 | 130.00 | 5200.00 | 80.00 | 3200.00 | 3200.00 | Aqua Cool Co.Pvt Ltd
17.00 | Painting of existing Angle/Iron struture by applying two or more coats of approved synthetic enamel paints after cleaning ,removing the rusting, applying red oxide primer i/c writting the names on it as per EIC instruction complete as required. | 100.00 | SQ.MTR. | 69.00 | 55.00 | 5500.00 | 50.00 | 5000.00 | 5000.00 | Aqua Cool Co.Pvt Ltd
| Total in Figures |  |  |  |  | 629284.00 |  | 629600.00
Lowest Amount Quoted BY: S N COOL(629284.00)

## BOQ Summary
BOQ Summary Details Tender Title: CMC of Ductable, Split, Window AC units, Water Coolers and Water Purifiers at New Airport Colony, Mumbai for 2 years (2020-22) Tender ID: 2020_AAI_60036_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S N COOL | 629284.00 | L1
| 2 | Aqua Cool Co.Pvt Ltd | 629600.00 | L2