## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 04-Nov-2020 02:40 PM Tender Title: Provision of Ultra Violet Germicidal Irradiation (UVGI) System in AHUs of Indian Aviation Academy, New Delhi Tender ID: 2020_AAI_60122_1
Tender Inviting Authority: <Assistant General Manager(Engg.-Elect.)>
Name of Work: <Provision of Ultra Violet Germicidal Irradiation (UVGI) System in AHUs of Indian Aviation Academy, New Delhi >
Contract No: <IAA/Engg.(E)/e-NIT/UVGI/2020-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TRANSCEND CONTRACTS PVT LTD(GSTN-07AADCT9022B1ZO) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | COOLREFENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of AHU coil mounted UV system for maintaining Indoor Air Quality through coil microbe disinfection & cleaning without the need for regular chemical cleaning. UV modules must be with factory fabricated support, UV system supplied must be in strict conformity with the specifications. The whole system shall be in compliance with the selection chart based on ISHRAE recommendation-:
1.01 | Ground Floor :- AHU No. 1,2,3,4 (25000 CFM) | 4.00 | Nos | 60300.00 | 142700.00 | 570800.00 | 60000.00 | 240000.00 | 87640.00 | 350560.00 | 240000.00 | VOLKS ENERGIE PVT LTD
1.02 | First Floor :- AHU No. 5,6,7,8 (27000 CFM) | 4.00 | Nos | 60300.00 | 152000.00 | 608000.00 | 64000.00 | 256000.00 | 102350.00 | 409400.00 | 256000.00 | VOLKS ENERGIE PVT LTD
1.03 | Auditorium :- AHU No. 9 (21000 CFM) | 1.00 | Nos | 57000.00 | 102000.00 | 102000.00 | 50000.00 | 50000.00 | 72712.00 | 72712.00 | 50000.00 | VOLKS ENERGIE PVT LTD
1.04 | Second Floor :- AHU No. 10,11,12,13 (31000 CFM) | 4.00 | Nos | 63750.00 | 162300.00 | 649200.00 | 64000.00 | 256000.00 | 120049.00 | 480196.00 | 256000.00 | VOLKS ENERGIE PVT LTD
2.00 | Installation, testing & Commissioning of AHU coil mounted UV system including 5 meter cable from AHU Panel to UV Lamp. | 13.00 | Nos | 7130.00 | 2500.00 | 32500.00 | 5000.00 | 65000.00 | 4600.00 | 59800.00 | 32500.00 | TRANSCEND CONTRACTS PVT LTD
| Total in Figures |  |  |  |  | 1962500.00 |  | 867000.00 |  | 1372668.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(867000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Ultra Violet Germicidal Irradiation (UVGI) System in AHUs of Indian Aviation Academy, New Delhi Tender ID: 2020_AAI_60122_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 867000.00 | L1
| 2 | COOLREFENGINEERS | 1372668.00 | L2
| 3 | TRANSCEND CONTRACTS PVT LTD | 1962500.00 | L3