## BoQ1
Government eProcurement System Created By: Bijendra Singh Meena Created Date/Time: 02-Dec-2020 03:56 PM Tender Title: Comprehensive Maintenance Contract of Window, Split and Tower type Air Conditioner, Water Coolers and Water Purifiers at Dibrugarh Airport Tender ID: 2020_AAI_60181_2
Tender Inviting Authority: Sr. Manager (Engg. Elect.), AAI, Dibrugarh Airport.
Name of Work: Comprehensive Maintenance Contract of Window, Split and Tower type Air Conditioner, Water Coolers and Water Purifiers at Dibrugarh Airport.
Contract No: AAI/DIB/ENGG(E)/ NIT-04/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mercantile Agency(GSTN-19AALFM1805G1ZB) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual comprehensive maintenance of 1.5 TR capacity split / window type air-conditioners (different Makes) installed at different locations by providing compressor, all necessary consumables and spares complete as required as per special conditions, including comprehensive maintenance of voltage stabilizers & timers, wherever connected etc.
1.10 | First Year (2020-21) | 61.00 | Job | 100.00 | 3900.00 | 237900.00 | 4380.00 | 267180.00 | 237900.00 | Mercantile Agency
1.20 | Second Year (2021-22) | 61.00 | Job | 100.00 | 3900.00 | 237900.00 | 4380.00 | 267180.00 | 237900.00 | Mercantile Agency
2.00 | Annual comprehensive maintenance of 2.0 TR capacity split / cassette type air-conditioners (different Makes) installed at different locations by providing compressor, all necessary consumables and spares complete as required as per special conditions, including comprehensive maintenance of voltage stabilizers & timers, wherever connected etc.
2.10 | First Year (2020-21) | 7.00 | Job | 100.00 | 4900.00 | 34300.00 | 5850.00 | 40950.00 | 34300.00 | Mercantile Agency
2.20 | Second Year (2021-22) | 7.00 | Job | 100.00 | 4900.00 | 34300.00 | 5850.00 | 40950.00 | 34300.00 | Mercantile Agency
3.00 | Annual comprehensive maintenance of 3.0 TR capacity split / Tower/type air-conditioners (different Makes) installed at different locations by providing compressor, all necessary consumables and spares complete as required as per special conditions, including comprehensive maintenance of voltage stabilizers & timers, wherever connected etc.
3.10 | First Year (2020-21) | 6.00 | Job | 100.00 | 7500.00 | 45000.00 | 8620.00 | 51720.00 | 45000.00 | Mercantile Agency
3.20 | Second Year (2021-22) | 6.00 | Job | 100.00 | 7500.00 | 45000.00 | 8620.00 | 51720.00 | 45000.00 | Mercantile Agency
4.00 | Annual comprehensive maintenance of 3.5 TR capacity Tower type split air-conditioners (different Makes) installed at different locations by providing compressor, all necessary consumables and spares complete as required as per special conditions, including comprehensive maintenance of voltage stabilizers & timers, wherever connected etc.
4.10 | First Year (2020-21) | 6.00 | Job | 100.00 | 7900.00 | 47400.00 | 9860.00 | 59160.00 | 47400.00 | Mercantile Agency
4.20 | Second Year (2021-22) | 6.00 | Job | 100.00 | 7900.00 | 47400.00 | 9860.00 | 59160.00 | 47400.00 | Mercantile Agency
5.00 | Annual comprehensive Maintenance of Water Coolers (different makes) of capacity upto 40/60 litres at different locations including providing compressor, all necessary consumables and spare complete as required as per special conditions.
5.10 | First Year (2020-21) | 12.00 | Job | 100.00 | 5900.00 | 70800.00 | 7072.00 | 84864.00 | 70800.00 | Mercantile Agency
5.20 | Second Year (2021-22) | 12.00 | Job | 100.00 | 5900.00 | 70800.00 | 7072.00 | 84864.00 | 70800.00 | Mercantile Agency
6.00 | Annual comprehensive Maintenance of Water Purifiers of different makes intalled at various locations at airport permises as per manufacturer specifications including providing all necessary consumables and spares complete as required.
6.10 | First Year (2020-21) | 13.00 | Job | 100.00 | 4100.00 | 53300.00 | 4772.00 | 62036.00 | 53300.00 | Mercantile Agency
6.20 | Second Year (2021-22) | 13.00 | Job | 100.00 | 4100.00 | 53300.00 | 4772.00 | 62036.00 | 53300.00 | Mercantile Agency
7.00 | Dismantling and re-installation of 1.5 TR / 2.0 TR capacity Split / Window type air-conditioners units with existing refrigerant piping including mounting of indoor and out door units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required | 15.00 | Job | 100.00 | 3500.00 | 52500.00 | 1950.00 | 29250.00 | 29250.00 | sudarshnacoolingcentre andelectricals
8.00 | Dismantling and re-installation of 3.0 TR / 3.5 TR capacity Split / Tower type air-conditioners units with existing refrigerant piping including mounting of indoor and out door units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required | 3.00 | Job | 100.00 | 4500.00 | 13500.00 | 1100.00 | 3300.00 | 3300.00 | sudarshnacoolingcentre andelectricals
9.00 | Supply, Installation, Testing and Commissioning of refrigerant piping including insulation, PVC protection piping for suction and discharge line for split AC Units of capacity 1.5 TR/ 2.0 TR complete as required. | 100.00 | Mtr. | 100.00 | 650.00 | 65000.00 | 399.00 | 39900.00 | 39900.00 | sudarshnacoolingcentre andelectricals
10.00 | Gas charging of 1.5 / 2.0 TR capacity split type Air-conditioners etc. as required. | 25.00 | Job | 100.00 | 3000.00 | 75000.00 | 1250.00 | 31250.00 | 31250.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 1183400.00 |  | 1235520.00
Lowest Amount Quoted BY: Mercantile Agency(1183400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of Window, Split and Tower type Air Conditioner, Water Coolers and Water Purifiers at Dibrugarh Airport Tender ID: 2020_AAI_60181_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mercantile Agency | 1183400.00 | L1
| 2 | sudarshnacoolingcentre andelectricals | 1235520.00 | L2