## BoQ1
Government eProcurement System Created By: D Boominathan Created Date/Time: 19-Nov-2020 05:50 PM Tender Title: Annual Operation and AICMC of 3x325TR HVAC Plant, Various type AC Units and R.O Cum Water Cooler Units at Trichy Airport (2020-22) Tender ID: 2020_AAI_60539_1
Tender Inviting Authority: Assistant General Manager (E-E)
Name of Work: Annual Operation and AICMC of 3x325TR HVAC Plant, Various type AC Units and R.O Cum Water Cooler Units at Trichy Airport (2020-22).
Contract No: ARMO-04/TRY/20-21 Tender ID: 2020_AAI_60539_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Suvidha Engineers India Pvt Ltd(GSTN-33AABCS7831B1ZR) |  | VOLTAS LIMITED(GSTN-33AAACV2809DIZT) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and routine maintenance of 3X325TR HVAC plant consisting of chillers, cooling towers, primary/secondary pumps, AHU's, fan coil units, softener plant and associated equipments on round the clock basis including Sundays/ holidays as per the special conditions etc, complete as required. | 24.00 | Month |  | 381400.00 | 9153600.00 | 461134.17 | 11067220.08 | 520800.00 | 12499200.00 | 488670.00 | 11728080.00 | 9153600.00 | Supertech Engineers
2.00 | All Inclusive comprehensive maintenance contract of 3X325TR water cooled HVAC system consisting of screw chillers of DUNHAMBUSH make, cooling towers, Primary/Secondary/Condenser pumps, Fan coil units, Softener plant, AHUs, Air curtain, Exhaust system, MV cubical panels & other associated equipments including periodical checks, attending break down, chemical dosing of condenser, chiller, water, consumables etc., excluding replacement of items as mentioned in the special conditions complete as required (Installation details as per Annexure A)
2.10 | First Year | 12.00 | Month |  | 75000.00 | 900000.00 | 168187.50 | 2018250.00 | 48750.00 | 585000.00 | 78210.00 | 938520.00 | 585000.00 | VOLTAS LIMITED
2.20 | Second Year | 12.00 | Month |  | 80000.00 | 960000.00 | 182203.13 | 2186437.56 | 48750.00 | 585000.00 | 78210.00 | 938520.00 | 585000.00 | VOLTAS LIMITED
3.00 | Regeneration of softner plant of capacity 20 Cu.mtr/Hr. by adding required quantity of sodium chloride (Common salt) and chlorine water for daily basis including all materials as per AAI specifications as required.
3.10 | First Year | 12.00 | Month |  | 62510.00 | 750120.00 | 50416.67 | 605000.04 | 84737.00 | 1016844.00 | 16000.00 | 192000.00 | 192000.00 | GENIUS AIRCON PRIVATE LIMITED
3.20 | Second Year | 12.00 | Month |  | 65635.00 | 787620.00 | 59583.33 | 714999.96 | 84737.00 | 1016844.00 | 16000.00 | 192000.00 | 192000.00 | GENIUS AIRCON PRIVATE LIMITED
4.00 | Comprehensive periodical maintenance of split type room Air conditioner Units (including compressor) of following capacity, different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract. First Year
4.10 | 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 28.00 | Each |  | 4900.00 | 137200.00 | 3600.00 | 100800.00 | 750.00 | 21000.00 | 5300.00 | 148400.00 | 21000.00 | VOLTAS LIMITED
4.20 | 1.5 TR, 3Ø, 420 V, 50 Hz Split AC Unit | 12.00 | Each |  | 4900.00 | 58800.00 | 3600.00 | 43200.00 | 750.00 | 9000.00 | 5300.00 | 63600.00 | 9000.00 | VOLTAS LIMITED
4.30 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 3.00 | Each |  | 5000.00 | 15000.00 | 4800.00 | 14400.00 | 750.00 | 2250.00 | 7500.00 | 22500.00 | 2250.00 | VOLTAS LIMITED
4.40 | 3.0 TR, 3Ø, 420 V, 50 Hz Split AC Unit | 11.00 | Each |  | 5100.00 | 56100.00 | 7200.00 | 79200.00 | 1000.00 | 11000.00 | 10000.00 | 110000.00 | 11000.00 | VOLTAS LIMITED
4.50 | Second Year 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 28.00 | Each |  | 5000.00 | 140000.00 | 3900.00 | 109200.00 | 750.00 | 21000.00 | 5300.00 | 148400.00 | 21000.00 | VOLTAS LIMITED
4.60 | 1.5 TR, 3Ø, 420 V, 50 Hz Split AC Unit | 12.00 | Each |  | 5000.00 | 60000.00 | 3900.00 | 46800.00 | 750.00 | 9000.00 | 5300.00 | 63600.00 | 9000.00 | VOLTAS LIMITED
4.70 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 3.00 | Each |  | 5050.00 | 15150.00 | 5200.00 | 15600.00 | 750.00 | 2250.00 | 7500.00 | 22500.00 | 2250.00 | VOLTAS LIMITED
4.80 | 3.0 TR, 3Ø, 420 V, 50 Hz Split AC Unit | 11.00 | Each |  | 5200.00 | 57200.00 | 7800.00 | 85800.00 | 1000.00 | 11000.00 | 10000.00 | 110000.00 | 11000.00 | VOLTAS LIMITED
5.00 | Comprehensive maintenance contract of cassette type Air conditioners (including compressor) of following capacity, different makes and capacities including stabilizer (If any) installed at different location including providing all necessary consumables, refrigerant gas and spares etc., complete as required. First Year
5.10 | 2.0 TR, 1Ø, 230 V, 50 Hz cassette AC Unit | 1.00 | Each |  | 5000.00 | 5000.00 | 4800.00 | 4800.00 | 1000.00 | 1000.00 | 7500.00 | 7500.00 | 1000.00 | VOLTAS LIMITED
5.20 | 4.0 TR, 3Ø, 420 V, 50 Hz Cassette AC Unit | 4.00 | Each |  | 5250.00 | 21000.00 | 9600.00 | 38400.00 | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 8000.00 | VOLTAS LIMITED
5.40 | Second Year 2.0 TR, 1Ø, 230 V, 50 Hz cassette AC Unit | 1.00 | Each |  | 5150.00 | 5150.00 | 5200.00 | 5200.00 | 1000.00 | 1000.00 | 7500.00 | 7500.00 | 1000.00 | VOLTAS LIMITED
5.50 | 4.0 TR, 3Ø, 420 V, 50 Hz Cassette AC Unit | 4.00 | Each |  | 5350.00 | 21400.00 | 10400.00 | 41600.00 | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 8000.00 | VOLTAS LIMITED
6.00 | Comprehensive maintenance contract of 4.0 TR, 3Ø, 420 V, 50 Hz, cassette type Air conditioners (excluding compressor) of different makes installed at different location including providing all necessary consumables, refrigerant gas and spares etc., complete as required.
6.10 | First Year | 7.00 | Each |  | 5150.00 | 36050.00 | 9600.00 | 67200.00 | 2000.00 | 14000.00 | 8250.00 | 57750.00 | 14000.00 | VOLTAS LIMITED
6.20 | Second Year | 7.00 | Each |  | 5250.00 | 36750.00 | 10400.00 | 72800.00 | 2000.00 | 14000.00 | 8250.00 | 57750.00 | 14000.00 | VOLTAS LIMITED
7.00 | Comprehensive periodical maintenance of floor mounted type Air conditioner Units (Including compressor) of 3.0 TR capacity ,3Ø, 415 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required.
7.10 | First Year | 2.00 | Each |  | 5500.00 | 11000.00 | 7200.00 | 14400.00 | 1500.00 | 3000.00 | 10000.00 | 20000.00 | 3000.00 | VOLTAS LIMITED
7.20 | Second Year | 2.00 | Each |  | 5650.00 | 11300.00 | 7800.00 | 15600.00 | 1500.00 | 3000.00 | 10000.00 | 20000.00 | 3000.00 | VOLTAS LIMITED
8.00 | Comprehensive periodical maintenance of inverter type split air conditioner Units (Excluding compressor) of following capacity of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required First Year
8.10 | 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 81.00 | Each |  | 4750.00 | 384750.00 | 4200.00 | 340200.00 | 750.00 | 60750.00 | 3000.00 | 243000.00 | 60750.00 | VOLTAS LIMITED
8.20 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 25.00 | Each |  | 4850.00 | 121250.00 | 4200.00 | 105000.00 | 750.00 | 18750.00 | 4000.00 | 100000.00 | 18750.00 | VOLTAS LIMITED
8.30 | Second Year 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 81.00 | Each |  | 4850.00 | 392850.00 | 4800.00 | 388800.00 | 750.00 | 60750.00 | 2500.00 | 202500.00 | 60750.00 | VOLTAS LIMITED
8.40 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 25.00 | Each |  | 4950.00 | 123750.00 | 4800.00 | 120000.00 | 750.00 | 18750.00 | 3500.00 | 87500.00 | 18750.00 | VOLTAS LIMITED
9.00 | Comprehensive periodical maintenance of inverter type ceiling suspended type air conditioner units (Excluding compressor) of following capacity of Toshiba makes installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required. First Year
9.10 | 3.0 TR (4HP), 3Ø, 420 V, 50 Hz ceiling suspended AC Unit | 2.00 | Each |  | 5150.00 | 10300.00 | 8400.00 | 16800.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | VOLTAS LIMITED
9.20 | 4.0 TR (5HP), 3Ø, 420 V, 50 Hz ceiling suspended AC Unit | 2.00 | Each |  | 5150.00 | 10300.00 | 11200.00 | 22400.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 4000.00 | VOLTAS LIMITED
9.30 | Second Year 3.0 TR (4HP), 3Ø, 420 V, 50 Hz ceiling suspended AC Unit | 2.00 | Each |  | 5250.00 | 10500.00 | 9600.00 | 19200.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | VOLTAS LIMITED
9.40 | 4.0 TR (5HP), 3Ø, 420 V, 50 Hz ceiling suspended AC Unit | 2.00 | Each |  | 5250.00 | 10500.00 | 12800.00 | 25600.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 4000.00 | VOLTAS LIMITED
10.00 | Comprehensive maintenance contract of 3.0 TR, 1Ø/3Ø, inverter type cassette type Air conditioners (excluding compressor) of different makes installed at different location including providing all necessary consumables, refrigerant gas and spares etc., complete as required.
10.10 | First Year | 5.00 | Each |  | 5150.00 | 25750.00 | 8400.00 | 42000.00 | 1500.00 | 7500.00 | 6000.00 | 30000.00 | 7500.00 | VOLTAS LIMITED
10.20 | Second Year | 5.00 | Each |  | 5250.00 | 26250.00 | 9600.00 | 48000.00 | 1500.00 | 7500.00 | 6000.00 | 30000.00 | 7500.00 | VOLTAS LIMITED
11.00 | Periodical maintenance of AC units at walk in cooler unit having the capacity of 34000BTU/hr and enable to maintain 02-08°C including providing all consumables, spares parts, gas charging etc., Complete as required as per special conditions.
11.10 | First Year | 1.00 | Job |  | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 19000.00 | 19000.00 | 8000.00 | Supertech Engineers
11.20 | Second Year | 1.00 | Job |  | 8500.00 | 8500.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 19000.00 | 19000.00 | 8500.00 | Supertech Engineers
12.00 | Comprehensive periodical maintenance of R.O purifier cum water cooler units (Including compressor) of up to 80/80 ltr capacity,1Ø, 230 V, 50 Hz, of different makes installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required
12.10 | First Year | 13.00 | Each |  | 10500.00 | 136500.00 | 8000.00 | 104000.00 | 2000.00 | 26000.00 | 7500.00 | 97500.00 | 26000.00 | VOLTAS LIMITED
12.20 | Second Year | 13.00 | Each |  | 11000.00 | 143000.00 | 10000.00 | 130000.00 | 2000.00 | 26000.00 | 7500.00 | 97500.00 | 26000.00 | VOLTAS LIMITED
13.00 | Shifting and installation of existing or new 1.5TR/2TR/3TR/4TR single / three phase split / cassette / floor mounted/ ceiling suspended AC unit including supply and laying of refrigeration pipes upto 5mtr with insulation, control cables, gas charging etc., complete as required. | 5.00 | Each |  | 8500.00 | 42500.00 | 5000.00 | 25000.00 | 750.00 | 3750.00 | 3500.00 | 17500.00 | 3750.00 | VOLTAS LIMITED
14.00 | Supply and laying of refrigerant copper piping beyond standard length of 5mtr for 1.5TR / 2TR capacity of different type AC Units, both suction and discharge along with suitable thermal Insulation and electrical cable of size 4 Core x 4 Sq. mm copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two lengths of suction and discharge piping and one length of copper wire shall be measured one meter for this item) | 25.00 | Mtr |  | 9500.00 | 237500.00 | 1500.00 | 37500.00 | 796.00 | 19900.00 | 820.00 | 20500.00 | 19900.00 | VOLTAS LIMITED
15.00 | Supply of refrigerant copper piping beyond standard length of 5mtr for 3TR / 4TR capacity of different type AC Units, both suction and discharge along with suitable thermal Insulation and electrical cable of size 4 Core x 4 Sq. mm copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two lengths of suction and discharge piping and one length of copper wire shall be measured one meter for this item) | 25.00 | Mtr |  | 1450.00 | 36250.00 | 2250.00 | 56250.00 | 1200.00 | 30000.00 | 820.00 | 20500.00 | 20500.00 | GENIUS AIRCON PRIVATE LIMITED
16.00 | Supplying, fixing, testing and commissioning of 250mm dia Buttrerfly valve (manual) having Cast Iron body, SS Disc and SS stem, Black Nitrile Rubber Seal & O- Ring and PN 16 pressure rating for condenser water circulation line including plumping and provision of adequate support etc., as per Technical specifications as required. | 2.00 | Each |  | 10500.00 | 21000.00 | 12000.00 | 24000.00 | 6800.00 | 13600.00 | 15662.00 | 31324.00 | 13600.00 | VOLTAS LIMITED
17.00 | Supplying, fixing, testing and commissioning of following size Buttrerfly valve (manual) having Cast Iron body, SS Disc and SS stem, Black Nitrile Rubber Seal & O- Ring and PN 16 pressure rating for chilled water circulation including insulating the valves with same specifications of chilled water piping, plumbing, and provision of adequate support etc., as per Technical specifications as required.
17.10 | 200 mm dia | 2.00 | Each |  | 7050.00 | 14100.00 | 10000.00 | 20000.00 | 5100.00 | 10200.00 | 8302.00 | 16604.00 | 10200.00 | VOLTAS LIMITED
17.20 | 80mm dia | 3.00 | Each |  | 1850.00 | 5550.00 | 8000.00 | 24000.00 | 1615.00 | 4845.00 | 4019.00 | 12057.00 | 4845.00 | VOLTAS LIMITED
17.30 | 65mm dia | 3.00 | Each |  | 1725.00 | 5175.00 | 6000.00 | 18000.00 | 1530.00 | 4590.00 | 3019.00 | 9057.00 | 4590.00 | VOLTAS LIMITED
17.40 | 50mm dia | 3.00 | Each |  | 1595.00 | 4785.00 | 4000.00 | 12000.00 | 1445.00 | 4335.00 | 2573.00 | 7719.00 | 4335.00 | VOLTAS LIMITED
| Total in Figures |  |  |  |  | 15017500.00 |  | 18947657.64 |  | 16192608.00 |  | 16081881.00
Lowest Amount Quoted BY: Supertech Engineers(15017500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and AICMC of 3x325TR HVAC Plant, Various type AC Units and R.O Cum Water Cooler Units at Trichy Airport (2020-22) Tender ID: 2020_AAI_60539_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Supertech Engineers | 15017500.00 | L1
| 2 | GENIUS AIRCON PRIVATE LIMITED | 16081881.00 | L2
| 3 | VOLTAS LIMITED | 16192608.00 | L3
| 4 | Suvidha Engineers India Pvt Ltd | 18947657.64 | L4