## BoQ1
Government eProcurement System Created By: Yugal Kishor Created Date/Time: 11-Nov-2020 06:11 PM Tender Title: ARMO of E and M Installations of Terminal-1 Building, Cargo Complex and Residential Colony at International Airport Jaipur (2020 -21) Tender ID: 2020_AAI_60569_1
Tender Inviting Authority: Asstt. General Manager (Engg-Electrical), Jaipur Airport.
Name of Work: ARMO of E&M Installations of Terminal-1 Building, Cargo Complex and Residential Colony at International Airport Jaipur (2020 -21).
Contract No: 2020_AAI_60569_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Pooja Electricals(GSTN-08AMJPM5477G1ZM) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing highly skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations etc. complete as required. (Refer clause 13 on page SCC-7). | 12.00 | Job | 100.00 | 22000.00 | 264000.00 | 22500.00 | 270000.00 | 22444.00 | 269328.00 | 264000.00 | Manish Electricals
2.00 | Providing skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations etc. complete as required. (Refer clause 13 on page SCC-7). | 108.00 | Job | 100.00 | 20000.00 | 2160000.00 | 19600.00 | 2116800.00 | 20444.00 | 2207952.00 | 2116800.00 | Pooja Electricals
3.00 | Providing semi-skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations etc. complete as required. (Refer clause 13 on page SCC-7). | 162.00 | Job | 100.00 | 17000.00 | 2754000.00 | 16400.00 | 2656800.00 | 17444.00 | 2825928.00 | 2656800.00 | Pooja Electricals
4.00 | Providing un-skilled manpower in one shift of 8 hour on all days including sundays and holidays (excluding weekly off day) for one month for operation & maintenance of electrical & mechanical installations. etc. complete as required. (Refer clause 13 on page SCC-7). | 138.00 | Job | 10.00 | 15000.00 | 2070000.00 | 14750.00 | 2035500.00 | 15333.00 | 2115954.00 | 2035500.00 | Pooja Electricals
5.00 | Calibration and stamping of following capacities weighing scale machine by the State Consumer Affairs Authority including submitting the certificate etc. as required.
5.10 | 120/ 160 Kg | 4.00 | Each | 100.00 | 4800.00 | 19200.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 4000.00 | Pooja Electricals
5.20 | 1.5 Ton | 1.00 | Each | 10.00 | 4800.00 | 4800.00 | 4000.00 | 4000.00 | 7000.00 | 7000.00 | 4000.00 | Pooja Electricals
5.30 | 3.0 Ton | 1.00 | Each | 10.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 14000.00 | 14000.00 | 6000.00 | Pooja Electricals
6.00 | Carrying out of following testing for the 500 KVA D.G. set including taking samples, testing and submission of analysis reports with mandatory parameters as per CPCB specifications from Government authorized lab etc. complete as required.
6.10 | Stack monitoring including PM, SO2, NO2, CO, HC etc. | 6.00 | Each | 100.00 | 2000.00 | 12000.00 | 1800.00 | 10800.00 | 3500.00 | 21000.00 | 10800.00 | Pooja Electricals
6.20 | Noise monitoring including inside and outside noise levels. | 6.00 | Each | 10.00 | 800.00 | 4800.00 | 700.00 | 4200.00 | 3500.00 | 21000.00 | 4200.00 | Pooja Electricals
7.00 | Supplying of B-check Kit (excluding mobil oil) of 500 KVA DG set (Make-Sudhir) from manufacturer or authorized dealer complete as required. | 3.00 | Each | 10.00 | 18000.00 | 54000.00 | 9000.00 | 27000.00 | 14500.00 | 43500.00 | 27000.00 | Pooja Electricals
8.00 | Comprehensive maintenance of different capacities/make airconditioner including replacement/ repairs of all parts like compressor, gas refilling, capacitor etc. for one unit per month complete as per site requirement.
8.10 | 1.5 TR Window | 130.00 | Job | 100.00 | 250.00 | 32500.00 | 300.00 | 39000.00 | 300.00 | 39000.00 | 32500.00 | Manish Electricals
8.20 | 1.5 TR Split | 470.00 | Job | 10.00 | 250.00 | 117500.00 | 350.00 | 164500.00 | 350.00 | 164500.00 | 117500.00 | Manish Electricals
8.30 | 2.0 TR Split | 50.00 | Job | 10.00 | 300.00 | 15000.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 15000.00 | Manish Electricals
8.40 | 3.0/3.5 TR Split | 50.00 | Job | 10.00 | 700.00 | 35000.00 | 650.00 | 32500.00 | 500.00 | 25000.00 | 25000.00 | ABHISHEK ASSOCIATES
9.00 | Comprehensive maintenance of different capacities/ makes water cooler including replacement/ repairs of parts like compressor, gas refilling, capacitor etc. for one unit per month complete as per site requirement. | 20.00 | Job | 10.00 | 360.00 | 7200.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 7200.00 | Manish Electricals
10.00 | Comprehensive maintenance of different capacities following reverse osmosis unit including replacement/ repairs of all parts like sediment filter, carbon filter, membrane, booster pump, bacteria's removing system, water level sensor for one unit per month complete as per site requirement.
10.10 | 10 LPH | 10.00 | Job | 100.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 450.00 | 4500.00 | 2000.00 | Pooja Electricals
10.20 | 15 LPH | 10.00 | Job | 10.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 2000.00 | Pooja Electricals
10.30 | 50 LPH | 20.00 | Job | 10.00 | 400.00 | 8000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 8000.00 | Manish Electricals
11.00 | Callibration of following Protection Relays installed on 4 nos 11 KV VCB Breaker panel by OEM/ Authorized dealer/ specialized agency inculding cleaning, repairing, testing, submission of reports etc. complete as required. a) Numerical O/C & Earth fault relays (2 OC + 1 EF) - 4 Nos. b) Master trip relay -4 Nos. c) Trip ckt supervision relay -4 Nos. | 1.00 | Job | 10.00 | 35000.00 | 35000.00 | 29000.00 | 29000.00 | 40000.00 | 40000.00 | 29000.00 | Pooja Electricals
12.00 | Overhauling of ABB make Vacuum Circuit Breakers of 11 KV, 630 Amps capacity by OEM/ Authorized dealer/ specialized agency including cleaning, inspection, servicing, repairing, testing etc. complete as required. Cost of spare (if required) shall be paid extra by AAI. | 4.00 | Each | 10.00 | 6000.00 | 24000.00 | 9000.00 | 36000.00 | 3500.00 | 14000.00 | 14000.00 | ABHISHEK ASSOCIATES
13.00 | Supply of mobil lubricating oil (Valvoline Premium Blue) suitable for Cummins make DG Sets including transportation, loading & unloading etc. as required. | 55.00 | Ltr | 10.00 | 400.00 | 22000.00 | 350.00 | 19250.00 | 300.00 | 16500.00 | 16500.00 | ABHISHEK ASSOCIATES
14.00 | Supply of 12 V, 180 AH lead acid battery suitable for DG Set. | 4.00 | Each | 10.00 | 16500.00 | 66000.00 | 12000.00 | 48000.00 | 14500.00 | 58000.00 | 48000.00 | Pooja Electricals
15.00 | CPWD- DSR 2018 (E&M) Note: The guidelines for quoting the rate for this item is mentioned in clause 25 (b) of Page GTT‐4. | 150000.00 | Rs. | 10.00 | .90 | 135000.00 | .65 | 97500.00 | .80 | 120000.00 | 97500.00 | Pooja Electricals
16.00 | CPWD- DSR 2018 (CIVIL) Note: The guidelines for quoting the rate for this item is mentioned in clause 25 (b) of Page GTT‐4. | 50000.00 | Rs. | 10.00 | .90 | 45000.00 | .70 | 35000.00 | .80 | 40000.00 | 35000.00 | Pooja Electricals
| Total in Figures |  |  |  |  | 7898000.00 |  | 7693850.00 |  | 8113662.00
Lowest Amount Quoted BY: Pooja Electricals(7693850.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of Terminal-1 Building, Cargo Complex and Residential Colony at International Airport Jaipur (2020 -21) Tender ID: 2020_AAI_60569_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Pooja Electricals | 7693850.00 | L1
| 2 | Manish Electricals | 7898000.00 | L2
| 3 | ABHISHEK ASSOCIATES | 8113662.00 | L3