## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 11-Nov-2020 04:45 PM Tender Title: Provision of Office Space above New CCR hall at Coimbatore International Airport. SH. Electrical Works Tender ID: 2020_AAI_60601_1
Tender Inviting Authority: Asst.Gen.Manager(E-E), AAI, Coimbatore International Airport.
Name of Work: Provision of Office Space above New CCR hall at Coimbatore International Airport. SH:Electrical Works.
Tender ID: 2020_AAI_60601_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 Sq.mm | 25.00 | Mtr |  | 85.00 | 2125.00 | 45.00 | 1125.00 | 20.00 | 500.00 | 500.00 | Manoprabha Electricals
2.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 Sq.mm upto 95 Sq.mm | 150.00 | Mtr |  | 120.00 | 18000.00 | 60.00 | 9000.00 | 25.00 | 3750.00 | 3750.00 | Manoprabha Electricals
3.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall/ surface as required. Upto 35 Sq.mm | 50.00 | Mtr |  | 100.00 | 5000.00 | 45.00 | 2250.00 | 50.00 | 2500.00 | 2250.00 | C P MONCHESTER ELECTRICALS
4.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall/ surface as required. Above 35 Sq.mm upto 95 Sq.mm | 50.00 | Mtr |  | 120.00 | 6000.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 3500.00 | Manoprabha Electricals
5.00 | Supplying and fixing of following sizes ISI marked PVC conduit along with all accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 250.00 | Mtr |  | 22.00 | 5500.00 | 45.00 | 11250.00 | 30.00 | 7500.00 | 5500.00 | VOLKS ENERGIE PVT LTD
6.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed/steel /PVC conduit as required 3 x 1.5 sq. mm | 250.00 | Mtr |  | 90.00 | 22500.00 | 45.00 | 11250.00 | 50.00 | 12500.00 | 11250.00 | C P MONCHESTER ELECTRICALS
7.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed/steel /PVC conduit as required. 3 x 2.5 sq. mm | 300.00 | Mtr |  | 110.00 | 33000.00 | 60.00 | 18000.00 | 72.00 | 21600.00 | 18000.00 | C P MONCHESTER ELECTRICALS
8.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed/steel /PVC conduit as required. 3 x 4 sq. mm | 300.00 | Mtr |  | 150.00 | 45000.00 | 90.00 | 27000.00 | 100.00 | 30000.00 | 27000.00 | C P MONCHESTER ELECTRICALS
9.00 | Supply of 4 (8+12) Way, double door vertical type TPN prewired load line sheet steel,MCB distribution board,415 volts with loose wire box,terminal blocks, duly prewired with suitable size FR PVC insulated copper conductor upto trerminal blocks,tinned copper busbar,neutral link,earth bar,din bar,detatchable gland plate,inter connections,phosphatized and powder painted, including eathing etc. as required ( incommer sutable for MCCB). | 1.00 | Each |  | 8497.00 | 8497.00 | 9000.00 | 9000.00 | 8000.00 | 8000.00 | 8000.00 | Manoprabha Electricals
10.00 | Supply of 4 (8+12) Way, double door ,TPN harizontal , sheet steel, MCB distribution board, 240 volts, on surface/ recess,double door complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 3500.00 | 7000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 7000.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply of "B" Series SP MCB of rating 6-32 A suitable for operation at 415V 50 Hz AC | 20.00 | Each |  | 170.00 | 3400.00 | 180.00 | 3600.00 | 150.00 | 3000.00 | 3000.00 | Manoprabha Electricals
12.00 | Supply of "C" Series SP MCB of following rating suitable for operation at 415V 50 Hz AC (a) 6 A -32 A | 20.00 | Each |  | 175.00 | 3500.00 | 180.00 | 3600.00 | 150.00 | 3000.00 | 3000.00 | Manoprabha Electricals
13.00 | Supply & Fixing of 40 A rating, four pole, 415 V MCB in the existing MCB DB complete etc. as required. | 12.00 | Each |  | 1300.00 | 15600.00 | 1600.00 | 19200.00 | 1200.00 | 14400.00 | 14400.00 | Manoprabha Electricals
14.00 | Supply & Fixing of of 63 A rating, four pole, 415 V MCB in the existing MCB DB complete etc. as required. | 4.00 | Each |  | 1450.00 | 5800.00 | 2200.00 | 8800.00 | 1300.00 | 5200.00 | 5200.00 | Manoprabha Electricals
15.00 | Fixing of 5A to 32 A rating 240 V,"B"/"C" Series, miniature circuit Breaker in the existing MCB DB complete with connections, testing,comissioning etc. as required.(a)Single Pole/ Double Ploe | 50.00 | Each |  | 50.00 | 2500.00 | 18.00 | 900.00 | 20.00 | 1000.00 | 900.00 | C P MONCHESTER ELECTRICALS
16.00 | Fixing of 4 way TPN harizontal , sheet steel, MCB distribution board prewired sheet steel, MCB distribution board including testing,commissioning etc. as required | 2.00 | Each |  | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 200.00 | 400.00 | 400.00 | Manoprabha Electricals
17.00 | Fixing of 4 way TPN Vertical , sheet steel, MCB distribution board prewired sheet steel, MCB distribution board including testing,commissioning etc. as required | 1.00 | Each |  | 1200.00 | 1200.00 | 1520.00 | 1520.00 | 500.00 | 500.00 | 500.00 | Manoprabha Electricals
18.00 | Supply of following PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required. 3 Module | 50.00 | Each |  | 120.00 | 6000.00 | 90.00 | 4500.00 | 45.00 | 2250.00 | 2250.00 | Manoprabha Electricals
19.00 | Supply of following PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required. 6 Module | 40.00 | Each |  | 150.00 | 6000.00 | 120.00 | 4800.00 | 55.00 | 2200.00 | 2200.00 | Manoprabha Electricals
20.00 | Supply of following PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required. 8 Module | 30.00 | Each |  | 180.00 | 5400.00 | 180.00 | 5400.00 | 100.00 | 3000.00 | 3000.00 | Manoprabha Electricals
21.00 | Supply of following PVC Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required 3 Module | 50.00 | Each |  | 98.00 | 4900.00 | 150.00 | 7500.00 | 80.00 | 4000.00 | 4000.00 | Manoprabha Electricals
22.00 | Supply of following PVC Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required 6 Module | 40.00 | Each |  | 128.00 | 5120.00 | 210.00 | 8400.00 | 160.00 | 6400.00 | 5120.00 | VOLKS ENERGIE PVT LTD
23.00 | Supply of following PVC Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required 8 Module | 30.00 | Each |  | 138.00 | 4140.00 | 270.00 | 8100.00 | 170.00 | 5100.00 | 4140.00 | VOLKS ENERGIE PVT LTD
24.00 | Supply of following swich & Socket suitable to operate at 30 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) 15/16 amps, one way SP modular switch | 30.00 | Each |  | 134.00 | 4020.00 | 140.00 | 4200.00 | 135.00 | 4050.00 | 4020.00 | VOLKS ENERGIE PVT LTD
25.00 | Supply of following swich & Socket suitable to operate at 30 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) 6 pin 15/16 amps modulor socket | 75.00 | Each |  | 136.00 | 10200.00 | 180.00 | 13500.00 | 235.00 | 17625.00 | 10200.00 | VOLKS ENERGIE PVT LTD
26.00 | Supply of following swich & Socket suitable to operate at 30 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) 5/6 amps, one way SP modular switch | 100.00 | Each |  | 85.00 | 8500.00 | 60.00 | 6000.00 | 70.00 | 7000.00 | 6000.00 | C P MONCHESTER ELECTRICALS
27.00 | Supply of following swich & Socket suitable to operate at 30 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) 3 pin 5/6 amps modular socket | 50.00 | Each |  | 129.00 | 6450.00 | 160.00 | 8000.00 | 175.00 | 8750.00 | 6450.00 | VOLKS ENERGIE PVT LTD
28.00 | Supply of ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover of following sizes 25mm X 16mm | 300.00 | Mtr |  | 45.00 | 13500.00 | 30.00 | 9000.00 | 75.00 | 22500.00 | 9000.00 | C P MONCHESTER ELECTRICALS
29.00 | Supply of ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover of following sizes 100 mm X 50mm | 100.00 | Mtr |  | 200.00 | 20000.00 | 390.00 | 39000.00 | 300.00 | 30000.00 | 20000.00 | VOLKS ENERGIE PVT LTD
30.00 | Supply of 600mmX600mm recess mounted 36W LED fixture with high efficiency PMMA diffuser complete with driver and accessories having lumen output not less than 3600 Lumens with luminarie efficiency not less than 100 lumens/Watt, CCT from 5700K ± 300K, Suitable to Indoor applications complete as per technical specifications. Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retatined for 5 years. May please be quote this item accordingly). | 50.00 | Each |  | 1800.00 | 90000.00 | 2100.00 | 105000.00 | 1700.00 | 85000.00 | 85000.00 | Manoprabha Electricals
31.00 | Supply of 10W LED Lamp 4000K with operate at 230 V, 50 Hz AC supply etc as required. Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retatined for 5 years. May please be quote this item accordingly). | 10.00 | Each |  | 90.00 | 900.00 | 900.00 | 9000.00 | 200.00 | 2000.00 | 900.00 | VOLKS ENERGIE PVT LTD
32.00 | Installation, testing and commissioning of prewired flourescent fitting / CFL/LED light fitting of all types complete with all accessories, lamps etc. directly on ceiling / wall, existing MS structure including connection with 1.5 sq.mm PVC insulated FRLS copper conductor single core cable and earthing etc. as required. | 50.00 | Each |  | 150.00 | 7500.00 | 180.00 | 9000.00 | 100.00 | 5000.00 | 5000.00 | Manoprabha Electricals
33.00 | Earthing with 38 mm dia, 3 mtr length copper pipe including excavation using 150 mm dia Augur or by manually digging a pit of size 600x600 mm at a depth of 3 mtr. Refilling with chemical powder (moisture enchancer) of 50 kgs i/c providing masonary enclosure with cover plate having locking arrangement etc complete as required. | 4.00 | Each |  | 20000.00 | 80000.00 | 12000.00 | 48000.00 | 9000.00 | 36000.00 | 36000.00 | Manoprabha Electricals
34.00 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing as required. | 100.00 | Mtr |  | 150.00 | 15000.00 | 90.00 | 9000.00 | 25.00 | 2500.00 | 2500.00 | Manoprabha Electricals
35.00 | Supplying Single Core 1.5 Sqmm of FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (200 mtr each coil) | 5.00 | Each |  | 2350.00 | 11750.00 | 2700.00 | 13500.00 | 2000.00 | 10000.00 | 10000.00 | Manoprabha Electricals
36.00 | Supply of the following size of Medium class round conduit PVC Pipes 25mm. | 150.00 | Mtr |  | 30.00 | 4500.00 | 70.00 | 10500.00 | 40.00 | 6000.00 | 4500.00 | VOLKS ENERGIE PVT LTD
37.00 | Fan Capacitor 2.5 Mfd, 230 V operate at 230 V, 50 Hz AC supply etc as required. | 50.00 | Each |  | 35.00 | 1750.00 | 45.00 | 2250.00 | 25.00 | 1250.00 | 1250.00 | Manoprabha Electricals
38.00 | Supply of 3 star rated, 2 TR capacity Hi-wall split type Air conditioner consisting of 1 No. indoor unit (fan coil) with cordless LCD/LED remote and one number outdoor condensing unit comprising with sealed rotary/scroll compressor , suitable for operation on single phase, 230 volt, 50 Hz, AC supply, providing copper refrigerant pipes, copper cable, PVC drain pipe between room unit and condensing unit up to the length of 3 meters including first charge of refrigerant (R32/R410), and mounting stand/bracket for outdoor unit complete inline with tender documents as required. | 8.00 | Each |  | 45000.00 | 360000.00 | 41000.00 | 328000.00 | 45000.00 | 360000.00 | 328000.00 | C P MONCHESTER ELECTRICALS
39.00 | ITC of 2.0 Ton Air-Conditioning unit including civil work such as driiling for hole, painting, finishing with the same and interconnection of pipelines/refrigerant lines and control cables comprising of the following including first charge of refrigerant etc., complete as required. | 8.00 | Each |  | 2500.00 | 20000.00 | 1800.00 | 14400.00 | 3000.00 | 24000.00 | 14400.00 | C P MONCHESTER ELECTRICALS
40.00 | Dismantling and re-installation of following type split type AC units up to 3 mtrs refrigerant piping including mounting of indoor and out door units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required (1.5 Ton/ 2 Ton Split AC Units) | 5.00 | Each |  | 4000.00 | 20000.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 2500.00 | Manoprabha Electricals
41.00 | Supply of extra copper pipe line 1/4" and 1/2" suitable for 2 TR AC units including providing insulation control cable etc. i/c providing of heavy duty rigid type PVC pipe/pvc trunking of suitable size for covering in the liquid line, suction line and multistandard copper cable or as per OEM specificatioms completed as required. | 100.00 | Mtr |  | 600.00 | 60000.00 | 700.00 | 70000.00 | 1100.00 | 110000.00 | 60000.00 | VOLKS ENERGIE PVT LTD
42.00 | Supply of 5KVA Voltage stabilizer wall mounting type suitable for 2.0 ton split A/C units suitable for operation on 230V, 50Hz. AC supply capable of performing with working voltage range 170 Volt to 270 Volt. | 8.00 | Each |  | 1871.00 | 14968.00 | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 14968.00 | VOLKS ENERGIE PVT LTD
43.00 | Supplying and fixing DP sheet steel enclosure on surface/recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required | 8.00 | Each |  | 700.00 | 5600.00 | 3000.00 | 24000.00 | 800.00 | 6400.00 | 5600.00 | VOLKS ENERGIE PVT LTD
44.00 | Supply of Pedestal fan 400mm sweep suitable for operation 230 V, 50 Hz Ac supply as required. | 10.00 | Each |  | 2300.00 | 23000.00 | 2700.00 | 27000.00 | 3500.00 | 35000.00 | 23000.00 | VOLKS ENERGIE PVT LTD
45.00 | Supply of 12" inch 300 mm sweep Heavy duty industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as required. | 6.00 | Each |  | 2080.00 | 12480.00 | 1200.00 | 7200.00 | 2600.00 | 15600.00 | 7200.00 | C P MONCHESTER ELECTRICALS
46.00 | Supply of 400 mm sweep Wall Mounting fan suitable for operation 230 V, 50 Hz Ac supply as required. | 6.00 | Each |  | 1950.00 | 11700.00 | 1800.00 | 10800.00 | 3500.00 | 21000.00 | 10800.00 | C P MONCHESTER ELECTRICALS
| Total in Figures |  |  |  |  | 1020000.00 |  | 994545.00 |  | 976475.00
Lowest Amount Quoted BY: Manoprabha Electricals(976475.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Office Space above New CCR hall at Coimbatore International Airport. SH. Electrical Works Tender ID: 2020_AAI_60601_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manoprabha Electricals | 976475.00 | L1
| 2 | C P MONCHESTER ELECTRICALS | 994545.00 | L2
| 3 | VOLKS ENERGIE PVT LTD | 1020000.00 | L3