## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 16-Nov-2020 05:55 PM Tender Title: Annual Maintenance job contract of Electrical and Mechanical Installations at MSSR Station, Berhampur Tender ID: 2020_AAI_60750_1
Tender Inviting Authority: Asst. General Manager Engg (E)-1, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Annual Maintenance job contract of Electrical and Mechanical installations at MSSR Station, Berhampur.
Contract No: 2020_AAI_60750_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | TECHSUPPORT(GSTN-21AAGFT8591DIZ5) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance and operation of Electrical and Mechanical installations involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays as per tender specifications, terms & conditions. | 12.00 | Month |  | 265672.00 | 3188064.00 | 268012.00 | 3216144.00 | 245500.00 | 2946000.00 | 212500.00 | 2550000.00 | 230000.00 | 2760000.00 | 2550000.00 | M/S DURGA SUPPLY AGENCIES
2.00 | Checking of dielectric strength of the oil of 11KV/433V transformer , LT AVR before and after oil filtration/ de humdifications & submitting relevant test report in accordance to the preventive maintenance schedules, specifications & special conditions complete as required. | 8.00 | Each |  | 500.00 | 4000.00 | 1000.00 | 8000.00 | 3000.00 | 24000.00 | 20.00 | 160.00 | 10000.00 | 80000.00 | 160.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Topping /replacement of transformer oil of specified breakdown strength and grade as per the site requirement. | 800.00 | Liter |  | 50.00 | 40000.00 | 8.00 | 6400.00 | 150.00 | 120000.00 | 20.00 | 16000.00 | 130.00 | 104000.00 | 6400.00 | TECHSUPPORT
4.00 | Recirculating, heating and dehumidifying of dielectric oil in 11KV transformer / LT AVR in accordance to the maintenance schedules, recommendation of the OEM, equipment specification & special condition complete as required. | 2000.00 | Liter |  | 25.00 | 50000.00 | 8.00 | 16000.00 | 15.00 | 30000.00 | 10.00 | 20000.00 | 200.00 | 400000.00 | 16000.00 | TECHSUPPORT
5.00 | Calibration of Electromagnetic Relay of follwing model installed at HT/LT panel and submission of report complete as required.
5.01 | 2TJM11 of make EASUNROLLE | 9.00 | Each |  | 5000.00 | 45000.00 | 3500.00 | 31500.00 | 10000.00 | 90000.00 | 500.00 | 4500.00 | 20000.00 | 180000.00 | 4500.00 | M/S DURGA SUPPLY AGENCIES
6.00 | Lifting and lowering of submersible pump up to 5 HP capacity along with dismantling and refitting of GI pipe, steel rope and clamps up to a depth of 400 feet. | 2.00 | Job |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 15000.00 | 30000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Rewinding, repairing and complete overhauling of submersible motor pump set of capacity from 3HP to 5HP, including testing and commissioning etc as required. | 2.00 | Job |  | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES, CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | Rewinding, repairing & servicing of ceiling fan (up to 1400mm sweep) / exhaust fan (up to 450mm sweep) /wall mounted fan (up to 450mm sweep) complete as required. | 10.00 | Job |  | 200.00 | 2000.00 | 800.00 | 8000.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 2000.00 | VOLTECH O AND M SERVICES PVT LTD
9.00 | Rate for each one rupee value of work executed from the DSR-2018(Electrical) Schedule & cost worked out on the basis of DSR-2018 (Electrical) rates. {For example, if the quoted rate for this item is Rs.0.90, then for executing DSR-2018(Electrical) schedule works of value Rs.1,00,000.00 at DSR-2018 (Electrical) rates, the quoted amount will be Rs.90,000.00. And if quoted rate for this item is Rs.1.25, then quoted amount for the same will be Rs.1,25,000.00} | 25000.00 | Each |  | .60 | 15000.00 | .80 | 20000.00 | 1.50 | 37500.00 | .50 | 12500.00 | 1.00 | 25000.00 | 12500.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 3361064.00 |  | 3324044.00 |  | 3298500.00 |  | 2615660.00 |  | 3564500.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(2615660.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance job contract of Electrical and Mechanical Installations at MSSR Station, Berhampur Tender ID: 2020_AAI_60750_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 2615660.00 | L1
| 2 | SHREE GOURI ELECTRIC ENTERPRISE | 3298500.00 | L2
| 3 | TECHSUPPORT | 3324044.00 | L3
| 4 | VOLTECH O AND M SERVICES PVT LTD | 3361064.00 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 3564500.00 | L5