## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 17-Nov-2020 01:16 PM Tender Title: Modification of existing drinking water fountains to Touchless systems at NITB, Goa International Airport Tender ID: 2020_AAI_60919_1
Tender Inviting Authority: Sr. Manager (Engg-E)
Name of Work: Modification of existing drinking water fountains to touchless system at NITB, Goa International Airport.
Contract No: 2020_AAI_60919_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | WACORP HYUNDAI INDIA LTD.(GSTN-09AAJCS0376H1Z4) |  | Oasis WFS (P) Ltd.(GSTN-07AABCO6540R1ZX)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC OF I- sensor and upgrading existing units with I- Sensor to prevent water wastage and to make the system operate without touching: A. Shuts water flow incase of a faulty proximity. (<15 sec) B. Adjusts itself to environment light intensity or flickering lights or intermittent light noises. C. Fast Response to proximity in less than 1/100th of a second. D. Onboard Calibration and Debug Unit. AI upgradable board. E. Beeps to indicate that it sensed your command Protection and Safety: 2 layer of overvoltage and short circuit protection Wide operating voltage range (12VDC-40VDC) Wide operating temperature range( -10 to +70 degree celcius, Security: Processor is secured against cyber attack/code infringement. Energy Efficient: Standby energy 1/20 watt and system is in use is <10W. Longevity: Upto 65000+ water discharge and beyond, Robustness & Endurance-: Cyclic circuit heating/cooling damage protection Wide operating Temp range: -25deg to 120deg Dust resistant circuit Moisture resistant circuit Safety against thunder and lightening | 30.00 | Nos. |  | 14499.00 | 434970.00 | 20847.00 | 625410.00 | 434970.00 | WACORP HYUNDAI INDIA LTD.
| Total in Figures |  |  |  |  | 434970.00 |  | 625410.00
Lowest Amount Quoted BY: WACORP HYUNDAI INDIA LTD.(434970.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing drinking water fountains to Touchless systems at NITB, Goa International Airport Tender ID: 2020_AAI_60919_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WACORP HYUNDAI INDIA LTD. | 434970.00 | L1
| 2 | Oasis WFS (P) Ltd. | 625410.00 | L2