## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 13-Nov-2020 12:00 PM Tender Title: AMC (2020-22) for EnM installation at City side at HAL Airport and AAI Residential Colony Bengaluru Tender ID: 2020_AAI_60928_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Annual Maintenance Contract (2020-22) for Electrical and Mechanical Installations at City Side at HAL Airport and AAI Residential Colony, Bengaluru.
Contract No: 2020_AAI_60928_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | TEJA POWER TECH(GSTN-36BPXPD0822G1ZW) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE) |  | SUDHA ELECTRICALS AND ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: MAINTENANCE OF E&M INSTALLATIONS
1.10 | Job Contract for round the clock Operation and maintenance of Electrical and Mechanical installations at City Side and AAI Residential colony in all days including sundays and holidays in Three shifts, which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc., The agency is required to deploy minimum manpower in each shift of eight hours as detailed in special condition of contract.complete as required. | 24.00 | MON |  | 217777.00 | 5226648.00 | 216000.00 | 5184000.00 | 214380.00 | 5145120.00 | 226198.00 | 5428752.00 | 5145120.00 | SRI VASUKI POWER SYSTEMS PVT LTD
2.00 | Sub Head-II Painting of Panel, Poles and Rewinding
2.10 | Painting of electrical LT indoor,Outdoor panels,Fire hydrant boxes,Exposed Fire hydrant pipe line, Diesel pipe line,Exposed Water ,pumps , earth pit covers etc located in powerhouse, AC Plant, switch rooms ,fire pump room, pump room etc., with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 150.00 | Sq.meter |  | 20.00 | 3000.00 | 30.00 | 4500.00 | 75.00 | 11250.00 | 200.00 | 30000.00 | 3000.00 | GLOBAL TECH SERVICES
2.20 | Following Servicing of of Kirloskar KD 844+, 7.5HP, 1430 RPM, 400V pump,motor etc as and when required including removing and fixing of motor etc. as required.
2.30 | Rewinding of Motor | 1.00 | Job |  | 4000.00 | 4000.00 | 750.00 | 750.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 750.00 | TEJA POWER TECH
2.40 | Servicing of pumps including replacement of associated accessories like bearing, shaft work etc complete as required. | 1.00 | Job |  | 2000.00 | 2000.00 | 500.00 | 500.00 | 7500.00 | 7500.00 | 4000.00 | 4000.00 | 500.00 | TEJA POWER TECH
2.50 | Following Servicing of submersible 7.5 HP bore well motor, pump etc as and when required etc as required
2.60 | Rewinding of Submersible Motor | 1.00 | Job |  | 5000.00 | 5000.00 | 800.00 | 800.00 | 7500.00 | 7500.00 | 7000.00 | 7000.00 | 800.00 | TEJA POWER TECH
2.70 | Servicing of pumps including replacement of associated accessories like bearing, shaft work etc complete as required. | 1.00 | Job |  | 2000.00 | 2000.00 | 500.00 | 500.00 | 9000.00 | 9000.00 | 4000.00 | 4000.00 | 500.00 | TEJA POWER TECH
2.80 | Lifting of Borewell motor pump and Reinstallation by lowering pump etc.as required. | 1.00 | Job |  | 6000.00 | 6000.00 | 1000.00 | 1000.00 | 7500.00 | 7500.00 | 12000.00 | 12000.00 | 1000.00 | TEJA POWER TECH
3.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
3.10 | 1.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 750.00 | 2250.00 | 1200.00 | 3600.00 | 540.00 | 1620.00 | 1100.00 | 3300.00 | 1620.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.20 | 2.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 1000.00 | 3000.00 | 1800.00 | 5400.00 | 990.00 | 2970.00 | 1550.00 | 4650.00 | 2970.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.30 | 4 Sq. Mm(90 mtr Roll) | 3.00 | Roll |  | 1500.00 | 4500.00 | 2800.00 | 8400.00 | 1620.00 | 4860.00 | 2300.00 | 6900.00 | 4500.00 | GLOBAL TECH SERVICES
3.40 | 6 Sq. mm (90 Mtr roll) | 3.00 | Roll |  | 2000.00 | 6000.00 | 3500.00 | 10500.00 | 2100.00 | 6300.00 | 5400.00 | 16200.00 | 6000.00 | GLOBAL TECH SERVICES
3.50 | Supply of following types of lamps suitable for operation on 230 V, 50Hz, AC system as requried.
3.60 | 36 watt FTL | 100.00 | Each |  | 500.00 | 50000.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 40.00 | 4000.00 | 2000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.70 | 9 watt LED Bulb | 20.00 | Each |  | 70.00 | 1400.00 | 150.00 | 3000.00 | 215.00 | 4300.00 | 90.00 | 1800.00 | 1400.00 | GLOBAL TECH SERVICES
3.80 | Supply of complete 60 watt LED Fixture as per technical specifications mentioned in the special conditions of the contract | 5.00 | Each |  | 250.00 | 1250.00 | 1500.00 | 7500.00 | 1750.00 | 8750.00 | 5400.00 | 27000.00 | 1250.00 | GLOBAL TECH SERVICES
3.90 | Supply of Copper Ballast Conventional type Electromagnetic suitable for operation on 230V, 50Hz,AC system
4.00 | 1 X 36 W FTL Lamp electronic ballast | 30.00 | Each |  | 120.00 | 3600.00 | 110.00 | 3300.00 | 75.00 | 2250.00 | 340.00 | 10200.00 | 2250.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.10 | Supply of following switches and other miscellaneous items
4.20 | 5/6 A one way switch | 20.00 | Each |  | 10.00 | 200.00 | 25.00 | 500.00 | 40.00 | 800.00 | 30.00 | 600.00 | 200.00 | GLOBAL TECH SERVICES
4.30 | 15 A one Switch | 20.00 | Each |  | 12.00 | 240.00 | 35.00 | 700.00 | 90.00 | 1800.00 | 45.00 | 900.00 | 240.00 | GLOBAL TECH SERVICES
4.40 | 5/6 A Socket | 20.00 | Each |  | 25.00 | 500.00 | 18.00 | 360.00 | 75.00 | 1500.00 | 60.00 | 1200.00 | 360.00 | TEJA POWER TECH
4.50 | 15 A Socket | 20.00 | Each |  | 25.00 | 500.00 | 20.00 | 400.00 | 95.00 | 1900.00 | 85.00 | 1700.00 | 400.00 | TEJA POWER TECH
4.60 | 3-pin 5/6A Top | 20.00 | Each |  | 50.00 | 1000.00 | 15.00 | 300.00 | 25.00 | 500.00 | 30.00 | 600.00 | 300.00 | TEJA POWER TECH
4.70 | 5/15A Combined Socket | 20.00 | Each |  | 25.00 | 500.00 | 40.00 | 800.00 | 110.00 | 2200.00 | 95.00 | 1900.00 | 500.00 | GLOBAL TECH SERVICES
4.80 | Ding Dong call bell suitable to operate on 230V, 50Hz, AC supply etc complete as required. | 5.00 | Each |  | 750.00 | 3750.00 | 85.00 | 425.00 | 90.00 | 450.00 | 120.00 | 600.00 | 425.00 | TEJA POWER TECH
4.90 | Supply of 19 X 10mm casing caping medium class as per relevent IS etc of standard lengh 2mtrs etc., as required. | 50.00 | Each |  | 45.00 | 2250.00 | 6.00 | 300.00 | 20.00 | 1000.00 | 55.00 | 2750.00 | 300.00 | TEJA POWER TECH
5.00 | Supply of following capacity MCB's/Isolator suitable for operation on 240V / 415V 50Hz AC supply etc as required.
5.10 | (a) SP-MCB 16Amps | 10.00 | Each |  | 230.00 | 2300.00 | 200.00 | 2000.00 | 75.00 | 750.00 | 180.00 | 1800.00 | 750.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.20 | (b) SP-MCB 10Amps | 10.00 | Each |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 65.00 | 650.00 | 180.00 | 1800.00 | 650.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.30 | (c) 4P RCBO 63Amps | 2.00 | Each |  | 4000.00 | 8000.00 | 450.00 | 900.00 | 1200.00 | 2400.00 | 2900.00 | 5800.00 | 900.00 | TEJA POWER TECH
5.40 | Supply of following capacity capacitors/ignitor suitable for operation on 240V / 415V 50Hz AC supply etc as required.
5.50 | 2.25 mfd fan capacitor | 10.00 | Each |  | 250.00 | 2500.00 | 45.00 | 450.00 | 6.00 | 60.00 | 200.00 | 2000.00 | 60.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.60 | Supply of 36 watt FTL type Tube light starters suitable for operation on 240V 50Hz AC supply etc as required. | 50.00 | Each |  | 60.00 | 3000.00 | 10.00 | 500.00 | 6.00 | 300.00 | 15.00 | 750.00 | 300.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.70 | Supply of Fan Regulator (Electronic step type) suitable for operation on 240V 50Hz AC supply etc as required. | 30.00 | Each |  | 100.00 | 3000.00 | 250.00 | 7500.00 | 30.00 | 900.00 | 450.00 | 13500.00 | 900.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.80 | Supply of ceiling fan of 1200mm sweep including the down rods of standard length (upto 30 cm) etc. as required. | 20.00 | Each |  | 2000.00 | 40000.00 | 2500.00 | 50000.00 | 1100.00 | 22000.00 | 1500.00 | 30000.00 | 22000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.90 | Supply of following rating HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as required.( As per sample or equivalent)
6.00 | 25 Amps | 20.00 | Each |  | 250.00 | 5000.00 | 75.00 | 1500.00 | 30.00 | 600.00 | 200.00 | 4000.00 | 600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
6.10 | 32 Amps | 20.00 | Each |  | 500.00 | 10000.00 | 100.00 | 2000.00 | 30.00 | 600.00 | 250.00 | 5000.00 | 600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
7.00 | SH-IV: DSR ELECTRICAL -2018
7.10 | Percentage above or below on the rates of Electrical DSR-2018 (CPWD) items worth totaling to Rs. 100000 for execution of misc.items on requirement basis. The Rates quoted shall be without GST.(Note: the firm has to quote/upload the percentage above/below(+/-)% on the quantity mentioned against this item directly in the form multipying factor in the rate column, as clarified below. For expample: if desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as 1.05 or 5 % below on DSR 2018 shall be filled as 0.95)) | 100000.00 | % |  | .50 | 50000.00 | .95 | 95000.00 | .10 | 10000.00 | .90 | 90000.00 | 10000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 5455388.00 |  | 5402885.00 |  | 5279330.00 |  | 5731702.00
Lowest Amount Quoted BY: SRI VASUKI POWER SYSTEMS PVT LTD(5279330.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC (2020-22) for EnM installation at City side at HAL Airport and AAI Residential Colony Bengaluru Tender ID: 2020_AAI_60928_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI VASUKI POWER SYSTEMS PVT LTD | 5279330.00 | L1
| 2 | TEJA POWER TECH | 5402885.00 | L2
| 3 | GLOBAL TECH SERVICES | 5455388.00 | L3
| 4 | SUDHA ELECTRICALS AND ENTERPRISES | 5731702.00 | L4