## BoQ1
Government eProcurement System Created By: B. NAGESWARA RAO Created Date/Time: 17-Nov-2020 11:33 AM Tender Title: Replacemnt of 160 KVA DG set at MSSR substation Yarada Visakhapatnam Tender ID: 2020_AAI_60937_1
Tender Inviting Authority: Jt. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Replacement of 160KVA DG set at MSSR substation yarada hills Visakhapatnam.
Contract No: 2020 _AAI_60937
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | ASM & ENGINEERING CO.(GSTN-NA) |  | SREE KRISHNA ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of 160KVA SILENT Diesel Generating set with CPCB-II approved accoustic enclosure comprising radiator, inline multi cylinder diesel engine of suitable BHP, equiped with flywheel, fuel tank, fuel piping, exhaust piping with insulation suitable for site condition, electric starting equipment, Radiator cooled, four stroke Diesel engine designed to run at 1500RPM, turbo charged, Charge air cooled complete with standard accessories. Coupled to suitable Alternator rated at 128KW/160KVA at 3 Phase, 50 Hz, 415 Volts, 4 wire, AC supply. Complete with base frame and control panel, 2 Nos. of 12V suitable Ah lead acid battery bank, residual type silencer etc., Complete as per particular specifications including transportation, loading and unloading, testing , integrating with the existing AMF panel includes connecting main cable, control cable, reconnecting earth strips etc.. complete as required. | 1.00 | Job |  | 875000.00 | 875000.00 | 873600.00 | 873600.00 | 967987.00 | 967987.00 | 873600.00 | ASM & ENGINEERING CO.
2.00 | Laying of XLPE insulated PVC sheathed Alumininum conductor armoured power cable of 1.1kv grade of size not exceeding 35 sq.mm in the existing RCC/HUME/STONE WARE/METAL pipe as required. | 10.00 | Meter |  | 50.00 | 500.00 | 30.00 | 300.00 | 70.00 | 700.00 | 300.00 | ASM & ENGINEERING CO.
3.00 | Laying of XLPE insulated PVC sheathed Alumininum conductor armoured power cable of 1.1kv grade of size exceeding 95 sq.mm but not exceeding 185 sq.mm in the existing RCC/HUME/STONE WARE/METAL pipe as required. | 10.00 | Meter |  | 100.00 | 1000.00 | 70.00 | 700.00 | 80.00 | 800.00 | 700.00 | ASM & ENGINEERING CO.
4.00 | Supply and making end terminations with brass compression gland and copper lugs for 10 core x 2.5 sq.mm copper control cable XLPE/PVC insulated and PVC sheathed 1.1 KV grade cables as required . | 4.00 | Each |  | 150.00 | 600.00 | 350.00 | 1400.00 | 500.00 | 2000.00 | 600.00 | Awasthi Electric Works
5.00 | Supply and making end terminations with brass compression gland and Aluminium lugs for 3.5 core x 120 sq.mm XLPE/PVC insulated and PVC sheathed 1.1 KV grade cables as required . | 2.00 | Each |  | 850.00 | 1700.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 1000.00 | ASM & ENGINEERING CO.
6.00 | Dismantling and returning to AAI store (store at Yarada hills) one no160 KVA DG set from Yarada hills to AAI store at Yarada hill by using proper equipment and following safety standards etc.. Complete as required. | 1.00 | Job |  | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 25000.00 | 25000.00 | 15000.00 | Awasthi Electric Works
7.00 | Supply & installation of 2" thick Rockwool insulation on existing exhaust pipe of 150mm dia for 160 KVA DG set. (Approxmately 5 metres length). | 2.00 | Job |  | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 10000.00 | SREE KRISHNA ENTERPRISES, ASM & ENGINEERING CO.
| Total in Figures |  |  |  |  | 923800.00 |  | 917000.00 |  | 1007987.00
Lowest Amount Quoted BY: ASM & ENGINEERING CO.(917000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacemnt of 160 KVA DG set at MSSR substation Yarada Visakhapatnam Tender ID: 2020_AAI_60937_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASM & ENGINEERING CO. | 917000.00 | L1
| 2 | Awasthi Electric Works | 923800.00 | L2
| 3 | SREE KRISHNA ENTERPRISES | 1007987.00 | L3