## BoQ1
Government eProcurement System Created By: DOMA JAWALEKAR Created Date/Time: 17-Nov-2020 06:09 PM Tender Title: Replacement of Power Cables for Old Power House, Perimeter Feeder and Fire Pump House etc. at Aurangabad Airport Tender ID: 2020_AAI_61020_1
Tender Inviting Authority: Asstt. Gen.Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad - 431007 (Maharashtra).
Name of Work: Replacement of Power Cables for Old Power House, Perimeter Feeder and Fire Pump House etc. at Aurangabad Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KSHARMAELECTRICALS(GSTN-27ALMPS0630H1ZO) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5 core 1.1 KV grade XLPE insulated, armoured Aluminium. Conductor Cable confirming to IS 7098 (Part-I) 1985 amended upto date of following sizes : 3.5 x 185 sq.mm | 950.00 | Meter |  | 627.00 | 595650.00 | 610.00 | 579500.00 | 569.00 | 540550.00 | 546.00 | 518700.00 | 518700.00 | ABHISHEK ASSOCIATES
2.00 | Supply of 3.5 core 1.1 KV grade XLPE insulated, armoured Aluminium. Conductor Cable confirming to IS 7098 (Part-I) 1985 amended upto date of following sizes : 3.5 x 240 sq.mm | 1400.00 | Meter |  | 815.00 | 1141000.00 | 759.00 | 1062600.00 | 733.00 | 1026200.00 | 710.00 | 994000.00 | 994000.00 | ABHISHEK ASSOCIATES
3.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 160 mm dia (OD-120 mm & ID-103 mm nominal) | 2400.00 | Meter |  | 320.00 | 768000.00 | 240.00 | 576000.00 | 239.00 | 573600.00 | 310.00 | 744000.00 | 573600.00 | Techno Electricals
4.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL/HDPE pipe as required. Above 95 sq. mm and upto 185 sq. mm | 1400.00 | Meter |  | 30.00 | 42000.00 | 40.00 | 56000.00 | 43.00 | 60200.00 | 40.00 | 56000.00 | 42000.00 | KSHARMAELECTRICALS
5.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL/HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 1510.00 | Meter |  | 35.00 | 52850.00 | 50.00 | 75500.00 | 43.00 | 64930.00 | 45.00 | 67950.00 | 52850.00 | KSHARMAELECTRICALS
6.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm | 4.00 | Each |  | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 3233.00 | 12932.00 | 1800.00 | 7200.00 | 7200.00 | ABHISHEK ASSOCIATES
7.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 240 sq. mm | 4.00 | Each |  | 4600.00 | 18400.00 | 3800.00 | 15200.00 | 3536.00 | 14144.00 | 2500.00 | 10000.00 | 10000.00 | ABHISHEK ASSOCIATES
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm | 6.00 | Each |  | 4800.00 | 28800.00 | 3800.00 | 22800.00 | 4243.00 | 25458.00 | 2500.00 | 15000.00 | 15000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 2664700.00 |  | 2399600.00 |  | 2318014.00 |  | 2412850.00
Lowest Amount Quoted BY: Techno Electricals(2318014.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Power Cables for Old Power House, Perimeter Feeder and Fire Pump House etc. at Aurangabad Airport Tender ID: 2020_AAI_61020_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 2318014.00 | L1
| 2 | Manish Electricals | 2399600.00 | L2
| 3 | ABHISHEK ASSOCIATES | 2412850.00 | L3
| 4 | KSHARMAELECTRICALS | 2664700.00 | L4