## BoQ1
Government eProcurement System Created By: ANILKUMAR P D Created Date/Time: 26-Nov-2020 04:02 PM Tender Title: Supply, Installation, Testing and Commissioning of Surge Protection systems at TUTICORIN Airport Tender ID: 2020_AAI_61057_1
Tender Inviting Authority:Asst. General Manager (CNS), O/o Airport Director, Tuticorin Airport
Name of Work: Supply, Installation, Testing & Commissioning of surge protection systems at Tuticorin Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Accuelec Power Solution LLP(GSTN-07ABDFA1857F1ZO)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SURGE ARRESTOR / DIVERTER Supply, installation, Testing & Commissioning comprehensive 3 phase surge protection system comprising integrated Class B+C surge protection system conforming to UL-1449-3 / IEC-61643-62305 | 1.00 | nos. | 100.00 | 52700.00 | 52700.00 | 52700.00 | Accuelec Power Solution LLP
2.00 | SERIES SURGE FILTER P/O SPS Supply,installation,Testing & Commissioning of single phase series surge filter each at the input and output of UPS, The output one as close to the load as possible to be installed. The filter shall offer all mode protection(L-N, L-E, and N-E) | 1.00 | nos. | 100.00 | 59750.00 | 59750.00 | 59750.00 | Accuelec Power Solution LLP
| Total in Figures |  |  |  |  | 112450.00
Lowest Amount Quoted BY: Accuelec Power Solution LLP(112450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of Surge Protection systems at TUTICORIN Airport Tender ID: 2020_AAI_61057_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Accuelec Power Solution LLP | 112450.00 | L1