## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 21-Dec-2020 03:33 PM Tender Title: Replacement of FRP fan assembly of Mihir make Cooling Tower at S V Airport Raipur Tender ID: 2020_AAI_61073_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Replacement of FRP fan assembly of Mihir make Cooling Tower at S.V. Airport, Raipur.
Contract No: 2020_AAI_61073
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANOOP REFRIGERATION(GSTN-09AAGFA4646N1Z1) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | PRIYA ENETRPRISES(GSTN-27AAIPR8982N1ZK) |  | Suony Fibre Glass (I) Pvt Ltd(GSTN-23AACCS7589K1ZT) |  | Ess Pee Enterprise(GSTN-NA) |  | ENCON(INDIA)(GSTN-NA) |  | NIRVANA TECHNOLOGIES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of FRP Fan Assembly (2400mm dia.) comprising of Fan Blades, Fan Hub, Fan blade clamps and hardware suitable for Cooling Tower Mihir Make Model No. FM16/7.5E/10 complete etc as required. | 3.00 | Set | 84335.00 | 82000.00 | 246000.00 | 36560.00 | 109680.00 | 54000.00 | 162000.00 | 73000.00 | 219000.00 | 19500.00 | 58500.00 | 99000.00 | 297000.00 | 14500.00 | 43500.00 | 43500.00 | NIRVANA TECHNOLOGIES
2.00 | Supply of PVC Fills of (size 825 x 300 x 300 mm), complete etc as required. | 273.00 | Nos. | 581.00 | 550.00 | 150150.00 | 404.00 | 110292.00 | 450.00 | 122850.00 | 345.00 | 94185.00 | 615.00 | 167895.00 | 405.00 | 110565.00 | 250.00 | 68250.00 | 68250.00 | NIRVANA TECHNOLOGIES
3.00 | Supply of PVC Fills of (size 825 x 150 x 150 mm), complete etc as required. | 273.00 | Nos. | 247.00 | 250.00 | 68250.00 | 234.00 | 63882.00 | 153.00 | 41769.00 | 90.00 | 24570.00 | 205.00 | 55965.00 | 126.00 | 34398.00 | 275.00 | 75075.00 | 24570.00 | Suony Fibre Glass (I) Pvt Ltd
4.00 | Supply of PVC Eliminator of ( size1200 x 600 x 100 mm), complete etc as required. | 51.00 | Nos. | 899.00 | 850.00 | 43350.00 | 1165.00 | 59415.00 | 1260.00 | 64260.00 | 736.00 | 37536.00 | 850.00 | 43350.00 | 1107.00 | 56457.00 | 450.00 | 22950.00 | 22950.00 | NIRVANA TECHNOLOGIES
5.00 | Water Distribution system [Comprising of Main Header (200 x 3450 mm : 1 No.), Branch Pipes (90 x 1730 mm 4 Nos. & 90 x 1380 mm 4 Nos.), Tail Piece (200 mm 1 No.), FlangeE (200 mm 1 No.), Nozzles - 20 Nos.], complete etc as required. Capacity : 3969 LPM, Water entering temperature : 37.0 Deg.C , Water leaving temperature : 32.2 Deg.C, (Total count 01 Set) complete etc as required. | 3.00 | Set | 64438.00 | 62000.00 | 186000.00 | 42000.00 | 126000.00 | 45000.00 | 135000.00 | 60000.00 | 180000.00 | 29800.00 | 89400.00 | 72900.00 | 218700.00 | 110000.00 | 330000.00 | 89400.00 | Ess Pee Enterprise
6.00 | Supply of Float valve set (bronze), comes with Ball, Aluminium rod and PVC Ball Cock-25mm, complete etc as required. | 6.00 | Nos. | 758.00 | 600.00 | 3600.00 | 850.00 | 5100.00 | 900.00 | 5400.00 | 3000.00 | 18000.00 | 950.00 | 5700.00 | 2250.00 | 13500.00 | 3000.00 | 18000.00 | 3600.00 | ANOOP REFRIGERATION
7.00 | Installation, testing & commssioning of FRP fan aasenbly, pvc fills, pvc eliminator, float valve, complete etc as required. | 3.00 | Job | 22725.00 | 20000.00 | 60000.00 | 16700.00 | 50100.00 | 27000.00 | 81000.00 | 85000.00 | 255000.00 | 55800.00 | 167400.00 | 147600.00 | 442800.00 | 40000.00 | 120000.00 | 50100.00 | PAN POLAR ENGINEERS PVT. LTD.
8.00 | Supply of Spare Fan Motor suitable to operate on 3 phase 415 + 10% voltage variation, 50 Hz, 10HP, 565/600 RPM, insulation class 'F', confirming to IS:325. The drive shall be weather proof with IP-55 protection. Fan shall be protected with a fan guard, complete etc as required. (Equivallent or Similar to Hindustan Electric Motors Model No. FR 180L) | 1.00 | Nos. | 55741.00 | 43000.00 | 43000.00 | 74975.00 | 74975.00 | 68400.00 | 68400.00 | 50000.00 | 50000.00 | 64500.00 | 64500.00 | 72000.00 | 72000.00 | 65000.00 | 65000.00 | 43000.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 800350.00 |  | 599444.00 |  | 680679.00 |  | 878291.00 |  | 652710.00 |  | 1245420.00 |  | 742775.00
Lowest Amount Quoted BY: PAN POLAR ENGINEERS PVT. LTD.(599444.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of FRP fan assembly of Mihir make Cooling Tower at S V Airport Raipur Tender ID: 2020_AAI_61073_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PAN POLAR ENGINEERS PVT. LTD. | 599444.00 | L1
| 2 | Ess Pee Enterprise | 652710.00 | L2
| 3 | PRIYA ENETRPRISES | 680679.00 | L3
| 4 | NIRVANA TECHNOLOGIES | 742775.00 | L4
| 5 | ANOOP REFRIGERATION | 800350.00 | L5
| 6 | Suony Fibre Glass (I) Pvt Ltd | 878291.00 | L6
| 7 | ENCON(INDIA) | 1245420.00 | L7