## BoQ1
Government eProcurement System Created By: Sanjib Kumar Dey Created Date/Time: 20-Nov-2020 05:08 PM Tender Title: Procurement of Water coolers, Fans, CCTV and PA system under Tender ID: 2020_AAI_61313_1
Tender Inviting Authority: <DGM( Engg.-Elect.),RHQ,ER,Kolkata>
Name of Work: <Procurement of Water coolers, Fans, CCTV and PA system under CSR Scheme at NSCBI Airport, Kolkata>
Contract No: <AAI/ER/KOL/EE/NIT-09/2020-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. Das Electricals(GSTN-19AFOPD0681F1ZG) |  | PAULBRO SYSTEMS(GSTN-19AJEPP4101G1ZG)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 400mm dia sweep wall fan Oscillating type complete with built in String type speed regulator and mounting arrangement. Colour as approved by EIC. Make - Havells, Model Platina or Equivalent Approved Make. | 2.00 | No. |  | 3233.00 | 6466.00 | 2136.00 | 4272.00 | 4272.00 | PAULBRO SYSTEMS
2.00 | Supply ,Installation, testing ,commissioning of Water Cooler cum in built UV+RO water purifier with storage capacity of 120Ltrs,Cooling Capacity 80Ltr/Hr (approx.) having minimum 3(Three) nos. water Faucets(2 no. for Cold Water and 1no. for Normal water) suitable to operate on 230V,1-phase,50Hz AC power supply and meeting the Specification as Specified in Technical Specification. (Make :- Aquaguard Green Pure Chill 120 PSS or Equivalent). | 2.00 | No. |  | 96666.00 | 193332.00 | 94060.00 | 188120.00 | 188120.00 | PAULBRO SYSTEMS
3.00 | Supply ,Installation, testing ,commissioning of UV Water Purifier ( Sedement filter, Carbon Filter & UV Filter) having minimum 2 (Two) nos. water Faucets suitable to operate on 230V,1-phase,50Hz AC power supply and meeting the Specification as Specified in Technical Specification. (Make :- Aquaguard 600 DF or Equivalent Approved Make). | 2.00 | No. |  | 37999.00 | 75998.00 | 30600.00 | 61200.00 | 61200.00 | PAULBRO SYSTEMS
4.00 | SITC of Iron remover - Consists of minimum 2 Nos. chamber and pre filter camber of size not less then 10inch. (Make :- Aquaguard Ironil or Equivalent Approved Make). | 4.00 | No. |  | 3111.00 | 12444.00 | 2500.00 | 10000.00 | 10000.00 | PAULBRO SYSTEMS
5.00 | SITC of PA system consisting of i) mixer amplifier with build in digital player - 75 Watt Qty. 01 (ii) Wireless PA microphone - Qty. 01 (iii) Tower speakerwith stand - 25 Watt and other associated cables and boxes as per site requirement complete set. Make - Ahuja or AAI Equivalent. | 1.00 | No. |  | 46777.00 | 46777.00 | 24688.00 | 24688.00 | 24688.00 | PAULBRO SYSTEMS
6.00 | SITC of 1/2.7 " 1080 P, AHD/CVBS, 2 Megapixel, COMS IR Colour Dome type Camera with 3.6 mm fix lens suitable to operate on 12 V DC. | 3.00 | No. |  | 1111.00 | 3333.00 | 1575.00 | 4725.00 | 3333.00 | M/s. Das Electricals
7.00 | SITC of 32 Channel Digital Video Recorder with 02 TB HDD | 1.00 | No. |  | 40666.00 | 40666.00 | 27062.00 | 27062.00 | 27062.00 | PAULBRO SYSTEMS
8.00 | SITC of SMPS Based High Quality Power Supply | 3.00 | No. |  | 277.00 | 831.00 | 480.00 | 1440.00 | 831.00 | M/s. Das Electricals
9.00 | Supply and Drawing of Co-Axial TV cable RG-6 Grade | 150.00 | Mtr |  | 25.00 | 3750.00 | 15.00 | 2250.00 | 2250.00 | PAULBRO SYSTEMS
10.00 | Supply and Drawing of FRLSH PVC insulated Copper conductor Single Core wire of size 2 X 1.5 Sq mm in the existing PVC Conduit etc. | 150.00 | Mtr |  | 40.00 | 6000.00 | 25.00 | 3750.00 | 3750.00 | PAULBRO SYSTEMS
11.00 | Supply and Fixing of Medium class PVC Conduit size- 20 mm alongwith all accessories etc. | 150.00 | Mtr |  | 34.00 | 5100.00 | 35.00 | 5250.00 | 5100.00 | M/s. Das Electricals
12.00 | ITC of all items (mentioned in Items No. 6 to11 ) complete as per site requirement. | 1.00 | Job |  | 8888.00 | 8888.00 | 10000.00 | 10000.00 | 8888.00 | M/s. Das Electricals
| Total in Figures |  |  |  |  | 403585.00 |  | 342757.00
Lowest Amount Quoted BY: PAULBRO SYSTEMS(342757.00)

## BOQ Summary
BOQ Summary Details Tender Title: Procurement of Water coolers, Fans, CCTV and PA system under Tender ID: 2020_AAI_61313_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PAULBRO SYSTEMS | 342757.00 | L1
| 2 | M/s. Das Electricals | 403585.00 | L2