## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 18-Dec-2020 03:24 PM Tender Title: Replacement of 2 Nos. Elevators (10 PAX Capacity) including A.C.M.C. for 05 (Five) years at ATS Complex, Mumbai. Tender ID: 2020_AAI_61507_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "Replacement of 2 Nos. Elevators (10 PAX Capacity) including A.C.M.C. for 05 (Five) years at ATS Complex, Mumbai."
Contract No: MUM/ATS/ENGG-E/eNIT-06/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | Escon elevators Pvt Ltd(GSTN-27AAACE0977F1ZQ) |  | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUBHEAD - I: SITC OF ELEVATORS Supply, installation, testing & commissioning of following capacity Machine Room electric traction type passenger elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic centre opening door, car enclosure provided with scratch resistant hairline finish stainless steel and round hairline stainless steel handrail on three sides of car suitable for operation on 415 V, 3 phase, 50 Hz. AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.50 Mtrs./sec., electromagnetic brake system, Duplex collective selective operations, operating panel with luminous buttons with braille script encryption, overload warning indicator, battery operated emergency alarm bell, LED type emergency light, intercom suitable for interconnection with AAI’s EPABX system, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car position indicator in car and landing at all floors with pre-announcing indicator UP/DOWN direction, LED type light luminaries, ventilation fan complete with all accessories including automatic rescue device etc. The traction motor of Machine Room (MR) shall be of gearless type and complete as per technical specifications. The elevator shall confirm to the detailed specifications attached. (a)10 Passenger (minimum) capacity, 680 kgs. approx. having automatic center opening stainless steel doors with glass window (car & landing doors), 16.8 mtrs. travel height (Approx), 5 stops & 5 opening ( Ground + 4 floors) on same side suitable for shaft size of 1900 mm. x 1900 mm. | 2.00 | Each |  | 1319700.00 | 2639400.00 | 1350000.00 | 2700000.00 | 1360000.00 | 2720000.00 | 2639400.00 | OMEGA ELEVATORS
2.00 | SUBHEAD - II: DISMANTLE OF EXISTING ELEVATORS Dismantling of existing 08 passenger capacity elevator including all accessories, shifting the same at shown location by the Engineer-in-charge complete etc as required. | 2.00 | Job |  | 45000.00 | 90000.00 | 30000.00 | 60000.00 | 25000.00 | 50000.00 | 50000.00 | Johnson Lifts Pvt Ltd
3.01 | SUBHEAD - III: ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT OF ELEVATORS Annual Comprehensive Maintenance Contract of above Elevators (02 Nos.) of 10 PAX capacity, 680 Kgs. approx., after completion of defects liability period of two years. The scope of work during CMC period shall be as per technical specifications. (a) For First Year after Defect Liability period of two years | 12.00 | Month |  | 8800.00 | 105600.00 | 7000.00 | 84000.00 | 8084.00 | 97008.00 | 84000.00 | Escon elevators Pvt Ltd
3.02 | SUBHEAD - III: ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT OF ELEVATORS Annual Comprehensive Maintenance Contract of above Elevators (02 Nos.) of 10 PAX capacity, 680 Kgs. approx., after completion of defects liability period of two years. The scope of work during CMC period shall be as per technical specifications. (b) For Second Year | 12.00 | Month |  | 9700.00 | 116400.00 | 9000.00 | 108000.00 | 8488.00 | 101856.00 | 101856.00 | Johnson Lifts Pvt Ltd
3.03 | SUBHEAD - III: ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT OF ELEVATORS Annual Comprehensive Maintenance Contract of above Elevators (02 Nos.) of 10 PAX capacity, 680 Kgs. approx., after completion of defects liability period of two years. The scope of work during CMC period shall be as per technical specifications. (c) For Third Year | 12.00 | Month |  | 10700.00 | 128400.00 | 10500.00 | 126000.00 | 8912.00 | 106944.00 | 106944.00 | Johnson Lifts Pvt Ltd
3.04 | SUBHEAD - III: ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT OF ELEVATORS Annual Comprehensive Maintenance Contract of above Elevators (02 Nos.) of 10 PAX capacity, 680 Kgs. approx., after completion of defects liability period of two years. The scope of work during CMC period shall be as per technical specifications. (d) For Fourth Year | 12.00 | Month |  | 11700.00 | 140400.00 | 12000.00 | 144000.00 | 9358.00 | 112296.00 | 112296.00 | Johnson Lifts Pvt Ltd
3.05 | SUBHEAD - III: ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT OF ELEVATORS Annual Comprehensive Maintenance Contract of above Elevators (02 Nos.) of 10 PAX capacity, 680 Kgs. approx., after completion of defects liability period of two years. The scope of work during CMC period shall be as per technical specifications. (e) For Fifth Year | 12.00 | Month |  | 12900.00 | 154800.00 | 13500.00 | 162000.00 | 9826.00 | 117912.00 | 117912.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 3375000.00 |  | 3384000.00 |  | 3306016.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(3306016.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of 2 Nos. Elevators (10 PAX Capacity) including A.C.M.C. for 05 (Five) years at ATS Complex, Mumbai. Tender ID: 2020_AAI_61507_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 3306016.00 | L1
| 2 | OMEGA ELEVATORS | 3375000.00 | L2
| 3 | Escon elevators Pvt Ltd | 3384000.00 | L3