## BoQ1
Government eProcurement System Created By: DINESH KHATRI Created Date/Time: 01-Dec-2020 11:13 AM Tender Title: ARMO of Electrical and Mechanical installations in Operational Area, Terminal Building, 33 KV Substation, Residential Colony, SPOL system etc. at M.P. Airport Udaipur (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_61575_1
Tender Inviting Authority: Asstt. GM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: ARMO of Electrical & Mechanical installations in Operational Area, Terminal Building, 33 KV Substation, Residential Colony, SPOL system etc. at M.P. Airport Udaipur (Year 2020-21 and 2021-22)
Contract No: AAI/UDR/ENGG(E)/ARMO/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of E & M installations in Operational Area, aeroneutical ground lighting, NAV-Aids building, Fire station, CCR etc. including preventive maintenance, breakdown maintenance, attending complaint etc. as per Special Condition of Contract. The contractor has to deploy following minimum man power on each day in shift duty including sunday & holiday but excluding weekly off :- a) Highly Skilled - 01 No. b) Skilled - 7 Nos. c) Unskilled - 7 No. | 24.00 | Month | 0.00 | 227010.00 | 5448240.00 | 131951.00 | 3166824.00 | 217786.00 | 5226864.00 | 3166824.00 | Ascent Electrification Engineers
2.00 | Operation and Maintenance of E & M installations in Terminal building, Residential Colony etc. including preventive maintenance, breakdown maintenance, attending complaint etc. as per Special Condition of Contract. The contractor has to deploy following minimum man power on each day in shift duty including sunday & holiday but excluding weekly off :- a) Highly Skilled - 1 No. b) Skilled - 5 Nos. c) Semi-Skilled - 9 Nos. d) Unskilled - 4 No. | 24.00 | Month | 0.00 | 290000.00 | 6960000.00 | 325478.00 | 7811472.00 | 275786.00 | 6618864.00 | 6618864.00 | Manish Electricals
3.00 | Operation and Maintenance of E & M installations in 33 kV sub-station, Technical block, operational office, MSSR Building, CISF Barrack, Pump house, STP Room etc. including preventive maintenance, breakdown maintenance, attending complaint etc. as per Special Condition of Contract. The contractor has to deploy following minimum man power on each day in shift duty including sunday & holiday but excluding weekly off :- a) Highly Skilled - 1 No. b) Skilled - 10 Nos. c) Semi-Skilled - 8 Nos. d) Unskilled - 7 No. | 24.00 | Month | 0.00 | 380000.00 | 9120000.00 | 430907.00 | 10341768.00 | 379786.00 | 9114864.00 | 9114864.00 | Manish Electricals
4.00 | Annual Comprehensive Maintenance, upkeeping, Security watch & ward of Solar Powered Obstruction lighting system comprising of red filter, solar panel, battery control cards, PV Panels, flasher unit, ammeter, voltmeter etc. installed on various hills located at outer periphery (07 hills) of Udaipur Airport on round the clock basis (i.e. 24 hours) as per special conditions of contract. The contractor has to deploy following minimum man power on each day in shift duty including sunday & holiday but excluding weekly off :- a) Un-Skilled - 25 No. (Note : In case of theft/ damage / fault occurance the agency has to replace the same with original component without any extra charge within stipulated period as decided by the Engineer-in-charge). | 24.00 | Month | 0.00 | 295000.00 | 7080000.00 | 288652.00 | 6927648.00 | 293786.00 | 7050864.00 | 6927648.00 | Ascent Electrification Engineers
5.00 | Providing manpower to work as Multi Tasking Staff (MTS-Highly Skilled Type) Data entry operator to perform jobs i.e. computer typing job work, proper handling of programming & other office work etc. assigned on day to day basis on all days in general shift but excluding sunday or as per office demand basis as per requirement. a) Highly-Skilled - 01 No. | 24.00 | Month | 0.00 | 22050.00 | 529200.00 | 21197.00 | 508728.00 | 19851.00 | 476424.00 | 476424.00 | Manish Electricals
6.00 | Providing manpower to work as office assistant to carry out the routine office works, maintenance of office records, documentations etc during general shift & other work as per requirement of officer-in-charge. a) Semi-Skilled - 02 Nos. | 24.00 | Month | 0.00 | 30050.00 | 721200.00 | 27040.00 | 648960.00 | 27000.00 | 648000.00 | 648000.00 | Manish Electricals
7.00 | Engagement of Supervisor (Highly-Skilled) in case of flight delay & other exigencies etc. as required. | 80.00 | Hrs. | 0.00 | 70.00 | 5600.00 | 88.00 | 7040.00 | 89.00 | 7120.00 | 5600.00 | MPC ELECTRICALS AND ENGINEERS
8.00 | Engagement of Wireman (Skilled) in case of flight delay & other exigencies etc. as required. | 250.00 | Hrs. | 0.00 | 70.00 | 17500.00 | 75.00 | 18750.00 | 76.00 | 19000.00 | 17500.00 | MPC ELECTRICALS AND ENGINEERS
9.00 | Engagement of Operator (Semi- Skilled) in case of flight delay & other exigencies etc. as required. | 250.00 | Hrs. | 0.00 | 62.00 | 15500.00 | 63.00 | 15750.00 | 63.00 | 15750.00 | 15500.00 | MPC ELECTRICALS AND ENGINEERS
10.00 | Engagement of Helper (Un-Skilled) in case of flight delay & other exigencies etc. as required. | 300.00 | Hrs. | 0.00 | 53.00 | 15900.00 | 53.00 | 15900.00 | 55.00 | 16500.00 | 15900.00 | MPC ELECTRICALS AND ENGINEERS, Ascent Electrification Engineers
11.00 | Rewinding of fan motor of desert coolers/ room coolers/ Exhaust fan with super enamelled copper wire of approved quality including transportation. (the old dismental wire to the contractor's account). | 35.00 | Each | 0.00 | 404.00 | 14140.00 | 2500.00 | 87500.00 | 400.00 | 14000.00 | 14000.00 | Manish Electricals
12.00 | Rewinding of ceilling fan (1200 mm sweep) motor with super enamelled copper wire of approved quality including transportation. (the old dismental wire to the contractor's account). | 50.00 | Job | 0.00 | 305.00 | 15250.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 15250.00 | MPC ELECTRICALS AND ENGINEERS
13.00 | Rewinding of Wall mounting fan (400 mm sweep) motor with super enamelled copper wire of approved quality including transportation. (the old dismental wire to the contractor's account). | 8.00 | Job | 0.00 | 350.00 | 2800.00 | 400.00 | 3200.00 | 600.00 | 4800.00 | 2800.00 | MPC ELECTRICALS AND ENGINEERS
14.00 | Replacement of Ball Bearing of ceiling fan/ wall fans / exhaust fan etc as required. | 35.00 | Each | 0.00 | 100.00 | 3500.00 | 300.00 | 10500.00 | 90.00 | 3150.00 | 3150.00 | Manish Electricals
15.00 | Replacement of Bush Bearing of ceiling fan/ wall fans / exhaust fan etc as required. | 8.00 | Each | 0.00 | 100.00 | 800.00 | 300.00 | 2400.00 | 50.00 | 400.00 | 400.00 | Manish Electricals
16.00 | Rewinding and repairing of Up to 1.0 HP capacity single phase / three phase induction motor monoblock etc. i/c. supply & replacement of bearing etc complete as required. (the old dismental wire to the contractor's account). | 8.00 | Each | 0.00 | 1250.00 | 10000.00 | 4000.00 | 32000.00 | 1800.00 | 14400.00 | 10000.00 | MPC ELECTRICALS AND ENGINEERS
17.00 | Rewinding and repairing of Above 1 HP to 3 HP capacity single phase / three phase induction motor monoblock etc. i/c. supply & replacement of bearing etc complete as required. (the old dismental wire to the contractor's account). | 8.00 | Each | 0.00 | 1520.00 | 12160.00 | 4800.00 | 38400.00 | 2500.00 | 20000.00 | 12160.00 | MPC ELECTRICALS AND ENGINEERS
18.00 | Rewinding and repairing of Above 3 HP to 5 HP capacity single phase / three phase induction motor monoblock etc. i/c. supply & replacement of bearing etc complete as required. (the old dismental wire to the contractor's account). | 3.00 | Each | 0.00 | 2050.00 | 6150.00 | 5500.00 | 16500.00 | 3200.00 | 9600.00 | 6150.00 | MPC ELECTRICALS AND ENGINEERS
19.00 | Rewinding and repairing of Above 5 HP to 7.5 HP capacity single phase / three phase induction motor monoblock etc. i/c. supply & replacement of bearing etc complete as required. (the old dismental wire to the contractor's account). | 8.00 | Each | 0.00 | 3050.00 | 24400.00 | 5900.00 | 47200.00 | 4800.00 | 38400.00 | 24400.00 | MPC ELECTRICALS AND ENGINEERS
20.00 | Rewinding and repairing of Above 1 HP to 3 HP, 3 phase submersible pump motor etc i/c. supply & replacement of bearing etc complete as required. (the old wire to the contractor's account). | 3.00 | Each | 0.00 | 2500.00 | 7500.00 | 4800.00 | 14400.00 | 3000.00 | 9000.00 | 7500.00 | MPC ELECTRICALS AND ENGINEERS
21.00 | Rewinding and repairing of 5 HP, 3 phase submersible pump motor etc i/c. supply & replacement of bearing etc complete as required. (the old wire to the contractor's account). | 5.00 | Each | 0.00 | 2500.00 | 12500.00 | 5900.00 | 29500.00 | 3500.00 | 17500.00 | 12500.00 | MPC ELECTRICALS AND ENGINEERS
22.00 | Rewinding and repairing of 7.5 HP, 3 phase submersible pump motor etc i/c. supply & replacement of bearing etc complete as required. (the old wire to the contractor's account). | 5.00 | Each | 0.00 | 3500.00 | 17500.00 | 6500.00 | 32500.00 | 6000.00 | 30000.00 | 17500.00 | MPC ELECTRICALS AND ENGINEERS
23.00 | Lifting and lowering of 5 HP to 7.5 HP, 3 Phase, 50 Hz submersible pump set in the existing bore well upto 90 meter approxiamate depth at Airport site. | 10.00 | Job | 0.00 | 3100.00 | 31000.00 | 5900.00 | 59000.00 | 5000.00 | 50000.00 | 31000.00 | MPC ELECTRICALS AND ENGINEERS
24.00 | Painting & name of electrical cubical panels, feeder pillers, marshalling boxes etc. with 2 coats of enamelled paint of approved make and colour etc. as reqd. | 20.00 | Sqm | 0.00 | 110.00 | 2200.00 | 1100.00 | 22000.00 | 190.00 | 3800.00 | 2200.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Painting & Numbering of street light poles with double coat of high quality silver colour paint of approved make i/c removal of old paint as per site requirement of Height up to 6 mtr of poles. | 125.00 | Each | 0.00 | 90.00 | 11250.00 | 590.00 | 73750.00 | 150.00 | 18750.00 | 11250.00 | MPC ELECTRICALS AND ENGINEERS
26.00 | Painting & Numbering of street light poles with double coat of high quality silver colour paint of approved make i/c removal of old paint as per site requirement of Height more than 6 mtr of poles. | 100.00 | Each | 0.00 | 170.00 | 17000.00 | 870.00 | 87000.00 | 210.00 | 21000.00 | 17000.00 | MPC ELECTRICALS AND ENGINEERS
27.00 | Painting & Numbering of perimeter light poles i/c. bracket of height aprox. 2.5 mtr. with double coat of high quality silver colour paint of approved make i/c removal of old paint as per site requirement. | 600.00 | Each | 0.00 | 25.00 | 15000.00 | 350.00 | 210000.00 | 90.00 | 54000.00 | 15000.00 | MPC ELECTRICALS AND ENGINEERS
28.00 | Painting with aviation yellow colour as per ICAO of aeronautical ground light fitting complete along with base plate, bracket, central column assembly, pole etc. including removal of old paint, cleaning etc. as per site requirement. | 700.00 | Each | 0.00 | 100.00 | 70000.00 | 250.00 | 175000.00 | 50.00 | 35000.00 | 35000.00 | Manish Electricals
29.00 | Numbering of aeronautical ground light fitting with yellow colour on black back ground including removal of old paint, cleaning etc. as per site requirement. | 700.00 | Each | 0.00 | 10.00 | 7000.00 | 350.00 | 245000.00 | 20.00 | 14000.00 | 7000.00 | MPC ELECTRICALS AND ENGINEERS
30.00 | Calibaration of clinometer for AMA MK III PAPI unit from OEM or NABL accrediated laboratory as per approval of Engineer-in-Charge. | 4.00 | Job | 0.00 | 8000.00 | 32000.00 | 14500.00 | 58000.00 | 10000.00 | 40000.00 | 32000.00 | MPC ELECTRICALS AND ENGINEERS
31.00 | Provision of services provided by specialist - Technician / Egineers for repairing / servicing of water supply pump sets of capacity upto 7.5 HP (D.P. Holland - Make) installed in pump room. The job includes dismantling of existing pump-set and re-assembling the same after repairing of the impaler, diffuser, o-ring, bushes i/c mechanical seal etc complete as required, T & P also to be provided by the agency to repair the same as per site condition for complete the job as per satisfaction of E.I.C. for the pump sets as and when required. (Spares - will be provided by AAI). | 2.00 | Each | 0.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 4000.00 | Ascent Electrification Engineers
32.00 | Providing & fixing of medium class GI Pipe of Nominal dia 40 mm during lifting and lowering of 5 HP to 7.5 HP, 3 Phase, 50 Hz submersible pump set in the existing bore well at airport site complete as & when required basis and as per site conditions. | 40.00 | Meter | 0.00 | 225.00 | 9000.00 | 250.00 | 10000.00 | 450.00 | 18000.00 | 9000.00 | MPC ELECTRICALS AND ENGINEERS
33.00 | Filteration of transformer oil of 1500 KVA transformer (Name plate rated Oil Qty.-1275 ltrs.) i/c submission of before & after break down value report of transformer oil etc. complete as required. | 4.00 | Job | 0.00 | 4400.00 | 17600.00 | 10000.00 | 40000.00 | 11000.00 | 44000.00 | 17600.00 | MPC ELECTRICALS AND ENGINEERS
34.00 | Supply & topping up of Transformer oil if required after oil filteration for 1500 KVA Transformer etc. as required. | 100.00 | Litre | 0.00 | 125.00 | 12500.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 12500.00 | MPC ELECTRICALS AND ENGINEERS
35.00 | Servicing and testing of From 800 A - 1600 A LT ACB, 3/4 pole microprocessor release, EDO/ MDO type LT ACBs make C&S, AH series of various rating annually as per OEM's recommendations and attending break downs (defective spare part submission of test/ service reports etc. complete as required. | 52.00 | Each | 0.00 | 1550.00 | 80600.00 | 4500.00 | 234000.00 | 2000.00 | 104000.00 | 80600.00 | MPC ELECTRICALS AND ENGINEERS
36.00 | Servicing and testing of Above 1600 A - 2500 A LT ACB, 3/4 pole microprocessor release, EDO/ MDO type LT ACBs make C&S, AH series of various rating annually as per OEM's recommendations and attending break downs (defective spare part submission of test/ service reports etc. complete as required. | 6.00 | Each | 0.00 | 1550.00 | 9300.00 | 4500.00 | 27000.00 | 2500.00 | 15000.00 | 9300.00 | MPC ELECTRICALS AND ENGINEERS
37.00 | Servicing and testing of 33 kV, 630 A, SF6 gas HT circuit breaker as per OEM's recommendations and attending break downs (defective spare part would be provided by AAI) complete as required. | 6.00 | Each | 0.00 | 2600.00 | 15600.00 | 4500.00 | 27000.00 | 12000.00 | 72000.00 | 15600.00 | MPC ELECTRICALS AND ENGINEERS
38.00 | Servicing, testing and calibration of over current and earth fault relays make L&T Model MC61C of 33 kV HT ckt. Breakers annually as per OEM's recommendations and attending break downs (defective spare part would be provided by AAI) etc. as required. | 6.00 | Each | 0.00 | 3000.00 | 18000.00 | 4500.00 | 27000.00 | 4000.00 | 24000.00 | 18000.00 | MPC ELECTRICALS AND ENGINEERS
39.00 | Visiting charges by highly skilled personnel having experience of control wiring, well versed with control wiring drawing for identification & rectification of fault in AMF Panel of DG set / interlocking mechanism of HT/LT Ckt. Breakers, relays / transformer faults or any kind of fault in E&M installations at 33 kV substation as required. | 3.00 | Job | 0.00 | 2500.00 | 7500.00 | 3500.00 | 10500.00 | 10000.00 | 30000.00 | 7500.00 | MPC ELECTRICALS AND ENGINEERS
40.00 | Decoration/ highlighting/ focusing front elevation of Terminal Building (city side) with theme based LED light/ boards/ LED series strip etc. as decided by E-I-C including all connections etc. complete as required. Total = 01 Job. | 8.00 | Day | 0.00 | 9200.00 | 73600.00 | 4500.00 | 36000.00 | 11000.00 | 88000.00 | 36000.00 | Ascent Electrification Engineers
41.00 | Decoration/ highlighting/ focusing front elevation of Terminal Building (city side) with colour of National Flag using decorative LED fitting having 54 group of 3W LED or as decided by E-I-C including all connections etc. complete as required. Minimum Qty–45 nos. fitting. Total=01 Job. | 8.00 | Day | 0.00 | 8000.00 | 64000.00 | 4500.00 | 36000.00 | 8500.00 | 68000.00 | 36000.00 | Ascent Electrification Engineers
42.00 | LED Light for Decoration of alighting area in front of Terminal Building (city side) including all connections etc. complete as required and as decided by E-I-C. i) Decoration of Edge of the alighting area shed with straight LED series strip as decided by E-I-C (approx. 470 mtr. length) on both side. Minimum Qty. – Approx. 470 x 2 = 940 mtr. ii) Decoration of pole/support of alighting area shed in front of Terminal Building by decorative LED rope light. (Approx. minimum 32 nos. pole) Total = 01 Job. | 8.00 | Day | 0.00 | 4040.00 | 32320.00 | 8500.00 | 68000.00 | 11000.00 | 88000.00 | 32320.00 | MPC ELECTRICALS AND ENGINEERS
43.00 | Decoration work with LED lights strip etc. for 04 nos. of huts in front of Terminal Building near fountain including all connections etc. complete as required and as decided by E-I-C (Approx. length 10 Mtr. Each hut). Total = 04 Job (each job = 01 no. hut). | 8.00 | Day | 0.00 | 1550.00 | 12400.00 | 4500.00 | 36000.00 | 6000.00 | 48000.00 | 12400.00 | MPC ELECTRICALS AND ENGINEERS
44.00 | Decoration (using LED light fixture etc.) for highlighting / focusing, (each job have set of 03 nos. trees) in front of Terminal Building with colour LED fitting having 54 group of 3W LED or as decided by E-I-C including all connections etc. complete as required. Total = 8 Job (each job = set of 03 nos. trees) | 8.00 | Day | 0.00 | 1550.00 | 12400.00 | 4500.00 | 36000.00 | 6000.00 | 48000.00 | 12400.00 | MPC ELECTRICALS AND ENGINEERS
45.00 | Decoration of departure/ arrival circle with LED lights as decided by E-I-C including all connections etc. complete as required. Total = 03 Jobs (each job = 1 circle) | 8.00 | Day | 0.00 | 1550.00 | 12400.00 | 4500.00 | 36000.00 | 6000.00 | 48000.00 | 12400.00 | MPC ELECTRICALS AND ENGINEERS
46.00 | To Carry out the complete items of work on CPWD schedule of rates (DSR-2018 - E&M) as per CPWD specifications as required. (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs 300000.00 is after deducting the GST component) (Refer clause- 32 of Guidence to the bidder at page No.- NIT-5 for quoting rate for this item.) | 300000.00 | Rs. | 0.00 | .85 | 255000.00 | .90 | 270000.00 | .70 | 210000.00 | 210000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 30862510.00 |  | 31637690.00 |  | 30549550.00
Lowest Amount Quoted BY: Manish Electricals(30549550.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installations in Operational Area, Terminal Building, 33 KV Substation, Residential Colony, SPOL system etc. at M.P. Airport Udaipur (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_61575_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 30549550.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS | 30862510.00 | L2
| 3 | Ascent Electrification Engineers | 31637690.00 | L3