## BoQ1
Government eProcurement System Created By: Bijendra Singh Meena Created Date/Time: 22-Jan-2021 04:55 PM Tender Title: Annual comprehensive maintenance contract for split inverter A/C at Tezu Airport-2020-21 Tender ID: 2020_AAI_62015_1
Tender Inviting Authority: Sr. Manager (Engg. Elect.), AAI, Dibrugarh Airport.
Name of Work: Annual Comprehensive Maintenance Contract for Split Type Inverter A/C at Tezu Airport-2020-21
Contract No: TEZU/AC/CMC-NIT-01/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance Contract for the repair/ replacement of all parts i.e. fan motor, capacitor, PCB, gas charging except compressor complete as required and including voltage stablizer
1.10 | 1.5 Split type Inverter Airconditioners | 25.00 | Each | 100.00 | 1872.00 | 46800.00 | 46800.00 | sudarshnacoolingcentre andelectricals
2.00 | Providing insulation on existing refrigerant piping along with protective PVC piping, clamping, including dismantling of existing insulation etc. for Split type inverter AC units complete as per site requirement. | 7.00 | Each | 100.00 | 325.00 | 2275.00 | 2275.00 | sudarshnacoolingcentre andelectricals
3.00 | I.T.C. of Window type AC units i/c wooden frame complete as per site requirement. | 3.00 | Each | 100.00 | 2350.00 | 7050.00 | 7050.00 | sudarshnacoolingcentre andelectricals
4.00 | I.T.C. of Split type inverter AC units i/c piping complete as per site requirement. | 5.00 | Each | 100.00 | 2750.00 | 13750.00 | 13750.00 | sudarshnacoolingcentre andelectricals
5.00 | Supply & fixing of following type compressor & dismantlled material is to be taken as buy back by the agency
5.10 | 1.5 TR Reciprocating Type for Inverter spilt AC | 3.00 | Each | 100.00 | 9900.00 | 29700.00 | 29700.00 | sudarshnacoolingcentre andelectricals
6.00 | Operation, preventive and breakdown maintenance of various AC installations at Tezu Airport, Tezu including repair and maintenance attending to complaints/faults/breakdown and taking rectification action for ensuring AC working condition, performing preventive maintenance checks, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions cover under this contract on all working days excluding Sunday and Saturday.complete as required for the detailed in the scope of work.(AC Mechanic cumTechnician - 1 No.) | 12.00 | Months | 100.00 | 14327.00 | 171924.00 | 171924.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 271499.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(271499.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual comprehensive maintenance contract for split inverter A/C at Tezu Airport-2020-21 Tender ID: 2020_AAI_62015_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals | 271499.00 | L1