## BoQ1
Government eProcurement System Created By: MUTHAMILAN M Created Date/Time: 10-Dec-2020 02:35 PM Tender Title: Transformer Oil Filtration, Relay Testing and Calibration of Electrical Equipments at Rajamundry Airport Tender ID: 2020_AAI_62111_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, RAJAHMUNDRY AIRPORT, RAJAHMUNDRY
Name of Work: ARMO of E & M Installations at Rajahmundry Airport for the year 2020-21 Sub-Head : Transformer Oil Filtration, Relay Testing and Calibration of Electrical Equipments
Contract No: 2020_AAI_62111_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | switchgearcontrols(GSTN-37AHSPG9876H2ZF) |  | SAI RAMA ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Filtration of transformer oil to attain acceptable di-electric strength by hot streamline process including arranging plant, transportation etc. complete as required. | 1550.00 | Ltr. |  | 9.00 | 13950.00 | 14.00 | 21700.00 | 13950.00 | switchgearcontrols
2.00 | Testing of transformer oil sample including conducting BDV test & acidity test in reputed Govt. approved labs and producing test report etc complete as required. | 2.00 | Job |  | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 5000.00 | switchgearcontrols
3.00 | Calibration of different types of relays on 11 KV HT Panel viz., control relays of buchholz alarm and trip, oil temperature increase, winding temperature increase, master relay/Over current/earth fault relays, including submitting test report by OEM Service dealers/Government Approved Agencies etc complete as required. | 16.00 | Nos |  | 2400.00 | 38400.00 | 3200.00 | 51200.00 | 38400.00 | switchgearcontrols
4.00 | Calibration & discrimination of different types of relays in the existing LT Panel board viz., IDMT relay, master trip relay, reverse power relay, over current/earth fault relays including submitting test certificates by OEM Service dealers/ Government Approved Agencies etc complete as required. | 16.00 | Nos |  | 2000.00 | 32000.00 | 3300.00 | 52800.00 | 32000.00 | switchgearcontrols
| Total in Figures |  |  |  |  | 89350.00 |  | 137700.00
Lowest Amount Quoted BY: switchgearcontrols(89350.00)

## BOQ Summary
BOQ Summary Details Tender Title: Transformer Oil Filtration, Relay Testing and Calibration of Electrical Equipments at Rajamundry Airport Tender ID: 2020_AAI_62111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | switchgearcontrols | 89350.00 | L1
| 2 | SAI RAMA ELECTRICALS | 137700.00 | L2