## BoQ1
Government eProcurement System Created By: md ansari Created Date/Time: 02-Dec-2020 02:51 PM Tender Title: ARMO of Electrical and Mechanical Installations at Moradabad Airport for year 2020 21. Tender ID: 2020_AAI_62127_1
Tender Inviting Authority: Airports Authority of India, Pantnagar Airport, Pantnagar
Name of Work: ARMO of Electrical & Mechanical installations at Moradabad Airport for year 2020-2021.
Contract No: 2020_AAI_62127_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | ANOOP REFRIGERATION(GSTN-09AAGFA4646N1Z1)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head -I: AMC Annual Maintenance Contract for operation & maintenance of E & M Installations such as DG sets,electricals panels, starter panels, AMF Panels, submersible pump, internal & external electrical Installations in operational area and other airport areas by deploying following minimum manpower on all working days (i/c sunday & holiday) as per instruction of Engineer-in-Charge or his authorized representative as per requirement. 1). Contractor has to depute the manpower as mentioned below 2) Contractor has to provide reliever for weekly off/holidays for below mentioned staffs as per the requirement
1.10 | a) Wireman cum DG Set Operator -01 No. in general shift. b) Helper -01 No. in general shift. | 12.00 | Month | 36793.00 | 41000.00 | 492000.00 | 33581.00 | 402972.00 | 402972.00 | ANOOP REFRIGERATION
2.00 | Supply & carry out of 'B' check kit of 62.5 KVA (Cummins make) DG Set i/c supply & fittment of required no. of Air Filter, Fuel filter, Oil filter, Lubrication Oil, checking of Air restriction, checking of Alternator windings & its control panel etc. complete as per site requirement . | 2.00 | Job | 16665.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 10000.00 | ANOOP REFRIGERATION
3.00 | Annual comprehensive maintenance of capacity 1.5/2.0TR Split type Air Conditioners of different makes i/c providing repairing/ replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original component i/c repair & maintenance of stabilizer etc. complete as required. | 6.00 | EA | 5050.00 | 4000.00 | 24000.00 | 1500.00 | 9000.00 | 9000.00 | ANOOP REFRIGERATION
4.00 | Execution of item of works as per requirement of site from the CPWD schedule of rates (DSR-18) As per CPWD specification complete as required (Total amount of Rs. 5000 (exclusive of GST) is kept for DSR item-18) Percentage above or below CPWD schedule of rates E&M 2018 (Item will be executed as per requirement) (If bidder wants to quote above 10% then write 1.10 similarly if bidder wants to quote below 10% write 0.90) in rate column | 5000.00 | Above | 1.01 | 1.00 | 5000.00 | 1.00 | 5000.00 | 5000.00 | ASHWANI REFRIGERATION AND ELECTRICALS, ANOOP REFRIGERATION
5.00 | Rewinding of 10/15 HP motor of submersible pump of (different stages ) different makes as per original size of insulated copper wire, sleeves complete with connection ,interconnection etc as required. | 2.00 | EA | 16160.00 | 12000.00 | 24000.00 | 1000.00 | 2000.00 | 2000.00 | ANOOP REFRIGERATION
6.00 | Rewinding of following sizes ceiling fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required.
6.10 | a)Ceiling fan upto 1400 mm Sweep. | 10.00 | Job | 454.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 5500.00 | ANOOP REFRIGERATION
7.00 | SH:II Supply of following electrical spares as and when required basis. Supply of FRLS PVC insulated single core multistrand copper conductor wire of following size.(Coil of 90 mtr length)
7.10 | 1.5 Sq.mm ( 90 Mtr Coil) | 1.00 | Each | 1449.00 | 1000.00 | 1000.00 | 1100.00 | 1100.00 | 1000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
7.20 | 2.5 Sq.mm ( 90 Mtr Coil) | 1.00 | Each | 2348.00 | 1600.00 | 1600.00 | 1600.00 | 1600.00 | 1600.00 | ASHWANI REFRIGERATION AND ELECTRICALS, ANOOP REFRIGERATION
8.00 | Supply of PVC insultation tape of 7.5 meter in length. (Make ANCHOR code 1728 or equivalent). | 20.00 | Each | 11.00 | 20.00 | 400.00 | 12.00 | 240.00 | 240.00 | ANOOP REFRIGERATION
9.00 | Supply of 6 Amp., piano type socket suitable for operation on 230 volt single phase AC supply. (Make ANCHOR code 14302 or equivalent). | 5.00 | Each | 34.00 | 40.00 | 200.00 | 24.00 | 120.00 | 120.00 | ANOOP REFRIGERATION
10.00 | Supply of 6 Amp., piano type switch suitable for operation on 230 volt single phase AC supply. (Make ANCHOR code 14111 or equivalent). | 10.00 | Each | 15.00 | 30.00 | 300.00 | 12.00 | 120.00 | 120.00 | ANOOP REFRIGERATION
11.00 | Supply of 20 Amp. piano type socket suitable for operation on 230 volt single phase AC supply.(Make ANCHOR code 14307 or equivalent). | 5.00 | Each | 77.00 | 50.00 | 250.00 | 70.00 | 350.00 | 250.00 | ASHWANI REFRIGERATION AND ELECTRICALS
12.00 | Supply of 20 Amp. piano type switch suitable for operation on 230 volt single phase AC supply.(Make ANCHOR code 14401 or equivalent). | 5.00 | Each | 73.00 | 35.00 | 175.00 | 65.00 | 325.00 | 175.00 | ASHWANI REFRIGERATION AND ELECTRICALS
13.00 | Supply of 6 Amp., modular type socket suitable for operation on 230 volt single phase AC supply. (Make ANCHOR code 65202 or equivalent). | 10.00 | Each | 66.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 800.00 | ANOOP REFRIGERATION
14.00 | Supply of 6 Amp., modular type switch suitable for operation on 230 volt single phase AC supply. (Make ANCHOR code 65001 or equivalent). | 10.00 | Each | 24.00 | 65.00 | 650.00 | 32.00 | 320.00 | 320.00 | ANOOP REFRIGERATION
15.00 | Supply of 16 Amp. modular type socket suitable for operation on 230 volt single phase AC supply.(Make ANCHOR code 65204 or equivalent). | 5.00 | Each | 108.00 | 120.00 | 600.00 | 130.00 | 650.00 | 600.00 | ASHWANI REFRIGERATION AND ELECTRICALS
16.00 | Supply of 16 Amp. modular type switch suitable for operation on 230 volt single phase AC supply.(Make ANCHOR code 65007 or equivalent). | 5.00 | Each | 63.00 | 75.00 | 375.00 | 85.00 | 425.00 | 375.00 | ASHWANI REFRIGERATION AND ELECTRICALS
17.00 | Supply of 3.15 mfd. Capacitor/Condenser for various fan application such as Ceiling fan/Exhaust fan etc. suitable for 240 volt and 50Hz A.C. Supply.(Havells cat no.QHPCWC5003X1 or equivalent). | 10.00 | Each | 24.00 | 60.00 | 600.00 | 25.00 | 250.00 | 250.00 | ANOOP REFRIGERATION
18.00 | Supply of Battery of 12 Volt having 130 AH Capacity. (EXIDE Xpress make or equivalent). | 1.00 | Each | 10417.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | ASHWANI REFRIGERATION AND ELECTRICALS, ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 597150.00 |  | 449772.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(449772.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations at Moradabad Airport for year 2020 21. Tender ID: 2020_AAI_62127_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 449772.00 | L1
| 2 | ASHWANI REFRIGERATION AND ELECTRICALS | 597150.00 | L2