## BoQ1
Government eProcurement System Created By: Ravindra Patil Created Date/Time: 03-Dec-2020 02:09 PM Tender Title: Special civil repair works in non-operational area i/c AAI residential colony and CISF Barrack at S.V. Airport, Raipur. Tender ID: 2020_AAI_62130_1
Tender Inviting Authority: Airports Authority of India, S.V. Airport, Raipur
Name of Work: Special Civil Repair works in Non-Operational Area i/c AAI Residential Colony & CISF barrack at S.V. Airport, Raipur.
Contract No: 2020_AAI_62130_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAKESH KUMAR SINGH(GSTN-22BUMPS2902L1ZF) |  | M/s Awadhesh Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: a) All kinds of soil | 375.00 | Sqm |  | 53.00 | 19875.00 | 110.00 | 41250.00 | 19875.00 | RAKESH KUMAR SINGH
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 168.00 | Cum |  | 128.00 | 21504.00 | 120.00 | 20160.00 | 20160.00 | M/s Awadhesh Construction
3.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. a) All kinds of soil | 750.00 | Sqm |  | 15.00 | 11250.00 | 19.00 | 14250.00 | 11250.00 | RAKESH KUMAR SINGH
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 81.00 | Cum |  | 79.00 | 6399.00 | 80.00 | 6480.00 | 6399.00 | RAKESH KUMAR SINGH
5.00 | Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | 2000.00 | Sqm |  | 5.00 | 10000.00 | 8.00 | 16000.00 | 10000.00 | RAKESH KUMAR SINGH
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 10.00 | Cum |  | 4499.00 | 44990.00 | 4500.00 | 45000.00 | 44990.00 | RAKESH KUMAR SINGH
7.00 | b) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 30.00 | Cum |  | 3698.00 | 110940.00 | 4600.00 | 138000.00 | 110940.00 | RAKESH KUMAR SINGH
8.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 16.00 | Cum |  | 4998.00 | 79968.00 | 5300.00 | 84800.00 | 79968.00 | RAKESH KUMAR SINGH
9.00 | b) 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 2.00 | Cum |  | 4998.00 | 9996.00 | 4700.00 | 9400.00 | 9400.00 | M/s Awadhesh Construction
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 74.00 | Sqm |  | 148.00 | 10952.00 | 150.00 | 11100.00 | 10952.00 | RAKESH KUMAR SINGH
11.00 | b) Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 88.00 | Sqm |  | 248.00 | 21824.00 | 200.00 | 17600.00 | 17600.00 | M/s Awadhesh Construction
12.00 | c) Suspended floors, roofs, landings, balconies and access platform | 24.00 | Sqm |  | 298.00 | 7152.00 | 220.00 | 5280.00 | 5280.00 | M/s Awadhesh Construction
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 2160.00 | Kg |  | 55.00 | 118800.00 | 68.00 | 146880.00 | 118800.00 | RAKESH KUMAR SINGH
14.00 | Brick work with common fly ash (non-modular) bricks of class designation 3.5 in foundation and plinth in: a) Cement Mortar 1:6 (1 cement : 6 coarse sand). | 19.00 | Cum |  | 4198.00 | 79762.00 | 3800.00 | 72200.00 | 72200.00 | M/s Awadhesh Construction
15.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 3.5 average compressive strength in super structure above plinth level up to floor V level in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 3.00 | Cum |  | 4498.00 | 13494.00 | 4200.00 | 12600.00 | 12600.00 | M/s Awadhesh Construction
16.00 | Half brick masonry with common fly ash (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level. a) Cement mortar 1:4 (1 cement :4 coarse sand) | 60.00 | Sqm |  | 398.00 | 23880.00 | 640.00 | 38400.00 | 23880.00 | RAKESH KUMAR SINGH
17.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. a) Granite of any colour and shade Area of slab over 0.50 Sqm | 6.00 | Sqm |  | 3198.00 | 19188.00 | 3100.00 | 18600.00 | 18600.00 | M/s Awadhesh Construction
18.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer-in-charge a) Extruded section profile size 42x50 mm | 25.00 | Mtr |  | 148.00 | 3700.00 | 480.00 | 12000.00 | 3700.00 | RAKESH KUMAR SINGH
19.00 | Providing and fixing to existing door frames. (a) 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 11.00 | Sqm |  | 1498.00 | 16478.00 | 2500.00 | 27500.00 | 16478.00 | RAKESH KUMAR SINGH
20.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 26.00 | Sqm |  | 1998.00 | 51948.00 | 2700.00 | 70200.00 | 51948.00 | RAKESH KUMAR SINGH
21.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : a) 300x16 mm | 20.00 | Each |  | 79.00 | 1580.00 | 240.00 | 4800.00 | 1580.00 | RAKESH KUMAR SINGH
22.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : a) 250x10 mm | 20.00 | Each |  | 45.00 | 900.00 | 110.00 | 2200.00 | 900.00 | RAKESH KUMAR SINGH
23.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 250x16 mm | 20.00 | Each |  | 149.00 | 2980.00 | 250.00 | 5000.00 | 2980.00 | RAKESH KUMAR SINGH
24.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 100 mm | 20.00 | Each |  | 29.00 | 580.00 | 120.00 | 2400.00 | 580.00 | RAKESH KUMAR SINGH
25.00 | b) 75 mm | 10.00 | Each |  | 30.00 | 300.00 | 100.00 | 1000.00 | 300.00 | RAKESH KUMAR SINGH
26.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 13.00 | Sqm |  | 1999.00 | 25987.00 | 2700.00 | 35100.00 | 25987.00 | RAKESH KUMAR SINGH
27.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. a) With 12 mm mild steel U beading | 39.00 | Sqm |  | 499.00 | 19461.00 | 650.00 | 25350.00 | 19461.00 | RAKESH KUMAR SINGH
28.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Hot finished welded type tubes | 1880.00 | Kg |  | 70.00 | 131600.00 | 115.00 | 216200.00 | 131600.00 | RAKESH KUMAR SINGH
29.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 338.00 | Kg |  | 80.00 | 27040.00 | 75.00 | 25350.00 | 25350.00 | M/s Awadhesh Construction
30.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. a) 40 mm thick with 20 mm nominal size stone aggregate | 160.00 | Sqm |  | 398.00 | 63680.00 | 380.00 | 60800.00 | 60800.00 | M/s Awadhesh Construction
31.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). a) Light shade pigment using white cement | 378.00 | Sqm |  | 498.00 | 188244.00 | 540.00 | 204120.00 | 188244.00 | RAKESH KUMAR SINGH
32.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 600x600 mm | 22.00 | Sqm |  | 850.00 | 18700.00 | 840.00 | 18480.00 | 18480.00 | M/s Awadhesh Construction
33.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600x600 mm | 22.00 | Sqm |  | 850.00 | 18700.00 | 84.00 | 1848.00 | 1848.00 | M/s Awadhesh Construction
34.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 43.00 | Sqm |  | 650.00 | 27950.00 | 550.00 | 23650.00 | 23650.00 | M/s Awadhesh Construction
35.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | 138.00 | Sqm |  | 650.00 | 89700.00 | 520.00 | 71760.00 | 71760.00 | M/s Awadhesh Construction
36.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 248.00 | Sqm |  | 450.00 | 111600.00 | 580.00 | 143840.00 | 111600.00 | RAKESH KUMAR SINGH
37.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 fine sand) | 158.00 | Sqm |  | 198.00 | 31284.00 | 220.00 | 34760.00 | 31284.00 | RAKESH KUMAR SINGH
38.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 fine sand) | 180.00 | Sqm |  | 229.00 | 41220.00 | 240.00 | 43200.00 | 41220.00 | RAKESH KUMAR SINGH
39.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : a) 1:4 (1 cement: 4 fine sand) | 82.00 | Sqm |  | 279.00 | 22878.00 | 280.00 | 22960.00 | 22878.00 | RAKESH KUMAR SINGH
40.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 270.00 | Sqm |  | 65.00 | 17550.00 | 60.00 | 16200.00 | 16200.00 | M/s Awadhesh Construction
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 168.00 | Sqm |  | 70.00 | 11760.00 | 70.00 | 11760.00 | 11760.00 | M/s Awadhesh Construction, RAKESH KUMAR SINGH
42.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 90.00 | Sqm |  | 70.00 | 6300.00 | 105.00 | 9450.00 | 6300.00 | RAKESH KUMAR SINGH
43.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 Sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 Sqm) | 90.00 | Sqm |  | 65.00 | 5850.00 | 65.00 | 5850.00 | 5850.00 | M/s Awadhesh Construction, RAKESH KUMAR SINGH
44.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. a) With cement mortar 1:4 (1 cement : 4 fine sand) | 360.00 | Sqm |  | 350.00 | 126000.00 | 280.00 | 100800.00 | 100800.00 | M/s Awadhesh Construction
45.00 | Renewal of old putty of glass panes (length) | 75.00 | Mtr |  | 30.00 | 2250.00 | 80.00 | 6000.00 | 2250.00 | RAKESH KUMAR SINGH
46.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 20.00 | Sqm |  | 10.00 | 200.00 | 15.00 | 300.00 | 200.00 | RAKESH KUMAR SINGH
47.00 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: a) One or more coats on old work | 135.00 | Sqm |  | 55.00 | 7425.00 | 40.00 | 5400.00 | 5400.00 | M/s Awadhesh Construction
48.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : a) One or more coats on old work | 135.00 | Sqm |  | 54.00 | 7290.00 | 50.00 | 6750.00 | 6750.00 | M/s Awadhesh Construction
49.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: a) Old work (One or more coat applied @ 0.90 ltr/10 Sqm). | 160.00 | Sqm |  | 44.00 | 7040.00 | 45.00 | 7200.00 | 7040.00 | RAKESH KUMAR SINGH
50.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:4:8 or leaner mix (i/c equivalent designmix) | 15.00 | Cum |  | 599.00 | 8985.00 | 1250.00 | 18750.00 | 8985.00 | RAKESH KUMAR SINGH
51.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : a) Of area 3 sq. metres and below | 81.00 | Each |  | 99.00 | 8019.00 | 350.00 | 28350.00 | 8019.00 | RAKESH KUMAR SINGH
52.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 4.00 | Cum |  | 899.00 | 3596.00 | 450.00 | 1800.00 | 1800.00 | M/s Awadhesh Construction
53.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 500.00 | Kg |  | 2.50 | 1250.00 | 20.00 | 10000.00 | 1250.00 | RAKESH KUMAR SINGH
54.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 4.00 | Each |  | 299.00 | 1196.00 | 50.00 | 200.00 | 200.00 | M/s Awadhesh Construction
55.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 116.00 | Sqm |  | 40.00 | 4640.00 | 40.00 | 4640.00 | 4640.00 | M/s Awadhesh Construction, RAKESH KUMAR SINGH
56.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 125.00 | Cum |  | 99.00 | 12375.00 | 350.00 | 43750.00 | 12375.00 | RAKESH KUMAR SINGH
57.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 300.00 | Sqm |  | 570.00 | 171000.00 | 640.00 | 192000.00 | 171000.00 | RAKESH KUMAR SINGH
58.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 165.00 | Sqm |  | 20.75 | 3423.75 | 250.00 | 41250.00 | 3423.75 | RAKESH KUMAR SINGH
59.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 150.00 | Sqm |  | 219.00 | 32850.00 | 450.00 | 67500.00 | 32850.00 | RAKESH KUMAR SINGH
60.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: a) White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 5.00 | Each |  | 3199.00 | 15995.00 | 3900.00 | 19500.00 | 15995.00 | RAKESH KUMAR SINGH
61.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. a) Flexible pipe 40 mm dia | 15.00 | Each |  | 59.00 | 885.00 | 105.00 | 1575.00 | 885.00 | RAKESH KUMAR SINGH
62.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap. | 5.00 | Each |  | 1999.00 | 9995.00 | 2850.00 | 14250.00 | 9995.00 | RAKESH KUMAR SINGH
63.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : a) Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 5.00 | Each |  | 2999.00 | 14995.00 | 3100.00 | 15500.00 | 14995.00 | RAKESH KUMAR SINGH
64.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 5.00 | Each |  | 699.00 | 3495.00 | 450.00 | 2250.00 | 2250.00 | M/s Awadhesh Construction
65.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes a) 110 mm diameter | 15.00 | Mtr |  | 299.00 | 4485.00 | 150.00 | 2250.00 | 2250.00 | M/s Awadhesh Construction
66.00 | Providing and fixing CP brass bib/twin bib cock of approved quality conforming to IS:8931: a) 15 mm nominal bore | 15.00 | Each |  | 599.00 | 8985.00 | 1500.00 | 22500.00 | 8985.00 | RAKESH KUMAR SINGH
67.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet a) 100 mm diameter | 15.00 | Each |  | 190.00 | 2850.00 | 250.00 | 3750.00 | 2850.00 | RAKESH KUMAR SINGH
68.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion . Powder coated aluminium (minimum thickness of powder coating 50 micron | 201.00 | Kg |  | 400.50 | 80500.50 | 380.00 | 76380.00 | 76380.00 | M/s Awadhesh Construction
69.00 | b) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron | 23.00 | Kg |  | 547.00 | 12581.00 | 400.00 | 9200.00 | 9200.00 | M/s Awadhesh Construction
70.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 39.00 | Sqm |  | 799.00 | 31161.00 | 750.00 | 29250.00 | 29250.00 | M/s Awadhesh Construction
71.00 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. a) Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). | 15.00 | Sqm |  | 7900.00 | 118500.00 | 8800.00 | 132000.00 | 118500.00 | RAKESH KUMAR SINGH
72.00 | Providing and fixing factory made uPVC white colour fixed glazed windows/ ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), , uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. a) Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | 6.00 | Sqm |  | 5950.00 | 35700.00 | 8500.00 | 51000.00 | 35700.00 | RAKESH KUMAR SINGH
73.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. a) With common fly ash (non modular) bricks of class designation 3.5 | 1.00 | Each |  | 15001.13 | 15001.13 | 11000.00 | 11000.00 | 11000.00 | M/s Awadhesh Construction
| Total in Figures |  |  |  |  | 2300612.38 |  | 2718873.00
Lowest Amount Quoted BY: RAKESH KUMAR SINGH(2300612.38)

## BOQ Summary
BOQ Summary Details Tender Title: Special civil repair works in non-operational area i/c AAI residential colony and CISF Barrack at S.V. Airport, Raipur. Tender ID: 2020_AAI_62130_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAKESH KUMAR SINGH | 2300612.38 | L1
| 2 | M/s Awadhesh Construction | 2718873.00 | L2