## BoQ1
Government eProcurement System Created By: Pawan Singh Created Date/Time: 21-Jan-2021 01:32 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of 330 KWp Grid Connected Solar PV Power System at AAI Deoghar Airport, Deoghar Tender ID: 2020_AAI_62299_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, Deoghar Airport, Deoghar.
Name of Work: Provision of Wayfinding/signage at AAI, Deoghar Airport, Deoghar.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Aegasun Energy LLP(GSTN-27AARFA3310N1Z9) |  | Sunborne Energy Services India Pvt Ltd(GSTN-07AANCS0054N2ZZ) |  | Arcedo Systems(GSTN-36ABGFA9411L1Z9) |  | Arunachal Pradesh Power Corporation Private Limited(GSTN-09AAHCA7665B1ZS) |  | SWELECT ENERGY SYSTEMS LTD(GSTN-33AAACN2366F2ZS) |  | OAKRIDGE ENERGY PRIVATE LIMITED(GSTN-07AABCO7282N1ZW) |  | Tech Solar Solutions Pvt. Ltd(GSTN-27AADCT8485C1Z3) |  | HFM SOLAR POWER PRIVATE LIMITED(GSTN-07AABCH9638M1Z1) |  | Vyomaa Energy Pvt. Ltd.(GSTN-37AAECV3114F1ZL) |  | Bharat Heavy Electricals Limited(GSTN-20AAACB4146P5ZP) |  | KSL CLEANTECH LIMITED(GSTN-NA) |  | SM RENERGY PRIVATE LIMITED(GSTN-NA) |  | PREMIER ENERGIES LIMTIED(GSTN-NA) |  | JAI MATA DI & COMPANY(GSTN-NA) |  | SOLLUZ ENERGY PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I: Supply of Solar PV Modules Supply Of Crystalline Solar Photo Voltaic (PV) Modules as per the technical specifications. | 330.00 | KWp | 22000.00 | 23550.00 | 7771500.00 | 16200.00 | 5346000.00 | 17500.00 | 5775000.00 | 17300.00 | 5709000.00 | 20073.60 | 6624288.00 | 17500.00 | 5775000.00 | 21000.00 | 6930000.00 | 18100.00 | 5973000.00 | 21040.17 | 6943256.10 | 20500.00 | 6765000.00 | 19410.00 | 6405300.00 | 16479.83 | 5438343.90 | 18500.00 | 6105000.00 | 19125.00 | 6311250.00 | 16957.50 | 5595975.00 | 5346000.00 | Sunborne Energy Services India Pvt Ltd
2.00 | SH II : Roof Top Solar Power at ESS Building Design, Installation, Testing & Commissioning of Solar PV Modules of Item No. 01 of SH -I and Design Supply Installation Testing Commissioning of GI Array Structure, JBs, SMUs, SCBs, DC & AC Distribution Boards, Invertors/PCUs, & Associated Cables complete as required. 1. Design, Installation, Testing & Commissioning of the Solar PV modules mentioned at Item 1 of SH I for Roof Top of ESS Building along with Design, Supply, Installation, Testing & Commissioning of the items & components mentioned below and complete as required and confirm to the technical specifications enclosed. i. Hot dip galvanized steel structure (Zinc coating not less than 80 micron) for mounting of solar PV modules complete as required and as specified. ii. Cement concrete base for the steel structure including associated foundation works. iii. Junction boxes/String Monitoring Units/String Connector boxes and associated incoming and outgoing DC Power Copper Cables of suitable size & rating, communication cables and control cables and accessories complete as required & as specified. iv. Inverters Units along with associated incoming and outgoing power cables of suitable size & rating, control cables and communication cables & accessories complete as required & as specified. v. Associated/required AC & DC power distribution boards along with required & designed rating control and switchgear and associated incoming and outgoing power, control & communication cables complete as required & as specified. vi. Aluminium power cables of Suitable size & rating from AC side of inverter to LT Panel of Substation complete as required and as specified. vii. Earthing & Lighting Arrestor System for complete Solar PV System, invertor rooms, invertors, AC & DC Distribution boards, Invertors, Junction Boxes, SMUs & other current carrying equipments complete as required and as specified. viii. Any other item/work, which is not clearly specified but required to complete the work as per the scope of work mentioned & specified technical specifications complete as required and as specified. NOTE : Item No 01 of SH I & Item No 01 of SH II shall be measured and paid at the award rates as per the actual Solar Plant Capacity Installed, Capacity Demonstrated and meeting the scope of work, technical specifications and conditions of contract . | 76.00 | KWp | 23000.00 | 10580.00 | 804080.00 | 11000.00 | 836000.00 | 12500.00 | 950000.00 | 16100.00 | 1223600.00 | 38805.25 | 2949199.00 | 12000.00 | 912000.00 | 29300.00 | 2226800.00 | 20500.00 | 1558000.00 | 20556.85 | 1562320.60 | 21000.00 | 1596000.00 | 16060.00 | 1220560.00 | 19649.26 | 1493343.76 | 23383.00 | 1777108.00 | 18609.00 | 1414284.00 | 9672.00 | 735072.00 | 735072.00 | SOLLUZ ENERGY PVT LTD
3.00 | SH III : CAR PARK Solar Power Design, Installation, Testing & Commissioning of Solar PV Modules, Design of GI Steel Structure for Car Parking , JBs, SMUs, SCBs, DC & AC Distribution Boards, Invertors/PCUs, & Associated Cables complete as required ( excluding Steel Structure. Note: Supply of GI structurer Steel shall be excluding and measured in Item No. 01 of SH-IV. 1.Design, Installation, Testing & Commissioning of the Solar PV modules mentioned at Item 1 of SH I for CAR Park area along with Design, Supply, Installation, Testing & Commissioning of the items & components mentioned below and complete as required and confirm to the technical specifications enclosed. i. Junction boxes/String Monitoring Units/String Connector boxes and associated incoming and outgoing DC Power Copper Cables of suitable size & rating, communication cables and control cables and accessories complete as required & as specified. ii. Inverters Units along with associated incoming and outgoing power cables of suitable size & rating, control cables and communication cables & accessories complete as required & as specified. iii. Associated/required AC & DC power distribution boards along with required & designed rating control and switchgear and associated incoming and outgoing power, control & communication cables complete as required & as specified. iv. Aluminium power cables of Suitable size & rating from AC side of inverter to LT Panel of Substation complete as required and as specified. v. Earthing & Lightning Arrestor System for complete Solar PV System, invertors, AC & DC Distribution boards, Invertors, Junction Boxes, SMUs & other current carrying equipments complete as required and as specified. vi. Any other item/work, which is not clearly specified but required to complete the work as per the scope of work mentioned & specified technical specifications complete as required and as specified. vii. NOTE : Item No 01 of SH I & Item No 01 of SH III shall be measured and paid at the award rates as per the actual Solar Plant Capacity Installed, Capacity Demonstrated and meeting the scope of work, technical specifications and conditions of contract . | 250.00 | KWp | 23000.00 | 9600.00 | 2400000.00 | 9850.00 | 2462500.00 | 10900.00 | 2725000.00 | 7890.00 | 1972500.00 | 40651.00 | 10162750.00 | 8500.00 | 2125000.00 | 4231.00 | 1057750.00 | 14900.00 | 3725000.00 | 14174.37 | 3543592.50 | 22000.00 | 5500000.00 | 11401.00 | 2850250.00 | 11982.55 | 2995637.50 | 12625.00 | 3156250.00 | 9310.00 | 2327500.00 | 12637.00 | 3159250.00 | 1057750.00 | Tech Solar Solutions Pvt. Ltd
4.00 | SH IV : SITC OF GI Structurer Steel at Car Parking 4.1 Supply installation, testing & commissioning Hot dip galvanised steel structure (Zinc coating not less than 80 micron) for mounting of solar PV modules complete as required and as specified. | 10000.00 | Kg | 105.00 | 125.00 | 1250000.00 | 304.75 | 3047500.00 | 78.00 | 780000.00 | 140.00 | 1400000.00 | 220.00 | 2200000.00 | 175.00 | 1750000.00 | 300.00 | 3000000.00 | 88.00 | 880000.00 | 225.50 | 2255000.00 | 400.00 | 4000000.00 | 129.00 | 1290000.00 | 90.00 | 900000.00 | 136.00 | 1360000.00 | 134.00 | 1340000.00 | 85.00 | 850000.00 | 780000.00 | Arcedo Systems
5.00 | 4.2 Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.. All kinds of soil. | 70.00 | Cum | 850.00 | 450.00 | 31500.00 | 170.00 | 11900.00 | 350.00 | 24500.00 | 200.00 | 14000.00 | 1000.00 | 70000.00 | 135.00 | 9450.00 | 9000.00 | 630000.00 | 8500.00 | 595000.00 | 4212.60 | 294882.00 | 0.00 | 0.00 | 350.00 | 24500.00 | 2000.00 | 140000.00 | 238.00 | 16660.00 | 114.00 | 7980.00 | 1000.00 | 70000.00 | 0.00 | Bharat Heavy Electricals Limited
6.00 | 4.3 Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) | 20.00 | Cum | 4000.00 | 7000.00 | 140000.00 | 6000.00 | 120000.00 | 3200.00 | 64000.00 | 6500.00 | 130000.00 | 9500.00 | 190000.00 | 7000.00 | 140000.00 | 4000.00 | 80000.00 | 9000.00 | 180000.00 | 4212.60 | 84252.00 | 500.00 | 10000.00 | 7000.00 | 140000.00 | 20000.00 | 400000.00 | 4760.00 | 95200.00 | 3928.00 | 78560.00 | 1000.00 | 20000.00 | 10000.00 | Bharat Heavy Electricals Limited
7.00 | 4.4 Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement including centering & shuttering. - All work up to plinth level . 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 35.00 | Cum | 5500.00 | 8200.00 | 287000.00 | 8600.00 | 301000.00 | 4200.00 | 147000.00 | 8710.00 | 304850.00 | 12500.00 | 437500.00 | 8000.00 | 280000.00 | 4000.00 | 140000.00 | 12000.00 | 420000.00 | 4212.60 | 147441.00 | 500.00 | 17500.00 | 8000.00 | 280000.00 | 10000.00 | 350000.00 | 8160.00 | 285600.00 | 4445.85 | 155604.75 | 1000.00 | 35000.00 | 17500.00 | Bharat Heavy Electricals Limited
8.00 | 4.5 Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2500.00 | Kg | 55.00 | 62.00 | 155000.00 | 70.00 | 175000.00 | 40.00 | 100000.00 | 103.00 | 257500.00 | 200.00 | 500000.00 | 85.00 | 212500.00 | 200.00 | 500000.00 | 65.00 | 162500.00 | 202.55 | 506375.00 | 75.00 | 187500.00 | 75.00 | 187500.00 | 135.00 | 337500.00 | 88.40 | 221000.00 | 125.00 | 312500.00 | 60.00 | 150000.00 | 100000.00 | Arcedo Systems
9.00 | SH V: MONITORING system for Solar Power System Design, Supply, installation and testing and commissioning a solar radiation and environment monitoring system as per the requirements provided in the technical specifications and as required including soft integration of the Solar System with existing system. | 1.00 | Job | 100000.00 | 168750.00 | 168750.00 | 127330.00 | 127330.00 | 200000.00 | 200000.00 | 100000.00 | 100000.00 | 400000.00 | 400000.00 | 143000.00 | 143000.00 | 200000.00 | 200000.00 | 181500.00 | 181500.00 | 351050.00 | 351050.00 | 300000.00 | 300000.00 | 116549.00 | 116549.00 | 336688.40 | 336688.40 | 680000.00 | 680000.00 | 124054.00 | 124054.00 | 52500.00 | 52500.00 | 52500.00 | SOLLUZ ENERGY PVT LTD
10.00 | SH VI : Operation & Compressive maintenance Contract. All inclusive Comprehensive Maintenance and operation & maintenance for the above installed (All Items Installed under SH I to SH V above) Complete Solar Photovoltaic Power Plant which includes & comprise of installed Solar PV modules, Structural support systems, lightning and earthing protection arrangements, solar system cables, AC & DC Power Cables, communication and control cables including Plant Solar Radiation & Environment Monitoring System and Complete along with software and hardware as well as water cleaning system as per the Technical specifications & Conditions of contract enclosed from the date of commissioning and completion of the project and handing over the Solar PV System to AAI. 6.1 1st Year (During 1st year of DLP) | 1.00 | Year | 170000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 396000.00 | 396000.00 | 0.00 | 0.00 | 142054.00 | 142054.00 | 0.00 | 0.00 | 331800.00 | 331800.00 | 0.00 | 0.00 | 0.00 | 0.00 | 200000.00 | 200000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 181500.00 | 181500.00 | 0.00 | Aegasun Energy LLP, Sunborne Energy Services India Pvt Ltd, Vyomaa Energy Pvt. Ltd., JAI MATA DI & COMPANY, KSL CLEANTECH LIMITED, Arunachal Pradesh Power Corporation Private Limited, PREMIER ENERGIES LIMTIED, HFM SOLAR POWER PRIVATE LIMITED, SM RENERGY PRIVATE LIMITED, OAKRIDGE ENERGY PRIVATE LIMITED
11.00 | 6.2 2nd Year (During the 2nd year of DLP) | 1.00 | Year | 180200.00 | 0.00 | 0.00 | 0.00 | 0.00 | 411840.00 | 411840.00 | 0.00 | 0.00 | 142054.00 | 142054.00 | 0.00 | 0.00 | 348579.00 | 348579.00 | 0.00 | 0.00 | 0.00 | 0.00 | 200000.00 | 200000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 181500.00 | 181500.00 | 0.00 | Aegasun Energy LLP, Sunborne Energy Services India Pvt Ltd, Vyomaa Energy Pvt. Ltd., JAI MATA DI & COMPANY, KSL CLEANTECH LIMITED, Arunachal Pradesh Power Corporation Private Limited, PREMIER ENERGIES LIMTIED, HFM SOLAR POWER PRIVATE LIMITED, SM RENERGY PRIVATE LIMITED, OAKRIDGE ENERGY PRIVATE LIMITED
12.00 | 6.3 3rd Year (1st Year after DLP) | 1.00 | Year | 191000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 428314.00 | 428314.00 | 0.00 | 0.00 | 142054.00 | 142054.00 | 0.00 | 0.00 | 366008.00 | 366008.00 | 0.00 | 0.00 | 0.00 | 0.00 | 200000.00 | 200000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 181500.00 | 181500.00 | 0.00 | Aegasun Energy LLP, Sunborne Energy Services India Pvt Ltd, Vyomaa Energy Pvt. Ltd., JAI MATA DI & COMPANY, KSL CLEANTECH LIMITED, Arunachal Pradesh Power Corporation Private Limited, PREMIER ENERGIES LIMTIED, HFM SOLAR POWER PRIVATE LIMITED, SM RENERGY PRIVATE LIMITED, OAKRIDGE ENERGY PRIVATE LIMITED
13.00 | 6.4 4th Year (2nd Year after DLP) | 1.00 | Year | 202500.00 | 0.00 | 0.00 | 0.00 | 0.00 | 445446.00 | 445446.00 | 0.00 | 0.00 | 142054.00 | 142054.00 | 0.00 | 0.00 | 384308.00 | 384308.00 | 0.00 | 0.00 | 0.00 | 0.00 | 200000.00 | 200000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 181500.00 | 181500.00 | 0.00 | Aegasun Energy LLP, Sunborne Energy Services India Pvt Ltd, Vyomaa Energy Pvt. Ltd., JAI MATA DI & COMPANY, KSL CLEANTECH LIMITED, Arunachal Pradesh Power Corporation Private Limited, PREMIER ENERGIES LIMTIED, HFM SOLAR POWER PRIVATE LIMITED, SM RENERGY PRIVATE LIMITED, OAKRIDGE ENERGY PRIVATE LIMITED
14.00 | 6.5 5th Year (3rd Year after DLP) | 1.00 | Year | 214650.00 | 0.00 | 0.00 | 0.00 | 0.00 | 463264.00 | 463264.00 | 0.00 | 0.00 | 142054.00 | 142054.00 | 0.00 | 0.00 | 404000.00 | 404000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 200000.00 | 200000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 181500.00 | 181500.00 | 0.00 | Aegasun Energy LLP, Sunborne Energy Services India Pvt Ltd, Vyomaa Energy Pvt. Ltd., JAI MATA DI & COMPANY, KSL CLEANTECH LIMITED, Arunachal Pradesh Power Corporation Private Limited, PREMIER ENERGIES LIMTIED, HFM SOLAR POWER PRIVATE LIMITED, SM RENERGY PRIVATE LIMITED, OAKRIDGE ENERGY PRIVATE LIMITED
| Total in Figures |  |  |  |  | 13007830.00 |  | 12427230.00 |  | 12910364.00 |  | 11111450.00 |  | 24244007.00 |  | 11346950.00 |  | 16599245.00 |  | 13675000.00 |  | 15688169.20 |  | 19376000.00 |  | 12514659.00 |  | 12391513.56 |  | 13696818.00 |  | 12071732.75 |  | 11575297.00
Lowest Amount Quoted BY: Arunachal Pradesh Power Corporation Private Limited(11111450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of 330 KWp Grid Connected Solar PV Power System at AAI Deoghar Airport, Deoghar Tender ID: 2020_AAI_62299_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Arunachal Pradesh Power Corporation Private Limited | 11111450.00 | L1
| 2 | OAKRIDGE ENERGY PRIVATE LIMITED | 11346950.00 | L2
| 3 | SOLLUZ ENERGY PVT LTD | 11575297.00 | L3
| 4 | JAI MATA DI & COMPANY | 12071732.75 | L4
| 5 | SM RENERGY PRIVATE LIMITED | 12391513.56 | L5
| 6 | Sunborne Energy Services India Pvt Ltd | 12427230.00 | L6
| 7 | KSL CLEANTECH LIMITED | 12514659.00 | L7
| 8 | Arcedo Systems | 12910364.00 | L8
| 9 | Aegasun Energy LLP | 13007830.00 | L9
| 10 | HFM SOLAR POWER PRIVATE LIMITED | 13675000.00 | L10
| 11 | PREMIER ENERGIES LIMTIED | 13696818.00 | L11
| 12 | Vyomaa Energy Pvt. Ltd. | 15688169.20 | L12
| 13 | Tech Solar Solutions Pvt. Ltd | 16599245.00 | L13
| 14 | Bharat Heavy Electricals Limited | 19376000.00 | L14
| 15 | SWELECT ENERGY SYSTEMS LTD | 24244007.00 | L15