## BoQ1
Government eProcurement System Created By: Ashok Kumar Created Date/Time: 01-Dec-2020 11:31 AM Tender Title: Misc. Electrical works of Proposed Renovation of C-1 Bunglow, Jorbagh and office of MT, Directorate at Safdarjung Airport New Delhi. SH-Electrical Works Tender ID: 2020_AAI_62347_1
Tender Inviting Authority: Asstt. General Manager, Airports Authority of India, Safdarjung Airport, New Delhi-110003.
Name of Work: Misc. Electrical works of Proposed Renovation of C-1 Bunglow, Jorbagh & office of MT, Directorate at Safdarjung Airport, New Delhi. SH:-Electrical Works
Contract No: AAI/SAP/AGM(E-E)/C-1&MT/2020-21/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for Group 'B' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 50.00 | Point |  | 750.00 | 37500.00 | 250.00 | 12500.00 | 1100.00 | 55000.00 | 900.00 | 45000.00 | 12500.00 | VOLKS ENERGIE PVT LTD
2.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Meter |  | 200.00 | 30000.00 | 210.00 | 31500.00 | 290.00 | 43500.00 | 200.00 | 30000.00 | 30000.00 | S. N ELECTRICALS, ANU ENGINEERING CORPORATION
3.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter |  | 300.00 | 30000.00 | 250.00 | 25000.00 | 430.00 | 43000.00 | 300.00 | 30000.00 | 25000.00 | VOLKS ENERGIE PVT LTD
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50.00 | Meter |  | 165.00 | 8250.00 | 110.00 | 5500.00 | 220.00 | 11000.00 | 175.00 | 8750.00 | 5500.00 | VOLKS ENERGIE PVT LTD
4.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | Meter |  | 180.00 | 9000.00 | 115.00 | 5750.00 | 250.00 | 12500.00 | 195.00 | 9750.00 | 5750.00 | VOLKS ENERGIE PVT LTD
4.03 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Meter |  | 280.00 | 14000.00 | 190.00 | 9500.00 | 390.00 | 19500.00 | 300.00 | 15000.00 | 9500.00 | VOLKS ENERGIE PVT LTD
4.04 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 10.00 | Meter |  | 270.00 | 2700.00 | 230.00 | 2300.00 | 370.00 | 3700.00 | 290.00 | 2900.00 | 2300.00 | VOLKS ENERGIE PVT LTD
4.05 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 75.00 | Meter |  | 320.00 | 24000.00 | 378.00 | 28350.00 | 580.00 | 43500.00 | 450.00 | 33750.00 | 24000.00 | S. N ELECTRICALS
5.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
5.01 | 2 x 1.5 sq. mm | 20.00 | Meter |  | 32.00 | 640.00 | 110.00 | 2200.00 | 30.00 | 600.00 | 30.00 | 600.00 | 600.00 | NATIONAL SAFETY ENGINEERS, ANU ENGINEERING CORPORATION
5.02 | 3 x 1.5 sq. mm | 20.00 | Meter |  | 43.00 | 860.00 | 125.00 | 2500.00 | 40.00 | 800.00 | 40.00 | 800.00 | 800.00 | NATIONAL SAFETY ENGINEERS, ANU ENGINEERING CORPORATION
5.03 | 4 x 1.5 sq. mm | 20.00 | Meter |  | 53.00 | 1060.00 | 160.00 | 3200.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS, ANU ENGINEERING CORPORATION
5.04 | 3 x 4 sq. mm | 20.00 | Meter |  | 93.00 | 1860.00 | 175.00 | 3500.00 | 100.00 | 2000.00 | 90.00 | 1800.00 | 1800.00 | ANU ENGINEERING CORPORATION
5.05 | 6 x 4 sq. mm | 20.00 | Meter |  | 175.00 | 3500.00 | 295.00 | 5900.00 | 180.00 | 3600.00 | 170.00 | 3400.00 | 3400.00 | ANU ENGINEERING CORPORATION
6.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
6.01 | 2 Pair | 150.00 | Meter |  | 18.00 | 2700.00 | 125.00 | 18750.00 | 22.00 | 3300.00 | 20.00 | 3000.00 | 2700.00 | S. N ELECTRICALS
6.02 | 4 Pair | 50.00 | Meter |  | 25.00 | 1250.00 | 155.00 | 7750.00 | 33.00 | 1650.00 | 25.00 | 1250.00 | 1250.00 | S. N ELECTRICALS, ANU ENGINEERING CORPORATION
7.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 50.00 | Meter |  | 28.00 | 1400.00 | 125.00 | 6250.00 | 35.00 | 1750.00 | 30.00 | 1500.00 | 1400.00 | S. N ELECTRICALS
8.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
8.01 | 25 mm | 100.00 | Meter |  | 140.00 | 14000.00 | 130.00 | 13000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 13000.00 | VOLKS ENERGIE PVT LTD
8.02 | 32 mm | 30.00 | Meter |  | 150.00 | 4500.00 | 140.00 | 4200.00 | 175.00 | 5250.00 | 190.00 | 5700.00 | 4200.00 | VOLKS ENERGIE PVT LTD
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
9.01 | 5/6 amps switch | 22.00 | Each |  | 35.00 | 770.00 | 45.00 | 990.00 | 90.00 | 1980.00 | 60.00 | 1320.00 | 770.00 | S. N ELECTRICALS
9.02 | 15/16 A switch | 5.00 | Each |  | 90.00 | 450.00 | 110.00 | 550.00 | 130.00 | 650.00 | 100.00 | 500.00 | 450.00 | S. N ELECTRICALS
9.03 | 3 pin 5/6 amp socket outlet | 22.00 | Each |  | 46.00 | 1012.00 | 105.00 | 2310.00 | 120.00 | 2640.00 | 85.00 | 1870.00 | 1012.00 | S. N ELECTRICALS
9.04 | 6 pin 15/16 A socket outlet | 5.00 | Each |  | 102.00 | 510.00 | 115.00 | 575.00 | 190.00 | 950.00 | 135.00 | 675.00 | 510.00 | S. N ELECTRICALS
9.05 | Telephone socket outlet | 10.00 | Each |  | 60.00 | 600.00 | 99.00 | 990.00 | 135.00 | 1350.00 | 90.00 | 900.00 | 600.00 | S. N ELECTRICALS
9.06 | TV antenna socket outlet | 2.00 | Each |  | 61.00 | 122.00 | 95.00 | 190.00 | 135.00 | 270.00 | 90.00 | 180.00 | 122.00 | S. N ELECTRICALS
9.07 | LAN Point (RJ45) | 10.00 | Each |  | 250.00 | 2500.00 | 125.00 | 1250.00 | 150.00 | 1500.00 | 325.00 | 3250.00 | 1250.00 | VOLKS ENERGIE PVT LTD
10.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | Each |  | 260.00 | 2600.00 | 185.00 | 1850.00 | 365.00 | 3650.00 | 350.00 | 3500.00 | 1850.00 | VOLKS ENERGIE PVT LTD
11.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each |  | 10.00 | 100.00 | 105.00 | 1050.00 | 10.00 | 100.00 | 25.00 | 250.00 | 100.00 | S. N ELECTRICALS, NATIONAL SAFETY ENGINEERS
12.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
12.01 | 1 or 2 module (75mm x 75mm) (For AC) | 10.00 | Each |  | 190.00 | 1900.00 | 110.00 | 1100.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 1100.00 | VOLKS ENERGIE PVT LTD
12.02 | 6 Module (200 mmX75 mm) (For TV, Telephone & LAN) | 16.00 | Each |  | 260.00 | 4160.00 | 175.00 | 2800.00 | 350.00 | 5600.00 | 280.00 | 4480.00 | 2800.00 | VOLKS ENERGIE PVT LTD
13.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.
13.01 | 1 or 2 Module | 10.00 | Each |  | 90.00 | 900.00 | 85.00 | 850.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 850.00 | VOLKS ENERGIE PVT LTD
13.02 | 6 Module | 16.00 | Each |  | 102.00 | 1632.00 | 154.00 | 2464.00 | 175.00 | 2800.00 | 90.00 | 1440.00 | 1440.00 | ANU ENGINEERING CORPORATION
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 5 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 10.00 | Each |  | 320.00 | 3200.00 | 250.00 | 2500.00 | 420.00 | 4200.00 | 400.00 | 4000.00 | 2500.00 | VOLKS ENERGIE PVT LTD
15.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 25.00 | Each |  | 395.00 | 9875.00 | 275.00 | 6875.00 | 525.00 | 13125.00 | 450.00 | 11250.00 | 6875.00 | VOLKS ENERGIE PVT LTD
16.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | 3.00 | Each |  | 150.00 | 450.00 | 153.00 | 459.00 | 100.00 | 300.00 | 100.00 | 300.00 | 300.00 | NATIONAL SAFETY ENGINEERS, ANU ENGINEERING CORPORATION
17.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Each |  | 100.00 | 2000.00 | 230.00 | 4600.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 2000.00 | S. N ELECTRICALS, NATIONAL SAFETY ENGINEERS
18.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 10.00 | Each |  | 100.00 | 1000.00 | 230.00 | 2300.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 1000.00 | S. N ELECTRICALS, ANU ENGINEERING CORPORATION
19.00 | Installation of exhaust fan (upto 450 mm) in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 3.00 | Each |  | 100.00 | 300.00 | 230.00 | 690.00 | 250.00 | 750.00 | 350.00 | 1050.00 | 300.00 | S. N ELECTRICALS
20.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
20.01 | 6 way, Double door | 1.00 | Each |  | 1400.00 | 1400.00 | 1105.00 | 1105.00 | 1750.00 | 1750.00 | 1400.00 | 1400.00 | 1105.00 | VOLKS ENERGIE PVT LTD
20.02 | 12 way, Double door | 1.00 | Each |  | 2250.00 | 2250.00 | 1350.00 | 1350.00 | 2200.00 | 2200.00 | 1800.00 | 1800.00 | 1350.00 | VOLKS ENERGIE PVT LTD
21.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
21.01 | 4 way (4 + 12), Double door | 1.00 | Each |  | 2450.00 | 2450.00 | 2150.00 | 2150.00 | 3300.00 | 3300.00 | 3000.00 | 3000.00 | 2150.00 | VOLKS ENERGIE PVT LTD
21.02 | 8 way (4 + 24), Double door | 1.00 | Each |  | 3650.00 | 3650.00 | 2975.00 | 2975.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 2975.00 | VOLKS ENERGIE PVT LTD
22.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
22.01 | Single pole | 48.00 | Each |  | 145.00 | 6960.00 | 175.00 | 8400.00 | 200.00 | 9600.00 | 150.00 | 7200.00 | 6960.00 | S. N ELECTRICALS
22.02 | Single pole and neutral | 1.00 | Each |  | 435.00 | 435.00 | 397.00 | 397.00 | 550.00 | 550.00 | 450.00 | 450.00 | 397.00 | VOLKS ENERGIE PVT LTD
23.00 | Supplying and fixing following rating four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
23.01 | 63A, RCCB | 2.00 | Each |  | 3895.00 | 7790.00 | 2153.00 | 4306.00 | 3000.00 | 6000.00 | 3200.00 | 6400.00 | 4306.00 | VOLKS ENERGIE PVT LTD
24.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB),having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
24.01 | 63 A | 1.00 | Each |  | 2695.00 | 2695.00 | 1898.00 | 1898.00 | 2500.00 | 2500.00 | 800.00 | 800.00 | 800.00 | ANU ENGINEERING CORPORATION
25.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal)size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 100.00 | Meter |  | 145.00 | 14500.00 | 550.00 | 55000.00 | 200.00 | 20000.00 | 180.00 | 18000.00 | 14500.00 | S. N ELECTRICALS
26.00 | Supplying and fixing of suitable size of telephone distribution (DP) boxes made of 1.6 mm thick GI sheet, powder coated including krone modules with all mounting accessories including necessary termination.
26.01 | 50 Pair | 1.00 | Each |  | 2500.00 | 2500.00 | 950.00 | 950.00 | 600.00 | 600.00 | 2500.00 | 2500.00 | 600.00 | NATIONAL SAFETY ENGINEERS
27.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required | 2.00 | Sets |  | 3800.00 | 7600.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 7600.00 | S. N ELECTRICALS
28.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 20.00 | Meter |  | 35.00 | 700.00 | 195.00 | 3900.00 | 45.00 | 900.00 | 30.00 | 600.00 | 600.00 | ANU ENGINEERING CORPORATION
29.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 10.00 | Meter |  | 150.00 | 1500.00 | 210.00 | 2100.00 | 175.00 | 1750.00 | 130.00 | 1300.00 | 1300.00 | ANU ENGINEERING CORPORATION
30.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 100.00 | Meter |  | 45.00 | 4500.00 | 22.00 | 2200.00 | 55.00 | 5500.00 | 30.00 | 3000.00 | 2200.00 | VOLKS ENERGIE PVT LTD
31.00 | Supply of 4 feet long wall mounted, 18-22W range cool milky white LED tube light fixture complete having inbuilt electronic driver alongwith 4 feet long retrofit type T8 LED tube light lamp with aluminium heat sink including internal wiring etc. complete with all accessories as per specifications of tender. (Make: Havells/ Bajaj/ Crompton Greaves/ Halonix/ Philips/ Polycab/ Wipro). (Model No.: REGALBATTENT8UPTO1X22WSSBSWH and TITANIANEO1213T8SSTL18WLED865SPC) | 20.00 | Each |  | 480.00 | 9600.00 | 380.00 | 7600.00 | 550.00 | 11000.00 | 600.00 | 12000.00 | 7600.00 | VOLKS ENERGIE PVT LTD
32.00 | Supply of 2 feet long wall mounted, within 18/20 W range cool milky white LED tube light fixture for mirror with inbuilt electronic driver alongwith LED tube lamp including internal wiring etc. complete with all accessories as per specifications of tender. (Make: Havells, cat no. : LUMILINEBS9WLED865SPCWH or similar in Bajaj/ Crompton Greaves/ Halonix/ Havells/ Philips/ Polycab/ Wipro). | 2.00 | Each |  | 325.00 | 650.00 | 320.00 | 640.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 640.00 | VOLKS ENERGIE PVT LTD
33.00 | Supply of 1200mm sweep 230V, single phase, making the electrical connections with all the accessories as required. Make: Crompton model Breez or similar in Havells/ Bajaj/ or as approved by EIC. | 10.00 | Each |  | 1485.00 | 14850.00 | 1250.00 | 12500.00 | 1320.00 | 13200.00 | 1400.00 | 14000.00 | 12500.00 | VOLKS ENERGIE PVT LTD
34.00 | Supply & Fixing of 400mm sweep 230V, single phase, 1300-1360rpm Wall mounting fan having power consumption less than 60W, MS ribs guard for protection, pull cord control for speed & oscillation On-Off with all the accessories as required. Make: Havells Swing or equivalent in Bajaj. | 2.00 | Each |  | 1985.00 | 3970.00 | 1730.00 | 3460.00 | 1850.00 | 3700.00 | 1900.00 | 3800.00 | 3460.00 | VOLKS ENERGIE PVT LTD
35.00 | Supply of heavy duty pedestal fan of 450 mm sweep, 1400 RPM motor suitable for operation on 230V, 50 Hz A.C. supply having smooth oscillation, outer cage for protection, height adjustment arrangement, heavy base for stability, capacitor etc. complete as required. Make: Havells Model: Sprint Pedestal or equivalent. | 2.00 | Each |  | 3685.00 | 7370.00 | 3500.00 | 7000.00 | 3100.00 | 6200.00 | 4100.00 | 8200.00 | 6200.00 | NATIONAL SAFETY ENGINEERS
36.00 | Supply & Fixing of 250 mm sweep exhaust fan, 1300-1400rpm, suitable for 230V, single phase, including louvre for the protection with all the accessories as required. Make: Havells Ventil Air DB or equivalent. | 1.00 | Each |  | 1695.00 | 1695.00 | 1250.00 | 1250.00 | 1800.00 | 1800.00 | 1400.00 | 1400.00 | 1250.00 | VOLKS ENERGIE PVT LTD
37.00 | Supply & Fixing of 300 mm sweep exhaust fan, 900 rpm, metal body heavy duty, suitable for 230V, single phase, including louvre for the protection with all the accessories as required. Make: Havells Model No.: Turbo Force SP or equivalent. | 2.00 | Each |  | 2540.00 | 5080.00 | 2200.00 | 4400.00 | 2170.00 | 4340.00 | 2900.00 | 5800.00 | 4340.00 | NATIONAL SAFETY ENGINEERS
38.00 | Supply & fixing of 3.0 litre capacity instant type geyser suitable for working on 240 volts, 50Hz single phase AC supply as required. Make: Havell, model no. GHWAOBPWH003 or equivalent in the CG/ Recold. | 1.00 | Job |  | 3325.00 | 3325.00 | 5500.00 | 5500.00 | 2350.00 | 2350.00 | 4000.00 | 4000.00 | 2350.00 | NATIONAL SAFETY ENGINEERS
39.00 | Supply & fixing of 25 litre capacity vertical type geyser (minimum 5 star rating) suitable for working on 240 volts, 50Hz single phase AC supply as required. Make: Havell model no. GHWAMGSIB025 or equivalent in the CG/ Recold. | 1.00 | Job |  | 9450.00 | 9450.00 | 13500.00 | 13500.00 | 5250.00 | 5250.00 | 9300.00 | 9300.00 | 5250.00 | NATIONAL SAFETY ENGINEERS
40.00 | Supply of following sizes of 1.1kv grade multicore Aluminium conductor XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications.
40.01 | 3.5 core, 35 Sqmm, Aluminium cable | 55.00 | Meter |  | 173.00 | 9515.00 | 215.00 | 11825.00 | 162.00 | 8910.00 | 150.00 | 8250.00 | 8250.00 | ANU ENGINEERING CORPORATION
40.02 | 2 core, 10 Sqmm, Aluminium cable | 100.00 | Meter |  | 78.00 | 7800.00 | 205.00 | 20500.00 | 69.00 | 6900.00 | 90.00 | 9000.00 | 6900.00 | NATIONAL SAFETY ENGINEERS
41.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
41.01 | Upto 35 sq. mm | 20.00 | Meter |  | 248.00 | 4960.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 4000.00 | VOLKS ENERGIE PVT LTD
42.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
42.01 | Above 35 sq. mm | 75.00 | Meter |  | 23.00 | 1725.00 | 195.00 | 14625.00 | 40.00 | 3000.00 | 40.00 | 3000.00 | 1725.00 | S. N ELECTRICALS
43.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
43.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 60.00 | Meter |  | 31.00 | 1860.00 | 175.00 | 10500.00 | 40.00 | 2400.00 | 70.00 | 4200.00 | 1860.00 | S. N ELECTRICALS
44.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
44.01 | 3½ X 35 sq. mm (32mm) | 6.00 | Set |  | 450.00 | 2700.00 | 115.00 | 690.00 | 300.00 | 1800.00 | 150.00 | 900.00 | 690.00 | VOLKS ENERGIE PVT LTD
44.02 | 2 X 10 sq. mm (19mm) | 4.00 | Set |  | 250.00 | 1000.00 | 95.00 | 380.00 | 200.00 | 800.00 | 100.00 | 400.00 | 380.00 | VOLKS ENERGIE PVT LTD
45.00 | Supply and fixing of 1.5 TR Inverter type, 5 star, Hi- wall, Split air-conditioner with hermetically sealed rotary/ twin rotary/ swing type compressor operating on refrigerant R-32.The body of indoor unit shall be made of ABS/HIPS/GS & having all safety, air filters, evaporator, condenser, cordless remote, electronic operation control & all accessories supplied with the unit by OEM etc as per manufacturer standards suitable for operation on 230 volts , 50 Hz, Single phase, AC supply, complete with 3.0 mtr refrigerent piping, Electrical cable from outdoor to Indoor etc. as required at site. Make: DAIKIN/ TOSHIBA/O-GENERAL | 5.00 | Job |  | 55700.00 | 278500.00 | 33700.00 | 168500.00 | 52000.00 | 260000.00 | 46000.00 | 230000.00 | 168500.00 | VOLKS ENERGIE PVT LTD
46.00 | SITC of double Purification of RO + UV / UF to remove Dissolved Impurities of capacity 10 ltr per hour water filter complete with 8 ltr storage tank, auto flushing, suitable for wall mounted as well as counter top. (make: Kent RO, model no. Pearl) | 1.00 | Each |  | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 19500.00 | 19500.00 | 19000.00 | 19000.00 | 15000.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 669281.00 |  | 624644.00 |  | 739215.00 |  | 649865.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(624644.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Electrical works of Proposed Renovation of C-1 Bunglow, Jorbagh and office of MT, Directorate at Safdarjung Airport New Delhi. SH-Electrical Works Tender ID: 2020_AAI_62347_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 624644.00 | L1
| 2 | ANU ENGINEERING CORPORATION | 649865.00 | L2
| 3 | S. N ELECTRICALS | 669281.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 739215.00 | L4