## BoQ1
Government eProcurement System Created By: Nirmal Kumar Gayen Created Date/Time: 22-Dec-2020 01:24 PM Tender Title: Operation and Maintenance Contract of SS, Terminal Building, MSSR, Colony, NDB at VSS Airport, Jharsuguda for two years (2021-2023). Tender ID: 2020_AAI_62454_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect)
Name of Work: Operation and Maintenance contract of SS, Terminal Building, MSSR, Colony and NDB at VSS Airport, Jharsuguda for two years (2021-2023).
Contract No: AAI/JH/AGMEE/eNIT4/AMC/2020-21 ( Tender Id : 2020_AAI_62454).
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I ANNUAL OPERATION & MAINTENANCE OF E & M INSTALLATIONS
1.10 | Job contract for Maintenance & operation of 11 KV substation,DG sets and other Internal and External Electrical Installations (detailed in Inventory ) of Terminal Building, Car Park, Approach Roads, AC Plant etc. on all days including Sundays and holidays in three shifts etc. complete as required. | 24.00 | Month | 3933950.00 | 308437.00 | 7402488.00 | 335000.00 | 8040000.00 | 300000.00 | 7200000.00 | 315000.00 | 7560000.00 | 7200000.00 | M/S DURGA SUPPLY AGENCIES
1.20 | Job contract for Maintenance & operation of 11 KV substation,DG sets and other Internal and External Electrical Installations (detailed in Inventory list ) at MSSR etc. on all days including Sundays and holidays in three shifts etc. complete as required. | 24.00 | Month | 3933950.00 | 162750.00 | 3906000.00 | 165000.00 | 3960000.00 | 143500.00 | 3444000.00 | 158000.00 | 3792000.00 | 3444000.00 | M/S DURGA SUPPLY AGENCIES
1.30 | Job contract for Maintenance & operation of DG sets and other Internal and External Electrical Installations (detailed in Inventory list ) at NDB and AAI Colony etc. on all days including Sundays and holidays in three shifts etc. complete as required. | 24.00 | Month | 3933950.00 | 175350.00 | 4208400.00 | 179000.00 | 4296000.00 | 167700.00 | 4024800.00 | 172000.00 | 4128000.00 | 4024800.00 | M/S DURGA SUPPLY AGENCIES
1.40 | Job contract for providing multifunction office operator without reliever in sigle shift for Terminal Management / CNS Office etc. | 48.00 | Person / Month | 3933950.00 | 17850.00 | 856800.00 | 36786.00 | 1765728.00 | 16700.00 | 801600.00 | 18300.00 | 878400.00 | 801600.00 | M/S DURGA SUPPLY AGENCIES
1.50 | Comprehensive Annual Maintenance ( Half yearly Preventive and unlimited breakdown visits) contract of Essae Teraoka Make Electronic Weighing machine ( model : SI 810/ DS-451 etc.) installed with weighing conveyors including all spares and stamping by the statutory authority and calibration etc. complete as required. It is to be carried out Through Manufacturer as per OEM standard. | 9.00 | Machine / Year | 3933950.00 | 7500.00 | 67500.00 | 4000.00 | 36000.00 | 500.00 | 4500.00 | 10000.00 | 90000.00 | 4500.00 | M/S DURGA SUPPLY AGENCIES
1.60 | Comprehensive Annual Maintenance ( Half yearly Preventive and unlimited breakdown visits) contract of Essae Teraoka Make Electronic Weighing machine ( model : DS 215 HD/200KG etc.) all spares and stamping by the statutory authority and calibration etc. complete as required. It is to be carried out Through Manufacturer as per OEM standard. | 2.00 | Machine / Year | 3933950.00 | 3100.00 | 6200.00 | 6000.00 | 12000.00 | 500.00 | 1000.00 | 10000.00 | 20000.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
1.70 | Comprehensive Annual Maintenance ( Half yearly Preventive maintenance and unlimited breakdown visits ) contract of Numeric make 1 KVA UPS including all spares/accessories but excluding batterries etc. complete as required. It is to be carried out Through Manufacturer or its authorized service dealer. | 6.00 | Machine / Year | 3933950.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 500.00 | 3000.00 | 10000.00 | 60000.00 | 3000.00 | M/S DURGA SUPPLY AGENCIES
1.80 | Comprehensive Annual Maintenance ( Half yearly Preventive maintenance and unlimited breakdown visits ) contract of Numeric make 2 KVA UPS including all spares/accessories but excluding batterries etc. complete as required. It is to be carried out Through Manufacturer or its authorized service dealer. | 12.00 | Machine / Year | 3933950.00 | 5000.00 | 60000.00 | 3500.00 | 42000.00 | 1000.00 | 12000.00 | 10000.00 | 120000.00 | 12000.00 | M/S DURGA SUPPLY AGENCIES
1.90 | Comprehensive Annual Maintenance ( Half yearly Preventive maintenance and unlimited breakdown visits ) contract of Numeric make 10 KVA UPS including all spares/accessories but excluding batterries etc. complete as required. It is to be carried out Through Manufacturer or its authorized dealer. | 2.00 | Machine / Year | 3933950.00 | 16500.00 | 33000.00 | 21000.00 | 42000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES
2.00 | SH-II DSR Items will be executed as and when required
2.10 | Execution of any item of Delhi Schedule of Rates ( E&M) -2018 ( Guidance : if the quoted rate is Rs. 0.90 for this item, quoted amount shall be Rs. 90000/- for executing DSR-2018 items of amount Rs.100000/- OR if the quoted rate is Rs. 1.25 for this item, quoted amount shall be 125000/- for executing DSR-2018 items of amount Rs.100000/- ( please note that 10.04% will be deducted from DSR Rate to work out the rate without GST) (for Eg: if Rs.100000/- is executed amount for DSR item then after removing GST [100000* (10.04/100)] the base amount will be = Rs.89960/- for calculation purpose for determining L1. GST as per actual will be paid during billing) | 89960.00 | EA | 3933950.00 | .90 | 80964.00 | .85 | 76466.00 | .25 | 22490.00 | .75 | 67470.00 | 22490.00 | M/S DURGA SUPPLY AGENCIES
3.00 | SH-III Supply of Spares ( As and when required)
3.01 | Supply of Following capacity lead acid sealed fully charged low maintenance battery in PP container suitable for DG set cranking application, including intial charging the battery as per manufacturer recommendation.
3.10 | 12V and 100 AH | 2.00 | EA | 3933950.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 500.00 | 1000.00 | 10700.00 | 21400.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
3.20 | 12V and 130 AH | 1.00 | EA | 3933950.00 | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 2000.00 | 2000.00 | 11400.00 | 11400.00 | 2000.00 | M/S DURGA SUPPLY AGENCIES
3.30 | 12V and 150 AH | 4.00 | EA | 3933950.00 | 9300.00 | 37200.00 | 14000.00 | 56000.00 | 2000.00 | 8000.00 | 12400.00 | 49600.00 | 8000.00 | M/S DURGA SUPPLY AGENCIES
3.40 | 12V and 180 AH | 6.00 | EA | 3933950.00 | 10500.00 | 63000.00 | 16000.00 | 96000.00 | 3000.00 | 18000.00 | 17500.00 | 105000.00 | 18000.00 | M/S DURGA SUPPLY AGENCIES
3.50 | Supply of Ama make plug and receptacle, 5 KV grade, type I class B suitable for field attachment with 5 KV grade PVC/XLPE insulated PVC sheathed single core copper conductor AFL cable of following size as required and confirming to the relevant IS specifications as required for following sizes. a) 6 sq. mm. | 150.00 | EA | 3933950.00 | 475.00 | 71250.00 | 350.00 | 52500.00 | 100.00 | 15000.00 | 450.00 | 67500.00 | 15000.00 | M/S DURGA SUPPLY AGENCIES
3.60 | Supply of Ama make, 5 KV grade 50 Hz, series type isolating transformers, encapsulated in polyester resin, finally moulded with neoprene type rubber with primary and secondary connections as per IS and Technical Specification etc. complete as required. 200 W 6.6A/6.6A | 10.00 | EA | 3933950.00 | 4100.00 | 41000.00 | 4500.00 | 45000.00 | 1000.00 | 10000.00 | 3750.00 | 37500.00 | 10000.00 | M/S DURGA SUPPLY AGENCIES
3.70 | Supply of Ama make 5 KV grade 50 Hz, series type isolating transformers, encapsulated in polyester resin, finally moulded with neoprene type rubber with primary and secondary connections as per IS and Technical Specification etc. complete as required. 150 W 6.6A/6.6A | 50.00 | EA | 3933950.00 | 3950.00 | 197500.00 | 4200.00 | 210000.00 | 2000.00 | 100000.00 | 3750.00 | 187500.00 | 100000.00 | M/S DURGA SUPPLY AGENCIES
3.80 | Supply of Ama make 5 KV grade 50 Hz, series type isolating transformers, encapsulated in polyester resin, finally moulded with neoprene type rubber with primary and secondary connections as per IS and Technical Specification etc. complete as required. 100 W 6.6A/6.6A | 10.00 | EA | 3933950.00 | 3700.00 | 37000.00 | 3800.00 | 38000.00 | 1500.00 | 15000.00 | 3500.00 | 35000.00 | 15000.00 | M/S DURGA SUPPLY AGENCIES
4.00 | SH-IV MISCELLANEOUS WORKS
4.01 | Supplying and installtion of following steel support structure,anchor bolts with nuts & washers,painting for support structure and exsting exhaust piping, insulation and aluminium clading for existing exhaust piping and silencers of 2 Nos x 750 KVA Sterling DG sets as per attached drawing and technical specifications etc as required.( The height/length of the existing exhaust pipe is approx 12 mtr from DG enclosure with 3 nos silencers for each DG set and dia of existing exhaust pipe approx 250 to 400 mm dia ).
4.10 | Steel support structure for existing exhaust piping of 2 Nos x 750 KVA DG sets | 1009.00 | Kgs | 3933950.00 | 110.00 | 110990.00 | 110.00 | 110990.00 | 60.00 | 60540.00 | 300.00 | 302700.00 | 60540.00 | M/S DURGA SUPPLY AGENCIES
4.20 | M 20 Anchor Bolt with washers for existing exhaust piping of 2 Nos x 750 KVA DG sets | 16.00 | EA | 3933950.00 | 320.00 | 5120.00 | 200.00 | 3200.00 | 315.00 | 5040.00 | 1500.00 | 24000.00 | 3200.00 | Manish Electricals
4.30 | Painting for support steel structure,existing exhaust piping and silencers of 2 Nos x 750 KVA DG sets | 1.00 | Lot | 3933950.00 | 9800.00 | 9800.00 | 10000.00 | 10000.00 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 2500.00 | M/S DURGA SUPPLY AGENCIES
4.40 | Supplying and installation of glass wool/rock wool insulation and aluminium cladding for existing exhaust piping and silencers of 2 Nos x 750 KVA DG sets | 1.00 | Job | 3933950.00 | 94000.00 | 94000.00 | 50000.00 | 50000.00 | 2500.00 | 2500.00 | 100000.00 | 100000.00 | 2500.00 | M/S DURGA SUPPLY AGENCIES
4.50 | Providing of Desktop Computers 19.5 inch monitor , 4 GB RAM, with Windows -7 ( professional) and MS Office, Antivirus, Laserjet printer cum scanner cum copier, UPS, Computer table and refilling / replacement of cartridges etc. and maintining in workling condition etc. Complete as required on returnable basis on completion of the contract. The System shall be not less than 1 year old and with all valid licenses. ( Make : Dell, Lenovo, IBM, HP, Canon, APC, iball, numeric, Asus) | 24.00 | Month | 3933950.00 | 1000.00 | 24000.00 | 2000.00 | 48000.00 | 50.00 | 1200.00 | 2500.00 | 60000.00 | 1200.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 17350212.00 |  | 19042884.00 |  | 15758170.00 |  | 17747470.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(15758170.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of SS, Terminal Building, MSSR, Colony, NDB at VSS Airport, Jharsuguda for two years (2021-2023). Tender ID: 2020_AAI_62454_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 15758170.00 | L1
| 2 | Youngmen Traders | 17350212.00 | L2
| 3 | S. N ELECTRICALS | 17747470.00 | L3
| 4 | Manish Electricals | 19042884.00 | L4