## BoQ1
Government eProcurement System Created By: BIJOY KHALITH Created Date/Time: 09-Feb-2021 01:38 PM Tender Title: SITC of RF link for CNS,Trivandrum Airport Tender ID: 2020_AAI_62673_1
Tender Inviting Authority: JOINT GENERAL MANAGER & CNS i/c,AIRPORTS AUTHORITY OF INDIA,TRIVANDRUM INTERNATIONAL AIRPORT,TRIVANDRUM
Name of Work:SUPPLY INSTALLATION TESTING AND COMMISSIONING OF RF LINK FOR CNS DEPARTMENT AT TRIVANDRUM INTERNATIONAL AIRPORT
E TENDER No:2020_AAI_ 62673
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TECHSER POWER SOLUTIONS PVT LTD(GSTN-29AABCT0359D1ZI) |  | Wi-Fi Communications Private Limited(GSTN-07AAACW7201J1ZE) |  | QCS COMMUNICATION TECHNOLOGIES PRIVATE LIMITED(GSTN-29AAACQ3516A1ZV) |  | DATA LINKS(GSTN-33AFIPV6538F3Z4)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Point to Point RF link working in License free band with Integrated Antenna Bandwidth 500 Mbps including POE indoor unit, and all required accessories . | 5.00 | PAIRS |  | 75200.00 | 376000.00 | 75000.00 | 375000.00 | 138439.00 | 692195.00 | 1344000.00 | 6720000.00 | 375000.00 | Wi-Fi Communications Private Limited
2.00 | Out door type Cat 6 LAN Cable | 305.00 | METRES |  | 41.00 | 12505.00 | 47.00 | 14335.00 | 53.00 | 16165.00 | 38.40 | 11712.00 | 11712.00 | DATA LINKS
3.00 | Data line Surge Protector In line POE ,Out door type (IP 67) RJ 45 Connector | 15.00 | Nos |  | 9600.00 | 144000.00 | 13000.00 | 195000.00 | 5264.00 | 78960.00 | 4940.00 | 74100.00 | 74100.00 | DATA LINKS
4.00 | 24 Port Manageable Ethernet Switch with 1 GBIC port | 4.00 | Nos |  | 12600.00 | 50400.00 | 46000.00 | 184000.00 | 29700.00 | 118800.00 | 14850.00 | 59400.00 | 50400.00 | TECHSER POWER SOLUTIONS PVT LTD
5.00 | Analog Telephone Gateway With 4 FXS ports | 5.00 | Nos |  | 10200.00 | 51000.00 | 21100.00 | 105500.00 | 6868.00 | 34340.00 | 14950.00 | 74750.00 | 34340.00 | QCS COMMUNICATION TECHNOLOGIES PRIVATE LIMITED
6.00 | Analog Telephone GatewayWith 4 FXO ports | 5.00 | Nos |  | 11972.00 | 59860.00 | 18900.00 | 94500.00 | 12610.00 | 63050.00 | 17500.00 | 87500.00 | 59860.00 | TECHSER POWER SOLUTIONS PVT LTD
7.00 | Serial to IP Converter Moxa N port 5210 A | 4.00 | Nos |  | 19032.00 | 76128.00 | 23000.00 | 92000.00 | 17732.00 | 70928.00 | 27950.00 | 111800.00 | 70928.00 | QCS COMMUNICATION TECHNOLOGIES PRIVATE LIMITED
8.00 | Data line surge protector DB 9 | 10.00 | Nos |  | 6084.00 | 60840.00 | 5080.00 | 50800.00 | 5831.00 | 58310.00 | 4875.00 | 48750.00 | 48750.00 | DATA LINKS
9.00 | Wall mount Rack 6U Glass door with PDU | 4.00 | Nos |  | 6816.00 | 27264.00 | 8500.00 | 34000.00 | 6532.00 | 26128.00 | 6175.00 | 24700.00 | 24700.00 | DATA LINKS
10.00 | 20mm Flexible PVC Conduit | 200.00 | METRES |  | 66.00 | 13200.00 | 40.00 | 8000.00 | 92.00 | 18400.00 | 52.00 | 10400.00 | 8000.00 | Wi-Fi Communications Private Limited
11.00 | Installation and commissioning works | 1.00 | JOB |  | 28687.50 | 28687.50 | 40000.00 | 40000.00 | 65000.00 | 65000.00 | 95000.00 | 95000.00 | 28687.50 | TECHSER POWER SOLUTIONS PVT LTD
| Total in Figures |  |  |  |  | 899884.50 |  | 1193135.00 |  | 1242276.00 |  | 7318112.00
Lowest Amount Quoted BY: TECHSER POWER SOLUTIONS PVT LTD(899884.50)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of RF link for CNS,Trivandrum Airport Tender ID: 2020_AAI_62673_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TECHSER POWER SOLUTIONS PVT LTD | 899884.50 | L1
| 2 | Wi-Fi Communications Private Limited | 1193135.00 | L2
| 3 | QCS COMMUNICATION TECHNOLOGIES PRIVATE LIMITED | 1242276.00 | L3
| 4 | DATA LINKS | 7318112.00 | L4