## BoQ1
Government eProcurement System Created By: NARENDRA P Created Date/Time: 10-Dec-2020 01:15 PM Tender Title: Annual Maintenance Contract (2020-22) for Electrical and Mechanical installations of AAI Occupied Area at KIA Airport Bengaluru Tender ID: 2020_AAI_62785_1
Tender Inviting Authority: Sr. Manager (Engg. – Electrical), AAI, KIA AIRPORT, Bengaluru
Name of Work: Annual Maintenance Contract (2020-22) for Electrical and Mechnical installations of AAI Occupied Area at KIA Airport Bengaluru.
Contract No: 2020_AAI_61599_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: JOB CONTRACT OF E&M INSTALLATIONS
1.10 | Job Contract for round the clock Operation and maintenance of Electrical and Mechanical installations in AAI occupied area at KIA viz. Technical Block cum ATC tower, SMR at ARFF and ATC Tower, DVOR-I, localizer, glide path, markers including the operation of 200KVA DG set along with the AMF panel at RADAR building etc.in with Man power Highly skilled Supervisor-1 No's, Highly skilled (Computer operator)-1 No, skilled-4 No's, Semiskilled- 4 Nos, Unskilled-4 Nos all days including sundays and holidays in Three shifts, which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc., The agency is required to deploy minimum manpower in each shift as detailed in special condition of contract.complete as required. | 24.00 | MONTH |  | 287000.00 | 6888000.00 | 290467.00 | 6971208.00 | 294329.00 | 7063896.00 | 280000.00 | 6720000.00 | 6720000.00 | KALKI ELECTRICALS
2.00 | SH-II: DSR ELECTRICAL -2018 -- Internal & External Electrical works
2.10 | Carrying out the works for any item covered in Delhi Schedule of Rates 2018 (DSR-Electrical works) published by CPWD as per CPWD specification as per site requirement complete as required for an amount of Rs. 50000.00. | 1.00 | % |  | 40000.00 | 40000.00 | 10000.00 | 10000.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 10000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.00 | SH-III: Supply of Spares
3.10 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
3.20 | 1.5 Sq. mm | 4.00 | coil |  | 990.00 | 3960.00 | 810.00 | 3240.00 | 1210.00 | 4840.00 | 1200.00 | 4800.00 | 3240.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.30 | 2.5 Sq. mm | 4.00 | coil |  | 1440.00 | 5760.00 | 1350.00 | 5400.00 | 1870.00 | 7480.00 | 1900.00 | 7600.00 | 5400.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.00 | Supplying of following sizes ISI marked PVC insulated, multi core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
4.10 | 3-Core, 4.0 Sq. mm | 1.00 | coil |  | 10800.00 | 10800.00 | 7700.00 | 7700.00 | 2860.00 | 2860.00 | 12000.00 | 12000.00 | 2860.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.00 | Supply of follwing switches and other miscellaneous items
5.10 | (a) 10 A one way Switch | 30.00 | Each |  | 115.00 | 3450.00 | 66.00 | 1980.00 | 33.00 | 990.00 | 40.00 | 1200.00 | 990.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.20 | (b) 10 A Two way Switch | 10.00 | Each |  | 145.00 | 1450.00 | 76.00 | 760.00 | 71.00 | 710.00 | 60.00 | 600.00 | 600.00 | KALKI ELECTRICALS
5.30 | (c) 16 A One way Switch | 15.00 | Each |  | 150.00 | 2250.00 | 70.00 | 1050.00 | 77.00 | 1155.00 | 110.00 | 1650.00 | 1050.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.40 | (d) 16 A 3-pin Socket | 30.00 | Each |  | 240.00 | 7200.00 | 84.00 | 2520.00 | 132.00 | 3960.00 | 180.00 | 5400.00 | 2520.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.50 | (e) Industrial Plug and Socket | 5.00 | Each |  | 1568.00 | 7840.00 | 1396.00 | 6980.00 | 440.00 | 2200.00 | 800.00 | 4000.00 | 2200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.60 | (f) PVC Type 2 Module Box | 5.00 | Each |  | 50.00 | 250.00 | 28.00 | 140.00 | 18.00 | 90.00 | 100.00 | 500.00 | 90.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.70 | (g) PVC Type 3 Module Box | 5.00 | Each |  | 60.00 | 300.00 | 32.00 | 160.00 | 24.00 | 120.00 | 110.00 | 550.00 | 120.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.80 | (h) PVC Type 4 Module Box | 5.00 | Each |  | 70.00 | 350.00 | 48.00 | 240.00 | 39.00 | 195.00 | 140.00 | 700.00 | 195.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.90 | (i) PVC Type 6 Module Box | 5.00 | Each |  | 106.00 | 530.00 | 61.00 | 305.00 | 61.00 | 305.00 | 180.00 | 900.00 | 305.00 | SRI VASUKI POWER SYSTEMS PVT LTD
6.00 | (j)PVC Type 8 Module Box | 5.00 | Each |  | 152.00 | 760.00 | 78.00 | 390.00 | 88.00 | 440.00 | 200.00 | 1000.00 | 390.00 | SRI VASUKI POWER SYSTEMS PVT LTD
6.10 | Supply of following capacity MCB's/Isolator/RCCB/RCBO suitable for operation on 240V / 415V 50Hz AC supply etc as required.
6.20 | (a)Single pole (6-32) Amps 'B' Series | 10.00 | Each |  | 168.00 | 1680.00 | 167.00 | 1670.00 | 86.00 | 860.00 | 160.00 | 1600.00 | 860.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.30 | (b)Single pole (6-32) Amps 'C' Series | 20.00 | Each |  | 171.00 | 3420.00 | 144.00 | 2880.00 | 99.00 | 1980.00 | 180.00 | 3600.00 | 1980.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.40 | (c)Single pole 40 Amps 'B' Series | 5.00 | Each |  | 345.00 | 1725.00 | 1418.00 | 7090.00 | 204.00 | 1020.00 | 360.00 | 1800.00 | 1020.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.50 | (d)Single pole 40 Amps 'C' Series | 5.00 | Each |  | 370.00 | 1850.00 | 1228.00 | 6140.00 | 220.00 | 1100.00 | 400.00 | 2000.00 | 1100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.60 | (e)DP MCB (6-32) Amp 'C' series | 5.00 | Each |  | 595.00 | 2975.00 | 385.00 | 1925.00 | 344.00 | 1720.00 | 500.00 | 2500.00 | 1720.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.70 | (f)DP MCB 40 Amp 'C' series | 5.00 | Each |  | 825.00 | 4125.00 | 621.00 | 3105.00 | 355.00 | 1775.00 | 550.00 | 2750.00 | 1775.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.80 | (g)DP MCB 63 Amp 'C' series | 5.00 | Each |  | 960.00 | 4800.00 | 650.00 | 3250.00 | 591.00 | 2955.00 | 800.00 | 4000.00 | 2955.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.90 | (h) Three Pole MCB 32 Amp 'C' series | 5.00 | Each |  | 960.00 | 4800.00 | 810.00 | 4050.00 | 570.00 | 2850.00 | 850.00 | 4250.00 | 2850.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | (i)Four Pole MCB (6-32) Amp 'C' series | 5.00 | Each |  | 1280.00 | 6400.00 | 917.00 | 4585.00 | 763.00 | 3815.00 | 1000.00 | 5000.00 | 3815.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.10 | (j)Four Pole MCB 50 Amp 'C' series | 5.00 | Each |  | 1800.00 | 9000.00 | 1841.00 | 9205.00 | 1032.00 | 5160.00 | 1200.00 | 6000.00 | 5160.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.20 | (k)Four Pole MCB 63 Amp 'C' series | 5.00 | Each |  | 1870.00 | 9350.00 | 1274.00 | 6370.00 | 1032.00 | 5160.00 | 1200.00 | 6000.00 | 5160.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.30 | (l)DP RCCB 25 Amp with 10 KA Shortcircuit withstand capacity and 300mA Sensitivity | 5.00 | Each |  | 2190.00 | 10950.00 | 1518.00 | 7590.00 | 1365.00 | 6825.00 | 1800.00 | 9000.00 | 6825.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.40 | (m)DP RCCB 40 Amp with 10 KA Shortcircuit withstand capacity and 300mA Sensitivity | 5.00 | Each |  | 2375.00 | 11875.00 | 1768.00 | 8840.00 | 1451.00 | 7255.00 | 2000.00 | 10000.00 | 7255.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.50 | (n)DP RCCB 63 Amp with 10 KA Shortcircuit withstand capacity and 300mA Sensitivity | 5.00 | Each |  | 3020.00 | 15100.00 | 2068.00 | 10340.00 | 1817.00 | 9085.00 | 2400.00 | 12000.00 | 9085.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  |  | 7060950.00 |  | 7089113.00 |  | 7190801.00 |  | 6871400.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(6871400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract (2020-22) for Electrical and Mechanical installations of AAI Occupied Area at KIA Airport Bengaluru Tender ID: 2020_AAI_62785_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 6871400.00 | L1
| 2 | Ascent Electrification Engineers | 7060950.00 | L2
| 3 | SRI VASUKI POWER SYSTEMS PVT LTD | 7089113.00 | L3
| 4 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 7190801.00 | L4