## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 11-Dec-2020 11:40 AM Tender Title: Supply of GLF Spares at Birsi Airport, Gondia for the Year 2020-21 Tender ID: 2020_AAI_62847_1
Tender Inviting Authority: <Asstt. General Manager (Engg-E), AAI, Birsi Airport, Gondia. >
Name of Work: <Supply of G.L.F Spares at Birsi Airport, Gondia For the Year 2020-21 >
E-Tender ID: 2020_AAI_62847_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | CREATIVE TRADING CO(GSTN-07AMEPK8023F1Z9) |  | SHRI K.D.INDUSTRIES(GSTN-09ADNPG0326P1Z8) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W, 6.6 A Halogen Lamps with in-built holder with PK-30d base, male connector (Make: Osram, Cat no. 64382 HLX-C 200W-15 6.6A PK30d or Equivalent) as required. | 40.00 | Each |  | 825.00 | 33000.00 | 760.00 | 30400.00 | 745.00 | 29800.00 | 750.00 | 30000.00 | 715.00 | 28600.00 | 850.00 | 34000.00 | 28600.00 | ABHISHEK ASSOCIATES
2.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Unidirectional Threshold light fixture. (cat No. 6373 Narva/64386 Osram or Equivalent) as required. | 20.00 | Each |  | 285.00 | 5700.00 | 395.00 | 7900.00 | 380.00 | 7600.00 | 395.00 | 7900.00 | 374.00 | 7480.00 | 450.00 | 9000.00 | 5700.00 | AMA Private Limited
3.00 | Supply of 5 KV Plug & receptacles type 1 Class B suitable for use in the 5KV grade 1x6 mm2 size AFL copper conductor cable. | 10.00 | Each |  | 315.00 | 3150.00 | 345.00 | 3450.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 325.00 | 3250.00 | 350.00 | 3500.00 | 3150.00 | AMA Private Limited
4.00 | Supply of 5 KV Plug & receptacles type 1 Class B suitable for use in the 5KV grade 1x16 mm2 size AFL copper conductor cable. | 20.00 | Each |  | 315.00 | 6300.00 | 345.00 | 6900.00 | 400.00 | 8000.00 | 350.00 | 7000.00 | 325.00 | 6500.00 | 350.00 | 7000.00 | 6300.00 | AMA Private Limited
5.00 | Supply of base plate suitable or AMA make elevated Omni directional Runway Edge Light/ Medium Intensity Taxiway Edge Light Fitting as required. | 10.00 | Each |  | 325.00 | 3250.00 | 650.00 | 6500.00 | 1020.00 | 10200.00 | 595.00 | 5950.00 | 495.00 | 4950.00 | 900.00 | 9000.00 | 3250.00 | AMA Private Limited
6.00 | Supply of O ring Gasket for base plate suitable for AMA make elevated Omni directional Runway Edge Light/ Medium Intensity Taxiway Edge Light Fitting as required. | 300.00 | Each |  | 105.00 | 31500.00 | 95.00 | 28500.00 | 258.00 | 77400.00 | 150.00 | 45000.00 | 105.00 | 31500.00 | 250.00 | 75000.00 | 28500.00 | Bafna Electric Corp
7.00 | Supply of O ring Gasket suitable for AMA make elevated Omni directional Medium Intensity Taxiway Edge Light Fitting as required. | 200.00 | Each |  | 95.00 | 19000.00 | 95.00 | 19000.00 | 258.00 | 51600.00 | 75.00 | 15000.00 | 44.00 | 8800.00 | 80.00 | 16000.00 | 8800.00 | ABHISHEK ASSOCIATES
8.00 | Supply of Clinometer suitable for PAPI calibration (Make: AMA) | 1.00 | Each |  | 50000.00 | 50000.00 | 55100.00 | 55100.00 | 58200.00 | 58200.00 | 38000.00 | 38000.00 | 41800.00 | 41800.00 | 47000.00 | 47000.00 | 38000.00 | SHRI K.D.INDUSTRIES
9.00 | Supply of Elevated Omni directional LED type medium Intensity Taxiway Edge Light Fittings, consisting of LED, Lens supporting Mechanism, Lens clamp Mechanism, Omni directional Blue Lens, driver unit, Breakable Coupling, two pin secondary connecting lead, with base plate etc. with all other accessories and meeting ICAO/FAA specifications. | 10.00 | Each |  | 5500.00 | 55000.00 | 5900.00 | 59000.00 | 5280.00 | 52800.00 | 6000.00 | 60000.00 | 5500.00 | 55000.00 | 5000.00 | 50000.00 | 50000.00 | electromach sales agencies
10.00 | Supply of Glass Dome of inner height 15.6 cm with thickness 3 mm and inner dia. 7.5 cm complete with gasket, etc. suitable for Landing 'H' indicator for bi-Pin type LED Lamps. | 10.00 | Each |  | 650.00 | 6500.00 | 520.00 | 5200.00 | 780.00 | 7800.00 | 1000.00 | 10000.00 | 275.00 | 2750.00 | 700.00 | 7000.00 | 2750.00 | ABHISHEK ASSOCIATES
11.00 | Supply of Blue Lens suitable for Thorn make elevated Omni directional LED type Medium Intensity Taxiway Edge Light Fitting as required. | 10.00 | Each |  | 1800.00 | 18000.00 | 1390.00 | 13900.00 | 1500.00 | 15000.00 | 1450.00 | 14500.00 | 1100.00 | 11000.00 | 1000.00 | 10000.00 | 10000.00 | electromach sales agencies
12.00 | Supply of 50 A fuse, 700 VAC, 200kA 22x58 mm, HF Type, cylindrical fuse (For 7.5 KW ATG Make CCR) | 2.00 | Each |  | 400.00 | 800.00 | 165.00 | 330.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 550.00 | 1100.00 | 1800.00 | 3600.00 | 330.00 | Bafna Electric Corp
13.00 | Supply of 12 W, LED Bulb, Cool Day Light base B22 suitable for Landing 'H' Indicator (Make: Philips Stellar Bright B22 or Equivalent) as required. | 20.00 | Each |  | 165.00 | 3300.00 | 160.00 | 3200.00 | 200.00 | 4000.00 | 450.00 | 9000.00 | 150.00 | 3000.00 | 110.00 | 2200.00 | 2200.00 | electromach sales agencies
14.00 | Supply of 09 W, LED Bulb, Cool Day Light, base E27 suitable for wind direction Indicator (Make: Philips E27 or Equivalent) as required. | 5.00 | Each |  | 825.00 | 4125.00 | 100.00 | 500.00 | 120.00 | 600.00 | 400.00 | 2000.00 | 70.00 | 350.00 | 100.00 | 500.00 | 350.00 | ABHISHEK ASSOCIATES
15.00 | Supply of Thread Type Screw Base Socket Lamp Holder (porcelain/plastic) suitable for wind direction Indicator as per ICAO/FAA specifications complete as required. | 5.00 | Each |  | 285.00 | 1425.00 | 95.00 | 475.00 | 150.00 | 750.00 | 250.00 | 1250.00 | 70.00 | 350.00 | 200.00 | 1000.00 | 350.00 | ABHISHEK ASSOCIATES
16.00 | Supply of LT grade, EPR insulated, PCP sheathed, Cotton braided trailing cable. Size - 8C X 2.5sqmm suitable for Highmast in Apron Area (Make: Bajaj) | 50.00 | Mtr. |  | 650.00 | 32500.00 | 470.00 | 23500.00 | 500.00 | 25000.00 | 150.00 | 7500.00 | 110.00 | 5500.00 | 490.00 | 24500.00 | 5500.00 | ABHISHEK ASSOCIATES
17.00 | Supply of 10 Pin Male-Female circular connector for trailing cable suitable for Highmast in Apron Area (Make: Bajaj) | 10.00 | Each |  | 1200.00 | 12000.00 | 1485.00 | 14850.00 | 3500.00 | 35000.00 | 100.00 | 1000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 1000.00 | SHRI K.D.INDUSTRIES
18.00 | Supply of power converter with output voltage of 34V DC capable of internally illuminating the existing LED signboards with uniform brightness when operating from 2.8A to 6.6A in Taxiway Circuits. | 8.00 | Each |  | 6000.00 | 48000.00 | 4150.00 | 33200.00 | 8000.00 | 64000.00 | 4200.00 | 33600.00 | 4180.00 | 33440.00 | 4000.00 | 32000.00 | 32000.00 | electromach sales agencies
19.00 | Supply of LED strip of size 700mm x 20mm having 11 LEDs, each of high luminous long life 0.5 W LED assembled on aluminium PCB of minimum thickness 2mm for ensuring proper heat dissipation with provision of single non reversible jack at one end for easy replacement of strip at site etc. suitable for illumination of guidance signboards. | 15.00 | Each |  | 1200.00 | 18000.00 | 900.00 | 13500.00 | 1200.00 | 18000.00 | 750.00 | 11250.00 | 539.00 | 8085.00 | 700.00 | 10500.00 | 8085.00 | ABHISHEK ASSOCIATES
20.00 | Supply of 110 A, 2NO + 2 NC, 3 Phase, AC Power Contactor with rated voltage 660 V AC suitable for 30 KW CCR incomer Conforming to IS:13947 complete as required. (Cat no. Siemens 3TF50 or Equivalent) | 2.00 | Each |  | 24000.00 | 48000.00 | 11200.00 | 22400.00 | 20000.00 | 40000.00 | 12500.00 | 25000.00 | 9350.00 | 18700.00 | 11000.00 | 22000.00 | 18700.00 | ABHISHEK ASSOCIATES
21.00 | Supply of Rubber For Love Joy Coupling For Aerodrome Beacon as per latest IS Standards complete as required. | 5.00 | Each |  | 400.00 | 2000.00 | 400.00 | 2000.00 | 480.00 | 2400.00 | 750.00 | 3750.00 | 550.00 | 2750.00 | 700.00 | 3500.00 | 2000.00 | AMA Private Limited, Bafna Electric Corp
22.00 | Supply of Love Joy Coupling For Aerodrome Beacon as per latest IS Standards complete as required. | 2.00 | Each |  | 1500.00 | 3000.00 | 1475.00 | 2950.00 | 1800.00 | 3600.00 | 2250.00 | 4500.00 | 1925.00 | 3850.00 | 700.00 | 1400.00 | 1400.00 | electromach sales agencies
23.00 | Supply of 45 W 6.6/6.6 A 5000 volts 50 Hz isolating transformer encapsulated in polyester resin finally moulded with neoprene rubber as stipulated in the particular specicfication | 5.00 | Each |  | 2800.00 | 14000.00 | 3000.00 | 15000.00 | 2800.00 | 14000.00 | 2950.00 | 14750.00 | 2695.00 | 13475.00 | 2800.00 | 14000.00 | 13475.00 | ABHISHEK ASSOCIATES
24.00 | Supply of 200W, 20/6.6A 5000 volts 50 Hz isolating transformer encapsulated in polyester resin finally moulded with neoprene rubber as stipulated in the particular specicfication | 5.00 | Each |  | 3500.00 | 17500.00 | 3875.00 | 19375.00 | 4200.00 | 21000.00 | 3950.00 | 19750.00 | 3795.00 | 18975.00 | 3350.00 | 16750.00 | 16750.00 | electromach sales agencies
25.00 | Supply of 200W 6.6/6.6A, 5000 volts 50 Hz isolating transformer encapsulated in polyester resin finally moulded with neoprene rubber as stipulated in the particular specicfication | 5.00 | Each |  | 3500.00 | 17500.00 | 3875.00 | 19375.00 | 4200.00 | 21000.00 | 3950.00 | 19750.00 | 3795.00 | 18975.00 | 3350.00 | 16750.00 | 16750.00 | electromach sales agencies
26.00 | Supply of 150W, 20/6.6A , 5000 volts 50 Hz isolating transformer encapsulated in polyester resin finally moulded with neoprene rubber as stipulated in the particular specicfication | 5.00 | Each |  | 3500.00 | 17500.00 | 3850.00 | 19250.00 | 4200.00 | 21000.00 | 3950.00 | 19750.00 | 3795.00 | 18975.00 | 3300.00 | 16500.00 | 16500.00 | electromach sales agencies
27.00 | Supply of Thyristor suitable for 30 KW CCR (Make & Model: Hirect H250TB15 or equivalent) | 5.00 | Each |  | 15000.00 | 75000.00 | 5900.00 | 29500.00 | 5000.00 | 25000.00 | 2250.00 | 11250.00 | 2200.00 | 11000.00 | 1900.00 | 9500.00 | 9500.00 | electromach sales agencies
| Total in Figures |  |  |  |  | 546050.00 |  | 455255.00 |  | 618750.00 |  | 421950.00 |  | 385155.00 |  | 462200.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(385155.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF Spares at Birsi Airport, Gondia for the Year 2020-21 Tender ID: 2020_AAI_62847_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 385155.00 | L1
| 2 | SHRI K.D.INDUSTRIES | 421950.00 | L2
| 3 | Bafna Electric Corp | 455255.00 | L3
| 4 | electromach sales agencies | 462200.00 | L4
| 5 | AMA Private Limited | 546050.00 | L5
| 6 | CREATIVE TRADING CO | 618750.00 | L6